TARIFF ORDER

FY 2011-12

June 27, 2011

NAGALAND ELECTRICITY REGULATORY COMMISSION (NERC)

Old MLA Hostel Complex

Kohima – 797 001

Website: www.nerc.org.in, E-mail: nerc_kohima@yahoo.com

9th March 2011

INDEX

1 	INTRODUCTION	1

1.2	Department of Power, Nagaland – ARR and Tariff Petition	2

1.3 	Admission of Petition	2

1.4	Public Hearing Process	2

1.5	Notice for Public Hearing	3

1.6 	Public Hearing	3

2.  SUMMARY OF PETITION OF POWER DEPARTMENT NAGALAND FOR AGGREGATE REVENUE REQUIREMENT	7

2.1    	Introduction	7

2.2 	The Power Department, Nagaland requested the Commission to:	7

3.  POWER SECTOR IN NAGALAND – AN OVERVIEW	9

3.1 	Introduction	9

3.2 	Power Supply	9

3.3 	 Transmission and Distribution Network	9

3.4 	 Transmission and Distribution (T&D) Losses	10

3.5 	 Consumer Profile and Energy Sales	10

3.6 	 Demand and Supply Position	11

3.7	Power Supply Position	11

3.8 	Energy Balance	12

4.  BRIEF SUMMARY OF OBJECTIONS RAISED, RESPONSE FROM DEPARTMENT AND COMMISSION’S COMMENTS	13

4.1	 Public response to the Petition.	13

4.2	 Objections/Suggestions and response of DPN	13

4.2.1	 NERC Proceedings of Public Hearing on 9th June, 2011 at Kohima.	13

4.2.2	Objections raised by NVCO (Nagaland Voluntary Consumer Organization), Kohima:	14

4.2.3	Objections raised by the representative from KCCI (Kohima Chamber of Commerce and Industries), Kohima:	16

Annexure – 4.1	19

5. AGGREGATE REVENUE REQUIREMENT 2011-12 - COMMISSION’S ANALYSIS AND DECISIONS	20

5.1 	Introduction	20

5.2 	Consumer Categories	20

5.2.1 	Projected Consumer Growth and connected load	20

5.3 	Energy Sales	21

5.3.1 	Analysis of energy sales projected and Commission’s view	22

5.3.2 	Category-wise Energy Sales	25

5.4 	 Transmission and Distribution (T&D) losses	25

5.5 	 Energy Requirement and Availability	27

5.6	Gross fixed Assets	28

5.7	Capital Investment	29

5.8	Revenue Requirement for FY 2011-12	30

5.9 	Fuel Cost	31

5.10 	Power Purchase cost	31

5.11 	Operation and Maintenance Expenses	32

5.11.1	Employee Cost	33

5.11.2 Repairs and Maintenance Expenses	34

5.11.3	Administration and General Expenses	35

5.12 	Depreciation	36

5.13 	Interest and Finance Charges	36

5.14 	Interest on Working Capital	38

5.15	Return on equity	40

5.16 	Provision for Bad and doubtful debts	41

5.17 	Non Tariff Income	41

5.18	Aggregate Revenue Requirement	42

5.19	Expected revenue from existing tariff	43

5.19.1	Revenue gap for FY 2011-12	44

5.19.2	Revenue from revised tariff	44

Annexure – 5.1	46

6. DIRECTIVES	47

7	TARIFF PRINCIPLES AND DESIGN	52

7.1	Background	52

List of Tables

Table 2.1:  Aggregate Revenue Requirement and Revenue Gap projected by DPN for                  FY 2011-12	7

Table 3.1: Allocation from Central Generating Stations	9

Table 3.2:  Transmission and Distribution Network as on 31st March 2010.	10

Table 3.3: Consumer Profile and Energy Sales for FY 2009-10	11

Table 3.4: Power Supply from Central Generating Stations and other Sources	11

MU	11

Table 3.5: Energy Balance	12

(MU)	12

Table 5.1:  Category-wise Consumers	21

Table 5.2: Consumers and connected load	21

Table 5.3: Energy Sales	21

Table 5.4: Energy Sales	22

Table 5.5: Specific Consumption	23

Table 5.6: Category wise energy sales for FY 2011-12	25

Table 5.7: T&D Loss for FY 2008-09 & 2009-10	26

Table 5.8: T&D loss worked out for FY 2010-11 & 2011-12:	27

Table 5.9: Energy Balance	27

Table 5.10 Rectified Energy balance	28

(MU)	28

Table 5.11: Gross Fixed Assets	29

Table 5.12 Investment Plan (Scheme wise) 2009-10	29

Table 5.13 Investment Plan (Scheme wise) 2010-11	29

Table 5.14 Investment Plan (Scheme wise) 2011-12	30

Table 5.15 Capital works in progress	30

Table 5.16 Expenses projected by DPN for 2011-12	30

Table 5.17 Power Purchase cost projected by DPN for FY 2011-12	31

Table 5.18 Power Purchase for the year 2011-12	32

Table 5.19:- Operation & Maintenance Expenses for FY 2011-12	33

Table 5.20 Employee cost actuals for 2007-08 to 2010-11 (upto 30.9.2010)	33

Table 5.21 Repair & Maintenance Expenses	34

Table 5.22 Administrative & General Expenses for FY 2011-12	35

Table 5.23: Depreciation for the FY 2011-12 projected by DPN	36

Table 5.24 Interest and Finance Charges	37

Table 5.25: Institution wise loan and details and interest for FY 2009-10	37

Table 5.26: Institution wise loan and details and interest for FY 2010-11	37

Table 5.27: Institution wise loan and details and interest for FY 2011-12	38

Table 5.28: Interest on working capital	39

Table 5.29 : Interest on working capital FY 2011-12	39

Table 5.30: Return on Equity for FY 2011-12 projected by DPN	40

Table 5.31: Non Tariff Income	41

Table 5.32 Aggregate Revenue Requirement for FY 2011-12	42

Table-5.33: Revenue from existing tariff projected by DPN for FY 2011-12	43

Table 5.34: Revenue from existing tariff approved by the Commission for FY 2011-12	43

Table 5.35: Net revenue requirement and gap with revenue at existing tariff	44

Table 5.36: Revenue from revised tariff approved by the Commission for FY 2011-12	44

Table 7.1 Average Cost of supply	54

Table 7.2 Category Wise Tariffs existing and proposed by DPN	55

Table 7.3: Category of Consumer wise tariffs approved by the Commission	56

LIST OF ABBREVIATIONS

| Abbreviation | Description |
| --- | --- |
| A&G | Administration & General |
| ARR | Annual Revenue Requirement |
| ATE | Appellate Tribunal For Electricity |
| CAGR | Compound Annual Growth Rate |
| CD | Contract Demand |
| CERC | Central Electricity Regulatory Commission |
| CGS | Central Generating Stations |
| CoS | Cost of Supply |
| CPSU | Central Power Sector Undertakings |
| Cr | Crore |
| D.E | Debt Equity |
| DPN | Department of Power, Govt. of Nagaland |
| EHT | Extra High Tension |
| ER | Eastern Region |
| FAC | Fuel Adjustment Costs |
| FDR | Fixed Deposits Receipts |
| FY | Financial Year |
| GFA | Gross Fixed Assets |
| HP | Horse Power |
| HT | High Tension |
| KV | Kilovolt |
| KVA | Kilo volt Amps |
| KW | Kilo Watt |
| kWh | kilo Watt hour |
| LNG | Liquefied Natural Gas |
| LT | Low Tension |
| MVA | Million volt Amps |
| MW | Mega Watt |
| NERC | Nagaland Electricity Regulatory Commission |

Before the Nagaland Electricity Regulatory Commission

for the State of  Nagaland

Kohima

Present

Er. S.I. Longkumer, Chairman-cum-Member

Case No.  01 of 2010

In the matter of

Aggregate Revenue Requirement (ARR) and Retail Tariff for the State of Nagaland for the Financial Year 2011-12

AND

In the matter of

Department of Power

Government of Nagaland  						Petitioner

(herein referred to as DPN)

ORDER

Date: 27th June, 2011

# 1 	Introduction

1.1	In exercise of the powers conferred by the Electricity Act, 2003, the State Government of Nagaland constituted an Electricity Regulatory Commission to be known as “Nagaland Electricity Regulatory Commission” for the State of Nagaland, as notified on 21st February, 2008.

The Commission is a one-member body designated to function as an autonomous authority responsible for regulation of the power sector in the State of Nagaland. The powers and the functions of the Commission are as prescribed in the Electricity Act, 2003. The head office of the Commission is presently located at Kohima, capital city of the Nagaland State.

The Nagaland Electricity Regulatory Commission for the State of Nagaland started to function with effect from 4th March, 2008 with the objectives and purposes for which the Commission has been established.

The Department of Power – Nagaland herein called DPN, a deemed licensee under section 14 of the Electricity Act, 2003, is carrying on the business of distribution and retail supply of electricity in the state of Nagaland

# 1.2	Department of Power, Nagaland – ARR and Tariff Petition

1.2.1	DPN had filed its petition for approval of Aggregate Revenue Requirement (ARR) and determination of retail supply tariff for FY   2011-12 according to the conduct of Business Regulations and determination of Tariff Regulations of NERC. In the petition DPN has estimated ARR of Rs. 314.16 crore and worked out a revenue gap of Rs. 203.12 crore. At this estimation the average cost of supply works out to be Rs. 9.98 / unit for  FY 2011-12. Details on this is dealt in Chapter-5.

# 1.3 	Admission of Petition

DPN has originally filed ARR and Tariff Petition in November 2010 for the year 2011-12 and the petition was taken on record in Case No. 01 of 2010.

On preliminary analysis of the petition it was observed that certain data / information was lacking in the petition. The Commission, in its letter dated 15th January, 2011, 22nd January, 2011 and 25th January, 2011 directed DPN to furnish the data on urgent basis.

The Commission also held a hearing on 8th March, 2011 at Kohima. CE Power Department attended the meeting with senior officers. The DPN was informed about the importance of Data required.

In response to the Commission’s communications and the discussions had in the said hearing the petitioner has submitted the additional data / information on 9th March, 2011 and on 22nd March, 2011 in form of affidavit.

# 1.4	Public Hearing Process

The Commission directed the DPN to publish the summary of the ARR and Tariff proposal in the abridged form and manner as approved by the Commission in accordance with section 64 of the Electricity Act, 2003 to ensure public participation.

The public notice was published by the DPN in the following newspapers in two issues.

| Sl. No. | Name of the newspaper | Language | Date of publication |
| --- | --- | --- | --- |
| 1 | Nagaland Post, Dimapur | English | 22nd and 24th April 2011 |
| 2 | The Morung Express | English | 22nd and 24th April 2011 |
| 3 | The Eastern Mirror | English | 22nd and 24th April 2011 |

Through the public notice dated 22nd April, 2011 the public were invited to forward their objections / suggestions on the petition on or before 20th May, 2011.

No objection was received by the Commission on DPN petition.

# 1.5	Notice for Public Hearing

A public notice was published by the Commission in leading newspapers on 27th and 28th May, 2011 giving due intimation to general public, interested parties, objectors and the consumers about the public hearing to be held by the Commission on 9th June, 2011 on the petition filed by DPN.

# 1.6 	Public Hearing

Public hearing was held as scheduled on 9th June, 2011 at Commission’s office from 11 AM onwards. During the public hearing each participant was provided a time slot for presenting views on the petition of DPN before the Commission. The main issues raised by the objectors during the public hearing along with the response of DPN are briefly given in Chapter-4.

1.7	The Commission held the 2nd State Advisory Committee meeting on 27th May, 2011 at Hotel Jafu, Kohima.

The Advisory Committee discussed on Tariff Petition filed by the DPN for determining ARR and Tariffs for FY 2011-12.

The following State Advisory Committee Members attended the meeting

1. Er. S.I Longkumer 		-	Ex officio, Chairperson

2. Mr. Neichnta Donlo		-	Member

3. Ms. Hekani Jakhalu	-	Member

4. Er. Khriesito Savino	-	Member

5. Capt. Hekiye Sema		-	Member

6. Mr. Omprakash Sethi	-	Member

7. Mr. Kezhokhoto Savi	-	Member

8. Mr. Ramongo Lotha	-	Addl. Secretary, F&C.S., Nagaland

Representing Secretary F&C.S.& Member SAC

Special invitees viz., E.D Basumatari Chief Engineer (Power), Nagaland, Er. T.S. Angami, Director New and Renewable Energy Department, Nagaland, representatives from Electrical Inspectorate, Nagaland also attended the meeting.

The issues relating to tariffs for 2011-12 were discussed.

Minutes of the State Advisory Committee Meeting are enclosed in Annexure 1.1

Annexure 1.1

Minutes of the State Advisory Committee Meeting

2nd Meeting of State Advisory Committee held at Kohima on 27th April, 2011

The Tariff Petition of the DPN was listed as Agenda No. 3 of the meeting. The members present raised the following questions.

As special invitees, the following accompanied by some of their sub-ordinate officers attended this meeting.

- The Chief Engineer (Power), Nagaland

- The Director, New & Renewable Energy Department, Nagaland

- The Chief Electrical Inspector, Nagaland

- Ms Hekani Jakhalu, SAC Member

Interest on loans, depreciation on assets and return on equity have been excluded in the Revised Tariff Petition. Are these not vital parameters to be considered as inputs for working out power business’s purchase / sale transactions?

DPN

The parameters mentioned are used for Corporate Accounting exercises. The DPN, so far fully supported by the State Government would like to revise tariff “based mainly on the increased cost of energy purchased and minimum permissible loading of the determinants keeping in view the welfare of different categories as a Government managed utility”. Hence, the components mentioned by the questioner are not included in the Revised Tariff Petition as submitted and it is prayed that the Commission consider this point of view.

NERC

The exclusion or otherwise of the components raised in this discussion would be examined and decided based on the merit of the case as petitioned. However, as per guidelines provided in the NERC (Terms and Conditions for determination of Tariff) Regulations, 2010, the matters i.e., Interest, Depreciation and Return on Equity (ROE) are integral components for filing ARR and Tariff Petition.

- Capt. Hekiye Sema, SAC Member

If the average cost of sale of power is Rs. 9.98 / unit as projected in the Tariff Petition of the DPN and the Department is now seeking to raise the average cost of power / unit to Rs. 3.52; the loss in the Power Department is very high and the Government is made to bear a heavy burden.

Why not raise the rate to at least about Rs. 7/- per unit; but of course subsidize the paying consumers to some extent?

NERC:

In the original tariff petition of November 2010, the DPN sought to raise the tariff to average rate of Rs. 4.50/unit, so as to recover about 50% of the average cost of sale i.e., Rs. 9.98 / unit as mentioned.

It is found that the above action would amount to raising the existing tariff (2006 level) by about 66%. This would be a heavy burden on the consumer at one go. The Commission, in consideration of the issues raised by DPN relating to Interest, Depreciation, Return on equity etc., have considered to accept the Revised ARR and Tariff Petition in March 2011. The Commission is in the final stages of finalization of the Tariff Order, where sans Interest, Depreciation, Return on equity and some other components, the average cost of sale of power works out to be about Rs. 5.52 / unit. The DPN have sought to revise tariff to realize tariff at an average rate of Rs. 3.52 / unit as against average cost of sale of Rs. 5.52 / unit. This is what was projected in DPN Public Notice published on 22.04.2011

As for raising tariff to any higher rate and providing subsidy to paying consumers, let us say that the subject matter is outside the purview of present DPN Tariff Petition.

# 2.  Summary of Petition of Power Department Nagaland for Aggregate Revenue Requirement

# 2.1    	Introduction

The DPN in its petition has indicated the Aggregate Revenue Requirement (ARR) for the year 2011-12 in ARR and tariff Petition. The estimated Aggregate Revenue Requirement with the existing tariffs and the revenue gap are shown in Table 2.1 below:

Table 2.1:  Aggregate Revenue Requirement and Revenue Gap projected by DPN for                  FY 2011-12

(Table 3.19 of ARR)

(Rs. crore)

| Sl.No. | Particulars | FY 2011-12 (Projected) |
| --- | --- | --- |
|  | Cost of Fuel | 0.08 |
|  | Cost of power purchase | 127.42 |
|  | Employee costs | 59.12 |
|  | R&M expenses | 17.23 |
|  | Administrative and general expenses | 2.53 |
|  | Depreciation | 16.83 |
|  | Interest charges (including interest on working capital) | 38.84 |
|  | Return on equity | 51.26 |
|  | Provision for bad debts | 1.26 |
|  | Total revenue requirement | 314.56 |
|  | Less non-tariff income | 0.40 |
|  | Net revenue requirement (10-11) | 314.16 |
|  | Revenue from existing tariff | 75.49 |
|  | Revenue from sale of surplus power | 35.55 |
|  | Gap (12-13-14) | 203.12 |

The petitioner has shown a revenue gap of Rs.203.12 crore for the FY 2011-12.

# 2.2 	The Power Department, Nagaland requested the Commission to:

- The petition provides, inter-alia, DPN’s approach for formulating the present petition, the broad basis for  projections used, summary  of  the  proposals being made to the Commission, performance of DPN in the recent past, and certain issues impacting the performance of DPN in the Licensed Area.

- Broadly,  in  formulating  the  ARR  and  Tariff Petition  for the  FY 2011-12,  the principles  specified  by  the  Nagaland   Electricity  Regulatory  Commission  in  the notified  (Terms  and  Conditions  for determination of Tariff)  Regulations, 2010 have been considered as the basis.

- In  order  to  align  the  thoughts  and  principles  behind  the  ARR  and  Tariff Petition,  DPN  respectfully seeks  an  opportunity  to present their case  prior  to the  finalization  of  the  Tariff  Order.  DPN believes that  such  an  approach would  go  a  long  way  towards  providing  a  fair  treatment  to  all  the stakeholders and may eliminate the need for a review or clarification.

- DPN may  also  be  permitted  to propose  suitable  changes  to  the  ARR petition and  the  mechanism  of  meeting  the  revenue  on  further  analysis,  prior  to  the final approval by the Commission.

# 3.  Power Sector in Nagaland – An Overview

# 3.1 	Introduction

The DPN is responsible for distribution and supply of electricity in the State of Nagaland.

The DPN is a deemed licensee under the provisions of Electricity Act, 2003 for distribution of electricity in the state, it operates in an area of 16527 sq.km.  The total population of the State is around 19.89 lakhs as per 2001 census.

# 3.2 	Power Supply

DPN has its own generation capacity of 27.5 MW at Likhimro Hydro power project. Apart from this the power supply requirements of the DPN are met from its share from Central Generating Stations which is wheeled through the PGCIL network of NER.

Table 3.1: Allocation from Central Generating Stations

| Generating station | Install capacity | Nagaland Share | Nagaland Share | Projected AVL (MW) |  | Nagaland share |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Peak | Off peak |
|  | MW | % | MW | Peak | Off peak | MW | MW |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| AGBPP | 291 | 5.9 | 17.17 | 220 | 215 | 14.59 | 12.88 |
| Khangdong | 50 | 6.75 | 3.38 | 50 | 50 | 2.87 | 2.53 |
| Kopili - I | 200 | 6.25 | 12.50 | 200 | 200 | 10.63 | 9.38 |
| Kopili - II | 25 | 5.75 | 1.44 | 25 | 25 | 1.22 | 1.08 |
| AGTPP | 84 | 5.7 | 4.79 | 84 | 78 | 4.07 | 3.59 |
| Doyang | 75 | 18.03 | 13.52 | 74 | 70 | 11.49 | 10.14 |
| RHEP | 405 | 5.43 | 21.99 | 405 | 401 | 18.69 | 16.49 |
| Loktak | 105 | 6.52 | 6.85 | 90 | 90 | 5.82 | 5.13 |
|  |  |  |  | 1148 | 1129 | 69.38508 | 61.222125 |
| NTPC |  |  | 25 | 21.25 | 18.0625 | 21.25 | 20.00 |
| Total | 1235 |  | 81.63 | 1169.25 | 1147.06 | 90.64 | 81.22 |

# 3.3 		Transmission and Distribution Network

DPN owns and operates the transmission and distribution network as on 31.03.2010 as given in Table 3.2 below:

Table 3.2:  Transmission and Distribution Network as on 31st March 2010.

| Sl.No. | Voltage | Transmission lines (ck.km.) | Transformer Capacity |
| --- | --- | --- | --- |
| (A) | Lines |  |  |
| 7 | 132 KV | 382.2 |  |
| 8 | 66 KV | 396.33 |  |
| 9 | 33 KV | 414.3 |  |
| 10 | 11 KV | 512.2 |  |
| 11 | LT | 2494.1 |  |
| (B) | Capacity Wise Power Transformers |  |  |
| 12 | 132/66 KV |  | 3x20 MVA |
| 13 | 132/66 KV |  | 2x12.5 MVA |
| 14 | 132/66 KV |  | 3x6.5 MVA |
| 15 | 132/33 |  | 3x8 MVA |
| 16 | 132/33 KV |  | 2x5 MVA |
| 17 | 66/33 KV |  | 3x20 MVA |
| 18 | 66/33 KV |  | 3x7.5 MVA |
| 19 | 66/33 KV |  | 6x5 MVA |
| 20 | 33/11 KV |  | 5x10 MVA |
| 21 | 33/11 KV |  | 7x5 MVA |
| 22 | 33/11 KV |  | 4x2.5 MVA |
| 23 | 33/11 KV |  | 22x1.6 MVA |
| 24 | 33/11 KV |  | 2x1 MVA |
| 25 | 33/11 KV |  | 13x0.5 MVA |
| 26 | 33/11 KV |  | 59x500 KVA |
| 27 | 33/11 KV |  | 53x250 KVA |
| (C) | Capacity wise Distribution Transformers |  |  |
| 28 | 33/0.4 KV |  | 90x100 KVA |
| 29 | 33/0.4 KV |  | 109x63 KVA |
| 30 | 33/0.4 KV |  | 69x25 KVA |
| 31 | 11/0.4 KV |  | 72x500 KVA |
| 32 | 11/0.4 KV |  | 88x250 KVA |
| 33 | 11/0.4 KV |  | 109x100 KVA |
| 34 | 11/0.4 KV |  | 110x63 KVA |
| 35 | 11/0.4 KV |  | 127x25 KVA |

# 3.4 		Transmission and Distribution (T&D) Losses

The transmission and distribution (T&D) losses of DPN  were 36.46% during FY 2009-10.  The technical and commercial losses of the system have not been segregated.

# 3.5 		Consumer Profile and Energy Sales

Power Department, Nagaland  serves about 1,85,000 consumers as on 31.3.2010 with an annual consumption of about 250 MU. The number of consumers category-wise and the energy sales to each category during FY 2009-10 are given in Table 3.3 below:

Table 3.3: Consumer Profile and Energy Sales for FY 2009-10

| Sl.No. | Consumer Category | Number of Consumers | Energy Sales (MU) |
| --- | --- | --- | --- |
|  | Domestic | 164515 (89%) | 175.84 (70%) |
|  | Commercial | 17273 (9%) | 22.71 (9%) |
|  | Industrial | 2095 (1%) | 11.86 (5%) |
|  | Public Lighting | 581 (0.3%) | 1.83 (0.7%) |
|  | Public Water Works | 27 (0.01%) | 1.27 (0.5%) |
|  | Agriculture | 2 (0.001%) | 0.04 (0.01%) |
|  | Bulk Supply | 553 (0.30 %) | 36.33 (15%) |
|  | Total | 185049 | 249.88 |
|  | Out side state |  | 75.67 |
|  | Grand Total | 185049 | 325.55 |

# 3.6 		Demand and Supply Position

The demand of the state of Nagaland was about 95 MW during the FY 2009-10 and the allocation from various Central Generating Stations (CGS) was about 90 MW. A deficit of about 5 MW together with any shortfall from CGS was met by purchase from other sources.

# 3.7	Power Supply Position

The power purchase from various Central Generating Stations and others during FY 2009-10, 2010-11 and 2011-12 excluding external losses of 3.93% for 2009-10 and 3.89% for FY 2010-11 and 2011-12 are given in Table 3.4 below:

Table 3.4: Power Supply from Central Generating Stations and other Sources

MU

| Sl.No. | Source | FY 2009-10 (Actual) | FY 2010-11 (Estimated) | FY 2011-12 (Projected) |
| --- | --- | --- | --- | --- |
|  | Central Sector |  |  |  |
| 1. | Loktak, NHPC | 23.98 | 28.00 | 28.00 |
| 2. | Khandong NEEPCO | 69.84 | 65.00 | 65.00 |
| 3 | Kopili – I, NEEPCO |  |  |  |
| 4 | Kopili – II, NEEPCO |  |  |  |
| 5 | Ranganadi, NEEPCO | 71.14 | 85.00 | 85.00 |
| 6 | Doyang, NEEPCO | 27.91 | 45.00 | 45.00 |
| 7 | AGTPP (Tripura) | 35.75 | 32.00 | 32.00 |
| 8 | AGBPP | 86.36 | 84.00 | 84.00 |
| 9 | NTPC | 108.48 | 100.00 | 100.00 |
| 10 | UI/over drawn (net) | 15.84 |  |  |
|  | Total | 439.00 | 439.00 | 439.00 |

# 3.8 	Energy Balance

The supply and demand during the FY 2009-10, 2010-11 and 2011-12 as furnished by DPN are given in Table 3.5 below:

Table 3.5: Energy Balance

(MU)

| Sl. No. | Energy Balance | FY 2009-10 (Actual) | FY 2010-11 (Estimated) | FY 2011-2012 (Projected) |
| --- | --- | --- | --- | --- |
| A | ENERGY REQUIREMENT |  |  |  |
| 1 | Energy Sales within State | 249.88 | 264.25 | 279.10 |
| 2 | Sales to other distribution licensees | 75.67 | 91 | 90 |
| 3 | Total Energy Sales | 325.55 | 355.25 | 369.10 |
| 4 | Overall T & D Losses % | 36.46 | 30.77 | 28.07 |
| 5 | Overall T & D Losses (MUs) | 186.81 | 157.91 | 144.06 |
| 6 | Total Energy Requirement | 512.36 | 513.16 | 513.16 |
| B | ENERGY AVAILABILITY |  |  |  |
| 7 | Power Purchase from CGS/UI | 439 | 439 | 439 |
| 8 | Generation | 73.36 | 74.16 | 74.16 |
| 9 | Total Energy Availability | 512.36 | 513.16 | 513.16 |
| 10 | ENERGY SURPLUS/(GAP) | 0.00 | 0.00 | 0.00 |

Source: Extracted from Table 3.3 of ARR

# 4.  Brief Summary of Objections raised, Response from Department and Commission’s comments

# 4.1		Public response to the Petition.

On admitting the ARR & Tariff Petition for the FY 2011-12 the Commission directed the DPN to publish the Petition in news papers in abridged form duly inviting Comments/Objections from public / stake holders.

In order to ensure transparency in the process of determination of tariffs as envisaged in the Electricity Act 2003, the DPN arranged publication of petition in abridged form in leading News Papers calling for objections / comments. Due date was fixed as 20th May 2011. DPN or the Commission did not receive any objection / comments from the public.

The Commission arranged issuing of notice in Newspapers for public hearing. Public hearing was conducted on 9th June, 2011. The list of objectors who attended the public hearing is listed in the Annexure 4.1

# 4.2		Objections/Suggestions and response of DPN

# 4.2.1		NERC Proceedings of Public Hearing on 9th June, 2011 at Kohima.

PUBLIC HEARING:

That in order to ensure transparency and to give opportunity to the general public & different business organizations (from all Domestic, Commercial, Agriculture and Industrial Consumers) and also to express their views/ comments/ suggestions / objections in the process of Determination of Tariff as envisaged in the Electricity Act, 2003, Public Hearing was held at Kohima on 9th June, 2011 as scheduled.

The DPN (Department of Power, Nagaland) had published a Public Notice on 22nd April, 2011 calling for written suggestions/objections, if any, on the ARR and Tariff Petition filed by the Power Department on or before 20th May, 2011 before the office of the Chairman-cum-Member, NERC Kohima. No written suggestions/objections were received till the given scheduled period; but on the day of Public Hearing a written objection was received from the Nagaland Voluntary Consumer Organization (NVCO), Kohima. Other participants from the general public including representatives from various organizations like Youth Net, Kohima; DICE (Dialogues on Indigenous Culture and Environment) Foundation, Kohima; Entrepreneurs Associates, Kohima and Kohima Chamber of Commerce & Industries attended the Public Hearing. All participants were given an opportunity to offer their views and suggestions/objections in respect of ARR and Tariff proposal filed by the DPN. The list of the participants who attended the Public Hearing is given in Annexure-4.1. The officers of the DPN, who were present during the Public Hearing, responded to the objections/queries raised by the objectors.

# 4.2.2	Objections raised by NVCO (Nagaland Voluntary Consumer Organization), Kohima:

Why the Commission is conducting Public Hearing when the department of Power has already fixed the Electricity Tariff w.e.f. 01/04/2011?

Reply by the Commission:

As mandated under section 86 (1)(a) of the Electricity Act, 2003, the NERC directed the DPN to file the Tariff Petition, which was filed by the DPN on 30/11/2010. The NERC started processing of the said Tariff Petition and in order to give an opportunity to all the public to express their views/suggestions/objections, the Public Hearing is being held. In regard to the Interim Tariff, DPN may reply at later stage in the course of this Public Hearing.

Either the Commission (NERC) or Power Department, Government of Nagaland has the power to fix or regulate electricity supply in the State?

Reply by the Commission:

Under section 62 of the Electricity Act, 2003 it is only the Appropriate Commission constituted under the Act has the power to revise the Tariff. Hence, it is the Commission (NERC) who is empowered under the Act.

Why the DPN has brought out two different Tariff i.e. Tariff as per Public Notice as appeared in Newspapers on 22nd April, 2011 and other Tariff as appeared in Newspapers on 27th May, 2011?

Reply by DPN:

The Tariff was not revised by the DPN since 2006, hence the department  was under pressure by the State Government to revise the Tariff. Accordingly, the department wrote to the NERC for revision of Tariff in the Month of July, 2010. At that point of time the Commission was in the process of formulating the Tariff Regulation, 2010 and hence the DPN resorted for preparation of Interim Tariff and accordingly forwarded to the Govt. for an approval.

In the meantime, NERC directed the DPN to file the Tariff Petition for the FY 2011-12 as per NERC tariff Regulation which was published in the month of October 2010. The Department accordingly filed the said Petition on 30th Nov.2010. The Commission, after examining the said Petition, vide letters dated 15/01/2011, 22/01/2011, and 25/01/2011 directed the DPN to furnish additional information/data. The information sought by the Commission was furnished by the DPN only on 9th March, 2011 along with the Revised Tariff Petition for FY2011-12. Thereafter, the Commission directed the DPN to publish the Public Notice in an abridged form of the said Tariff Petition. The draft Public Notice was sent to the Govt. for an approval on 11th March, 2011 and also requested the State Govt. not to go ahead with the Interim Tariff approved by the State Cabinet in view of the process of Tariff Petition filed before the NERC following the publication of the Tariff Regulation by the Commission. The Govt. accorded its approval only on 4th April, 2011. So, the DPN published the said Public Notice in 3 (three) local daily English Newspapers for 2 (two) consecutive days starting from 22nd April, 2011.

That, inspite of the request made by the DPN, the State Government vide notification No.PWR/TARIFF-15/94 dated 23rd March, 2011 was pleased to revise & fixed the Interim Electricity Tariff for all categories in the State w.e.f. 01/04/2011.

The Department will implement the Tariff as per the provision of the Act.

“While the Consumers are facing deficiency in the services provided by the DPN such as:

- There are places/villages where transformer got burnt and the department failed to attend the transformer even for more than 6 (six) months keeping the villagers without the electricity.

- Frequent load shedding everywhere in the state, not even sparing the State Capital.

- That many Govt. offices and public buildings are not paying electricity bills and there are cases of electricity theft within the state incurring huge losses to the state.”

The DPN without taking the corrective steps to solve the aforesaid problems/deficiency, why go ahead for increasing Tariff which will ultimately only affect the genuine paying consumers?

Reply by the DPN:

- On Transformers:

Till date, DPN has only one transformer repairing centre i.e. at Dimapur. When a transformer gets damaged the same has to be transported to Dimapur for its repairing; and as such, during the course of transportation & repairing the delays are caused which is beyond the control of the Department.

- On frequent Load Shedding:

The DPN has very less Generating Stations in the State. Hence, 90% of the requirement of electricity in the state is purchased from outside the state.

As most of the outside state Power generating stations are hydro projects, during OFF seasons (dry season) the state gets lesser Power allocation even from outside the State. Hence, Load shedding becomes unavoidable.

To mitigate the above problem, the state requires developing its own generating station for which the DPN has proposed to the Govt. for establishing a 160 MW DIKHU Hydro Electric Project.

- On Power theft and non-payment of Bills:

In this regard, the system has to be overhauled i.e., Department alone cannot control the power theft, hence, co-operation from the public is required along with the active support from the District Administration.

# 4.2.3	Objections raised by the representative from KCCI (Kohima Chamber of Commerce and Industries), Kohima:

- “ Due to frequent interruption/load shedding resorted to by the DPN, the business communities within the state are suffering as out of total 8 working hours in a day, they are able to work only 2-3 hours a day with electricity supply. This results in incurring heavy losses in establishments such as Electronics repairing centers, Electrical Stores, Bakeries, Stone Crusher, Clinical laboratories etc which mainly depend on electricity.”

The questioner also emphasized about need for setting up of the Cold Storage and Refrigerator which will facilitate to preserve food stuff, vegetables etc but due to frequent load shedding resorted by the DPN, the business community cannot flourish.

Hence, the increase of Power Tariff without improving the service of electricity supply is not at all justified.

Public voice is the strongest in any civilized society and as such the department & the NERC should take up necessary measures to redress the grievances of the business communities within the state.

Reply by DPN:

To mitigate the problem faced by the business communities and the general public within the state, the Power Sector Authorities in the state are pursuing for establishing HEP project as mentioned earlier as well as smaller hydro projects and other renewable source generation projects.

The last Tariff fixed by the DPN was in the year 2006. The cost of power purchase per unit (KWh) of power from outside the state have been increasing periodically over the years. The maintenance cost of power supply system in the state have also increased to a large scale and as such, the department is compelled to enhance the Tariff to meet the additional expenses made by the department to some extent.

4.2.4	Queries asked by representatives of  DICE (Dialogues on Indigenous Culture and Environment) Foundation, Kohima:

- What is the total power requirement of our state?

Reply by DPN:

95MW.

- What is the Generation capacity of our state?

Reply by DPN:

We have 24 MW hydel generating station at Likhimro; but it generate maximum up to 20MW only. During “OFF season” the generation is limited to only 6MW to 7 MW due to less volume of water in the river.

Therefore, 90% of our required energy is purchased from other states.

- Whether this Tariff will be uniform with the other states?

Reply by DPN:

In view of the geographical conditions prevalent in the state, factoring the high T&D losses even on account of this factor, tariff rates in the state are reasonable.

- Whether Revenue collected through Communitization is effective?

Reply by DPN:

Communitization was implemented in our state in order to improve our Revenue collection.

Through Communitization, consumers have been made to realize the importance of electricity and they are made to participate and involve/control in improving the electricity sector.

- Whether the DPN is moving towards Privatization like other states in the country or is going more of Govt. sector?

Reply by DPN:

We are trying to move more towards Privatization so that “Non-Technical” persons’ interference can be reduced up to some extent.

# Annexure – 4.1

List of persons who attended the Public Hearing on 9th June, 2011

- Neingulie Nakhro 		Spokesperson, Kohima Chamber of Commerce &

Industry;

- Hekani Jakhalu		Director, Youthnet, Kohima;

- Esther Swuro			Youthnet, Kohima;

- Kuovizo Belho			Youthnet, Kohima;

- Kezhokhoto Savi		President Nagaland Volunatry Consumer Org.,Kohima.

- R. Adeno Ngullie		Nagaland Voluntary Consumer Org., Kohima.

- Rabemo			Nagaland Voluntary Consumer Org., Kohima.

- Hutoshe Achumi		Nagaland Voluntary Consumer Org., Kohima.

- Huluvi Chophy			Nagaland Voluntary Consumer Org., Kohima.

- N.Chumben Ngullie		Nagaland Voluntary Consumer Org., Kohima.

- Pito Tuccu			Nagaland Voluntary Consumer Org., Kohima.

- Kekruselie			Nagaland Voluntary Consumer Org., Kohima.

- Neingular Noudi		Nagaland Voluntary Consumer Org., Kohima.

- Neichute Doulo		Entrepreneurs Associates., Kohima.

- M.Kikon			Director, DICE Foundation, Kohima.

- Wonchibeni Patton		DICE Foundation, Kohima.

- Johnny Lotha			DICE Foundation, Kohima.

DPN officials:

- Er.Imli Ao			Addl. Chief Engineer (D&R);

- Er.R.Angami			S.E (Design);

- Er.P.T.Philip			SDO(E).

# 5. Aggregate Revenue Requirement 2011-12 - Commission’s Analysis and Decisions

# 5.1 	Introduction

The ARR and Tariff petition filed by the DPN for 2011-12 on 30th November, 2010 was incomplete as some of the data / information required under NERC (Terms and Conditions for Determination of Tariff) Regulations, 2010 was not furnished. The Commission directed the DPN through letters dated 15th January, 2011, 22nd January, 2011 and 25th January, 2011 to furnish data / information. A hearing was also conducted at the Commission’s office on 8th March, 2011 and the Department was directed to furnish the data / information required. The Department has submitted the additional information vide their letters dated 9th March, 2011 and 23rd  March, 2011 under Affidavit.

The additional data / information submitted by the DPN is taken into consideration while analyzing the ARR & Tariff Petition in the order.

# 5.2 	Consumer Categories

DPN serves about 1,85,049 consumers as on 31st March, 2010 in its area of operation and the consumers are broadly categorized as under:

- Domestic  including BPL

- Commercial

- Industrial

- Public Lighting

- Irrigation and Agriculture

The DPN serves the consumers at different voltages at which the consumers avail supply.

# 5.2.1 	Projected Consumer Growth and connected load

The DPN has furnished the details of category-wise consumers existing over the last five years (2005-06 to 2009-10) and are shown in Table 5.1 below:

Table 5.1:  Category-wise Consumers

(Nos)

| Sl.No. | Category | FY 2005-06 | FY 2006-07 | FY 2007-08 | FY 2008-09 | FY 2009-10 |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Domestic | 135020 | 156711 | 160760 | 163975 | 164515 |
| 2. | Commercial | 14513 | 16516 | 16910 | 16928 | 17273 |
| 3. | Industrial | 1727 | 1947 | 1987 | 2021 | 2095 |
| 4. | Public Lighting | 664 | 704 | 743 | 759 | 581 |
| 5. | Agriculture |  | 2 | 2 | 4 | 2 |
| 6. | Public Water works | 22 | 25 | 26 | 21 | 27 |
| 7. | Bulk supply | 139 | 152 | 169 | 173 | 178 |
| 8. | Inter State |  |  |  |  |  |
|  | Total | 152085 | 176057 | 180597 | 189881 | 184671 |

Category wise-consumers estimated for FY 2010-11 and projected for FY 2011-12 by DPN are indicated in Table 5.2 below:

Table 5.2: Consumers and connected load

| Sl. No | Consumer Category | No of Consumers |  | Connected Load (kW) (FY 2009-10) |
| --- | --- | --- | --- | --- |
|  |  | 2010-11 Estimated | 2011-12 Projected |  |
| 1 | Domestic | 164000 | 163000 | 71000 |
| 2 | Commercial | 17400 | 17800 | 9500 |
| 3 | Industrial | 2150 | 2155 | 6500 |
| 4 | Public Lighting | 560 | 580 | 8000 |
| 5 | Irrigation & Agriculture | 2 | 2 | 20 |
| 6 | Public Water works & sewage | 30 | 34 | 710 |
| 7 | Bulk supply | 180 | 185 | 20000 |
|  | Total | 184322 | 183756 | 115730 |

Source: Extracted from Table 3.2 of ARR petition and Annexure XII of additional information.

# 5.3 	Energy Sales

The DPN has projected energy sales from 2005-06 to 2009-10 actuals and estimation for 2010-11 and projection for 2011-12. The same are indicated in table 5.3 below:

Table 5.3: Energy Sales

| S. No | Category | 2005-06 (Actuals) | 2006-07 (Actuals) | 2007-08 (Actuals) | 2008-09 (Actuals) | 2009-10 (Actuals) | 2010-11 (Estimated) | 2011-12 (Projected) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Domestic | 86.92 | 97.09 | 127.02 | 145.00 | 175.84 | 183.15 | 190.00 |
| 2 | Commercial | 14.46 | 13.60 | 9.77 | 8.95 | 22.71 | 23.16 | 25.20 |
| 3 | Industrial | 12.30 | 13.29 | 13.09 | 13.90 | 11.86 | 13.35 | 14.50 |
| 4 | Public Lighting | 3.63 | 4.57 | 4.42 | 4.86 | 1.83 | 2.02 | 2.40 |
| 5 | Irrigation & Agriculture |  | 0.01 | 0.01 | 0.04 | 0.04 | 0.04 | 0.04 |
| 6 | Public Water Works & Sewage | 1.47 | 1.52 | 1.70 | 2.02 | 1.27 | 1.30 | 2.28 |
| 7 | Bulk supply | 26.02 | 26.42 | 26.72 | 18.20 | 36.33 | 41.23 | 44.68 |
|  | Total | 144.80 | 156.50 | 182.73 | 192.97 | 249.88 | 264.25 | 279.10 |

The DPN has submitted that it has projected the category wise energy sales for FY 2011-12 based on the past sales over the five year period (FY 2005-06 to FY 2009-10),new developments on account of Government policies, socio economic changes, Industrial growth etc. that would effect consumption across various categories of consumers, the growth in usage of new gadgets in urban areas have been taken as guiding factors in estimating the sales. DPN has further stated that the CAGR is the basis for sales projections. The trend method is a tried and tested method and is used extensively across the states and accepted by the regulators. However the CAGR considering the sales for the last five years presented an abnormal trend and hence normalization has been undertaken for some categories for assessing the sales for FY 2011-12.

# 5.3.1 	Analysis of energy sales projected and Commission’s view

Reasonable projection of category wise sales is essential to determine the energy required to be purchased and the likely revenue by sale of electricity.

DPN has projected the category wise energy sales for FY 2011-12 based on past trends over a period of Five years (2005-06 to 2009-10). These sales with CAGR for 4 years, 3 years and year on year are shown in table 5.4 below.

Table 5.4: Energy Sales

| Sl. No. | Category | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | CAGR for 4 Year | CAGR for 3 Year | CAGR for Year on Year |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | (Actuals) | (Actuals) | (Actuals) | (Actuals) | (Actuals) |  |  |  |
| 1 | Domestic | 86.92 | 97.09 | 127.02 | 145 | 175.84 | 19.26 | 21.89 | 21.27 |
| 2 | Commercial | 14.46 | 13.6 | 9.77 | 8.95 | 22.71 | 11.95 | 18.64 | 153.74 |
| 3 | Industrial | 12.3 | 13.29 | 13.09 | 13.9 | 11.86 | -0.91 | -3.72 | -14.68 |
| 4 | Public Lighting | 3.63 | 4.57 | 4.42 | 4.86 | 1.83 | -15.74 | -26.29 | -62.35 |
| 5 | Irrigation & Agriculture |  | 0.01 | 0.01 | 0.04 | 0.04 | 0.00 | 58.74 | 0.00 |
| 6 | Public Water Works & Sewage | 1.47 | 1.52 | 1.7 | 2.02 | 1.27 | -3.59 | -5.81 | -37.13 |
| 7 | Bulk supply | 26.02 | 26.42 | 26.72 | 18.2 | 36.33 | 8.70 | 11.20 | 99.62 |
|  | Total | 144.8 | 156.5 | 182.73 | 192.97 | 249.88 | 14.61 | 16.88 | 29.49 |

Specific consumption based on number of consumers and total consumption is worked out and shown in Table 5.5 below.

Table 5.5: Specific Consumption

| Consumer Category | 2005-06 (kWh/ month) | 2006-07 (kWh/ month) | 2007-08 (kWh/ month) | 2008-09 (kWh/ month) | 2009-10 (kWh/ month) | CAGR for 4 years | CAGR for year on year |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Domestic | 54 | 52 | 66 | 74 | 89 | 13.3 | 20.27 |
| Commercial | 83 | 69 | 48 | 44 | 110 | 7.29 | 150 |
| Industrial | 594 | 569 | 549 | 573 | 472 | -5.59 | -17.63 |
| Public Lighting | 456 | 541 | 496 | 534 | 262 | -12.94 | -50.94 |
| Irrigation and Agriculture |  | 417 | 471 | 833 | 1667 |  | 100.12 |
| Public Water Works and Sewage | 5568 | 5067 | 5449 | 8016 | 3920 | -8.4 | -51.1 |
| Bulk supply | 15600 | 14485 | 13176 | 8767 | 5445 | -23.14 | -37.89 |

The consumption of each category of consumers is discussed below to arrive at reasonable estimation of energy sales for FY 2011-12.

1. Domestic

The DPN has projected the energy sales of 190 MU to this category at a growth of 4% over 2010-11. 4 years CAGR (FY 2005-06 to FY 2009-10) is 19 % while YoY growth of 2009-2010 over 2008-09 is 21%. It is observed that the growth of domestic sale is steadily increasing YoY for the last three years. The 4 year CAGR in specific consumption (FY 2005-05 to 2009-10) is 13 %. There has been reduction in number of domestic consumers in 2009-10 and 2011-12. In view of these, energy sale at 10% increase is considered reasonable. Accordingly the sales for 2011-12 are arrived at 213 mu instead of 190 mu.

The Commission approves the energy sales at 213 MU for FY 2011-12 as against 190 MU proposed by DPN

2. Commercial

DPN has projected the energy sales of 25.20 MU for FY 2011-12 at a growth of 9%. The past growth in energy sales of this category is about 12 to 19%. The 4 year CAGR of specific consumption is almost 7%. Considering the above factors the growth of 9% for projecting the sales for FY 2011-12 is considered reasonable.

The Commission approves the energy sales of 25.20 MU for commercial category for FY 2011-12 as proposed by DPN.

3. Industrial

DPN projected the energy sales of 14.5 MU to this category for the FY 2011-12 at a growth of 9% as industrial growth is likely to pick up.

Since the DPN projected energy sales based on the latest data, the projected sales of 14.5 MU for FY 2011-12 is considered reasonable.

The Commission approves the energy sales of 14.5 MU for industrial power supply for FY 2011-12 as proposed by DPN.

4.  Public lighting

The DPN has projected the energy sales for this category at 2.4 MU for FY 2011-12 at a growth rate of 19%. The past growth had been erratic. The 4 year CAGR was               (-)15.7%, 3 year CAGR was about (-)26.2% and the latest YoY during FY 2009-10 was  (-) 62.3%.

The DPN has however projected consumption based on field conditions and is considered.

The Commission accordingly approves energy sales for public lighting at 2.4 MU for FY 2011-12 as projected by the DPN.

5. Irrigation and Agriculture

The DPN has projected energy sales of 0.04 MU for FY 2011-12 at a zero growth. The sales to this category were at the level of zero over the last three years. The Commission accepts the projection of DPN for agriculture at 0.04 MU for FY 2011-12.

The Commission accordingly approves energy sales for agricultural category at 0.04 MU for FY 2011-12 as proposed by DPN.

6. Public Water Supply and Sewage System

The DPN has projected the energy sales for the category of 2.28 MU for the year 2011-12. Though a negative growth is observed during 2009-10, the DPN has considered past growth in sales and projected 2.28 mu for 2011-12.

The Commission accordingly approves energy sales for Public water supply and sewage system at 2.28 MU for FY 2011-12 as projected by DPN.

7. Bulk Supply

DPN has projected the energy sales of this category at 44.68 MU for FY 2011-12 at a growth rate of 8%.  The three-year CAGR (2006-07 to 2009-10) was 8.7%, four year CAGR (FY 2005-06 to FY 2009-10) was 11.2% and the growth during FY 2009-10 over FY 2008-09 was 99.6%, sudden jump in consumption during FY 2009-10 over FY 2008-09 is not explained (18.2 MU to 36.3 MU). The growth during FY 2010-11 over FY 2009-10 is about 13%.

Looking at the four year and three year CAGR of this category over the period FY 2005-06 to FY 2009-10 it is considered reasonable to consider a growth of 11% based on three year CAGR.

Based on this annual growth of 11% the sales during FY 2011-12 would be 44.76 MU

The Commission accordingly approves energy sales for bulk supply at 44.76 MU for FY 2011-12 as against 44.68 MU projected by DPN

# 5.3.2 	Category-wise Energy Sales

The category wise energy sales for FY 2011-12 as discussed above and the energy sales projected by Power Department, Nagaland and approved by the Commission are given in Table 5.6 below:

Table 5.6: Category wise energy sales for FY 2011-12

(MU)

| Sl. No. | Consumer Category | Energy sales projected by DPN | Energy sales approved by the Commission |
| --- | --- | --- | --- |
|  | Domestic | 190 | 213.00 |
|  | Commercial | 25.20 | 25.20 |
|  | Industrial | 14.50 | 14.50 |
|  | Public Water Supply | 2.28 | 2.28 |
|  | Agriculture | 0.04 | 0.04 |
|  | Public lighting | 2.40 | 2.40 |
|  | Bulk supply | 44.68 | 44.76 |
|  | Total | 279.10 | 302.18 |

# 5.4 		Transmission and Distribution (T&D) losses

It is submitted by DPN that it has achieved significant reduction in transmission and distribution loss during the recent years as a result of execution of system improvement works under the plan schemes. It is submitted by DPN that their efforts would be continued and will be enhanced henceforth.

The T&D loss (Actuals) of DPN during FY 2008-09 and 2009-10 are given in Table 5.7 below:

Table 5.7: T&D Loss for FY 2008-09 & 2009-10

| Year | T&D loss (%) |
| --- | --- |
| FY 2008-09 (Actuals) | 31.01 |
| FY 2009-10 (Actuals) | 36.46 |

The DPN has projected the T&D loss for FY 2010-11 and FY 2011-12 as under:

| FY 2010-11(Projected) | 30.77 |
| --- | --- |
| FY 2011-12 (Projected) | 28.07 |

DPN has shown 2.7% decrease in T&D Loss during 2011-12 over 2010-11

Commission’s Analysis

The DPN has arrived T&D loss as above considering the sales outside the state as sales with in the state. But these sales cannot be taken for purpose of calculation of loss.

The T & D loss furnished by DPN is including intra state transmission loss which the DPN has not furnished .It would be around 4 to 4.5% as in the neighboring states. The details of regional net work losses have been obtained from NERLD for the period 29th March, 2010 to 6th Dec 2010 (37 weeks) during 2010-11. The data is furnished in Annexure 5-1. The loss is in the range of 2.77% to 3.94%, highest loss being 4.31% in April 2010. The average loss is about 3.21% .It is considered reasonable to adopt 3.5% towards regional transmission loss (pool Loss).

The regional pool loss level of 3.5% has therefore been considered for DPN. Now after considering regional pool loss of 3.5% the internal T & D loss of the state is worked out for the year 2009-10 with the data furnished by DPN as follows. Commission arrived at the T&D losses for 2009-10 as shown below.

| Sl.No | Particulars | 2009-10 |
| --- | --- | --- |
|  | Energy Availability |  |
| 1 | Own Generation (MU) | 73.36 |
| 2 | Power Purchase from CGS (MU) | 395.25 |
| 3 | Free Power from Doyang (MU) | 27.91 |
| 4 | Less Inter State Loss (Pool loss) @3.5% on (2) + (3) | 14.81 |
| 5 | UI Purchases | 15.84 |
| 6 | Less sales out side state | 75.67 |
| 7 | Power availability at state periphery | 421.88 |
| 8 | Sales with in States (MU) | 249.88 |
| 9 | T & D Loss (MU) | 172.00 |
| 10 | T & D Loss % | 40.77 |

Thus the T & D loss during 2009-10 is 40.77% and not 36.46 % as furnished by DPN. On the same lines the T & D losses during 2010-11 and 2011-12 are worked out and furnished in Table 5.8 below.

Table 5.8: T&D loss worked out for FY 2010-11 & 2011-12:

| Year | Projected by DPN | As Corrected above |
| --- | --- | --- |
| 2010-11 | 30.77 | 35.04 |
| 2011-12 | 28.07 | 31.54 |

The technical and commercial losses are not segregated. DPN should analyze the reasons for such a high T & D loss and effective measures be taken to reduce the losses by proper accounting of energy sales, conducting voltage wise energy audit by providing meters on incoming lines and arresting pilferage of energy and replacement of all defective meters and installation of meters to all un metered connections.

With the above observations the trajectory loss reduction for the year 2011-12 to        2013-14 is fixed as follows

| 2011-12 | 31.56 |
| --- | --- |
| 2012-13 | 29.50 |
| 2013-14 | 27.50 |

DPN shall make all efforts for reduction of losses in the system as above.

# 5.5 		Energy Requirement and Availability

DPN has projected energy requirement and availability as detailed in liable 5.9 below

Table 5.9: Energy Balance

(MU)

| Sl. No. | Energy Balance | FY 2009-10 (Actual) | FY 2010-11 (Estimated) | FY 2011-2012 (Projected) |
| --- | --- | --- | --- | --- |
| A | ENERGY REQUIREMENT |  |  |  |
| 1 | Energy Sales within State | 249.88 | 264.25 | 279.10 |
| 2 | Sales to other distribution licensees | 75.67 | 91 | 90 |
| 3 | Total Energy Sales | 325.55 | 355.25 | 369.10 |
| 4 | Overall T & D Losses % | 36.46 | 30.77 | 28.07 |
| 5 | Overall T & D Losses (MUs) | 186.81 | 157.91 | 144.06 |
| 6 | Total Energy Requirement | 512.36 | 513.16 | 513.16 |
| B | ENERGY AVAILABILITY |  |  |  |
| 7 | Power Purchase from CGS/UI | 439 | 439 | 439 |
| 8 | Generation | 73.36 | 74.16 | 74.16 |
| 9 | Total Energy Availability | 512.36 | 513.16 | 513.16 |
| 10 | ENERGY SURPLUS/(GAP) | 0.00 | 0.00 | 0.00 |

Source: Extracted from Table 3.3 of ARR

Commission’s Analysis

As seen from the above DPN has not considered the regional transmission losses and clubbed the outside sales (UI Sales) with the sales within the state which is not in order. The sales outside the state will effect at state periphery, so intra state T & D loss has no bearing on out side sales.  The power purchase from central generating stations will be billed at ex bus of the respective generators. So the power received at state periphery will be influenced by regional pool loss. With the above observation the energy balance is modified without any changes in basic data given by DPN as detailed in table 5.10 below:

Table 5.10 Rectified Energy balance

(MU)

| Sl. No. | Particulars | 2011-12 Projected by DPN | 2011-12 Approved by Commission |
| --- | --- | --- | --- |
| A | Energy Requirement |  |  |
| 1 | Sales within the state | 279.10 | 302.18 |
| 2 | T & D Loss (MU) | 128.69 | 139.34 |
| 3 | T & D Loss (%) | 31.56 | 31.56 |
| 4 | Energy required at the state periphery | 407.79 | 441.52 |
| B | Energy Availability |  |  |
| 1 | Own generation (net) | 74.16 | 74.16 |
| 2 | Power purchase from CGS & others | 394.00 | 394.00 |
| 3 | Free power from Doyang | 45.00 | 45.00 |
| 4 | Less Inter state transmission Loss @3.5% on (2) & (3) | 15.37 | 15.37 |
| 5 | UI Purchases | - | - |
| 6 | Total Power availability at state Periphery ((1+2+3-4)+5) | 497.79 | 497.79 |
| 7 | Energy required | 407.79 | 441.52 |
| 8 | Surplus for sale outside the State | 90.00 | 56.27 |

Note: DPN clubbed sales outside the state with sales inside the state and calculated T&D

losses

# 5.6	Gross fixed Assets

The DPN has projected GFA as on 1.4.2009 at 422.88 Cr as on 1-4-2009 based on available information in the absence of fixed asset registers. Additions during the year have been considered from the works capitalized. The DPN has furnished year wise GFA as detailed in table 5.11 below:

Table 5.11: Gross Fixed Assets

(Rs. Crore)

| Sl. No. | Financial Year | Opening Balance | Addition during the year | Closing Balance |
| --- | --- | --- | --- | --- |
| 1 | FY 2009-10 | 422.88 | 149.20 | 572.08 |
| 2 | FY 2010-11 | 572.08 | 76.26 | 648.34 |
| 3 | FY 2011-12 | 648.34 | 76.26 | 724.60 |

Commission’s Analysis

The DPN has been maintaining Annual Accounts; and but not audited. DPN has also not maintained the asset registers. In view of this, Commission cannot accept the GFA furnished by DPN for purpose of depreciation and return on equity / capital base.

# 5.7	Capital Investment

The DPN has projected capital expenditure of Rs. 120.39 Cr during 2011-12. Scheme wise details during 2009-10 (Actuals) and 2010-11 (estimated) and 2011-12 (projected) are furnished in Table 5.12, 5.13 & 5.14 below:

Table 5.12 Investment Plan (Scheme wise) 2009-10

(Rs. Crore)

| Sl. No | Particulars | Eleventh Plan | (Actual) FY 2009-10 |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Approved outlay | Approved outlay | Actual Expenditure |  |
|  |  |  |  | Plan | Out side Plan |
| 1 | Generation Schemes | 100.00 | 18.75 | 17.81 | 5.50 |
| 2 | Transmission & Distribution Schemes | 225.00 | 31.89 | 26.26 | 12.00 |
| 3 | Renovation & Modernization | 80.00 | 29.00 | 35.00 | 7.47 |
| 4 | Rural Electrification | 90.00 | 8.46 | 8.03 | 54.00 |
| 5 | Miscellaneous Expenditure | 64.40 | 2.00 | 3.00 |  |
|  | Total | 559.40 | 90.10 | 90.10 | 78..97 |

Table 5.13 Investment Plan (Scheme wise) 2010-11

(Rs. Crore)

| Sl.No. | Particulars | Eleventh Plan | FY 2010-11 |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Approved outlay | Approved outlay | Actual Expenditure |  |
|  |  |  |  | Plan | Out side Plan |
| 1 | Generation Schemes | 100.00 | 7.61 | 7.61 |  |
| 2 | Transmission & Distribution Schemes | 225.00 | 34.66 | 34.66 | 31.73 |
| 3 | Renovation & Modernization | 80.00 | 10.39 | 10.39 | 34.00 |
| 4 | Rural Electrification | 90.00 | 2.00 | 2.00 |  |
| 5 | Miscellaneous Expenditure | 64.40 |  |  |  |
|  | Total | 559.40 | 54.66 | 54.66 | 65.73 |

Table 5.14 Investment Plan (Scheme wise) 2011-12

(Rs. Crore)

| Sl. No. | Particulars | Eleventh Plan | FY 2011-12 |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Approved outlay | Approved outlay | Actual Expenditure |  |
|  |  |  |  | Plan | Out side Plan |
| 1 | Generation Schemes | 100.00 | 7.61 | 7.61 |  |
| 2 | Transmission & Distribution Schemes | 225.00 | 34.66 | 34.66 | 31.73 |
| 3 | Renovation & Modernization | 80.00 | 10.39 | 10.39 | 34.00 |
| 4 | Rural Electrification | 90.00 | 2.00 | 2.00 |  |
| 5 | Miscellaneous Expenditure | 64.40 |  |  |  |
|  | Total | 559.40 | 54.66 | 54.66 | 65.73 |

Capital Works in progress is furnished in table 5.15 below:

Table 5.15 Capital works in progress

(Rs. Crore)

| Sl. No. | Particulars | FY 2009-10 (Actual) | FY 2010-11 (Estimated) | FY 2011-12 (Projected) |
| --- | --- | --- | --- | --- |
| 1 | Opening Balance | 480.15 | 500.02 | 544.15 |
| 2 | Add; New Investments | 169.07 | 120.39 | 120.39 |
| 3 | Total (1+2) | 649.22 | 620.41 | 664.54 |
| 4 | Less Investment capitalized | 149.20 | 76.26 | 76.26 |
| 5 | Closing balance | 500.02 | 544.15 | 588.58 |

Quantum of works in progress has been increased. Works programmed may be got completed and assets taken into service. This is further discussed while dealing with depreciation at para 5.12.

# 5.8	Revenue Requirement for FY 2011-12

DPN has projected a total ARR of Rs. 314.16 Cr for the year 2011-12 as given in table 5.16 below.

Table 5.16 Expenses projected by DPN for 2011-12

(Rs. crore)

| Sl.No | Item Of Expenditure | Proposed FY 2011-12 |
| --- | --- | --- |
| 1 | Cost of fuel | 0.08 |
| 2 | Cost of power purchase | 127.42 |
| 3 | Employees cost | 59.12 |
| 4 | O & M Expenses | 17.23 |
| 5 | Adm & Gen Expenses | 2.53 |
| 6 | Depreciation | 16.83 |
| 7 | Interest charges ( including interest on working capital) | 38.84 |
| 8 | Provision for Bad debt | 1.26 |
| 9 | Return on Equity | 51.26 |
| 10 | Total revenue requirement | 314.56 |
| 11 | Less: Non tariff income | 0.40 |
| 12 | Net revenue requirement | 314.16 |
| 13 | Revenue from tariff | 75.46 |
| 14 | Revenue from sale of surplus power | 35.55 |
| 15 | Gap (12-13-14) | 203.12 |
| 17 | Revenue surplus carried over | 0.00 |
| 18 | Additional revenue from proposed tariff | 50.12 |
| 19 | Regulatory asset | 153.01 |
| 20 | Energy Sales (MU) | 279.10 |

Commission’s Analysis

The expenses projected by DPN under each head and the Commission’s analysis are discussed below.

# 5.9 	Fuel Cost

DPN has projected fuel cost of Rs. 0.08 Cr for FY 2011-12.

The Commission approves the fuel cost of Rs. 0.08 Cr for the year 2011-12 as projected by DPN.

# 5.10 	Power Purchase cost

The allocation of power from CGS, the parameters adopted by DPN to arrive at the entitlement of energy from CGS and estimated availability of energy for purchase for the FY 2011-12 are discussed in para 5.5 above.

The power purchase cost estimated by DPN for the year 2011-12 is given in table 5.17   below:

Table 5.17 Power Purchase cost projected by DPN for FY 2011-12

| Sl. No. | Source | 2009-10(Actuals) |  |  | 2010-11(Estimated) |  |  | 2011-12(Projected) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Purchase (MU) | Rate (Rs/ KWh) | Total Cost | Purchase (MU) | Rate (Rs/ KWh) | Total Cost | Purchase (MU) | Rate (Rs/ KWh) | Total Cost (Rs. Crore) |
| 1 | NEEPCO |  |  |  |  |  |  |  |  |  |
| a | Kopili | 69.84 | 1.04 | 7.26 | 65.00 | 1.05 | 6.83 | 65.00 | 1.05 | 6.83 |
| b | Khangdong |  |  |  |  |  |  |  |  |  |
| c | AGTPP (Tripura) | 35.45 | 1.92 | 6.81 | 32.00 | 2.85 | 9.12 | 32.00 | 2.85 | 9.12 |
|  | AGBPP | 86.36 | 2.23 | 19.26 | 84.00 | 2.88 | 24.19 | 84.00 | 2.88 | 24.19 |
| d | Ranganadi (RHEP) | 71.14 | 2.40 | 17.06 | 85.00 | 1.89 | 16.07 | 85.00 | 1.89 | 16.07 |
| e | Doyang (DHEP) | 10.24 | 4.38 | 4.48 | 18.00 | 4.25 | 7.65 | 18.00 | 4.25 | 7.65 |
| 2 | NHPC | 23.98 | 1.37 | 3.28 | 28.00 | 1.38 | 3.86 | 28.00 | 1.38 | 3.86 |
| 3 | NTPC | 108.48 | 2.41 | 26.18 | 100.00 | 2.48 | 24.80 | 100.00 | 2.48 | 24.80 |
| 4 | PGCIL (Trans.Charges) |  |  | 20.92 |  |  | 26.00 |  |  | 26.00 |
| 5 | Purchase from IPP/Private sector | - | - | - | - | - | - | - | - |  |
| 6 | NERDC/NERPC charges |  |  | 0.63 |  |  | 0.90 |  |  | 0.90 |
| 7 | UI/over drawn (net) | 15.84 | 6.56 | 10.39 |  |  | 8.00 |  |  | 8.00 |
| 8 | Total Energy Purchase | 421.33 | 2.76 | 116.27 | 412.00 |  | 127.42 | 412.00 |  | 127.42 |
| 9 | Free Power from Doyang | 17.67 |  |  | 27.00 |  |  | 27.00 |  |  |
| 10 | (Total energy available) | 439.00 | 2.65 | 116.27 | 439.00 | 2.90 | 127.42 | 439.00 | 2.90 | 127.42 |
| 11 | Arrear energy bill/IT paid |  |  | - |  |  | - |  |  | - |
| 12 | Total of the year |  |  | 116.27 |  |  | 127.42 |  |  | 127.42 |

##### Commission’s Analysis

As seen from the power purchase cost projected by DPN for the FY 2011-12 PGCIL transmission charges are increased from Rs. 20.92 Cr to 26 Cr for 2010-11 over 2009-10. DPN claimed Rs. 26 Cr for 2011-12 at the same level. The same is approved by the Commission. RLDC charges are increased from 0.63 Cr to 0.90 Cr for 2011-12. Commission allows these charges. UI Charges of Rs. 8 Cr projected without any purchase of energy under UI. Hence the same is not allowed with the above observation the power purchase cost is approved as detailed in table 5.18 below.

Table 5.18 Power Purchase for the year 2011-12

| Sl. No. | Source | Purchase (MU) | Rate (Rs./ KWh) | Total Cost (Rs. Crore) |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
| 1 | NEEPCO |  |  |  |
| A | Kopili | 65.00 | 1.05 | 6.83 |
| B | Khangdong |  |  |  |
| C | AGTPP (Tripura) | 32.00 | 2.85 | 9.12 |
| D | AGBPP | 84.00 | 2.88 | 24.19 |
| E | Ranganadi (RHEP) | 85.00 | 1.89 | 16.07 |
| F | Doyang (DHEP) | 18.00 | 4.25 | 7.65 |
| 2 | NHPC | 28.00 | 1.38 | 3.86 |
| 3 | NTPC | 100.00 | 2.48 | 24.80 |
| 4 | PGCIL (Trans.Chrges) |  |  | 26.00 |
| 5 | NERLDC/NERPC charges |  |  | 0.90 |
| 6 | UI /over drwan (net) |  |  | - |
| 7 | Total Energy Purchase | 412.00 |  | 119.42 |
| 8 | Free Power from Doyang | 27.00 |  | 0.00 |
| 9 | (Total energy available) | 439.00 |  | 119.42 |

The Commission accordingly approves Rs. 119.42 crore towards power purchase cost for the year 2011-12 as against Rs. 127.42 crore projected by DPN.

# 5.11 	Operation and Maintenance Expenses

The O&M expenses comprises of employee expenses, Repairs and Maintenance expenses and administration and general expenses

The DPN has projected the over all O&M expenses at Rs. 78.88 crore for the year 2011-12 as detailed in table 5.19 below:

Table 5.19:- Operation & Maintenance Expenses for FY 2011-12

(Rs. Crore)

| Sl. No. | Source | FY 2009-10 (Actual) | FY 2010-11 (Estimated) | FY 2011-12 (Projected) |
| --- | --- | --- | --- | --- |
| 1 | Employee cost | 33.17 | 56.59 | 59.12 |
| 2 | Repair & Maintenance Expenses | 16.23 | 16.55 | 17.23 |
| 3 | Administration and General Expenses | 1.71 | 2.25 | 2.53 |
|  | Total Operation & Maintenance Expenses | 51.11 | 75.39 | 78.88 |

# 5.11.1	Employee Cost

DPN has projected the employee cost at Rs. 59.12 Cr for the year 2011-12. The employee cost includes salaries, allowances, bonus, LTC and Honorarium, leave salary etc. The component wise details of employee cost (actuals) for the years 2007-08 to 2010-11 (upto 30.9.2010) as furnished by DPN and are shown in Table 5.20 below:

Table 5.20 Employee cost actuals for 2007-08 to 2010-11 (upto 30.9.2010)

(Rs. Lakhs)

| Sl. No. | Particulars | 2007-08 | 2008-09 | 2009-10 | 2010-11 (Up to 30.09.2010) |
| --- | --- | --- | --- | --- | --- |
|  | SALARIES & ALLOWANCES |  |  |  |  |
| 1 | Basic Pay | 1834.92 | 1865.46 | 1894.41 | 2033.54 |
| 2 | Dearness Pay | 0.00 | 0.00 | 0.00 | 0.00 |
| 3 | Dearness Allowance | 864.32 | 985.81 | 1241.28 | 467.71 |
| 4 | House rent Allowance | 73.44 | 78.00 | 79.08 | 114.86 |
| 5 | Fixed medical allowance | 24.38 | 24.72 | 25.52 | 23.00 |
| 6 | Medical reimbursement charges | 20.50 | 23.02 | 25.73 | 0.00 |
| 7 | Over time payment | 0.00 | 0.00 | 0.00 | 0.00 |
| 8 | Other allowances | 10.62 | 9.52 | 9.88 | 15.54 |
| 9 | Generation incentive | 0.00 | 0.00 | 0.00 | 0.00 |
| 10 | Bonus | 0.00 | 0.00 | 0.00 | 0.00 |
| 11 | Total | 2828.18 | 2986.63 | 3275.90 | 2654.65 |
| 12 | Leave encashment | 44.50 | 46.53 | 41.53 | 175.00 |
| 13 | Gratuity | 0.00 | 0.00 | 0.00 | 0.00 |
| 14 | Communication of pension | 0.00 | 0.00 | 0.00 | 0.00 |
| 15 | Workman compensation | 0.00 | 0.00 | 0.00 | 0.00 |
| 16 | Ex-gratia | 0.00 | 0.00 | 0.00 | 0.00 |
| 17 | Total | 44.50 | 46.53 | 41.53 | 175.00 |
|  | Pension payment | 0.00 | 0.00 | 0.00 | 0.00 |
| 18 | Basic pension | 0.00 | 0.00 | 0.00 | 0.00 |
| 19 | Dearness Pension | 0.00 | 0.00 | 0.00 | 0.00 |
| 20 | Dearness allowance | 0.00 | 0.00 | 0.00 | 0.00 |
| 21 | Any other expenses | 0.00 | 0.00 | 0.00 | 0.00 |
| 22 | Total | 0.00 | 0.00 | 0.00 | 0.00 |
| 23 | Total (11+17+22) | 2872.68 | 3033.16 | 3317.43 | 2829.65 |
| 24 | Amount capitalized | 0.00 | 0.00 | 0.00 | 0.00 |
| 25 | Net amount | 0.00 | 0.00 | 0.00 | 0.00 |
| 26 | Add prior period expenses | 0.00 | 0.00 | 0.00 | 0.00 |
| 27 | Grand total | 2872.68 | 3033.16 | 3317.43 | 2829.65 |

The DPN has stated the increased level of expenses in 2011-12 related to increase in pay & allowances as per 6th Pay Commission and Nagaland Services (Revision of Pay) Rules, 2010.

Commission’s Analysis

As seen from the above table it is observed that the increase in employee cost during 2008-09 over 2007-08 is 5.57 %. While during 2009-10 over 2008-09 is 9.36%. During 2010-11 steep increase is observed which may be due to the impact of implementation of 6th Pay Commission pay scales and Nagaland Services (Revision of Pay) Rules, 2010 and payment of arrears. DPN has furnished actual expenses for 6 months of 2011-12 at Rs. 28.30 Cr. During hearing on 8th March 2011 the finance officer of the DPN has explained the need for increase consequent to revision of pay as mentioned above. Considering 6 months actuals, Commission approves employee expenses at Rs.57 Cr for 2011-12

The Commission accordingly approves Rs 57 crore towards employee costs for FY 2011-12 as against DPN projection of Rs 59.12 crore

# 5.11.2 Repairs and Maintenance Expenses

DPN has projected Rs 17.23 Cr towards R & M expenses for the FY 2011-12. The R & M expenses include expenses on R & M of electrical equipment, transmission and distribution system, vehicles, furniture and fixtures, office equipment and buildings etc.

The DPN has estimated the expenses during 2010-11 at increased rate of 2% over actual expenditure incurred during 2009-10 and projected at 4% for the year 2011-12 as detailed in table 5.21 below:

Table 5.21 Repair & Maintenance Expenses

(Rs. Lakhs)

| Sl. No. | Particulars | FY 2009-10 (Actuals) | FY 2010-11 (Estimated) | FY 2011-12 (Projected) |
| --- | --- | --- | --- | --- |
| 1 | Plant & Machinery | 2.75 | 3.25 | 3.50 |
| 2 | Building | 8.25 | 9.00 | 10.75 |
| 3 | Hydraulic works & civil works | 5.75 | 6.25 | 6.75 |
| 4 | Line cable & network | 1592.00 | 1620.00 | 16.84.00 |
| 5 | Vehicles | 9.75 | 11.50 | 12.75 |
| 6 | Furniture & Fixtures | 2.25 | 2.50 | 2.50 |
| 7 | Operating expenses | 2.25 | 2.50 | 2.75 |
|  | Total | 1623.00 | 1655.00 | 1723.00 |

The DPN was requested to furnish actual expenditure for 2011-12 accordingly they furnished 6 months actuals at Rs.7.94 crore.

Commission’s Analysis

The DPN has subsequently furnished actual expenditure during first half of FY 2010-11 from 4/2010 to 9/2010 of Rs 7.94 crore. The expenses for 2010-11 are Rs. 15.86 crore.  An increase of 5% is considered for 2011-12 over the expenses of 2010-11.

Considering the above the Commission accordingly approves Rs 16.70 Cr for the year 2011-12 against Rs. 17.23 proposed by DPN.

# 5.11.3	Administration and General Expenses

The DPN has projected Admin and General Expenses at Rs 2.53 crore for the year 2011-12. Administration and General Expenses comprise payment of rent, rates and taxes, Telephone, postage expenses, conveyance and travel expenses, technical and consultancy fee etc.

The details of Expenses projected by DPN are furnished in table 5.22 below:

Table 5.22 Administrative & General Expenses for FY 2011-12

(Rs. Lakhs)

| Sl. No. | Particulars | FY 2009-10 (Actuals) | FY 2010-11 ( Estimated) | FY 2011-12 (Projected) |
| --- | --- | --- | --- | --- |
| 1 | Rent, rate & taxes | 11.55 | 17.50 | 20.50 |
| 2 | Telephone, postage & telegrams | 12.00 | 18.75 | 22.50 |
| 3 | Consultancy Fees | 0.00 | 15.00 | 15.00 |
| 4 | Technical fees | 0.00 | 20.00 | 20.00 |
| 5 | Other Professional charges | 7.45 | 7.45 | 7.45 |
| 6 | Conveyance & travel expenses | 55.00 | 90.00 | 110.00 |
| 7 | Others | 85.00 | 56.08 | 57.93 |
|  | Total | 171.00 | 224.78 | 253.38 |

The DPN has subsequently furnished actual expenditure for 6 months of 2010-11 as directed by the Commission at Rs. 1.07 crore.

Commission’s Analysis

Based on actual expenditure of Rs.1.07 crore for six months the expenses for FY 2010-11 are Rs.2.14 crore. Considering an increase of 5% the expenses for FY 2011-12 would be Rs.2.25 crore.

The Commission approves Rs 2.25 crore towards Administration and General Expenses for the year 2011-12 as against Rs. 2.53 projected by DPN.

# 5.12 	Depreciation

The DPN has projected depreciation of Rs. 16.83 Cr for the year 2011-12. DPN has applied average rate of depreciation as 2.45 % for the year 2011-12. The details projected by DPN are furnished in table 5.23 below.

Table 5.23: Depreciation for the FY 2011-12 projected by DPN

(Rs. crore)

| Sl. No. | Particulars | FY 2011-12 |
| --- | --- | --- |
| 1 | Gross Block in Beginning of the year | 648.34 |
| 2 | Additions during the Year | 76.26 |
| 3 | Cumulative Depreciation at the Beginning of the Year | 136.57 |
| 4 | Average Rate of Depreciation | 2.45% |
| 5 | Depreciation for the Year | 16.83 |
| 6 | Cumulative Depreciation at the End of the Year | 153.40 |
| 7 | Net Block in the Beginning of the Year | 511.77 |
| 8 | Net Block in the End of the Year | 571.20 |

###### Commission’s Analysis

DPN has not maintained asset / depreciation registers. Audited proforma accounts are also not furnished. This subject is discussed in Para 5.6 and DPN is directed to verify the assets and update the assets / depreciation registers and produce in the next filing along with audited proforma accounts to allow depreciation.

In view of the above the Commission is not allowing any depreciation for the year 2011-12.

# 5.13 	Interest and Finance Charges

DPN has projected interest & finance charges at Rs. 36.86 Cr for FY 2011-12. The DPN has treated 50% of GFA as on 31.3.2010 as notional debt and considered funding through normative loan, with the assumption that these notional loan be repaid in next 10 years. The rate of interest is assumed at 11.5% being the SBI PLR as on 1.4.2010 Based on the above assumptions interest is worked out as detailed in table 5.24 below.

Table 5.24 Interest and Finance Charges

(Rs. Crore)

| Sl. No. | Particulars | FY 2010-11 (Estimated) | FY 2011-12 (Projected) |
| --- | --- | --- | --- |
| 1 | Opening Loan | 286.04 | 310.82 |
| 2 | Loan Additions | 53.38 | 53.38 |
| 3 | Repayment | 28.60 | 33.94 |
| 4 | Closing Loan | 310.82 | 330.26 |
| 5 | Average Loan | 298.43 | 320.54 |
| 6 | Wt Avg Interest on Loan | 11.50% | 11.50% |
| 7 | Interest on Loan | 34.32 | 36.86 |
| 8 | Total Interest & Finance Charges | 34.32 | 36.86 |

But in the format 15 of the Petition DPN has furnished year wise and institution wise loans availed during 2009-10, 2010-11 and 2011-12 as detailed in Table 5.25, 5.26 and 5.27 below:

Table 5.25: Institution wise loan and details and interest for FY 2009-10

(Rs. crore)

| Sl. No. | Particulars | Opening balance | Rate of Interest | Addition during the year | Repayment during the year | Closing balance | Amount of interest paid |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| 1 | REC | 66.48 |  | 18.76 | 6.71 | 78.53 | 9.26 |
| 2 | PFC | 33.39 |  | 5.00 | 12.69 | 25.70 | 3.58 |
| 3 | OTHERS-NABARD/HUDCO / BOND | 0.82 |  | 27.24 | 0.09 | 27.97 | 5.24 |
|  | TOTAL | 100.69 |  | 51.00 | 19.49 | 132.20 | 18.08 |

Table 5.26: Institution wise loan and details and interest for FY 2010-11

(Rs. crore)

| Sl. No. | Particulars | Opening balance | Rate of Interest | Addition during the year | Repayment during the year | Closing balance | Amount of interest paid |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| 1 | REC | 78.53 |  | 12.39 | 7.00 | 83.92 | 10.00 |
| 2 | PFC | 25.70 |  | 0.00 | 9.62 | 16.08 | 2.69 |
| 3 | OTHERS-NABARD/ HUDCO /BOND | 27.97 |  | 7.61 | 0.09 | 35.49 | 5.23 |
|  | TOTAL | 132.20 |  | 20.00 | 16.71 | 135.49 | 17.92 |

Table 5.27: Institution wise loan and details and interest for FY 2011-12

(Rs. crore)

| Sl. No. | Particulars | Opening balance | Rate of Interest | Addition during the year | Repayment during the year | Closing balance | Amount of interest proposed |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| 1 | REC | 83.92 |  | 12.39 | 7.00 | 89.31 | 10.00 |
| 2 | PFC | 16.08 |  | 0.00 | 9.62 | 6.46 | 2.69 |
| 3 | OTHERS-NABARD/ HUDCO/ BOND | 35.49 |  | 7.61 | 0.09 | 43.01 | 5.23 |
|  | TOTAL | 135.49 |  | 20.00 | 16.71 | 138.78 | 17.92 |

Commission’s Analysis

The notional interest claimed by DPN as per Table 5.24 is Rs. 36.86 Cr and as per table 5.26 actual interest proposed to be paid is Rs. 17.92 Cr. The DPN in reply to Commission’s letters dated 19.1.2011 and 22.1.2011 has stated as follows:

“Loans from various financial institutions have been availed by the State Government and provided to the power department as a budgetary support. The same is treated in the account of power department as grant. Payment of interest on loans and repaying is done by State Government….”

In view of the above the Commission has not considered any interest charges for the year 2011-12

# 5.14 	Interest on Working Capital

The DPN has projected interest on working capital for FY 2011-12 at RS 1.97 Cr on normative basis. As per NERC Regulations, working capital shall be the sum of one month requirement of the following

- Fuel Cost

- Power Purchase Cost

- Employee Cost

- Administration & General Expenses

- R & M Expenses

The rate of Interest claimed by the DPN is 11.5 % being the SBI prime-lending rate as on 1st April 2010. The details of interest on working capital are furnished in table 5.28 below:

Table 5.28: Interest on working capital

| Sl. No. | Particulars | Amount ( Rs. In Crore) |  |
| --- | --- | --- | --- |
|  |  | 2010-11 (Estimated) | 2011-12 (Projected) |
| 1 | Fuel Cost | 0.01 | 0.01 |
| 2 | Power Purchase Cost | 10.62 | 10.62 |
| 3 | One month’s employees Cost | 4.72 | 4.93 |
| 4 | Administration & General Expenses | 0.15 | 0.18 |
| 5 | One Month’s R & M Cost | 1.38 | 1.44 |
| 6 | Total | 16.88 | 17.17 |
|  | Interest on working capital | 1.94 | 1.97 |

##### Commission’s Analysis

The DPN has claimed interest on working capital on normative basis as per NERC Regulations and considered the rate of interest at 11.75%.  The interest is claimed at Rs.1.97 crore.

The interest on working capital is revised based on approved cost of the following.

- Fuel Cost			One Month

- Power Purchase Cost	One Month

- Employee Cost 		One Month

- Administration Expense	One Month

- R & M Expenses		One month

Considering the interest rate of 11.75% as per SBI short-term PLR as on 1st April, 2010 the interest works out to Rs.1.91 crore as shown in Table 5.29.

Table 5.29 : Interest on working capital FY 2011-12

(Rs. crore)

| Sl. No. | Particulars | Total Cost | Cost for One Month |
| --- | --- | --- | --- |
| 1 | Fuel Cost | 0.08 | 0.01 |
| 2 | Power Purchase Cost | 119.42 | 9.95 |
| 3 | Employees Cost | 57.00 | 4.75 |
| 4 | Administration & General Expenses | 2.25 | 0.19 |
| 5 | R & M Expenses | 16.70 | 1.39 |
|  | Total | 195.45 | 16.29 |
| 6 | Rate of Interest |  | 11.75 |
| 7 | Interest on working capital |  | 1.91 |

Commission therefore allows Rs.1.91 crore instead of Rs.1.97 crore claimed by DPN.

# 5.15	Return on equity

The DPN has projected return on equity at R 51.26 Cr at 16 % as detailed in table 5.30 below

Table 5.30: Return on Equity for FY 2011-12 projected by DPN

(Rs. Crore)

| Sl. No. | Particulars | FY 2010-11 (Estimated) | FY 2011-12 (Projected) |
| --- | --- | --- | --- |
| 1 | Opening Equity | 286.04 | 308.92 |
| 2 | Equity Addition (30% Capex for the FY ) | 22.88 | 22.88 |
| 3 | Closing Equity | 308.92 | 331.80 |
| 4 | Average Equity | 297.48 | 320.36 |
| 5 | Rate of Return on Equity | 16% | 16% |
| 6 | Return on Equity | 47.60 | 51.26 |

The DPN has submitted that the distribution business has always been perceived to be a business having a greater inherent risk than the generation and transmission business due to various factors amongst which the direct interface with the retail consumers is the biggest risk. The same has been recognized by many Commissions across the country and they have proposed a higher rate of return on the equity invested in distribution business as compared to generation and transmission business. This has been demonstrated by various Commissions by offering rate of return at 16% for distribution as compared to 14% to other business areas. It may also kindly be noted that CERC in its recent tariff regulation of 2009 for generation and transmission has fixed pre tax return on equity at 15.5% with an additional return of 0.5% for projects completing within specified time limits.

The DPN being a Government Department the entire capital employed has been funded through equity infusion by government of Nagaland through budgetary support without any external borrowing. DPN has cited examples of Central Power Sector Undertakings (CPSUs) undertaking such as NTPC, NHPC, PGCIL where the actual equity deployed in the assets created prior to formulation of tariff regulations was much higher than the equity calculated considering a normative debt :equity ratio of 70:30. These CPSUs were allowed normative debt :equity ratio of 50:50 for the purpose of determination of tariff in respect of their old assets.

Commission’s Analysis

The basic requirement either for return on capital base or return on equity is the audited accounts and the register of assets and depreciation. DPN has not furnished the Audited Accounts and Asset Registers. In the absence of audited accounts and assets registers, the Commission cannot allow any return on equity or capital base till such time the assets registers and audited accounts are submitted..

# 5.16 	Provision for Bad and doubtful debts

DPN has projected provision for bad debts at Rs. 1.26 Cr for the year 2011-12. DPN has considered the provision for bad debts as 1% of revenue from sale of power to consumers.

Commission’s Analysis

As per Regulations 98(5) of NERC (Terms and conditions for determination of Tariff) Regulations 2010, the Commission may, after distribution licensee gets the receivable audited allow a provision for bad debts upto 1% of receivable in the revenue requirement of the distribution licensee. Here receivables mean arrears of current consumption charges due from the consumers.

As per Annual Plan the receivables are Rs. 77.38 Cr for FY 2010-11. Considering 1% of receivables Commission allows Rs. 0.75 Cr towards bad and doubtful debts.

# 5.17 	Non Tariff Income

The DPN has projected non-tariff income at RS 0.40 Cr for the year 2011-12. Non-Tariff income is in the form of meter rent, late payment charges, interest on staff loans, miscellaneous charges from consumers etc.

The details of non tariff income are furnished in table 5.31 below:

Table 5.31: Non Tariff Income

(Rs. Crore)

| Sl. No. | Source of Income | Previous year (Actual) FY 2009-10 | Current Year (Estimated) FY 2010-11 | Ensuing year (Projected) FY 2011-12 |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
| 1 | Meter / Service rent | - | - | - |
| 2 | Late payment surcharge | - | - | - |
| 3 | Theft / pilferage of energy | - | - | - |
| 4 | Misc. receipts | 0.40 | 0.40 | 0.40 |
| 5 | Misc. charges (except PLEC) | - | - | - |
| 6 | Wheeling charges | - | - | - |
| 7 | Interest on staff loans & advance | - | - | - |
| 8 | Income from trading | - | - | - |
| 9 | Income from welfare activities | -- | - | - |
| 10 | Excess on verification | - | - | - |
| 11 | Investments & bank balances | - | - | - |
| 12 | Total Income | 0.40 | 0.40 | 0.40 |
| 13 | Add Prior period income * | - | - | - |
| 14 | Total Non tariff income | 0.40 | 0.40 | 0.40 |

Commission’s Analysis

Though the DPN is collecting meter rent, delayed payment charges and other miscellaneous charges from the consumers, proper accounting is not being done. The DPN is directed to maintain proper accounts for non-tariff income. This being the 1st ARR the Commission admits the non-tariff income projected by DPN at Rs. 0.40 crore.

# 5.18	Aggregate Revenue Requirement

Having analyzed the aggregate revenue requirement projected by DPN for the year 2011-12 as enumerated in preceding paragraphs the Commission approves the ARR for FY 2011-12 as indicated in table 5.32 below.

Table 5.32 Aggregate Revenue Requirement for FY 2011-12

(Rs. Crore)

| Sl. No. |  | Projected by DPN | Approved by Commission |
| --- | --- | --- | --- |
| 1 | Fuel cost | 0.08 | 0.08 |
| 2 | Power Purchase cost | 127.42 | 119.42 |
| 3 | O&M Expenses |  |  |
| 3.1 | Employee cost | 59.12 | 57.00 |
| 3.2 | Repairs & Maintenance expenses | 17.23 | 16.70 |
| 3.3 | Administration and General Expenses | 2.53 | 2.25 |
| 4 | Depreciation | 16.83 | - |
| 5 | Interest & Finance charges | 38.84 | - |
| 6 | Interest on working capital | - | 1.91 |
| 7 | Provision for bad debts | 1.26 | 0.75 |
| 8 | Return on equity | 51.26 | - |
| 9 | Total expenditure | 314.56 | 198.11 |
| 10 | Less Non tariff income | 0.40 | 0.40 |
| 11 | Aggregate Requirement | 314.17 | 197.71 |

# 5.19	Expected revenue from existing tariff

The DPN has furnished the revenue from existing tariff at Rs. 111.04 Cr for FY 2011-12 as detailed in the table 5.33 below:

Table-5.33: Revenue from existing tariff projected by DPN for FY 2011-12

(Rs. crore)

| Sl. No. | Source | Ensuing year (projected) FY 2011-12 |
| --- | --- | --- |
| 1 | Domestic including BPL | 48.37 |
| 2 | Commercial | 10.33 |
| 3 | Industrial Consumers | 3.98 |
| 4 | Public Lighting | 0.66 |
| 5 | Public water works & Sewage | 0.73 |
| 6 | Irrigation and Agriculture | 0.01 |
| 7 | Bulk Supply | 11.41 |
| 8 | Outside state | 35.55 |
|  | Total | 111.04 |

###### Commission’s Analysis

The category-wise sales for FY 2011-12 are approved in paragraph 5.3. Based on sales and revenue (actuals) furnished by DPN in the Tariff Petition for FY 2009-10 the average unit rates are arrived at for different category of consumers.

The revenue from the existing tariff is worked out adopting these average rates and furnished in the Table 5.34 below:

Table 5.34: Revenue from existing tariff approved by the Commission for FY 2011-12

| Sl. No. | Category | Sales (MU) | Revenue from existing tariff |  |
| --- | --- | --- | --- | --- |
|  |  |  | Average rate (Rs./kWh) | Revenue (Rs/crore) |
|  | Domestic | 213.00 | 2.10 | 44.73 |
|  | Commercial | 25.20 | 3.60 | 9.07 |
|  | Industrial | 14.50 | 2.90 | 4.21 |
|  | Public lighting | 2.40 | 2.73 | 0.66 |
|  | Public water works & sewage | 2.28 | 2.90 | 0.66 |
|  | Irrigation & Agriculture | 0.04 | 1.50 | 0.01 |
|  | Bulk supply | 44.76 | 3.10 | 13.88 |
|  | Total | 302.18 | 2.42 | 73.23 |
|  | Sale Outside State | 56.27 | 3.95 | 22.23 |
|  | Total | 358.45 | 2.96 | 95.46 |

The Commission accordingly assessed the revenue from existing tariff for energy sales including sales out side the state at Rs.95.46 crore for FY 2011-12 as against Rs. 111.04 crore projected by DPN. The revenue towards energy sales from the consumers is Rs.73.23 crore for FY 2011-12.

# 5.19.1	Revenue gap for FY 2011-12

Table 5.35: Net revenue requirement and gap with revenue at existing tariff

(Rs. crore)

| Sl. No. | Particulars | Projected by DPN | Approved by the Commission |
| --- | --- | --- | --- |
|  | Net Revenue Requirement (Rs. crore) | 314.16 | 197.71 |
|  | Revenue from sale of power (Rs. crore) | 111.04 | 95.46 |
|  | Gap (Rs. crore) | 203.12 | 102.25 |
|  | Energy sales (MU) | 369.10 | 358.45 |
|  | Average cost (Rs/kWh) | 8.51 | 5.52 |

# 5.19.2	Revenue from revised tariff

As seen from the above table there is a gap of Rs. 102.25 crore between aggregate revenue requirement and revenue from sale of power at existing tariff.  To meet the gap the Commission considered the proposed tariff by the DPN, the paying capacity of consumers in Nagaland, concerns of State Government to improve revenue mobilization efforts and approves the revised tariff for different category consumers.  The revenue is worked out with the revised tariff and shown in Table 5.36 below:

Table 5.36: Revenue from revised tariff approved by the Commission for FY 2011-12

| Sl. No. | Category | Sales (MU) | Revenue from revised tariff |  |
| --- | --- | --- | --- | --- |
|  |  |  | Average Revised Tariff (Rs./kWh) | Revenue (Rs/crore) |
|  | Domestic | 213.00 | 3.25 | 69.23 |
|  | Commercial | 25.20 | 4.50 | 11.34 |
|  | Industrial | 14.50 | 3.35 | 4.86 |
|  | Public lighting | 2.40 | * | 2.33 |
|  | Public water works & sewage | 2.28 | 3.85 | 0.88 |
|  | Irrigation & Agriculture | 0.04 | 2.00 | 0.08 |
|  | Bulk supply | 44.76 | 3.85 | 17.23 |
|  | Total | 302.18 |  | 105.95 |
|  | Sale outside State | 56.27 | 3.95 | 22.23 |
|  | Total | 358.45 |  | 128.18 |

* Charges for public lighting have to be recovered from the consumers of Domestic, Commercial, Industrial and Bulk categories at the rates shown below:

Domestic	Rs. 10 per connection / month

Commercial	Rs. 15 per connection / month

Industrial	Rs. 20 per connection / month

Bulk Supply	Rs. 25 per connection / month

The Commission accordingly approves revenue from revised tariffs at Rs. 128.18 crore.  Additional revenue with the revised tariff from the consumers would be Rs.32.72 crore.

Tariff principles and design is discussed in Chapter-7.

# Annexure – 5.1

ACTUAL METERED TRANSMISSION LOSS IN NORTH EASTERN REGION 2010-11

| Week No. | WEEK |  | % Loss |
| --- | --- | --- | --- |
|  | From | To |  |
| 1 | 29-Mar-10 | 4-Apr-10 | 3.57 |
| 2 | 5-Apr-10 | 11-Apr-10 | 3.24 |
| 3 | 12-Apr-10 | 18-Apr-10 | 3.49 |
| 4 | 19-Apr-10 | 25-Apr-10 | 4.31 |
| 5 | 26-Apr-10 | 2-May-10 | 3.66 |
| 6 | 3-May-10 | 9-May-10 | 3.08 |
| 7 | 10-May-10 | 16-May-10 | 3.83 |
| 8 | 17-May-10 | 23-May-10 | 3.94 |
| 9 | 24-May-10 | 30-May-10 | 3.24 |
| 10 | 31-May-10 | 6-Jun-10 | 4.07 |
| 11 | 7-Jun-10 | 13-Jun-10 | 3.61 |
| 12 | 14-Jun-10 | 20-Jun-10 | 3.03 |
| 13 | 21-Jun-10 | 27-Jun-10 | 3.26 |
| 14 | 28-Jun-10 | 4-Jul-10 | 3.21 |
| 15 | 5-Jul-10 | 11-Jul-10 | 2.96 |
| 16 | 12-Jul-10 | 18-Jul-10 | 2.87 |
| 17 | 19-Jul-10 | 25-Jul-10 | 3.04 |
| 18 | 26-Jul-10 | 1-Aug-10 | 2.80 |
| 19 | 2-Aug-10 | 8-Aug-10 | 2.87 |
| 20 | 9-Aug-10 | 15-Aug-10 | 2.96 |
| 21 | 16-Aug-10 | 22-Aug-10 | 3.24 |
| 22 | 23-Aug-10 | 29-Aug-10 | 3.09 |
| 23 | 30-Aug-10 | 5-Sep-10 | 2.96 |
| 24 | 6-Sep-10 | 12-Sep-10 | 3.04 |
| 25 | 13-Sep-10 | 19-Sep-10 | 3.04 |
| 26 | 20-Sep-10 | 26-Sep-10 | 3.27 |
| 27 | 27-Sep-10 | 3-Oct-10 | 3.07 |
| 28 | 4-Oct-10 | 10-Oct-10 | 3.27 |
| 29 | 11-Oct-10 | 17-Oct-10 | 2.87 |
| 30 | 18-Oct-10 | 24-Oct-10 | 2.77 |
| 31 | 25-Oct-10 | 31-Oct-10 | 2.78 |
| 32 | 1-Nov-10 | 7-Nov-10 | 2.85 |
| 33 | 8-Nov-10 | 14-Nov-10 | 2.96 |
| 34 | 15-Nov-10 | 21-Nov-10 | 3.12 |
| 35 | 22-Nov-10 | 28-Nov-10 | 3.17 |
| 36 | 29-Nov-10 | 5-Dec-10 | 3.26 |
| 37 | 6-Dec-10 | 12-Dec-10 | 3.07 |
|  |  | Average | 3.21 |
|  | Maximum Loss of 37 Week |  | 4.31 |

# 6. Directives

## Commission’s Observation

While examining the information and data contained in the proposed ARR and Tariff Petition for the FY 2011-12 it has been observed that the compilation and computation of data have been done based on certain assumptions in respect of certain vital information. Most of the areas of the operational and financial performance of DPN require substantial improvement.

Therefore, the Commission decided to issue the following directives to the DPN in the larger interest of Stakeholders.

Directive 1:	Submission of next ARR

DPN shall file the ARR and Tariff Petition well in time i.e. on or before 30th November each year.

Directive 2:	Maintenance of Asset Registers and Audited Annual Accounts

The DPN has stated that the complete data of fixed assets is not available.

Unless the function wise, asset wise data is up-dated, correct asset value and depreciation thereon cannot be ascertained. The DPN is directed to get the asset registers built up, assets verified and submit updated assets & depreciation registers.

Accounts are to be maintained for construction and operation activities of the Power Department. Audited Annual Accounts should be submitted. In the event of delay in getting Accounts audited by the Accountant General, the DPN can get the same audited by CAG empanelled auditors and submit the same with the future filing.

Directive 3:  Management Information System (MIS)

The DPN has not maintained proper data in respect of sales (slab wise), revenue and revenue expenses as also the category wise / slab wise number of consumers, connected load / demand etc. for proper analysis of the past data based on actuals and estimation of proper projections for consideration in the ARR and Tariff Petition.

The DPN is directed to take steps to build credible and accurate data base and management information system (MIS) to meet the requirements for filing ARR & Tariff Petition as per regulatory requirement and also to suit the Multi Year Tariff principles which the Commission may consider at an appropriate time under Regulation 20 of NERC (Terms and Conditions for Determination of Tariff) Regulations, 2010. The formats, software and hardware may be synchronized with the Regulatory Information and Management System (RIMS) circulated by Central Electricity Regulatory Commission (CERC).

Directive 4:  Pilferage of Energy

The DPN has furnished the T&D losses at 36.46% during 2009-10 and projected the losses at 30.77% for 2010-11and 28.07% 2011-12.The Department has not segregated the losses into technical and commercial losses. It is possible that the losses projected may include commercial losses on account of pilferage and malpractices.

Pilferage of energy may be by illegal tapings from electrical lines, tampering meters etc. The Commission feels that there is need to launch an extensive drive to remove illegal connections, if any, check meter tampering, replace the defective meters, maintain proper account of un-metered services and keep constant vigil so that corrective measures could be taken to reduce the AT & C losses. Requisite action may be taken as per the provisions under sections 135 and 138 of Electricity Act, 2003.

The DPN is directed to furnish an action plan in a month time to arrest the pilferage and malpractice.

Directive 5 :  Replacement of Non-Functional / Defective Meters

It is reported that about 50% of total connections are with defective meters. Information of non-functional meters may be obtained from the field officers and ensure that data is maintained correctly.

Replacement of meters shall be planned on priority wise i.e., meters of Bulk supply, commercial, industrial and high value domestic categories to be replaced. In respect of defective meters billing may be done by adopting standard method. The Data on defective meters, replacement, pendancy shall be filed with the next petition. It is seen from the data with tariff filed number of static meters single phase and three phase have been procured by the Power Department from APDRP funds. These meters shall be utilized for replacing defective meters / replacing old electromagnetic meters and compliance reported.

Directive 6:  Consumers contribution for Capital Investment

The fact of consumer contribution for capital investment is not brought out in the ARR and Tariff Petition.

The DPN is directed to furnish the details of contributions being collected from consumers for capital works. The amounts collected from the consumers towards capital investment shall be brought out in the accounts. The depreciation and Return on Equity / Capital Base should not be claimed on the amount contributed by the consumers towards capital investment.

Directive 7:  Energy Audit

The DPN has projected the transmission and distribution loss at 30.77% for the year 2010-11 & 28.07 % for FY 2011-12.

The DPN is directed to get Energy Audit conducted by providing meters on all the feeders (132 kV, 33 kV and 11 kV) and at distribution transformers to identify the high loss areas and take appropriate measures to reduce both technical and commercial losses to the level fixed by the Commission.  Intrastate transmission loss shall be assessed by providing meters on incoming 132 kV feeders and 33 kv feeders to facilitate assessment of distribution losses in the state. The DPN shall also comply with loss reduction trajectory for T&D losses for the next three years.

The investment required to reduce the losses shall be included in the investment plan for augmentation of T&D system to be submitted to the Commission. Effective technical and administrative measures shall be taken to reduce the commercial losses.  The action plan for energy audit and loss reduction measures shall be furnished to the Commission by 30-9-2011.

Directive 8:  Investment Plan and Capping of capital expenditure

Annual Investment Plan shall be submitted to the Commission and approval of Commission should be obtained for all major capital works costing Rs. 5.00 crore and above before execution of the works.

Directives 9:  Interest on Security Deposit

DPN did not indicate the amount of security deposit collected from the consumers. DPN is directed to maintain consumer-wise security deposit collected. Such data shall be furnished with the next filing.

Directive 10:

Power Department does not have website and e-mail facility. These are important items for the Department for timely communication and for maintaining data in various functions of the Department. Compliance shall be reported in 2 months time.

Directive 11:

The finalization of this Tariff Order has been much delayed due to certain situations as under:

- Additional information / data asked by the Commission vide letters dated 15/01/2011, 22/01/2011 and 25/01/2011 was furnished by DPN only on 23rd March 2011 – about 2 months delay.

- Draft Public Notice to be published by DPN was formally hand-delivered to the Department on 09/03/2011. The DPN published the notice only on 22nd April, 2011 – nearly 1½ months delay.

  - It is to be noted that the Commission is charged to dispose Tariff Petitions within 120 days.

  - Tariff petition and its processing are new activities for both the DPN and the NERC; and as such, certain delays have been contributed by both parties resulting in inability to decide the revised tariff to be effective from 1st April, 2011.

The DPN is directed to respond timely to the NERC in the future.

Directive - 12

Attention, all concerned

“Better performance by reduction of loss level will result in substantial reduction in quantum of power purchase and costs which means reduction in average cost of supply” (Refer last sentence of para 7.1.2 of Tariff order).

In this context, the average cost of supply is Rs. 8.51 / Unit (reworked from Rs. 9.98 / Unit as per original petition submitted on 30/11/2010).

This figure of Rs. 8.51 / Unit will come down or will not increase substantially if the DPN functions more effectively and people do not resort to theft of power. DPN shall take steps to curb theft / malpractices by the consumers / people

The increase in the average cost of supply and the DPN’s inability to collect required revenue (w.r.t. energy consumed) will have a direct result in increased drain on the State Exchequer.

This increased drain by the DPN on the State Exchequer will affect all Departments in the Government and the public in general will be deprived of the services they are entitled (not only in power sector; but also in other sectors due to reduced allocation of non-plan funds in such Departments), on account of Power Departments having used more non-plan funds.

In the above manner, the deterioration of the power sector on account of its inefficiency, consumer / public non-cooperation to pay bills or even resorting to theft of power will have far-reaching and cascading consequences as mentioned in the foregoing paragraphs.

# 7	Tariff Principles and Design

# 7.1	Background

7.1.1	The Commission in determining the revenue requirement of DPN for the year 2011-12 and the retail supply tariff has been guided by the provisions of the Electricity Act, 2003, the National Tariff Policy (NTP), Regulations on Terms and Conditions of Tariff issued by the Central Electricity Regulatory Commission (CERC) and Regulations on Terms and Conditions of Tariff notified by the NERC. Section 61 of the Act lays down the broad principles, which shall guide determination of retail tariff.  As per these principles the tariff should “Progressively reflect cost of supply” and also reduce cross subsidies “within the period to be specified by the Commission”. The Act lays special emphasis on safeguarding consumer interests and also requires that the costs should be recovered in a reasonable manner. The Act mandates that the tariff determination shall be guided by the factors, which encourage competition, efficiency, economical use of resources, good performance and optimum investment.

The NTP notified by Government of India in January 2006 provides comprehensive guidelines for determination of tariff and also in working out the revenue requirement of power utilities. The Commission has endeavored to follow these guidelines as far as possible.

    - NTP mandates that the Multi-Year-Tariff (MYT) framework be adopted for determination of tariff from 1st April 2006. However the Commission is not in a position to introduce MYT Regime in the State mainly because of lack of requisite and reliable data. The present MIS and regulatory reporting system of the DPN is very inadequate for any such exercise at this stage. There has been no study to assess voltage wise losses in the absence of metering of all feeders, and distribution transformers. Technical and commercial losses are yet to be segregated and quantified voltage wise. The Commission has issued a directive to the DPN in the Tariff Order 2011-12 to chalk out a action plan for reduction of T&D losses.

    - The mandate of the NTP is that tariff should be within plus / minus 20% of the average cost of supply by 2011-12. It is not possible for the Commission to lay down the road map for reduction of cross subsidy, mainly because of lack of data regarding cost of supply at various voltage levels. In view of the prevailing situation the Commission has gone on the basis of average cost of supply for working out consumer category-wise cost of supply. However in this tariff order an element of performance target has been indicated by setting target for T&D loss reduction for the years 2011-12 to 2013-14. This better performance by reduction of loss level will result in substantial reduction in average cost of supply.

    - Section 8.3 of National Tariff Policy lays down the following principles for tariff design:

  - In accordance with the National Electricity Policy, consumers below poverty line who consume below a specified level, say 30 units per month, may receive a special support through cross subsidy. Tariffs for such designated group of consumers will be at least 50% of the average cost of supply. This provision will be re-examined later.

  - For achieving the objective that the tariff progressively reflects the cost of supply of electricity, the SERC would notify the roadmap, within six months with a target that latest by the end of the year 2010-11 tariffs are within ± 20% of the average cost of supply. The road map would have intermediate milestones, based on the approach of a gradual reduction in cross subsidy.

For example if the average cost of service is Rs.3 per unit, at the end of year            2011-12 the tariff for the cross subsidized categories excluding those referred to in para-1 above should not be lower than Rs 2.40 per unit and that for any of the cross subsidizing categories should not go beyond Rs 3.60 per unit.

(3)  While fixing tariff for agricultural use, the imperatives of the need of using ground water resources in a sustainable manner would also need to be kept in mind in addition to the average cost of supply. The tariff for agricultural use may be set at different levels for different parts of the State depending on the condition of the ground water table to prevent excessive depletion of ground water.”

    - The provisions of the Electricity Act, 2003, National Tariff Policy and the NERC Tariff Regulations require that there should be a gradual movement towards reduction of cross subsidy. The Tariff aims at bringing down cross subsidy to + 20% of the average cost of supply by the year 2011-12.

Regulation 6 of NERC (Terms and Conditions for Determination of Tariff) Regulations, 2010 specifies –

Cross subsidy as:

“(1) ‘Cross subsidy for a consumer category in the first phase ( as defined in sub regulation 2 below) means the difference between the average realization per unit from that category and the combined average cost of supply per unit expressed in percentage terms as a proportion of the combined average cost of supply. In the second phase(as defined in sub-regulation 2 below) means the difference between the average realization per unit from that category and the combined per unit cost of supply for that category expressed in percentage terms as a proportion of the combined cost of supply of that category.

(2) The Commission shall determine the tariff to progressively reflect the cost of supply of electricity and also reduce cross subsidies within a reasonable period. To this purpose, in the first phase the Commission shall determine tariff so that it progressively reflects combined average unit cost of supply in accordance with National Tariff Policy. In the second phase, the Commission shall consider moving towards the category-wise cost of supply as a basis for determination of tariff.”

    - The average tariff for each category of consumers, the average cost of supply, the average tariff as a percentage of average cost of supply and the consumer tariff within the range +20% of cost of supply for 2011-12 are given as under:

Table 7.1 Average Cost of supply

| Sl.No. | Consumer category | Average unit rate as per existing tariff (Rs/kWH) | Average cost of supply per unit (Rs/kWH) | Tariff as a percentage of average cost of supply (3/4) (%) | Unit rate with +20% of average cost of supply (Rs/kWH) |
| --- | --- | --- | --- | --- | --- |
| 1 | Domestic | 2.10 | 5.52 | 38 | 4.42 (-20%) |
| 2 | Commercial | 2.60 | 5.52 | 47 | 4.42 (-20%) |
| 3 | Industrial | 2.90 | 5.52 | 53 | 4.42 (-20%) |
| 4 | Public Lighting | 2.73 | 5.52 | 49 | 4.42 (-20%) |
| 5 | Public Water works | 2.90 | 5.52 | 53 | 4.42 (-20%) |
| 6 | Agriculture | 1.50 | 5.52 | 27 | 4.42 (-20%) |
| 7 | Bulk Supply | 3.10 | 5.52 | 56 | 4.42 (-20%) |

It is seen that the average existing tariffs to all categories of consumers are lower than 20% range of the average cost of supply.

The tariff are being determined for DPN for the first time

7.2	Tariffs approved by the Commission

    - The following are considered while arriving at category-wise tariffs approved.

Net revenue requirement for the year 2011-12 is Rs. 197.71 Cr as against the revenue of Rs 95.46 Cr. arrived at existing tariff.

    - The tariff rates category-wise existing and proposed by DPN are given in table 7.2 below:

Table 7.2 Category Wise Tariffs existing and proposed by DPN

| Sl. No. | Category |  | Existing Rate (Rs./kWh) | Proposed Rate Rs./kwh | Proposed Fixed Charges Rs./Month |
| --- | --- | --- | --- | --- | --- |
| 1 |  | CATEGORY ‘A’ DOMESTIC |  |  |  |
|  |  | (a) 0 to 30 kwh | 2.30 | 2.90 | 10.00 |
|  |  | (b) 31 to 100 kwh | 2.90 | 3.60 | 10.00 |
|  |  | (c) 101 to 250 kwh | 3.20 | 4.05 | 10.00 |
|  |  | (d) > 250 kwh | 3.50 | 4.40 | 10.00 |
| 2 |  | CATEGORY ‘B’ INDUSTRIAL |  |  |  |
|  |  | (a) < 500 kwh | 2.60 | 2.95 | 20.00 |
|  |  | (b) 501 to 5000 kwh | 2.90 | 3.40 | 20.00 |
|  |  | (c) > 5000 kwh | 3.15 | 3.85 | 20.00 |
| 3 |  | CATEGORY ‘C’ BULK | 3.10 | 3.85 | 25.00 |
| 4 |  | CATEGORY ‘D’ COMMERCIAL |  |  |  |
|  |  | (a) < 60 kwh | 3.50 | 4.05 | 15.00 |
|  |  | (b) 61 to 240 kwh | 4.00 | 4.60 | 15.00 |
|  |  | (c) > 240 kwh | 4.40 | 4.95 | 15.00 |
| 5 |  | CATEGORY ‘E’ P.W.W. | 3.20 | 3.85 | 25.00 |
| 6 |  | CATEGORY ‘F’ Public Light | 2.75 | Nil |  |
| 7 |  | CATEGORY ‘G’ AGRICULTURE | 1.50 | 2.20 |  |
| 8 |  | CATEGORY ‘H’ TEMPORARY CONNECTION | Metered Rs. 4/kWh Unmetered Rs. 100/day/kW load or part thereof | Metered DLF: Rs 6/kWH, others Rs. 8/kWh Unmetered DLF: Rs. 100/ day / kW Others Rs. 150/kW/day |  |
| 9 |  | Kutir Jyoti(point) | Same as Domestic Category | Same as Domestic Category |  |
| 10 |  | SINGLE POINT METERED RURAL | Rs. 2.00 / kWh | 2.75 | 20.00 |
| 11 |  | SINGLE POINT METERED URBAN | 2.3 to 3.5 for different class of UEMB | 2.85 | 25.00 |

    - Based on the approved Aggregate Revenue Requirement (ARR) the approved Tariffs for supply of Energy in respect of different categories of consumers are as per                  Table – 7.3 below

Table 7.3: Category of Consumer wise tariffs approved by the Commission

| Sl. No. | Category | Approved Rate Rs./kwh |
| --- | --- | --- |
| 1 | CATEGORY ‘A’ DOMESTIC |  |
|  | (a) 0 to 30 kwh | 2.65 |
|  | (b) 31 to 100 kwh | 3.60 |
|  | (c) 101 to 250 kwh | 4.00 |
|  | (d) > 250 kwh | 4.25 |
| 2 | CATEGORY ‘B’ INDUSTRIAL |  |
|  | (a) < 500 kwh | 2.95 |
|  | (b) 501 to 5000 kwh | 3.40 |
|  | (c) > 5000 kwh | 3.85 |
| 3 | CATEGORY ‘C’ BULK | 3.85 |
| 4 | CATEGORY ‘D’ COMMERCIAL |  |
|  | (a) < 60 kwh | 4.00 |
|  | (b) 61 to 240 kwh | 4.60 |
|  | (c) > 240 kwh | 4.90 |
| 5 | CATEGORY ‘E’ P.W.W. | 3.85 |
| 6 | CATEGORY ‘F’ Public Light | To be recovered from consumers * |
| 7 | CATEGORY ‘G’ AGRICULTURE | 2.00 |
| 8 | CATEGORY ‘H’ TEMPORARY CONNECTION | DLF Rs 6.00 Others Rs. 8.00 (All with metered supply only) |
| 9 | Kutir Jyoti(point) | Same as DLF |
| 11 | SINGLE POINT METERED RURAL | 2.50 |
| 12 | SINGLE POINT METERED URBAN | 2.75 |

* Charges for public lighting have to be recovered from the Consumes of Domestic, Commercial, Industrial and Bulk categories at the rates shown below.

Domestic	Rs. 10 per connection / month

Commercial	Rs. 15 per connection / month

Industrial	Rs. 20 per connection / month

Bulk Supply	Rs. 25 per connection / month

    - Tariffs for various categories of consumers are given in tariff schedule annexed.

Commission’ s Order

Having considered the Petition No.01/2010 of DPN for approval of Aggregate Revenue Requirement (ARR) and determination of retail tariff for supply of energy, in exercise of power conferred by Section 62 of the Electricity Act, 2003; the Commission approves the aggregate revenue requirement (ARR) as detailed below:

(Rs. crore)

| Sl.No. | Details | Amount |
| --- | --- | --- |
|  | Fuel cost | 0.08 |
|  | Power purchase cost | 119.42 |
|  | Employee cost | 57.00 |
|  | R&M expenses | 16.70 |
|  | Administration and expenses | 2.25 |
|  | Depreciation | - |
|  | Interest and finance charges | - |
|  | Interest on working capital | 1.91 |
|  | Return on equity | - |
|  | Provision for bad debts | 0.75 |
|  | Total requirement | 198.11 |
|  | Less: Non tariff income | 0.40 |
|  | Net revenue requirement | 197.71 |
|  | Total revenue from revised tariff | 128.18 |
|  | Gap | 69.53 |

- The gap is to be met through support from the State Government.

- The approved retail tariff for supply of energy shall be in accordance with the tariff schedule annexed.

- This order shall come into effect from 1st July, 2011 and shall be in force till revised.

Er. S.I. Longkumer

Chairman-cum-Member

Kohima

Date: 27th June, 2011

Appendix

Tariff Schedule

| Sl. No. | Category |  | Rs./kwh |
| --- | --- | --- | --- |
| 1 | 2 |  | 3 |
| A. | 1 | CATEGORY ‘A’ DOMESTIC |  |
|  |  | (a) 0 to 30 kwh | 2.65 |
|  |  | (b) 31 to 100 kwh | 3.60 |
|  |  | (c) 101 to 250 kwh | 4.15 |
|  |  | (d) > 250 kwh | 4.75 |
|  | 2 | CATEGORY ‘B’ INDUSTRIAL |  |
|  |  | (a) < 500 kwh | 3.15 |
|  |  | (b) 501 to 5000 kwh | 3.60 |
|  |  | (c) > 5000 kwh | 4.10 |
|  | 3 | CATEGORY ‘C’ BULK | 3.85 |
|  | 4 | CATEGORY ‘D’ COMMERCIAL |  |
|  |  | (a) < 60 kwh | 4.35 |
|  |  | (b) 61 to 240 kwh | 5.20 |
|  |  | (c) > 240 kwh | 5.95 |
|  | 5 | CATEGORY ‘E’ P.W.W. | 3.85 |
|  | 6 | CATEGORY ‘F’ Public Light | To be recovered from consumers * |
|  | 7 | CATEGORY ‘G’ AGRICULTURE | 2.0 |
|  | 8 | CATEGORY ‘H’ TEMPORARY CONNECTION | DLF 6.00 Others 8.00 |
|  | 9 | Kutir Jyoti(point) | Same as DLF |
|  | 10 | SINGLE POINT METERED RURAL | 2.50 |
|  | 11 | SINGLE POINT METERED URBAN | 2.75 |

* Charges for public lighting have to be recovered from the Consumes of Domestic, Commercial, Industrial and Bulk categories at the rates shown below.

Domestic	Rs. 10 per connection / month

Commercial	Rs. 15 per connection / month

Industrial	Rs. 20 per connection / month

Bulk Supply	Rs. 25 per connection / month

| B. | OTHER CHARGES : |  |  |  |
| --- | --- | --- | --- | --- |
|  | (a) |  | Disconnection Charges | Rs. |
|  |  |  | i. Single phase L.T. | 150.00/each |
|  |  |  | ii. Three phase L.T. | 250.00/each |
|  |  |  | iii. H.T. consumers (11 KV above) | 1500.00/each |
|  | (b) |  | Reconnection Charges |  |
|  |  |  | i. Single phase L.T. | 150.00/each |
|  |  |  | ii. Three phase L.T. | 250.00/each |
|  |  |  | iii. H.T. consumers (11 KV above) | 1500.00/each |
| C. | METER RENT |  |  | Rs. per month |
|  | i. |  | Single phase L.T. | 20.00 |
|  | ii. |  | Three phase L.T.(whole current) | 50.00 |
|  | iii. |  | Three phase L.T.(CT operated) | 100.00 |
|  | iv. |  | 11 kv H.T. | 500.00 |
|  | v. |  | 33 kv H.T. | 750.00 |
|  | vi. |  | 66 kv EHV | 900.00 |
|  | vii. |  | 132 kv EHV | 1000.00 |
| D. | METER TESTING CHARGES |  |  | Rupees |
|  | i. |  | Single phase L.T. | 100.00 each |
|  | ii. |  | Three phase L.T. | 300.00 each |
|  | iii. |  | H.T. consumers (11 KV above) | 1000.00 each |
| E. | SECURITY DEPOSIT |  |  | Rs. per connection |
|  | i. |  | Single phase L.T. | 250 |
|  | ii. |  | Three phase L.T. | 750 |
|  | iii. |  | H.T. consumers (11 KV above) | 3000 |
| F. | MONTHLY MINIMUM CHARGES |  |  | Rupees |
|  | i. |  | Domestic | 100.00 pm/kw of contract demand or part thereof |
|  | ii. |  | Commercial | 150.00 pm/kw of contract demand or part thereof |
|  | iii. |  | Industrial | 150.00 pm/kva of contract demand or part thereof |
|  | iv. |  | Bulk | 150.00 pm/kva of contract demand or part thereof |
|  | v. |  | Agriculture | 50.00 pm/HP or part thereof |
|  | vi. |  | Public Water Works | 75.00 pm/kva or part thereof |
| G. | SURCHARGES (DELAYED PAYMENT) |  |  | Rs. 0.10/kwh pm or part thereof |
| H. | BILLING PERIODICITY |  |  | Monthly |
| I. | CHARGES OF POLES USAGE FOR ADVERTISEMENT |  |  | Rupees |
|  | 1 | Charges for application and agreement forms |  | 100.00 |
|  | 2 | Charges towards dismantling of hoardings/banners |  | 300.00 |
|  | 3 | The pole rental charges for advertisements: - |  | Rs./month |
|  |  | a. Category I-Commercial area (Max size 3'X2') |  | 100.00 |
|  |  | b. Category II - Residential area (Max size 3'X2') |  | 60.00 |
|  |  | c. Category III-National Highway (Max size 3'X2') (outside the city/town limit) |  | 40.00 |

The DPN has proposed certain charges for usage of poles for running cables by TV cable operators without providing satisfactory modalities for billing and collection of such charges from the operators.  Under these circumstances, the Commission does not feel it necessary at preset to approve the proposal.