TARIFF ORDER

FY 2012-13

March 29, 2012

NAGALAND ELECTRICITY REGULATORY COMMISSION (NERC)

Old MLA Hostel Complex

Kohima – 797 001

Website: www.nerc.org.in/E-mail: nerc_kohima@yahoo.com

9th March 2011

INDEX

1 	Introduction	1

1.2	Department of Power, Nagaland – ARR and Tariff Petition	2

1.3 	Admission of Petition	2

1.4	Public Hearing Process	2

1.5	Notice for Public Hearing	3

1.6 	Public Hearing	3

2.  Summary of Petition of Power Department Nagaland for Aggregate Revenue Requirement	7

2.1    	Introduction	7

2.2 	Approach of DPN in formulation ARR & Tariff Petition for      FY 2012-13:	7

3.  Power Sector in Nagaland – An Overview	9

3.1 	Introduction	9

3.2 	Power Supply	9

3.3 	 Transmission and Distribution Network	10

3.4 	 Transmission and Distribution (T&D) Losses	11

3.5 	 Consumer Profile and Energy Sales	11

3.6 	Demand and Supply Position	12

3.7	Power Supply Position	12

3.8 	Energy Balance	12

4.  Brief Summary of Objections raised, Response from Department and Commission’s comments	14

4.1	 Public response to the Petition.	14

4.2	 Queries/Suggestions and response from DPN:	15

4.2.1	 NERC Proceedings of Public Hearing on 23rd March, 2012.	15

5. Aggregate Revenue Requirement 2011-12 - Commission’s Analysis and Decisions	19

5.1 	Introduction	19

5.2 	Consumer Categories	19

5.2.1 	Projected Consumer Growth and connected load	19

5.3 	Energy Sales	20

5.3.1 	Analysis of energy sales projected and Commission’s view	21

5.3.2 	Category-wise Energy Sales	24

5.4 	Transmission and Distribution (T&D) losses	25

5.5 	Power Procurement for 2012-13	27

5.6	Energy Requirement and Availability	28

5.7	Gross fixed Assets	29

5.8	Capital Investment	30

5.9	Revenue Requirement for FY 2012-13	31

5.10 	Fuel Cost	32

5.11 	Power Purchase cost	32

5.12 	Operation and Maintenance Expenses	33

5.12.1	Employee Cost	34

5.12.2 Repairs and Maintenance Expenses	35

5.12.3	Administration and General Expenses	36

5.13 	Depreciation	37

5.14 	Interest and Finance Charges	38

5.15 	Interest on Working Capital	39

5.16	Return on equity	40

5.17 	Provision for Bad and doubtful debts	41

5.18 	Non Tariff Income	41

5.19	Aggregate Revenue Requirement	42

5.20	Expected revenue from existing tariff	43

5.20.1	Revenue gap for FY 2012-13	44

5.20.2	Revenue from revised tariff	44

6	Tariff Principles and Design	46

7. Directives	51

Commission’ s Order………………………………………………………………………………………...55

List of Tables

Table 2.1:  Aggregate Revenue Requirement and Revenue Gap projected by DPN for FY	7

2012-13	7

Table 3.1: Power allocation from CGS stations	10

Table 3.2:  Transmission and Distribution Network as on 31st March 2011	10

Table 3.3: Consumer Profile and Energy Sales for FY 2010-11	11

Table 3.4: Power Purchase from Central Generating Stations and other Sources for FY	12

2010-11	12

Table 3.5: Energy Balance	13

Table 5.1:  Category-wise Consumers	20

Table 5.2: Consumers and connected load	20

Table 5.3: Energy Sales	21

Table 5.4: Energy Sales growth rate	22

Table 5.5: Specific Consumption per consumer	22

Table 5.6: Category wise energy sales for FY 2012-13	25

Table 5.7: T&D loss calculation during FY 2010-11	26

Table 5. 8: Power allocation	27

Table 5.9: Details of Power Procurement Sources – FY 2012-13	27

Table 5.10: Energy Requirement	29

Table 5.11: Energy Requirement for FY 2012-13	29

Table 5.12: Gross Fixed Assets Movement	29

Table 5.13 Investment Plan (Scheme wise)	30

Table 5.14: Capital Expenditure & Capitalization FY 2012-13	30

Table 5.15 Expenses projected by DPN for 2012-13	31

Table 5.16 Power Purchase cost projected by DPN for FY 2012-13	32

Table 5.17: Power Purchase cost for the year 2012-13	33

Table 5.18: Operation & Maintenance Expenses	34

Table 5.19 Employee cost	34

Table 5.20 Repair & Maintenance Expenses	36

Table 5.21: Administrative & General Expenses for FY 2012-13	36

Table 5.22: Depreciation for the FY 2012-13 projected by DPN	37

Table 5. 23: Depreciation for the FY 2012-13 approved by the Commission	38

Table 5. 24: Interest and Finance Charges	38

Table 5.25: Working Capital for the current and ensuring years	39

Table 5.26: Interest on working capital	39

Table 5.27: Return on Equity for FY 2011-12 projected by DPN	40

Table 5. 28: Non Tariff Income	42

Table 5.29 Aggregate Revenue Requirement for FY 2012-13	42

Table-5.30: Revenue from existing tariff projected by DPN for ensuing year 2012-13	43

Table 5.31: Revenue from existing tariff approved by the Commission for FY 2012-13	43

Table 5.32: Net revenue requirement and gap with revenue at existing tariff	44

Table 5.33: Revenue from revised tariff approved by the Commission for FY 2012-13	44

Table 6.1 Average Cost of supply	48

Table 6.2 Category Wise Tariffs existing and proposed by DPN	49

Table 6.3: Category of Consumer wise tariffs approved by the Commission	50

| LIST OF ABBREVIATIONS |  |
| --- | --- |
| Abbreviation | Description |
| A&G | Administration & General |
| ARR | Annual Revenue Requirement |
| ATE | Appellate Tribunal For Electricity |
| CAGR | Compound Annual Growth Rate |
| CD | Contract Demand |
| CERC | Central Electricity Regulatory Commission |
| CGS | Central Generating Stations |
| CoS | Cost of Supply |
| CPSU | Central Power Sector Undertakings |
| Cr | Crore |
| D.E | Debt Equity |
| DPN | Department of Power, Govt. of Nagaland |
| EHT | Extra High Tension |
| ER | Eastern Region |
| FAC | Fuel Adjustment Costs |
| FDR | Fixed Deposits Receipts |
| FY | Financial Year |
| GFA | Gross Fixed Assets |
| HP | Horse Power |
| HT | High Tension |
| KV | Kilovolt |
| KVA | Kilo volt Amps |
| KW | Kilo Watt |
| kWh | kilo Watt hour |
| LNG | Liquefied Natural Gas |
| LT | Low Tension |
| MVA | Million volt Amps |
| MW | Mega Watt |
| NERC | Nagaland Electricity Regulatory Commission |

Before the Nagaland Electricity Regulatory Commission

for the State of  Nagaland

Kohima

Present

Er. S.I. Longkumer, Chairman-cum-Member

Case No.  01 of 2012

In the matter of

Aggregate Revenue Requirement (ARR) and Retail Tariff for the State of Nagaland for the Financial Year 2012-13

AND

In the matter of

Department of Power

Government of Nagaland  						Petitioner

(herein referred to as DPN)

ORDER

Date: 29th March, 2012

# 1 	Introduction

1.1	In exercise of the powers conferred by the Electricity Act, 2003, the State Government of Nagaland constituted an Electricity Regulatory Commission to be known as “Nagaland Electricity Regulatory Commission” for the State of Nagaland, as notified on 21st February, 2008.

The Commission is a one-member body designated to function as an autonomous authority responsible for regulation of the power sector in the State of Nagaland. The powers and the functions of the Commission are as prescribed in the Electricity Act, 2003. The head office of the Commission is presently located at Kohima, capital city of the Nagaland State.

The Nagaland Electricity Regulatory Commission for the State of Nagaland started to function with effect from 4th March, 2008 with the objectives and purposes for which the Commission has been established.

The Department of Power – Nagaland herein called DPN, a deemed licensee under section 14 of the Electricity Act, 2003, is carrying on the business of distribution and retail supply of electricity in the state of Nagaland

# 1.2	Department of Power, Nagaland – ARR and Tariff Petition

1.2.1	DPN had filed its petition for approval of Aggregate Revenue Requirement (ARR) and determination of retail supply tariff for FY   2012-13 according to the conduct of Business Regulations and determination of Tariff Regulations of NERC. In the petition DPN has estimated ARR of Rs. 356.10 crore and worked out a revenue gap of Rs. 192.66 crore.

# 1.3 	Admission of Petition

DPN has filed ARR and Tariff Petition on 29th November 2011 for the year FY 2012-13. On preliminary analysis of the petition it was observed that certain data / information was lacking in the petition. The Commission, in its letter dated  14/12/2011 and 07/01/2012 directed DPN to furnish the data.

In response to the Commission’s communications the petitioner has submitted the additional data / information on 07/02/2012. The petition was admitted on 07/02/2012 and marked as case No 01 of 2012.

# 1.4	Public Hearing Process

The Commission directed the DPN to publish the summary of the ARR and Tariff proposal in the abridged form and manner as approved by the Commission in accordance with section 64 of the Electricity Act, 2003 to ensure public participation.

The public notice was published by the DPN in the following newspapers in two issues.

| Sl. No. | Name of the newspaper | Language | Date of publication |
| --- | --- | --- | --- |
| 1 | Nagaland Post, Dimapur | English | 23rd February 2012 |
| 2 | The Morung Express | English | 24th February 2012 |

Through the public notice issued in the news papers as above the public were invited to forward their objections / suggestions on the petition within 20 days from the date of publication of notice in the news papers.

No objection was received by the Commission on DPN petition.

# 1.5	Notice for Public Hearing

A public notice was published by the Commission in leading newspapers on 14/03/2012 giving due intimation to general public, interested parties, objectors and the consumers about the public hearing to be held by the Commission on 23/03/2012 on the petition filed by DPN.

# 1.6 	Public Hearing

Public hearing was held as scheduled on 23rd March 2012 at Commission’s office from 10:00 hrs onwards. During the public hearing each participant was provided a time slot for presenting views on the petition of DPN before the Commission. The main issues raised by the objectors during the public hearing along with the response of DPN are briefly given in Chapter-4.

  - Minutes of State advisory Committee

The State Advisory Committee met on 23rd February 2012 and discussed the ARR & Tariff proposal for the FY 2012-13 of DPN. All the members were also requested to participate in the public hearing and express their views and suggestions on the proposal. The minutes of the State Advisory Committee meeting is given in Annexure 1.1

Annexure 1.1

Minutes of the 4th Meeting of the State Advisory Committee (SAC) of the Nagaland Electricity Regulatory Commission (NERC)

The Meeting was held on 23/02/2012 at Hotel Japfu, Kohima under the Chairmanship of Er.S.I. Longkumer, Chairman-cum-Member, NERC and Ex-Officio Chairperson of the SAC.

- Obituary Reference:

Before the start of the scheduled programme, under the initiation of Shri.P. Sani, Dy.Director-cum-Commission Secretary, NERC, all the Members present in the meeting stood up and remained silent for 2(two) minutes as a mark of respect to the departed souls of late Shri. Raj Kumar Verma, NCS, Member of SAC & Addl. Secretary to the Govt. of Nagaland and late Smt. K. Temsurenla, the lady wife of                 Er.S.I. Longkumer, Chairman-cum-Member, NERC, who expired in the intervening period between the 3rd & 4th SAC Meetings.

- List of the SAC Members present:

- Mr. Bendangnukshi Longkumer			Member

- Mr. Om Prakash Sethi				Member

- Capt. Hekiye Sema					Member

- Mr. Kezhokhoto Savi					Member

- Dr. M.K. Sinha						Member

- Mr. C.R Lotha						Member

- Mr. Toshi Wungtung					Member

- Mr. Vekhosayi Nyekha				Member

- Mr. Neingulie Nakhro					Member

- Mr. S. Manlip Konyak					Member

- Mr. Medoselhou Keretsu				Member

- Mr. Lipongkyu Sangtam				Member

- Mr. B. Longkumer					Member

- Mr. H.K. Khulu						Member

- Opening the meeting, the Chairman welcomed all the SAC Members and certain Govt. Departments’ representatives and others; and impressed upon all concerned to actively participate in the deliberations and discussions; but at the same time to dwell on the listed agenda in order that the discussions are more focused and also to save time.

- Before taking up the listed agenda, short speeches were delivered by the following:

- Mr. H.K. Khulu, IAS, SAC Member and Agriculture Production Commissioner (APC) & Principal Secretary to the govt. of Nagaland.

- Er. D. Basumatari, Chief Engineer, Department of Power, Nagaland.

- Mr. S. Manlip Konyak, SAC Member.

(The speeches of the aforesaid persons were recorded for further transcript)

- On the 3 (three) listed agenda items, after elaborate discussions, the Members present were unanimous in respect of the agenda as under:

- Finalization of Standard of Performance, Consumer Grievances Redressal Forum & Ombudsman and Open Access Regulations:

The Chairman-cum-Member, NERC informed the Committee Members that the aforesaid 3 (three) Regulations were finalized and notified on 31st Jan., 2012 by the Commission.

The Committee opined that all concerned authorities are obliged to comply with the provisions in the aforesaid 3 (three) Regulations in view of the fact that those Regulations specifically deals with improvement in the functioning of the Power Sector, and at the same time contribute towards delivery/rendering of effective and better services to the consumers as well as for safeguarding of the consumers’ interest.

- ARR and Tariff Petition of DPN for 2012-’13; related Public Notice under issue by the DPN and the Public Hearing to be conducted by NERC:

ARR and Tariff Petition for FY 2012-‘13 of the Department of Power, Nagaland were filed before the NERC on 29th Nov., 2011.

The Commission have processed the matter and accordingly advised the Deptt. to issue a Public Notice inviting comments/ suggestions/objections from all concerned on the proposed revised Tariff for FY 2012-’13.

During the course of the meeting, the Power Departments’ officials present informed the Members that the Public Notice has been published in the Newspapers on date i.e. 23/02/2012. The copy of the Tariff scheduled appended in the Public Notice proposing the Revised Tariff for FY 2012-’13 was circulated in the meeting for perusal by Members present; and the same was discussed elaborately seeking clarification from the Deptt. officials also.

The average cost of supply as projected in the Tariff Petition being Rs. 8.21 per unit whereas the average revenue per unit in the proposed Revised Tariff being around Rs. 4.23 only per unit; and accordingly, considering the above aspect, the Committee Members raised no objections to the proposed revised Tariff for FY 2012-’13 as has been projected in the Public Notice.

However, the Committee Members opined that the Power Department should not focus only on revising the Tariff; but at the same time make concerted efforts to provide better services to the consumers. Hence, advised the Commission to impress upon the deptt. to provide quality services to the consumers.

- Unbundling of Power Sector in Nagaland, NERC’s letter dated 01.02.2012

After elaborate discussions on the above agenda, the Members arrived at a common opinion that Unbundling of Power Sector in the State is a necessity; and advised the Commission to pursue the State govt. for unbundling the Power Sector in Nagaland as envisaged in Electricity Act, 2003.

- The vote of thanks was pronounced by Mr. L.N. Wati Walling, Pvt. Secretary, NERC; and thereafter, the meeting was declared closed by the Chairman.

Sd/-    						 Sd/- 16/03/’12

Er. S.I. Longkumer				          P. SANI

Chairman-cum-Member,			     Dy.Dir-cum-Commn Secretary

Nagaland Electricity Regulatory 	               Nagaland Electricity Regulatory

Commission (NERC), Kohima. 		      Commission (NERC), Kohima.

# 2.  Summary of Petition of Power Department Nagaland for Aggregate Revenue Requirement

# 2.1    	Introduction

The DPN has indicated the Aggregate Revenue Requirement (ARR) for the year 2012-13 in ARR and tariff Petition. The estimated Revenue with the existing tariffs and the revenue gap are shown in Table 2.1 below:

Table 2.1:  Aggregate Revenue Requirement and Revenue Gap projected by DPN for FY

2012-13

(Rs. crore)

| Sl.No. | Particulars | FY 2012-13 (Projected) |
| --- | --- | --- |
|  | Cost of Fuel | 0.08 |
|  | Cost of power purchase | 181.97 |
|  | Employee costs | 61.78 |
|  | R&M expenses | 17.85 |
|  | Administrative and general expenses | 2.78 |
|  | Depreciation | 15.48 |
|  | Interest charges (including interest on working capital) | 31.67 |
|  | Return on equity | 48.61 |
|  | Provision for bad debts | 1.51 |
|  | Total revenue requirement | 361.73 |
|  | Less non-tariff income | 5.63 |
|  | Net revenue requirement (10-11) | 356.10 |
|  | Revenue from existing tariff | 150.64 |
|  | Revenue from sale of surplus power | 12.80 |
|  | Gap (12-13-14) | 192.66 |

Source: - Table 3.18 of ARR

The petitioner has shown a revenue gap of Rs.192.66 crore for the FY 2012-13.

# 2.2 	Approach of DPN in formulation of ARR & Tariff Petition for      FY 2012-13:

- The petition provides, inter-alia, DPN’s approach for formulating the present petition, the broad basis for projections used, summary of the proposals being made to the Hon’ble Commission, performance of DPN in the recent past, and certain issues impacting the performance of DPN in the Licensed Area.

- Broadly,  in  formulating  the  ARR  and  Tariff Petition  for the  FY 2012-13,  the principles  specified  by  the  Nagaland   Electricity  Regulatory  Commission  in  the notified  (Terms  and  Conditions  for determination of Tariff)  Regulations, 2010 have been considered as the basis.

- In  order  to  align  the  thoughts  and  principles  behind  the  ARR  and  Tariff Petition,  DPN  respectfully seeks  an  opportunity  to present their case  prior  to the  finalization  of  the  Tariff  Order.  DPN believes that  such  an  approach would  go  a  long  way  towards  providing  a  fair  treatment  to  all  the stakeholders and may eliminate the need for a review or clarification.

## 2.3	The DPN has requested the Commission to

- Accept the Annual Revenue Requirement and Tariff petition for the FY 2012-13.

- Approve the total recovery of ARR of FY 2012-13

- Approve the category-wise tariff including fixed / demand charges submitted by DPN to meet revenue requirement for FY 2012-13

- Approve the tariff philosophy suggestions requested by DPN.

- Condone any inadvertent delay/omissions/errors/rounding off differences/ shortcoming and DPN may please be permitted to add/change/modify/alter the petition:

- Permit DPN to file additional data/information as may be necessary;

# 3.  Power Sector in Nagaland – An Overview

# 3.1 	Introduction

The DPN is responsible for generation, transmission and distribution and supply of electricity in the State of Nagaland.

The DPN is a deemed licensee under the provisions of Electricity Act, 2003 for distribution of electricity in the state, it operates in an area of 16527 sq.km.  The total population of the State is around 19.89 lakhs as per 2001 census.

# 3.2 	Power Supply

Actual energy requirement during 2010-11 is as follows:

MU

| 1 | Energy Sales within the State (MU) | 284.94 |
| --- | --- | --- |
|  | Energy Sales outside the State | 92.43 |
| 2 | T & D Losses @ 41.37% on 1 | 201.07 |
| 3 | Total requirement in the state (1+2) | 486.01 |
| 4 | Outside sales | 92.43 |

Note: DPN has not considered transmission loss while arriving at energy balance.

DPN has its own hydel generation capacity of 27.5 MW at Likhimro Hydro Power Project and other MHEPs. Apart from this the power supply requirements of the DPN are met from its share from Central Generating Stations which is wheeled through the PGCIL network of NER and power purchases from electricity traders / other sources.

DPN has met the above power requirement from the following sources.

(MU)

| Own generation | 76.34 |
| --- | --- |
| Free power from DHEP | 29.82 |
| Sub Total | 106.16 |
| Power purchase from CGS / UI | 488.77 |
| Total power handled | 594.93 |

The present power allocation of DPN is as follows

Table 3.1: Power allocation from CGS stations

| S. N | Generating capacity | Installed Capacity |  | Nagaland Share |
| --- | --- | --- | --- | --- |
|  |  | MW | % | MW |
| 1 | 2 | 3 | 4 | 5 |
| I | NEEPCO |  |  |  |
| 1 | Khandong | 50 | 6.65 | 3.33 |
| 2 | Kopili – I | 200 | 6.15 | 12.30 |
| 3 | Kopili – II | 25 | 5.74 | 1.44 |
| 4 | Ranganadi | 405 | 5.34 | 21.63 |
| 5 | AGTPP, Tripura | 84 | 5.38 | 4.52 |
| 6 | AGBPP, Kathalguri | 291 | 5.81 | 16.91 |
| 7 | Doyang, Nagaland | 75 | 17.97 | 13.48 |
| II | NHPC |  |  |  |
| 1 | Loktak, Manipur | 105 | 6.44 | 6.76 |
| III | NTPC |  |  |  |
| 1 | Farakka | 1600 | 0.70 | 11.16 |
| 2 | Kahalgaon | 840 | 0.69 | 5.81 |
| 3 | Talcher | 100 | 0.70 | 6.98 |
|  | TOTAL | 4675 |  | 104.30 |

# 3.3 		Transmission and Distribution Network

DPN owns and operates the transmission and distribution network as on 31/03/2011 as given in table below:

Table 3.2:  Transmission and Distribution Network as on 31st March 2011

| Sl. No. | Voltage | Transmission lines (ck.km.) | Transformer Capacity (MVA) |
| --- | --- | --- | --- |
| (A) | Lines |  |  |
| 7 | 132 KV | 382.2 |  |
| 8 | 66 KV | 396.33 |  |
| 9 | 33 KV | 414.3 |  |
| 10 | 11 KV | 512.2 |  |
| 11 | LT | 2494.1 |  |
| (B) | Capacity Wise Power Transformers |  |  |
| 12 | 132/66 KV |  | 3x20 |
| 13 | 132/66 KV |  | 2x12.5 |
| 14 | 132/66 KV |  | 3x6.5 |
| 15 | 132/33 |  | 3x8 |
| 16 | 132/33 KV |  | 2x5 |
| 17 | 66/33 KV |  | 3x20 |
| 18 | 66/33 KV |  | 3x7.5 |
| 19 | 66/33 KV |  | 6x5 |
| 20 | 33/11 KV |  | 5x10 |
| 21 | 33/11 KV |  | 7x5 |
| 22 | 33/11 KV |  | 4x2.5 |
| 23 | 33/11 KV |  | 22x1.6 |
| 24 | 33/11 KV |  | 2x1 |
| 25 | 33/11 KV |  | 13x0.5 |
| 26 | 33/11 KV |  | 59x500 |
| 27 | 33/11 KV |  | 53x250 |
| (C) | Capacity of Distribution Transformers |  |  |
|  | 1800 Nos. of different capacities |  | 136.80 |

# 3.4 		Transmission and Distribution (T&D) Losses

The transmission and distribution regional (T&D) losses of DPN were 41.37% during              FY 2010-11 after considering pool loss of 3.64%.  The technical and commercial losses of the system have not been segregated.

# 3.5 		Consumer Profile and Energy Sales

DPN serves about 1,91,164 consumers as on 31.3.2011 with an annual consumption of about 285 MU. The number of consumers category-wise and the energy sales to each category during FY 2010-11 are given in table below:

Table 3.3: Consumer Profile and Energy Sales for FY 2010-11

| Sl.No. | Consumer Category | Number of Consumers | Energy Sales (MU) |
| --- | --- | --- | --- |
|  | Domestic | 170679 (89%) | 188.22 (66%) |
|  | Commercial | 17050 (8.9%) | 32.26 (11.4%) |
|  | Industrial | 2040 (1%) | 11.02 (3.9%) |
|  | Public Lighting | 780 (0.4%) | 4.80 (1.6%) |
|  | Public Water Works | 28 (0.01%) | 1.70 (0.6%) |
|  | Agriculture | 2 (0.001%) | 0.04 (0.01%) |
|  | Bulk Supply | 585 (0.3%) | 46.89 (16.5%) |
|  | Total | 191164 | 284.94 |
|  | Out side state |  | 92.43 |
|  | Grand Total | 191164 | 377.37 |

Source: - Extracted from Table 3.1 &3.2 of ARR

# 3.6 	Demand and Supply Position

The demand of the state of Nagaland was about 95 MW during the FY 2010-11 and the allocation from various Central Generating Stations (CGS) was about 90 MW. A deficit of about 5 MW together with any shortfall from CGS was met by purchase from other sources.

# 3.7	Power Supply Position

The power purchase from various Central Generating Stations and others sources during the FY 2010-11 is given in Table 3.4 below:

Table 3.4: Power Purchase from Central Generating Stations and other Sources for FY

2010-11

| Sl.No. | Source | Power Purchase (MU) | Rate (Rs./ KWH) | Amount (Rs. crore) |
| --- | --- | --- | --- | --- |
|  | Central Sector |  |  |  |
| 1. | Loktak, NHPC | 37.97 | 1.03 | 3.90 |
| 2. | Khandong NEEPCO | 54.03 | 0.88 | 4.76 |
| 3 | Kopili – I, NEEPCO |  |  |  |
| 4 | Kopili – II, NEEPCO |  |  |  |
| 5 | Ranganadi, NEEPCO | 78.19 | 1.68 | 13.16 |
| 6 | Doyang, NEEPCO | 14.76 | 2.90 | 4.28 |
| 7 | AGTPP (Tripura) | 38.05 | 2.55 | 9.71 |
| 8 | AGBPP | 111.66 | 2.65 | 29.55 |
| 9 | NTPC | 108.20 | 3.60 | 38.99 |
| 10 | Free Power from Doyang | 29.82 | - | - |
| 11 | PGCIL charges |  |  | 30.65 |
| 12 | NRLDC charges |  |  | 0.09 |
| 13 | Total | 472.68 |  |  |
| 14 | UI | 45.96 |  | 14.73 |
| 15 | Total | 518.64 |  | 149.82 |

## Source: - Extracted from Format 7 of ARR

# 3.8 	Energy Balance

The demand and supply during the FY 2010-11 is given in Table 3.5 below:

Table 3.5: Energy Balance

(MU)

| Sl. No. | Particulars | FY 2010-11 (Actual) |
| --- | --- | --- |
| A | ENERGY REQUIREMENT |  |
| 1 | Energy Sales within State | 284.94 |
| 2 |  |  |
| 3 |  |  |
| 4 | Overall T & D Losses % | 41.37 |
| 5 | Overall T & D Losses (MUs) | 201.07 |
| 6 | Total Energy Requirement | 486.01 |
| B | ENERGY AVAILABILITY |  |
| 7 | Own Generation | 76.34 |
| 8 | Energy purchases from other sources | 472.68 |
| 9 | Less Transmission loss @ 3.5% | 16.54 |
| 10 | UI Purchase | 45.96 |
| 11 | Total energy available (7+8-9+10) | 578.44 |
|  | Sales outside state | 92.43 |

# 4.  Brief Summary of Objections raised, Response from Department and Commission’s comments

# 4.1		Public response to the Petition.

After having admitted the ARR & Tariff Petition for the FY 2012-13, the Commission directed the Department of Power, Nagaland (DPN) to publish the Petition in newspapers in an abridged form duly inviting Comments/Objections from public / stake holders.

In order to ensure transparency in the process of determination of tariff as envisaged in the Electricity Act, 2003; the DPN arranged publication of petition in an abridged form in leading newspapers inviting for objections / comments, if any. Due date was fixed as 14th March 2012. The DPN or the Commission did not receive any objections / comments from the public.

The Commission arranged for issuing of notice in newspapers for Public Hearing before the Commission. Accordingly, the Public Hearing was conducted on 23rd March, 2012.

The list of persons who attended the Public Hearing are as follows:

- Mr. T. Meren Paul.

- Mr. C.R. Lotha.

The officers of the DPN who attended the Public Hearing are also listed herein below:

- Er. Imli Ao, Addl. Chief Engineer.

- Er. Wabangmeren Jamir, Executive Engineer.

- Er. P.T. Philip, Sub-Divisional Officer.

# 4.2		Queries/Suggestions and response from DPN:

# 4.2.1		NERC Proceedings of Public Hearing on 23rd March, 2012.

PUBLIC HEARING:

That in order to ensure transparency and to give opportunity to the general public & different business organizations (from all Domestic, Commercial, Agriculture and Industrial Consumers) and also to express their views/ comments/ suggestions / objections in the process of Determination of Tariff as envisaged in the Electricity Act, 2003, Public Hearing was held at Kohima on 23rd March, 2012 as scheduled.

The DPN had published a Public Notice on 23rd & 24th Feb., 2012 respectively, inviting for written suggestions/objections, if any, on the ARR and Tariff Petition filed by the Power Department before the office of the Chairman-cum-Member, NERC Kohima on or before 14th March, 2012. No written suggestions/objections were received till the given scheduled period. The officers of the DPN, who were present during the Public Hearing, responded to the objections/queries raised by the persons present.

4.2.2	Queries raised by Mr. T. Meren Paul – Public/Consumer:

- Massive power theft prevails; but the Department is not taking suitable/appropriate steps to control such malpractices. Why the DPN is trying to make up the losses on account of the above by increasing the Tariff which will burden only the honest paying consumers? As the DPN is a government department, why not the govt. bear the revenue losses instead of raising the Tariff?

Reply by DPN:

In order to control T & D losses, the department officials, in addition to various measures such as conducting of raids to detect and penalize the people who are indulging in open theft of energy including malpractices such as Meter Tampering etc; the DPN is in the process of implementing the following:

- Communitization (for rural areas):

Out of around 1,300 villages within the State, DPN has implemented the Communitization  Scheme  covering  around  500  villages  upto  2010-11  and by

March 2012, the DPN is targeting to cover up the remaining villages in order to achieve 100% Communitization in the rural areas.

Under the above scheme, management of revenue collection in the villages are being entrusted to the Village Electricity Management Board (VEMB) under the overall supervision and control of the Village Council. With the people participation in the management of their own affairs, open theft of energy and other malpractices are controlled to a large extent.

- R-APDRP Scheme (for urban areas):

Under this scheme of the Government of India, 9 (nine) towns in the State is targeted to be covered by Computerized Billing and Monitoring of the energy consumed at various levels of consumption.

Hence, after the implementation of the aforesaid scheme, T & D losses are expected to come down to a large extent.

- Stressing further on the matter of controlling the so called T & D losses and power theft, why the Department do not opt for underground cabling system especially in plain areas like Dimapur town?

Reply by DPN:

As the same would involve huge financial implication, the DPN will examine and work on the matter.

- The State has coal deposits to set up Thermal Power Stations and major rivers to set up Hydro Electric Projects. Why the DPN, without setting up the aforesaid generating stations continues to purchase power from other states?

Reply by DPN:

Against the present power requirement of around 100 MW, the State owned generating station i.e. 3x8MW Likhimro Hydro Project, is the only internal source that cater to the power requirement in the State.

The DPN is exploring ways and means to develop 2 (two) major generating stations i.e. Tizu-Zungki Hydro Electric Project and Dikhu Hydro Electric Project with a generating capacity of 150MW and 140MW respectively.

- The establishment charges of the Department have to be borne by the State Government like any other department in the State. Hence the same should not be included in the Annual Revenue Requirement (ARR) while determining the Tariff.

Comments by the Commission:

Tariff determination procedures require that the expenditure for employees cost, R&M expenses and Administration & General expenses are required to be included in the Annual Revenue Requirement (ARR). Hence, establishment charges cannot be excluded while determining the Tariff.

    - Queries raised by Mr. C.R. Lotha – Public/Consumer:

- It is understood that the Department is making a Private Firm to operate and run the Likhimro Hydro Electric Project by paying Operation and Maintenance (O&M) charges to the said firm. Why the Department is not in a position to run the only state owned generating station?

Reply by DPN:

Apart from expertise which the Department may have deficiency in certain aspects of running the plant which would require imparting training to the operating personnel; under the Government’s prevailing system of release of funds to the departments, the DPN do not get regular flow of funds even against allocated provisions for Operation and Maintenance (O & M) activities. Without timely maintenance, it is impracticable to run generating plants.

Under the above circumstances, the aforesaid generating station was outsourced to a private firm for a period of 10 (ten) years.

Although, the Private Firm also do not get regular flow of O & M funds from the Government, the firm keeps the plant running by employing their own resources which are recouped as and when the O & M funds are released by the Government.

4.2.4	Suggestions voiced by the Public present:

- For Creating Public Awareness in the matter of timely payment of Electricity Bills and quality supply of power:

In order to create Public Awareness, the DPN may hold sittings with the Press Club as such organizations have the platform that can generate public support.

- Regular flow of fund for urgent Operation and Maintenance activities:

On the position stated by the Department regarding inability to get regular flow of O & M funds, it was pointed out that the Power Sector being under the purview of the Maintenance of Essential Services Act, the DPN should seek for some relaxation in matter of release of fund to meet urgent O & M expenditure for the Power Supply System.

It was further mentioned that in the Department of Nagaland State Transport (NST), the State Government extends some relaxation in release of fund for running the buses without any interruption of scheduled services.

# 5. Aggregate Revenue Requirement 2012-13 - Commission’s Analysis and Decisions

# 5.1 	Introduction

The ARR and Tariff petition filed by the DPN for 2012-13 on 29th November, 2011 was incomplete as some of the data / information required under NERC (Terms and Conditions for Determination of Tariff) Regulations, 2010 was not furnished. The Commission directed the DPN through letters dated 14th December, 2011 and 7th January 2012 to furnish data / information. The Department has submitted the additional information vide their letters dated 7th February 2012 and 17th March, 2012.

The additional data / information submitted by the DPN is taken into consideration while analyzing the ARR & Tariff Petition in the order.

# 5.2 	Consumer Categories

DPN serves about 1,91,164 consumers as on 31st March, 2011 in its area of operation and the consumers are broadly categorized as under:

- Domestic  including BPL

- Commercial

- Industrial

- Public Lighting

- Irrigation and Agriculture

The DPN serves the consumers at different voltages at which the consumers avail supply.

# 5.2.1 	Projected Consumer Growth and connected load

The DPN has furnished the details of category-wise consumers (actuals), over the last five years (2006-07 to 2010-11), estimated for 2011-12 and projected for FY 2012-13.

Table 5.1:  Category-wise Consumers

(Nos)

| Sl. No. | Category | FY 2006-07 (Actual) | FY 2007-08 (Actual) | FY 2008-09 (Actual) | FY 2009-10 (Actual) | FY 2010-11 (actual) | FY 2011-12 (Estimated) | FY 2012-13 (Projected) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Domestic | 156711 | 160760 | 163975 | 164515 | 170679 | 174450 | 180000 |
| 2. | Commercial | 16516 | 16910 | 16928 | 17273 | 17050 | 18000 | 18750 |
| 3. | Industrial | 1947 | 1987 | 2021 | 2095 | 2040 | 2040 | 2400 |
| 4. | Public Lighting | 704 | 743 | 759 | 581 | 780 | 589 | 600 |
| 5. | Agriculture | 2 | 2 | 4 | 2 | 2 | 2 | 2 |
| 6. | Public Water works | 25 | 26 | 21 | 27 | 28 | 38 | 42 |
| 7. | Bulk supply | 152 | 169 | 173 | 556 | 585 | 600 | 650 |
| 8. | Inter State |  |  |  |  |  |  |  |
|  | Total | 176057 | 180597 | 189881 | 185049 | 191164 | 195720 | 202445 |

Category wise-consumers and connected load at actuals for FY 2010-11, estimates for FY 2011-12 and projected for FY 2012-13 by DPN are indicated in table below:

Table 5.2: Consumers and connected load

| Sl. No | Consumer Category | 2010-11 (Actual) |  | 2011-12 (Estimated) |  | 2012-13 (Projected) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | No of Consumers | Connected Load KW | No of Consumers | Connected Load KW | No of Consumers | Connected Load KW |
| 1 | Domestic including BPL | 170679 | 71000 | 174450 | 78000 | 180000 | 85000 |
| 2 | Commercial | 17050 | 9500 | 18000 | 11000 | 18750 | 12500 |
| 3 | Industrial Consumers | 2040 | 6500 | 2040 | 7300 | 2400 | 8200 |
| 4 | Public Lighting | 780 | 8000 | 589 | 8000 | 600 | 8000 |
| 5 | Public Water works & Sewage | 28 | 710 | 38 | 710 | 42 | 710 |
| 6 | Irrigation & Agriculture | 2 | 20 | 2 | 20 | 2 | 20 |
| 7 | Bulk supply | 585 | 20000 | 600 | 20000 | 650 | 22000 |
| 8 | Total | 191164 | 116230 | 195719 | 125030 | 202444 | 136430 |

# 5.3 	Energy Sales

The DPN has furnished actual energy sales from 2006-07 to 2010-11 (actuals) and estimated for 2011-12 and projected for 2012-13 as indicated in table below:

Table 5.3: Energy Sales

| S. No | Category | 2006-07 (Actu als) | 2007-08 (Actu als) | 2008-09 (Actu als) | 2009-10 (Actuals) | 2010-11 (Actuals) | 2011-12 (Estimated) | 2012-13 (Projected) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Domestic | 97.09 | 127.02 | 145.00 | 175.84 | 788.22 | 266.46 | 268.13 |
| 2 | Commercial | 13.60 | 9.77 | 8.95 | 22.71 | 32.26 | 36.00 | 47.32 |
| 3 | Industrial | 13.29 | 13.09 | 13.90 | 11.86 | 11.02 | 17.50 | 20.28 |
| 4 | Public Lighting | 4.57 | 4.42 | 4.86 | 1.83 | 4.80 | 5.60 | 5.97 |
| 5 | Irrigation & Agriculture | 0.01 | 0.01 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 |
| 6 | Public Water Works & Sewage | 1.52 | 1.70 | 2.02 | 1.27 | 1.70 | 3.40 | 3.38 |
| 7 | Bulk supply | 26.42 | 26.72 | 18.20 | 36.33 | 46.89 | 56.00 | 73.23 |
|  | Sub total | 156.50 | 182.73 | 192.97 | 249.88 | 284.93 | 385.00 | 418.35 |
| 8 | Outside State | 38.19 | 101.08 | 170.00 | 75.67 | 92.43 | 60.00 | 40.00 |
|  | Total | 194.69 | 283.80 | 362.97 | 325.55 | 377.36 | 445.00 | 458.35 |

The DPN has submitted that it has projected the category wise energy sales for        FY 2012-13 based on the past sales over the five year period (FY 2006-07 to FY 2010-11), new developments on account of Government policies, socio economic changes, Industrial growth etc. that would effect consumption across various categories of consumers, have been taken as guiding factors in estimating the sales. DPN has further stated that the CAGR as the basis for sales projections is a tried and tested method and is used extensively across the states and accepted by the regulators. However, considering the CAGR the sales for the last five years presented an abnormal trend and hence normalization has been undertaken for such categories for forecasting the sales for FY 2012-13.

# 5.3.1 	Analysis of energy sales projected and Commission’s view

Reasonable projection of category wise sales is essential to determine the energy required to be purchased and the likely revenue by sale of electricity.

DPN has projected the category wise energy sales for FY 2012-13 based on past trends over a period of Five years (2006-07 to 2010-11). These sales with CAGR for 4 years, 3 years and year on year are shown in table below.

Table 5.4: Energy Sales growth rate

| Consumer Category | 2006-07 (actual) | 2007-08 (actual) | 2008-09 (actual) | 2009-10 (actual) | 2010-11 (actual) | CAGR for 4 years 2006-07 to 2010-11 | CAGR for 3 years 2007-08 to 2010-11 | CAGR for year on year growth rate 2010-11 over 2009-10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Domestic | 97.09 | 127.02 | 145 | 175.84 | 188.22 | 18.00 | 14.01 | 7.04% |
| Commercial | 13.6 | 9.77 | 8.95 | 22.71 | 32.26 | 24.10 | 48.91 | 42.05% |
| Industrial | 13.29 | 13.09 | 13.9 | 11.86 | 11.02 | -4.57 | -5.58 | -7.08% |
| Public Lighting | 4.57 | 4.42 | 4.86 | 1.83 | 4.8 | 1.24 | 2.79 | 162.30% |
| Public Water Works and Sewage | 1.52 | 1.7 | 2.02 | 1.27 | 1.7 | 2.84 | 0.00 | 33.86% |
| Irrigation and Agriculture | 0.01 | 0.01 | 0.04 | 0.04 | 0.04 | 41.42 | 58.74 | - |
| Bulk supply | 26.42 | 26.72 | 18.2 | 36.33 | 46.89 | 15.42 | 20.62 | 29.07% |
| Total | 156.5 | 182.73 | 192.97 | 249.88 | 284.93 | 98.45 | 139.49 | 14.03% |

Specific consumption based on number of consumers and total consumption is worked out and shown in table below.

Table 5.5: Specific Consumption per consumer

| Consumer Category | 2006-07 (kWh/ month) | 2007-08 (kWh/ month) | 2008-09 (kWh/ month) | 2009-10 (kWh/ month) | 2010-11 (kWh/ month) |
| --- | --- | --- | --- | --- | --- |
| Domestic | 52 | 66 | 74 | 89 | 92 |
| Commercial | 69 | 48 | 44 | 110 | 158 |
| Industrial | 569 | 549 | 573 | 472 | 450 |
| Public Lighting | 541 | 496 | 534 | 262 | 513 |
| Irrigation and Agriculture | 417 | 471 | 833 | 1667 | 1667 |
| Public Water Works and Sewage | 5067 | 5449 | 8016 | 3920 | 5060 |
| Bulk supply | 14485 | 13176 | 8767 | 5445 | 6079 |

The consumption of each category of consumers is discussed below to arrive at reasonable estimation of energy sales for FY 2012-13.

1. Domestic

The DPN has projected the energy sales of 268.13 MU to this category for FY 2012-13. Actuals during 2010-11 are 188.22 MU. 4 year CAGR (FY 2006-07 to FY 2010-11) is 18% and 3 year CAGR is 14.01%. YoY growth of 2010-2011 over 2009-10 is about 7%. It is observed that the growth of domestic sale is steadily increasing YoY for the last three years. During the year 2011-12 a growth rate of 10% is considered. The same growth rate of 10% PA is considered for FY 2012-13 also, which works out to 228 MU.

The Commission approves the energy sales at 228 MU for FY 2012-13 as against 268.13 proposed by DPN

2. Commercial

DPN has projected the energy sales of 47.32 MU for FY 2012-13. Actuals during 2010-11 are 24.10 MU. 4 year CAGR (2006-07 to 2010-11) YoY growth over 2009-10 is 42%. There was sudden increase in 2009-10 over earlier years and this growth rate may not be sustainable.  During the year 2011-12 a growth rate of 9% PA was considered. The growth rate of 10% is considered, which works out to 39 MU.

The Commission approves the energy sales of 39 MU for commercial category for FY 2012-13 as against 47.32 MU proposed by DPN.

3. Industrial

DPN projected the energy sales of 20.28 MU to this category for the FY 2012-13. Actuals during 2010-11 are 11.02 MU. 4 year and 3 year CAGR and YoY growth rates show a negative growth. DPN stated that industrial growth is picking up. During the year 2011-12 a growth rate of 9% PA was considered. The same is considered reasonable for the year 2012-13 also which works out to 13 MU.

The Commission approves the energy sales of 13 MU for industrial power supply for FY 2012-13 as against 20.28 MU proposed by DPN.

4.  Public lighting

The DPN has projected the energy sales for this category at 5.97 MU for FY 2012-13. Actuals during 2010-11 are 4.8 MU. The past growth had been erratic. The 4-year CAGR was 1.4% and three year CAGR is 2.79%. As such a growth rate of 3% is considered reasonable which works out to 5 MU.

The Commission accordingly approves energy sales for public lighting at 5 MU for FY 2012-13 as against 5.97 MU projected by the DPN.

5. Irrigation and Agriculture

The DPN has projected energy sales of 0.04 MU for FY 2012-13 at a zero growth. The sales to this category were at the level of zero growth over the last three years. The Commission accepts the projection of DPN for agriculture at 0.04 MU for                    FY 2012-13.

The Commission accordingly approves energy sales for agricultural category at 0.04 MU for FY 2012-13 as proposed by DPN.

6. Public Water Supply and Sewage System

The DPN has projected the energy sales for this category at 3.38 MU for the year 2012-13. The actual sales during 2010-11 are 1.70 MU. DPN has projected 3.38 MU might be based on latest development in water supply programmes in the State considering growth in earlier years. It is felt reasonable to fix the sales to this category only at 3.00 MU for the year 2012-13.

The Commission approves energy sales for Public water supply and sewage system at 3.00 MU for FY 2012-13 against 3.38 MU as projected by DPN.

7. Bulk Supply

DPN has projected the energy sales to this category at 73.23 MU for FY 2012-13. The actual sales during the year 2010-11 are 46.89 MU.  The four-year CAGR (2006-07 to 2010-11) was 15.4%.  The growth during FY 2010-11 over FY 2009-10 was 29%. Sudden jump in consumption during FY 2010-11 over FY 2009-10 is not explained. A growth of 15% P.A. is considered reasonable, which works out to 62 MU.

The Commission accordingly approves energy sales for bulk supply at 62 MU for FY 2012-13 as against 73.23 MU projected by DPN

# 5.3.2 	Category-wise Energy Sales

The category wise energy sales for FY 2012-13 as discussed above and the energy sales projected by DPN and approved by the Commission are given in table below:

Table 5.6: Category wise energy sales for FY 2012-13

(MU)

| Sl. No. | Consumer Category | Energy sales projected by DPN | Energy sales approved by the Commission |
| --- | --- | --- | --- |
|  | Domestic | 268.13 | 228.00 |
|  | Commercial | 47.32 | 39.00 |
|  | Industrial | 20.28 | 13.00 |
|  | PL | 5.97 | 5.00 |
|  | Agriculture | 0.04 | 0.04 |
|  | PWS | 3.38 | 3.00 |
|  | Bulk supply | 73.23 | 62.00 |
|  | Total | 418.34 | 350.04 |

# 5.4 	Transmission and Distribution (T&D) losses

It is submitted by DPN that it has achieved significant reduction in transmission and distribution loss during the recent years as a result of execution of system improvement works under the plan schemes. It is submitted by DPN that their efforts will be continued to enhance further.

The T&D loss (Actuals) of DPN during FY 2010-11 are given as 36.57%

The DPN has projected the T&D loss for FY 2011-12 and FY 2012-13 as under:

| FY 2011-12(Estimated) | 36.38 |
| --- | --- |
| FY 2012-13 (Projected) | 28.00 |

DPN has thus shown a reduction of 8.38% in T&D Loss during 2012-13 over 2011-12

Commission’s Analysis

The DPN has arrived T&D loss as above considering the sales outside the state also. But these sales cannot be taken for purpose of loss, calculation, as the sales outside the state will not pass through DPN network.

The T & D loss furnished by DPN are exclusive interstate transmission loss which the DPN has not segregated. The details of regional network losses have been obtained from NERLDC for the period 27th Dec, 2010 to 25th Dec 2011 (52 weeks). The data is furnished in Annexure 2. The loss is in the range of 2.70% to 5.50%. The average loss is about 3.64%. It is considered reasonable to adopt 3.64% towards regional transmission loss (pool Loss).

The regional pool loss level of 3.64% has therefore been considered for DPN. Now after considering regional pool loss of 3.64% the internal T & D loss of the state is worked out for the year 2010-11 with the data furnished by DPN as shown in table below:

Table 5.7: T&D loss calculation during FY 2010-11

| Sl.No | Particulars | 2010-11 |
| --- | --- | --- |
|  | Energy Availability |  |
| 1 | Own Generation (MU) | 76.34 |
| 2 | Power Purchase from CGS (MU) | 442.85 |
| 3 | Free Power from Doyang (MU) | 29.82 |
| 4 | Less Inter State Loss (Pool loss) @3.64% on (2) + (3) | 17.21 |
| 5 | UI Purchases | 45.96 |
| 6 | Less sales out side state | 92.43 |
| 7 | Power availability at state periphery (1+2+3-4+5-6) | 485.33 |
| 8 | Sales with in States (MU) | 284.94 |
| 9 | T & D Loss (MU) | 201.07 |
| 10 | T & D Loss % | 41.37% |

Thus the T & D loss during 2010-11 were 41.37% but not 36.57 % as furnished by DPN.

In the tariff order for the year 2011-12, T & D loss of 31.56% was approved by the Commission. The same is retained for 2011-12. DPN now proposes to reduce the T&D loss to 28% during 2012-13.

The Commission approves the T & D loss within the state at 28% for the year 2012-13 as projected by DPN.

The technical and commercial losses are not segregated. DPN should analyze the reasons for such a high T & D loss and effective measures be taken to reduce the losses by proper accounting of energy sales, conducting voltage wise energy audit by providing meters on incoming lines and arresting pilferage of energy and replacement of all defective meters and installation of meters to all unmetered connections.

With the above observations Commission sets the trajectory loss reduction for the year 2013-14 to 2015-16 is fixed as follows

| 2013-14 | 27% |
| --- | --- |
| 2014-15 | 26% |
| 2015-16 | 25% |

DPN shall make all efforts for reduction of losses in the system as above.

# 5.5 	Power Procurement for 2012-13

Own Generation

DPN has one own generating station (Likhimro Hydro Electric Project) with installed capacity of 3x8MW; and together with other MHEPs, the State’s total installed Hydel Power Capacity is 27.5 MW and the net generation during 2012-13 is projected at 92.56 MU.

The balance energy requirement of DPN is mainly met from allocation of power from Central Generation Stations of NEEPCO, NHPC, and NTPC as per allocation from time to time as detailed in table below. However, for meeting requirement at peak demand period it has to purchase power from other sources / open market / power exchange etc.

Table 5. 8: Power allocation

| S.N | Source | Capacity (MW) | Allocation |  |
| --- | --- | --- | --- | --- |
|  |  |  | (%) | (MW) |
|  | Central Sector |  |  |  |
| 1 | Loktak, NHPC | 105 | 6.44 | 6.76 |
| 2 | Khandong, NEEPCO | 50 | 6.65 | 3.33 |
| 3 | Kopili – I, NEEPCO | 200 | 6.15 | 12.30 |
| 4 | Kopili – II, NEEPCO | 25 | 5.74 | 1.44 |
| 5 | Ranganadi , NEEPCO | 405 | 5.34 | 21.63 |
| 6 | Doyang, NEEPCO | 75 | 17.97 | 13.48 |
| 7 | AGTPP (Tripura) | 84 | 5.38 | 4.52 |
| 8 | AGBPP | 291 | 5.81 | 16.91 |
| 9 | Farakka, NTPC | 1600 | 0.70 | 11.16 |
| 10 | Kahelgaon , NTPC | 840 | 0.69 | 5.80 |
| 11 | Talcher, NTPC | 1000 | 0.70 | 7.00 |
|  | TOTAL | 4675 |  | 104.37 |

Source: - Table 3.6 of ARR

Power procurement during FY 2010-11 (Actuals) and estimated for FY 2011-12 and   projected during FY 2012-13 furnished by DPN are given in table below:

Power procurement projected by DPN

Table 5.9: Details of Power Procurement Sources – FY 2012-13

| S.N | Source | Previous Year (Actual) FY 2010-11 | Current Year (Estimated) FY 2011-12 | Ensuring year (projected) FY 2012-13 |
| --- | --- | --- | --- | --- |
|  | Central Sector |  |  |  |
| 1 | Loktak, NHPC | 37.97 | 32.00 | 32.00 |
| 2 | Khandong, NEEPCO | 54.03 | 54.03 | 54.03 |
| 3 | Kopili – I, NEEPCO |  |  |  |
| 4 | Kopili – II, NEEPCO |  |  |  |
| 5 | Ranganadi , NEEPCO | 78.19 | 78.00 | 78.00 |
| 6 | Doyang, NEEPCO | 44.58 | 41.00 | 41.00 |
| 7 | AGTPP (Tripura) | 38.05 | 37.00 | 37.00 |
| 8 | AGBPP | 111.65 | 95.00 | 95.00 |
| 9 | NTPC | 108.20 | 167.00 | 167.00 |
| 10 | UI / overdrawn (net) | 45.96 | 40.00 | 40.00 |
|  | TOTAL | 518.63 | 544.03 | 544.03 |

Source:-Copy table 3.4 of ARR

# 5.6	Energy Requirement and Availability

The energy requirement for and availability for 2010-11 (actuals), 2011-12 (estimated) and  FY 2012-13 projected by the DPN are furnished below.

Table 5.10: Energy Requirement

(MU)

| Energy Balance | FY 2010-11 (Actuals) | FY 2011-12 (Estimated) | FY 2012-13 (Projected) |
| --- | --- | --- | --- |
| ENERGY REQUIREMENT |  |  |  |
| Energy Sales within state | 284.94 | 345.00 | 418.34 |
| Sales to other distribution licensees | 92.43 | 60.00 | 40.00 |
| Total Energy Sales | 377.37 | 405.00 | 458.34 |
| Overall T & D Losses % | 36.57 | 36.38 | 28.00 |
| Overall T & D Losses (MU’s) | 217.60 | 231.59 | 178.25 |
| Total Energy Requirement | 594.97 | 636.59 | 636.59 |
| ENERGY AVAILABILITY |  |  |  |
| Power Purchase from CGS / UI | 488.81 | 517.03 | 517.03 |
| Free Power from DHEP | 29.52 | 27.00 | 27.00 |
| Own Generation | 76.34 | 92.56 | 92.56 |
| Total Energy Availability | 594.97 | 636.59 | 636.59 |
| ENERGY SURPLUS / (GAP) | 0.00 | 0.00 | 0.00 |

Source: - Table 3.3 of ARR

Commission’s Analysis

As seen from the above, DPN has not segregated the regional transmission losses and clubbed the outside sales (UI Sales) with the sales within the state which is not in order. The sales outside the state will not pass through state gird and therefore state T & D loss has no bearing on outside sales.  The power purchase from central generating stations will be billed on ex-bus basis and therefore the power received at state periphery will be influenced by regional pool loss, which is considered at 3.64% as discussed in para 5.4 supra. Since power is surplus UI purchases are not considered. If any contingency arises the same will be considered at the time of review. With the above observations the energy requirement and availability as projected by DPN and approved by the Commission are furnished in table below.

Table 5.11: Energy Requirement for FY 2012-13

(MU)

| S.N |  | As projected by DPN | As approved by the Commission |
| --- | --- | --- | --- |
| A | Energy Requirement |  |  |
| 1 | Energy Sales within the State (MU) | 418.34 | 350.04 |
| 2 | Energy Sales outside state | 40.00 | - |
| 3 | Total sales (1+2) | 458.34 | 350.04 |
| 4 | T & D Loss (%) | 28% | 28% |
| 5 | T & D Loss | 178.25 | 135.96 |
| 6 | Energy requirement (3-5) | 636.59 | 486.00 |
| B | Energy Availably |  |  |
| 7 | Own Generation | 92.56 | 92.56 |
| 8 | Power purchase | 477.03 | 477.03 |
| 9 | Free Power | 27.00 | 27.00 |
| 10 | Regional Tr Loss (%) | - | 3.64% |
| 11 | Regional Tr Loss | - | 18.35 |
| 12 | UI purchases | 40.00 | - |
| 13 | Total Energy available (7+8+9-11) | 636.59 | 578.24 |
| 14 | Less Energy Requirement (6) | 636.59 | 486.00 |
| 15 | Surplus (13-14) | 0 | 92.24 |

# 5.7	Gross fixed Assets

The DPN has projected GFA at 572.08 crore as on 01/04/2010 based on available information in the absence of fixed asset registers. Additions during the year have been considered to the extent of works capitalized. The DPN has furnished year wise GFA as detailed in table 5.12 below:

Table 5.12: Gross Fixed Assets Movement

(Rs. crore)

| Sl. No. | Financial Year | Opening Balance | Addition during the year | Closing Balance |
| --- | --- | --- | --- | --- |
| 1 | FY 2010-11 | 572.08 | 15.20 | 587.28 |
| 2 | FY 2011-12 | 587.28 | 29.00 | 616.28 |
| 3 | FY 2012-13 | 616.28 | 30.00 | 646.28 |

Source: - Table 3.12 of ARR

Commission’s Analysis

The DPN being a Government department it has to maintain proforma accounts such as balance sheet, profit and loss account with relevant statements and schedules and get it audited. DPN has also not maintained the asset registers. In view of this, Commission cannot accept the GFA furnished by DPN for purpose of depreciation and return on equity / capital base.

# 5.8	Capital Investment

The DPN has projected capital expenditure of Rs. 136.00 crore during 2012-13. Scheme wise details during 2010-11 (Actuals) and 2011-12 (estimated) and 2012-13 (projected) are furnished in Tables below:

Table 5.13 Investment Plan (Scheme wise)

(Rs. crore)

| S.N | Particulars | Eleventh Plan | Previous year (Actual) FY 2010-11 |  |  | Current Year (Estimated ) FY 2011-12 |  |  | Ensuing Year (Projected) FY 2012-13 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Approved Outlay | Approved Outlay | Actual Expenditure |  | Approved Outlay (Proposed) | Anticipated Expenditure |  | Approved Outlay (Proposed) | Anticipated Expenditure |  |
|  |  |  |  | Plan | Outside Plan |  | Plan | Outside Plan |  | Plan | Outside Plan |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| 1 | Generation Schemes | 100.00 | 9.08 | 9.08 |  | 7.61 | 7.61 |  | 8.30 | 8.30 |  |
| 2 | Transmission and Distribution Schemes | 225.00 | 34.10 | 34.10 |  | 31.20 | 31.50 |  | 34.50 | 34.50 | 35.00 |
| 3 | Renovation & Modernization | 80.00 | 6.46 | 6.46 | 27.88 | 10.39 | 10.39 | 33.30 | 11.40 | 11.40 | 39.90 |
| 4 | Rural Electrification | 90.00 | 6.65 | 6.65 |  | 3.04 | 3.04 |  | 3.40 | 3.40 |  |
| 5 | Miscellaneous Expenditure | 64.40 | 2.28 | 2.28 |  | 3.16 | 3.16 |  | 3.50 | 3.50 |  |
| 6 | TOTAL | 559.40 | 58.57 | 58.57 | 27.88 | 55.70 | 55.70 | 33.30 | 61.10 | 61.10 | 74.90 |

Source:- Format 21 of ARR

The DPN has submitted that the proposed capital expenditure of Rs 136 crore during 2012-13 is to upgrade and strengthen the distribution network to meet the desirable standards of performance and provide better network reliability and sustainable performance to the consumers and to reduce system losses.

The DPN proposed to capitalize Rs 30 crore during 2012-13 as detailed in the table 5.14 below:

Table 5.14: Capital Expenditure & Capitalization FY 2012-13

Rs. crore

| S.N | Particulars | Previous Year 2010-11 (actual) | Current Year 2011-12 (Estimated) | Ensuing Year 2012-13 (Projected) |
| --- | --- | --- | --- | --- |
| 1 | Opening balance | 500.02 | 571.27 | 631.27 |
| 2 | Add: New Investment | 86.45 | 89.00 | 136.00 |
| 3 | Total | 586.47 | 660.27 | 767.27 |
| 4 | Less Investment capitalized | 15.20 | 29.00 | 30.00 |
| 5 | Closing balance | 571.27 | 631.27 | 737.27 |

Source:- Table 3.5 of ARR

Commission Analysis

As verified from the CWIP and capitalization furnished by DPN, Rs 586.47 crore invested to end of 31/03/2011 out of which only Rs 15.20 crore are capitalized which is about 2.6% of the total investment. The progress of completion of works should be geared up to bring the assets into optimum use to achieve the expected objectives. The DPN should submit scheme wise, work wise progress with dates of commencement of work and targeted dates of completion of works by 30/06/2012.

With the above observation the capital investment of Rs. 136 crore and capitalisation of Rs. 30 crore  during the year 2012-13 are approved.

# 5.9	Revenue Requirement for FY 2012-13

DPN has projected a total ARR of Rs. 356.10 crore for the year 2012-13 as given in table below.

Table 5.15 Expenses projected by DPN for 2012-13

(Rs. crore)

| S.N | Item of expenses | Ensuing Year 2012-13 [Projected] |
| --- | --- | --- |
| 1 | 2 | 4 |
| 1 | Cost of Fuel | 0.08 |
| 2 | Cost of power Purchase | 181.97 |
| 3 | Employee costs | 61.78 |
| 4 | O & M expenses | 17.85 |
| 5 | Administration and general expenses | 2.78 |
| 6 | Depreciation | 15.48 |
| 7 | Interest charges (including interest on working capital) | 31.67 |
| 8 | Return on NFA / Equity | 48.61 |
| 9 | Provision for Bad debit | 1.51 |
| 10 | Total revenue Requirement | 361.73 |
| 11 | Less: non tariff income | 5.63 |
| 12 | Net revenue requirement (10 – 11) | 356.10 |
| 13 | Revenue from tariff | 150.64 |
| 14 | Revenue from surplus sale of Power | 12.80 |
| 15 | Gap (12 – 13 – 14) | 192.66 |
| 16 | Gap for | 0.00 |
| 17 | Total gap (14 + 15) | 192.66 |
| 18 | Revenue surplus carried over | 0.00 |
| 19 | Additional revenue from proposed tariff | 26.20 |
| 20 | Regulatory asset | 166.46 |
| 21 | Energy sales (MU) | 418.34 |

Source: - Table 3.18 of ARR

Commission’s Analysis

The expenses projected by DPN under each head and the Commission’s analysis are discussed below.

# 5.10 	Fuel Cost

DPN has projected fuel cost of Rs. 0.08 crore for FY 2012-13.

The Commission approves the fuel cost of Rs. 0.08 crore for the year 2012-13 as projected by DPN.

# 5.11 	Power Purchase cost

The allocation of power from CGS, the parameters adopted by DPN to arrive at the entitlement of energy from CGS and estimated availability of energy for purchase for the FY 2012-13 are discussed in para 5.5 above.

The power purchase cost estimated by DPN for the year 2012-13 is given in table 5.16   below: -

Table 5.16 Power Purchase cost projected by DPN for FY 2012-13

| S. N | Source | 2010 – 11 (Actual) |  |  | 2011 – 12 (Estimated) |  |  | 2012 – 13 (Projected) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Purchase (MU) | Rate/ (Rs. / KWh) | Total Cost Rs. crore | Purchase (MU) | Rate/ (Rs. / KWh) | Total Cost Rs. crore | Purchase (MU) | Rate/ (Rs. / KWh) | Total Cost Rs. crore |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| I | NEEPCO |  |  |  |  |  |  |  |  |  |
| 1 | Khandong | 54.03 | 0.88 | 4.76 | 54.03 | 1.21 | 6.54 | 54.03 | 1.21 | 6.54 |
| 2 | Kopili – I & II |  |  |  |  |  |  |  |  |  |
| 3 | Ranganadi | 78.19 | 1.68 | 13.16 | 78.00 | 2.15 | 17.59 | 78.00 | 2.15 | 17.59 |
| 4 | AGTPP . Tripura | 38.05 | 2.55 | 9.71 | 37.00 | 2.90 | 10.73 | 37.00 | 2.90 | 10.73 |
| 5 | AGBPP , Kathalguri | 111.66 | 2.65 | 29.55 | 95.00 | 2.93 | 27.84 | 95.00 | 2.93 | 27.84 |
| 6 | Doyang , Nagaland | 14.76 | 2.90 | 4.28 | 14.00 | 4.65 | 6.51 | 14.00 | 4.65 | 6.51 |
| II | NHPC |  |  |  |  |  |  |  |  |  |
| 1 | Loktak , Manipur | 37.97 | 1.03 | 3.90 | 32.00 | 1.32 | 4.22 | 32.00 | 1.32 | 4.22 |
| III | NTPC | 108.20 | 3.60 | 38.99 | 167.00 | 3.68 | 61.46 | 167.00 | 3.68 | 61.46 |
| IV | UI / over drawn (net) | 45.96 | 3.21 | 14.73 | 40 | 5.75 | 23.00 | 40 | 5.75 | 23.00 |
| V | PGCIL (Trans. Charges) | 488.81 | 0.63 | 30.65 | 517.03 | 0.46 | 23.84 | 517.03 | 0.46 | 23.84 |
| VI | NERLDC / NERPC Charges |  |  | 0.09 |  |  | 0.25 |  |  | 0.25 |
| VII | Total Energy Purchase | 488.81 | 3.06 | 149.82 | 517.03 | 3.52 | 181.97 | 517.03 | 3.52 | 181.97 |
| VIII | Free Power from Doyang | 29.82 | 0 | 0 | 27.00 |  |  | 27.00 |  |  |
| IX | (Total energy available) | 518.63 | 2.89 | 149.82 | 544.03 | 3.34 | 181.97 | 544.03 | 3.34 | 181.97 |
| X | Arrear energy bill / IT paid |  |  |  |  |  |  |  |  |  |
| XI | Total of the year | 518.63 |  | 149.82 | 544.03 |  | 181.97 | 544.03 |  | 181.97 |

Source: - Format 7 of ARR

Commission’s Analysis

The DPN has projected the power purchase cost at the average cost of FY 2011-12 which is reasonable. The power purchase cost approved by the Commission is furnished in table below:

Table 5.17: Power Purchase cost for the year 2012-13

| Sl. No. | Source | Purchase (MU) | Rate (Rs./ KWh) | Total Cost (Rs. crore) |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
| 1 | NEEPCO |  |  |  |
| A | Kopili | 54.03 | 1.21 | 6.54 |
| B | Khangdong |  |  |  |
| C | AGTPP (Tripura) | 37.00 | 2.90 | 10.73 |
| D | AGBPP | 95.00 | 2.93 | 27.84 |
| E | Ranganadi (RHEP) | 78.00 | 2.25 | 17.59 |
| F | Doyang (DHEP) | 14.00 | 4.65 | 6.51 |
| 2 | NHPC (Loktak) | 32.00 | 1.32 | 4.22 |
| 3 | NTPC stations | 167.00 | 3.68 | 61.46 |
| 4 | PGCIL (Trans.Chrges) |  |  | 23.84 |
| 5 | NERLDC/NERPC charges |  |  | 0.25 |
| 6 | Total Energy Purchase | 477.03 |  | 116.21 |
| 7 | Free Power from Doyang | 27.00 | - | 0.00 |
| 8 | (Total energy available) | 504.03 |  | 158.97 |

The Commission accordingly approves Rs. 158.97 crore towards power purchase cost for purchase of 477.03 MU for the year 2012-13 as projected by DPN.

# 5.12 	Operation and Maintenance Expenses

The O&M expenses comprises of employee expenses, Repairs and Maintenance expenses and administration and general expenses

The DPN has furnished the details of O&M expenses as shown below:

Table 5.18: Operation & Maintenance Expenses

(Rs. crore)

| Sl. No. | Source | FY 20010-11 (Actual) | FY 2011-12 (Estimated) | FY 2012-13 (Projected) |
| --- | --- | --- | --- | --- |
| 1 | Employee cost | 53.87 | 57.74 | 61.78 |
| 2 | Repair & Maintenance Expenses | 17.36 | 17.64 | 17.85 |
| 3 | Administration and General Expenses | 1.98 | 2.34 | 2.78 |
|  | Total Operation & Maintenance Expenses | 73.21 | 77.72 | 82.41 |

# 5.12.1	Employee Cost

DPN has projected the employee cost at Rs. 61.78 crore for the year 2012-13. The employee cost includes salaries, allowances, bonus, LTC and Honorarium, leave salary etc. The component wise details of employee cost (actuals) for the years 2008-09 to 2010-11, estimated for 2011-12 and projected for 2012-13  as furnished by DPN and are shown in table below:

Table 5.19 Employee cost

(Rs. lakh)

| S.N | Particulars | 2008-09 (Actuals) | 2009-10 (Actuals) | 2010-11 (Actuals) | 2011-12 (Estimated) | 2012-13 (Projected) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
|  | SALARIES & ALLOWANCES |  |  |  |  |  |
| 1 | Basic Pay | 1865.46 | 1894.41 | 3137.32 | 3324.87 | 3515.87 |
| 2 | Dearness Pay | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 3 | Dearness Allowance | 985.91 | 1241.28 | 1694.12 | 1851.45 | 2018.48 |
| 4 | House rent Allowance | 78.00 | 79.08 | 306.26 | 332.49 | 362.22 |
| 5 | Fixed medical Allowance | 24.72 | 25.52 | 102.78 | 111.36 | 119.24 |
| 6 | Medical reimbursement charges | 23.02 | 25.73 | 25.95 | 26.02 | 30.54 |
| 7 | Over time payment | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 8 | Other allowances | 9.52 | 9.88 | 26.00 | 28.44 | 14.40 |
| 9 | Generation incentive | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 10 | Bonus | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 11 | Total | 2986.63 | 3275.90 | 5292.43 | 5674.63 | 6072.90 |
| 12 | Leave encashment | 46.53 | 41.53 | 95.00 | 99.74 | 0.00 |
| 13 | Gratuity | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 14 | Commutation of Pension | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 15 | Workman compensation | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 16 | Ex – gratia | 0.00 | 0.00 | 00.00 | 0.00 | 0.00 |
| 17 | Total | 46.53 | 41.53 | 95.00 | 99.74 | 105.26 |
| 18 | Basic Pension | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 19 | Dearness Pension | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 20 | Dearness allowance | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 21 | Any other expenses | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 22 | Total | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 23 | Total ( 11+17+22) | 3033.16 | 0.00 | 5387.43 | 5774.37 | 6178.16 |
| 24 | Amount capitalized | 0.00 | 3317.43 | 0.00 | 0.00 | 0.00 |
| 25 | Net amount | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 26 | Add prior period expenses | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 27 | Grand Total | 3033.16 | 3317.43 | 5387.43 | 5774.37 | 6178.16 |

Source: -  Table 3.9 of ARR

The DPN has not considered pension and terminal benefits of the employees in the petition.		.

Commission’s Analysis

The DPN has furnished actual employees for FY 2010-11 at Rs. 53.87 crore and projected the expenses at Rs. 61.78 crore with an increase of 7% P.A.

The Commission accordingly approves Rs 61.78 crore towards employee costs for FY 2012-13 as projected by DPN.

# 5.12.2 Repairs and Maintenance Expenses

DPN has projected Rs.17.85 crore towards R & M expenses for the FY 2012-13. The R & M expenses include expenses on R & M of electrical equipment, transmission and distribution system, vehicles, furniture and fixtures, office equipment and buildings etc.

The DPN has estimated the expenses for FY 2011-12 at increased rate of 1.6% over actual expenditure incurred during 2010-11 and projected 1.2% increase for the year 2012-13 as detailed in table below: -

Table 5.20 Repair & Maintenance Expenses

(Rs. lakh)

| S. N | Particulars | FY 2010-11 (Actual) | FY 2011-12 (Estimated) | FY 2012-13 (Projected) |
| --- | --- | --- | --- | --- |
| 1 | Plant and Machinery | 6.55 | 7.25 | 8.50 |
| 2 | Building | 8.55 | 9.00 | 10.75 |
| 3 | Hydraulic works & civil works | 6.35 | 6.75 | 7.25 |
| 4 | Line cable & network | 371.58 | 380.65 | 394.25 |
| 5 | Vehicles | 25.75 | 27.50 | 30.75 |
| 6 | Furniture & fixtures | 2.62 | 2.85 | 3.50 |
| 7 | Operating expenses | 1314.60 | 1330.00 | 1330.00 |
| 8 | Total Repair & Maintenance expenses | 1736.00 | 1764.00 | 1785.00 |

Source: - Copy 3.11 of ARR

The DPN requested the Commission to allow the R & M expenditure as proposed in full to ensure better and timely maintenance of distribution network and better consumer services and higher consumer satisfaction.

The Commission approves Rs. 17.85 crore towards R&M for FY 2012-13 as projected by DPN.

# 5.12.3	Administration and General Expenses

The DPN has projected Adm. and General Expenses at Rs. 2.78 crore for the year 2012-13. Administration and General Expenses comprise payment of rent, rates and taxes, Telephone, postage expenses, conveyance and travel expenses, technical and consultancy fee etc. The actual expenditure during 2010-11 and estimation for 2011-12 and projection for 2012-13 as proposed by DPN are furnished in table below

Table 5.21: Administrative & General Expenses for FY 2012-13

(Rs. lakh)

| Sr. No | Particulars | FY 2010-11 (Actuals) | FY 2011-12 (Estimated) | FY 2012-13 (Projected) |
| --- | --- | --- | --- | --- |
| 1 | Rent, rates & taxes | 14.85 | 20.00 | 26.00 |
| 2 | Telephone, Postage & Telegrams | 15.75 | 19.00 | 24.00 |
| 3 | Consultancy fees | 12.64 | 15.75 | 20.00 |
| 4 | Technical fees | 16.23 | 20.00 | 25.00 |
| 5 | Other professional charges | 7.45 | 7.45 | 7.45 |
| 6 | Conveyance & travel expenses | 81.22 | 96.00 | 106.00 |
| 7 | Others | 50.24 | 56.00 | 70.00 |
|  | Total Administration & General Expenses | 198.38 | 234.20 | 278.45 |

Source: - Table 3.10 of ARR

Commission’s Analysis

Actual expenditure during 2010-11 is Rs 1.98 crore. An increase of 5% P.A over this expenditure is considered reasonable for 2012-13 which works out to be Rs. 2.18 crore.

The Commission accordingly approves Rs. 2.18 crore towards Admin & General expenses for the year 2012-13 as against Rs 2.78 crore Projected by DPN.

# 5.13 	Depreciation

The DPN has projected depreciation of Rs. 15.48 crore for the year 2012-13. DPN has applied average rate of depreciation as 2.45 % for the year 2012-13. The details projected by DPN are furnished in table below.

Table 5.22: Depreciation for the FY 2012-13 projected by DPN

| Sr. No | Particulars | FY 2012-13 (Projected) |
| --- | --- | --- |
| 1 | Gross Block in Beginning of the year | 616.28 |
| 2 | Additions during the year | 30.00 |
| 3 | Cumulative Depreciation at the Beginning of the year | 149.35 |
| 4 | Average Rate of Depreciation | 2.45% |
| 5 | Depreciation for the year | 15.48 |
| 6 | Cumulative Depreciation at the END of the year | 164.83 |
| 7 | Net Block in the Beginning of the Year | 466.93 |
| 8 | Net Block in the End of the year | 481.45 |

Source : - Table 3.13 of ARR

###### Commission’s Analysis

DPN has not maintained asset / depreciation registers. Audited proforma accounts are also not furnished. This subject is discussed in Para 5.7 and DPN is directed to verify the assets and update the assets / depreciation registers and produce in the next filing along with audited proforma accounts.

DPN has projected capital expenditure of Rs. 136 crore during the year 2012-13 vide para 5.8 supra. Out of the proposed capital expenditure, the DPN has projected Rs 30 crore for capitalization during 2012-13. The capitalization of Rs. 30 crore is approved as it relates to ongoing normal development schemes. Thus the new addition of assets during the year 2012-13 is to an extent of Rs. 30 crore for which depreciation has to be provided

“Regulation 26 of NERC (Terms and condition for determination of tariff) Regulations, 2010 specifies that depreciation for the assets shall be calculated annually at the rates specified by CERC from time to time. The effective rate of depreciation for distribution assets is 5.28% vide Appendix III (Depreciation Schedule of CERC (Terms and condition of Tariff) Regulations, 2009.”.

The depreciation for the FY 2012-13 has been worked out to Rs 0.79 crore as detailed in table below

Table 5. 23: Depreciation for the FY 2012-13 approved by the Commission

| S.N | Particulars | Rs. crore |
| --- | --- | --- |
| 1 | Gross fixed assets as on 01/04/2012 | - |
| 2 | Additions during 2012-13 | 30 |
| 3 | Gross fixed assets at the end of the year 2012-13 | 30 |
| 4 | Average GFA | 15 |
| 5 | Depreciation rate | 5.28% |
| 6 | Depreciation for the year | 0.79 |

The Commission approves depreciation amount of Rs. 0.79 crore for FY     2012-13.

# 5.14 	Interest and Finance Charges

DPN has projected interest & finance charges at Rs. 29.14 crore for FY 2012-13. The DPN has treated 50% of GFA as on 01/04/2010 as opening notional debt and considered funding through normative loan. Also 70% of capital additions during FY 2010-11, FY 2011-12, and FY 2012-13 has been considered to be funded through normative loan. Further it is assumed that these notional loans will be repaid in next 10 years. The rate of interest is assumed at 11.5%. The interest on loan computed on the above methodology is detailed in table below.

Table 5. 24: Interest and Finance Charges

(Rs. crore)

| S. N | Particulars | FY 2010-11 (Actuals) | `FY 2011-12 (Estimated | FY 2012-13 (Projected) |
| --- | --- | --- | --- | --- |
| 1 | Opening Loan | 286.04 | 268.08 | 258.71 |
| 2 | Loan Additions (70% Capex for the FY) | 10.64 | 20.30 | 21.00 |
| 3 | Repayment | 28.60 | 29.67 | 248.01 |
| 4 | Closing loan | 268.08 | 258.71 | 248.01 |
| 5 | Average loan | 277.06 | 263.39 | 253.36 |
| 6 | Wt. Avg loan | 11.5% | 11.5% | 11.5% |
| 7 | Interest on loan | 31.86 | 30.29 | 29.14 |
| 8 | Interest & Finance charges | 31.86 | 30.29 | 29.14 |

Source:- Copy table 3.16 of ARR

Commission’s Analysis

The notional interest claimed by DPN is Rs. 29.14 crore. The DPN has stated that the entire capital expenditure has been funded by state through 100 % state funding as a budgetary support and does not involve any external borrowings.

In view of the above the Commission has not considered any interest charges for the year 2012-13.

# 5.15 	Interest on Working Capital

The DPN has projected interest on working capital for FY 2012-13 at RS 2.53 crore on normative basis as detailed in the table 5.25 below.

| Table 5.25: Working Capital for the current and ensuring years (Rs. crore) |  |  |  |
| --- | --- | --- | --- |
| S.No | Particulars | Current Year 2011-12 (Estimated) | Ensuring year 2012-13 (Projected) |
| 1 | 2 | 3 | 4 |
| 1 | Fuel Cost | 0.01 | 0.01 |
| 2 | Power Purchase Cost (One month) | 15.16 | 15.16 |
| 3 | One month's employee costs | 4.81 | 5.15 |
| 4 | Administration & General expenses | 0.2 | 0.23 |
| 5 | One month's R&M cost | 1.47 | 1.49 |
| 6 | Total | 21.65 | 22.04 |
|  | Interest on Working Capital | 2.49 | 2.53 |
| Source: Table 3.17 of Tariff petition |  |  |  |

Commission’s Analysis

As per NERC Regulations, working capital shall be the sum of one month requirement of the following

- Fuel Cost

- Power Purchase Cost

- Employee Cost

- Administration & General Expenses

- R & M Expenses

The rate of Interest claimed by the DPN is 11.5 % stated to be the SBI prime-lending rate as on 1st April 2010. The relevant SBI PLR as on 1st April 2011 is 13% which is considered. The details of interest on working capital are furnished in table 5.26 below:

Table 5.26: Interest on working capital

| S.N | Particulars | Amount (Rs in crore) |  |
| --- | --- | --- | --- |
|  |  | Total cost | One month cost |
| 1 | 2 | 3 | 4 |
| 1 | Fuel Cost | 0.08 | 0.01 |
| 2 | Power Purchase Cost | 158.97 | 13.25 |
| 3 | One months employee costs | 61.78 | 5.15 |
| 4 | Administration &General expenses | 2.18 | 0.18 |
| 5 | One month R & M Cost | 17.85 | 1.49 |
| 6 | Total | 240.86 | 20.08 |
| 7 | SBI PLR as on 01/04/2011 |  | 13% |
| 8 | Interest on working capital @ 13% |  | 2.61 |

Source: - Table 3.17 of ARR

The Commission approves interest on working capital at Rs. 2.61 crore for FY 2012-13.

# 5.16	Return on equity

The DPN has projected return on equity at Rs 48.61 crore at 16 % as detailed in table 5.27 below

Table 5.27: Return on Equity for FY 2011-12 projected by DPN

| S. N | Particulars | FY 2010 – 11 (Actual) | FY 2011-12 (Estimated) | FY 2012-13 (Projected) |
| --- | --- | --- | --- | --- |
| 1 | Opening Equity | 286.04 | 290.60 | 299.30 |
| 2 | Equity Addition (30% Capex for the FY) | 4.56 | 8.70 | 9.00 |
| 3 | Closing Equity | 290.60 | 299.30 | 308.30 |
| 4 | Average Equity | 288.32 | 294.95 | 303.80 |
| 5 | Rate of Return on Equity | 16% | 16% | 16% |
| 6 | Return on Equity | 46.13 | 47.19 | 48.61 |

Source: - Table 3.15 of ARR

The DPN has submitted that the distribution business has always been perceived to be a business having a greater inherent risk than the generation and transmission business due to various factors amongst which the direct interface with the retail consumers is the biggest risk. The same has been recognized by many Commissions across the country and they have proposed a higher rate of return on the equity invested in distribution business as compared to generation and transmission business. This has been demonstrated by various Commissions by offering rate of return at 16% for distribution as compared to 14% to other business areas. It may also kindly be noted that CERC in its recent tariff regulation of 2009 for generation and transmission has fixed pre tax return on equity at 15.5% with an additional return of 0.5% for projects completing within specified time limits.

The DPN being a Government Department the entire capital employed has been funded through equity infusion by government of Nagaland through budgetary support without any external borrowing. DPN has cited examples of Central Power Sector Undertakings (CPSUs) undertaking such as NTPC, NHPC, PGCIL where the actual equity deployed in the assets created prior to formulation of tariff regulations was much higher than the equity calculated considering a normative debt :equity ratio of 70:30. These CPSUs were allowed normative debt :equity ratio of 50:50 for the purpose of determination of tariff in respect of their old assets.

Accordingly the entire capital expenditure till 31/03/2010 has been considered as funded by equity and based on above procedure, the DPN has considered a normative debt : equity ratio of 50:50 for the year 2009-10. Hence Opening equity for 2010-11 is taken as Rs 286.04 (i.e 50 % of GFA as on 01/04/2010 amounting to Rs 572.08 crore). The Capital additions in FY 2011-12 and 2012-13 have been assumed to be funded through debt : equity ratio of 70:30 which is in line with tariff regulations issued by various state Commissions across the country.

Commission’s Analysis

The basic requirement either for return on capital base or return on equity is the audited accounts. DPN has not furnished the Audited Accounts, nor prepared statement of accounts viz., Profit and Loss Account, Balance Sheet etc..

In the absence of audited accounts, the Commission cannot allow any return on equity or capital base till such time audited accounts statements are submitted.

# 5.17 	Provision for Bad and doubtful debts

DPN has projected provision for bad debts at Rs. 1.51 crore for the year 2012-13. DPN has considered the provision for bad debts as 1% of revenue from sale of power to consumers.

Commission’s Analysis

As per Regulations 98(5) of NERC (Terms and conditions for determination of Tariff) Regulations, 2010, the Commission may, after distribution licensee gets the receivable audited, allow a provision for bad debts upto 1% of receivables of the distribution licensee. Here receivables mean arrears of current consumption charges due from the consumers, but not revenue from sale of power. The DPN has furnished arrears as on 31/03/2011 at Rs. 105.24 crore. .

Considering 1% of arrears Commission allows Rs. 1.05 crore towards provision for bad debts for FY 2012-13.

# 5.18 	Non Tariff Income

The DPN has projected non-tariff income at Rs. 5.63 crore for the year 2012-13. Non-Tariff income is in the form of meter rent, late payment charges, interest on staff loans, miscellaneous charges from consumers etc.

The details of non tariff income are furnished in table below:

Table 5. 28: Non Tariff Income

| S.N | Source of Income | Previous Year (Actuals) FY 2010-11 | Current Year (Estimated) FY 2011-12 | Ensuing Year (Projection) FY 2012-13 |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
| 1 | Meter / Service rent | 1.84 | 3.96 | 5.07 |
| 2 | Late payment surcharge | 0.00 | 0.00 | 0.00 |
| 3 | Theft / pilferage of energy | 0.00 | 0.00 | 0.00 |
| 4 | Misc. receipts | 0.36 | 0.40 | 0.56 |
| 5 | Misc. charges (except PLEC) | 0.00 | 0.00 | 0.00 |
| 6 | Wheeling changes | 0.00 | 0.00 | 0.00 |
| 7 | Interest on staff loans & advance | 0.00 | 0.00 | 0.00 |
| 8 | Income from trading | 0.00 | 0.00 | 0.00 |
| 9 | Income from welfare activates | 0.00 | 0.00 | 0.00 |
| 10 | Excess on verification | 0.00 | 0.00 | 0.00 |
| 11 | Investment & back balances | 0.00 | 0.00 | 0.00 |
| 12 | Total Income | 2.20 | 4.36 | 5.63 |
| 13 | Add Prior period Income | 0.00 | 0.00 | 0.00 |
| 14 | Total Non tariff income | 2.20 | 4.36 | 5.63 |

Source: - Format 20 of ARR

The Commission approves non-tariff income at Rs 5.63 crore for the FY 2012-13 as projected by DPN.

# 5.19	Aggregate Revenue Requirement

Having analyzed the aggregate revenue requirement projected by DPN for the year 2012-13 as enumerated in preceding paragraphs the Commission approves the ARR for FY 2012-13 as indicated in table 5.29 below.

Table 5.29 Aggregate Revenue Requirement for FY 2012-13

(Rs. crore)

| Sl. No. |  | Projected by DPN | Approved by Commission |
| --- | --- | --- | --- |
| 1 | Fuel cost | 0.08 | 0.08 |
| 2 | Power Purchase cost | 181.97 | 158.97 |
| 3 | O&M Expenses |  |  |
| 3.1 | Employee cost | 61.78 | 61.78 |
| 3.2 | Repairs & Maintenance expenses | 17.85 | 17.85 |
| 3.3 | Administration and General Expenses | 2.78 | 2.18 |
| 4 | Depreciation | 15.48 | 0.79 |
| 5 | Interest & Finance charges | 31.67 | - |
| 6 | Interest on working capital | - | 2.61 |
| 7 | Provision for bad debts | 1.51 | 1.05 |
| 8 | Return on equity | 48.61 | - |
| 9 | Total expenditure | 361.73 | 245.31 |
| 10 | Less Non tariff income | 5.63 | 5.63 |
| 11 | Aggregate Requirement | 356.10 | 239.68 |

# 5.20	Expected revenue from existing tariff

The DPN has furnished the revenue from existing tariff at Rs. 163.44 crore for             FY 2012-13 as detailed in the table below:

Table-5.30: Revenue from existing tariff projected by DPN for ensuing year 2012-13

| S. N | Particulars | Previous year (Actuals) FY 2010-11 | Current Year (Estimated) FY 2011-12 | Ensuring year (Projection) FY 2012-13 |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
| 1 | Domestic including BPL | 39.53 | 77.00 | 91.16 |
| 2 | Commercial | 11.62 | 16.20 | 21.29 |
| 3 | Public Lighting system | 0.00 | 0.00 | 0.00 |
| 4 | Industrial Consumers | 3.20 | 6.13 | 7.10 |
| 5 | Total | 54.35 | 99.33 | 119.55 |
| 6 | Public lighting | 1.32 | 1.68 | 1.59 |
| 7 | Public water works & Sewage | 0.49 | 1.31 | 1.30 |
| 8 | Irrigation and Agriculture | 0.01 | 0.01 | 0.01 |
| 9 | Bulk Supply | 14.11 | 21.56 | 28.19 |
| 10 | Railway Traction | 0.00 | 0.00 | 0.00 |
| 11 | Outside state | 28.38 | 15.60 | 12.80 |
| 12 | Total (5 to 10) | 98.65 | 139.48 | 163.44 |
| 13 | Common Pool | 0.00 | 0.00 | 0.00 |
| 14 | Grand Total | 98.65 | 139.48 | 163.44 |

Source:- Format 27 of ARR

###### Commission’s Analysis

The Category wise sales are approved in paragraph 5.3 and the revenue from existing tariff is assessed and furnished in the table below:

Table 5.31: Revenue from existing tariff approved by the Commission for FY 2012-13

| S.No | Category | Energy Sales | Average rate (Rs./kWh) | Revenue (Rs/crore) |
| --- | --- | --- | --- | --- |
|  | Domestic including BPL | 228.00 | 3.40 | 77.52 |
|  | Commercial | 39.00 | 4.50 | 17.55 |
|  | Industrial Consumers | 13.00 | 3.50 | 4.55 |
|  | Public lighting | 5.00 | 4.52 | 2.26 |
|  | Public water works & sewage | 3.00 | 3.85 | 1.16 |
|  | Irrigation & Agriculture | 0.04 | 2.00 | 0.01 |
|  | Bulk supply | 62.00 | 3.85 | 23.87 |
|  | Total sales | 350.04 |  | 126.92 |
|  | Outside sale | 92.24 | 3.20 | 29.52 |
|  | Total | 442.28 |  | 156.44 |

The Commission accordingly approves the revenue from existing tariff at Rs 126.92 crore for sale of energy of 350.04 MU within the State and Rs. 29.52 crore for sale of energy of 92.24 MU outside the State, totaling to Rs. 156.44 crore.

# 5.20.1	Revenue gap for FY 2012-13

Table 5.32: Net revenue requirement and gap with revenue at existing tariff

(Rs. crore)

| Sl. No. | Particulars | Projected by DPN | Approved by the Commission |
| --- | --- | --- | --- |
|  | Net Revenue Requirement (Rs. crore) | 356.10 | 239.68 |
|  | Revenue from sale of power (Rs. crore) | 163.44 | 156.44 |
|  | Government subsidy proposed |  |  |
|  | Gap (Rs. crore) | 192.66 | 83.24 |
|  | Energy Sales (MU) | 458.34 | 442.28 |
|  | Average cost (Rs/kWh) | 7.77 | 5.42 |

# 5.20.2	Revenue from revised tariff

As seen from the above table there is a gap of Rs. 83.24 crore between aggregate revenue requirement and revenue from sale of power at existing tariff.  To meet the gap the Commission considered the proposed tariff by the DPN, the paying capacity of consumers in Nagaland, concerns of State Government to improve revenue mobilization efforts and approved the revised tariff for different categories of consumers. Revenue with the revised tariff rates as shown in table 5.33 below:.

Table 5.33: Revenue from revised tariff approved by the Commission for FY 2012-13

| Sl. No. | Category | Sales (MU) | Revenue from revised tariff |  |
| --- | --- | --- | --- | --- |
|  |  |  | Average Revised Tariff (Rs./kWh) | Revenue (Rs/crore) |
|  | Domestic | 228.00 | 3.73 | 84.94 |
|  | Commercial | 39.00 | 4.92 | 19.19 |
|  | Industrial | 13.00 | 3.98 | 5.18 |
|  | Public lighting* | 5.00 | 5.20 | 2.60 |
|  | Public water works & sewage | 3.00 | 4.2 | 1.26 |
|  | Irrigation & Agriculture | 0.04 | 2.5 | 0.01 |
|  | Bulk supply | 62.00 | 4.45 | 27.59 |
|  | Total | 350.04 | 4.02 | 140.77 |
|  | Outside State | 92.24 | 3.20 | 29.52 |
|  | Total | 442.28 | 3.85 | 170.29 |

* Charges for public lighting have to be recovered from the consumers of domestic, commercial, industrial and bulk categories at the rates shown below:

*Domestic	Rs. 10 per connection / month

*Commercial	Rs. 15 per connection / month

*Industrial	Rs. 20 per connection / month

*Bulk Supply	Rs. 25 per connection / month

The Commission accordingly approves revenue from revised tariffs at Rs. 140.77 crore with the sale of 350.04 MU within the State. This compares with the revenue of Rs. 126.92 crore at the existing tariff rates. The increase works out to 10.9%.

# 6	Tariff Principles and Design

## 6.1	Background

6.1.1	The Commission in determining the revenue requirement of DPN for the year    2012-13 and the retail supply tariff has been guided by the provisions of the Electricity Act, 2003, the National Tariff Policy (NTP), Regulations on Terms and Conditions of Tariff issued by the Central Electricity Regulatory Commission (CERC) and Regulations on Terms and Conditions of Tariff notified by the NERC. Section 61 of the Act lays down the broad principles, which shall guide determination of retail tariff.  As per these principles the tariff should “Progressively reflect cost of supply” and also reduce cross subsidies “within the period to be specified by the Commission”. The Act lays special emphasis on safeguarding consumer interests and also requires that the costs should be recovered in a reasonable manner. The Act mandates that the tariff determination shall be guided by the factors, which encourage competition, efficiency, economical use of resources, good performance and optimum investment.

The NTP notified by Government of India in January 2006 provides comprehensive guidelines for determination of tariff and also in working out the revenue requirement of power utilities. The Commission has endeavored to follow these guidelines as far as possible.

    - NTP mandates that the Multi-Year-Tariff (MYT) framework be adopted for determination of tariff from 1st April 2006. However the Commission is not in a position to introduce MYT Regime in the State mainly because of lack of requisite and reliable data. The present MIS and regulatory reporting system of the DPN is very inadequate for any such exercise at this stage. There has been no study to assess voltage wise losses in the absence of metering of all feeders, and distribution transformers. Technical and commercial losses are yet to be segregated and quantified voltage wise. The Commission has issued a directive to the DPN in the Tariff Order 2011-12 to chalk out an action plan for reduction of T&D losses.

    - The mandate of the NTP is that tariff should be within plus / minus 20% of the average cost of supply by 2012-13. It is not possible for the Commission to lay down the road map for reduction of cross subsidy, mainly because of lack of data regarding cost of supply at various voltage levels. In view of the prevailing situation the Commission has gone on the basis of average cost of supply for working out consumer category-wise cost of supply. However in this tariff order an element of performance target has been indicated by setting target for T&D loss reduction for the years 2013-14 to 2015-16. This better performance by reduction of loss level will result in substantial reduction in average cost of supply.

    - Section 8.3 of National Tariff Policy lays down the following principles for tariff design:

  - In accordance with the National Electricity Policy, consumers below poverty line who consume below a specified level, say 30 units per month, may receive a special support through cross subsidy. Tariffs for such designated group of consumers will be at least 50% of the average cost of supply. This provision will be re-examined later.

  - For achieving the objective that the tariff progressively reflects the cost of supply of electricity, the SERC would notify the roadmap, within six months with a target that latest by the end of the year 2010-11 tariffs are within ± 20% of the average cost of supply. The road map would have intermediate milestones, based on the approach of a gradual reduction in cross subsidy.

For example if the average cost of service is Rs.3 per unit, at the end of year            2011-12 the tariff for the cross subsidized categories excluding those referred to in para-1 above should not be lower than Rs 2.40 per unit and that for any of the cross subsidizing categories should not go beyond Rs 3.60 per unit.

(3)  While fixing tariff for agricultural use, the imperatives of the need of using ground water resources in a sustainable manner would also need to be kept in mind in addition to the average cost of supply. The tariff for agricultural use may be set at different levels for different parts of the State depending on the condition of the ground water table to prevent excessive depletion of ground water.

    - The provisions of the Electricity Act, 2003, National Tariff Policy and the NERC Tariff Regulations require that there should be a gradual movement towards reduction of cross subsidy. The Tariff aims at bringing down cross subsidy to + 20% of the average cost of supply by the year 2012-13.

Regulation 6 of NERC (Terms and Conditions for Determination of Tariff) Regulations, 2010 specifies –

Cross subsidy as:

-Quote-

(1) Cross subsidy for a consumer category in the first phase ( as defined in sub regulation 2 below) means the difference between the average realization per unit from that category and the combined average cost of supply per unit expressed in percentage terms as a proportion of the combined average cost of supply. In the second phase (as defined in sub-regulation 2 below) means the difference between the average realization per unit from that category and the combined per unit cost of supply for that category expressed in percentage terms as a proportion of the combined cost of supply of that category.

(2) The Commission shall determine the tariff to progressively reflect the cost of supply of electricity and also reduce cross subsidies within a reasonable period. To this purpose, in the first phase the Commission shall determine tariff so that it progressively reflects combined average unit cost of supply in accordance with National Tariff Policy. In the second phase, the Commission shall consider moving towards the category-wise cost of supply as a basis for determination of tariff.

-Unquote-

    - The average tariff for each category of consumers, the average cost of supply, the average tariff as a percentage of average cost of supply and the consumer tariff within the range +20% of cost of supply for 2012-13 are given as under:

Table 6.1 Average Cost of supply

| Sl.No. | Consumer category | Average unit rate as per existing tariff (Rs/kWH) | Average cost of supply per unit (Rs/kWH) | Tariff as a percentage of average cost of supply (3/4) (%) | Unit rate with +20% of average cost of supply (Rs/kWH) |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1 | Domestic | 3.40 | 5.42 | 63 | 4.34 (-20%) |
| 2 | Commercial | 4.50 | 5.42 | 83 | 6.50 (+20%) |
| 3 | Industrial | 3.50 | 5.42 | 65 | 4.34 (-20%) |
| 4 | Public Lighting | 4.52 | 5.42 | 83 | 6.50 (+20%) |
| 5 | Public Water works | 3.85 | 5.42 | 71 | 4.42 (-20%) |
| 6 | Agriculture | 2.00 | 5.42 | 37 | 4.42 (-20%) |
| 7 | Bulk Supply | 3.25 | 5.42 | 71 | 4.42 (-20%) |

It is seen that the average existing tariffs to all categories of consumers are lower than 20% range of the average cost of supply, except commercial and public lightening.

6.2	Tariffs approved by the Commission

6.2.1	The following are considered while arriving at category-wise tariffs approved.

Net revenue requirement for the year 2011-12 is Rs. 239.68 Cr as against the revenue of Rs 126.92 Cr. arrived at existing tariff.

    - The tariff rates category-wise existing and proposed by DPN are given in table 6.2 below:

Table 6.2 Category Wise Tariffs existing and proposed by DPN

| Sl. No. | Category |  | Existing Rate (Rs./kWh) | Proposed Rate Rs./kwh |
| --- | --- | --- | --- | --- |
| 1 |  | CATEGORY ‘A’ DOMESTIC |  |  |
|  |  | (a) 0 to 30 kwh | 2.65 | 2.95 |
|  |  | (b) 31 to 100 kwh | 3.60 | 4.15 |
|  |  | (c) 101 to 250 kwh | 4.15 | 4.95 |
|  |  | (d) > 250 kwh | 4.75 | 5.70 |
| 2 |  | CATEGORY ‘B’ INDUSTRIAL |  |  |
|  |  | (a) < 500 kwh | 3.15 | 3.80 |
|  |  | (b) 501 to 5000 kwh | 3.60 | 4.35 |
|  |  | (c) > 5000 kwh | 4.10 | 4.90 |
| 3 |  | CATEGORY ‘C’ BULK | 3.85 | 4.65 |
| 4 |  | CATEGORY ‘D’ COMMERCIAL |  |  |
|  |  | (a) < 60 kwh | 4.35 | 5.25 |
|  |  | (b) 61 to 240 kwh | 5.20 | 6.25 |
|  |  | (c) > 240 kwh | 5.95 | 7.15 |
| 5 |  | CATEGORY ‘E’ P.W.W. | 3.85 | 4.60 |
| 6 |  | CATEGORY ‘F’ Public Light | To be recovered from consumers* | To be recovered from consumers* |
| 7 |  | CATEGORY ‘G’ Interstate | - | 4.80 |
| 7 |  | CATEGORY ‘H’ AGRICULTURE | 2.0 | 2.40 |
| 8 |  | CATEGORY ‘I’ TEMPORARY CONNECTION | DLF 6.00 Others 8.00 | DLF 7.00 Others 9.50 |
| 9 |  | Kutir Jyoti(point) | Same as DLF | Same as DLF |
| 10 |  | SINGLE POINT METERED RURAL | 2.50 | 2.80 |
| 11 |  | SINGLE POINT METERED URBAN | 2.75 | 3.10 |
|  |  | * Charges for public lighting have to be recovered from the Consumes of Domestic, Commercial, Industrial and Bulk categories at the rates shown below. |  |  |
|  |  | Domestic | Rs. 10 per connection / month | Rs. 10 per connection / month |
|  |  | Commercial | Rs. 15 per connection / month | Rs. 15 per connection / month |
|  |  | Industrial | Rs. 20 per connection / month | Rs. 20 per connection / month |
|  |  | Bulk Supply | Rs. 25 per connection / month | Rs. 25 per connection / month |

    - Based on the approved Aggregate Revenue Requirement (ARR) the approved Tariffs for supply of Energy in respect of different categories of consumers are as per                  Table – 6.3 below

Table 6.3: Category of Consumer wise tariffs approved by the Commission

| Sl. No. | Category | Approved Rate Rs./kwh |
| --- | --- | --- |
| 1 | CATEGORY ‘A’ DOMESTIC |  |
|  | (a) 0 to 30 kwh | 2.90 |
|  | (b) 31 to 100 kwh | 3.95 |
|  | (c) 101 to 250 kwh | 4.55 |
|  | (d) > 250 kwh | 5.20 |
| 2 | CATEGORY ‘B’ INDUSTRIAL |  |
|  | (a) < 500 kwh | 3.60 |
|  | (b) 501 to 5000 kwh | 4.15 |
|  | (c) > 5000 kwh | 4.70 |
| 3 | CATEGORY ‘C’ BULK | 4.45 |
| 4 | CATEGORY ‘D’ COMMERCIAL |  |
|  | (a) < 60 kwh | 4.75 |
|  | (b) 61 to 240 kwh | 5.70 |
|  | (c) > 240 kwh | 6.50 |
| 5 | CATEGORY ‘E’ P.W.W. | 4.20 |
| 6 | CATEGORY ‘F’ Public Light | To be recovered from consumers * |
| 7 | CATEGORY ‘G’ AGRICULTURE | 2.40 |
| 8 | CATEGORY ‘H’ TEMPORARY CONNECTION | DLF Rs 7.00 Others Rs. 9.50 (All with metered supply only) |
| 9 | Kutir Jyoti(point) | Same as DLF |
| 11 | SINGLE POINT METERED RURAL | 2.80 |
| 12 | SINGLE POINT METERED URBAN | 3.10 |

* Charges for public lighting have to be recovered from the Consumes of Domestic, Commercial, Industrial and Bulk categories at the rates shown below.

Domestic	Rs. 10 per connection / month

Commercial	Rs. 15 per connection / month

Industrial	Rs. 20 per connection / month

Bulk Supply	Rs. 25 per connection / month

    - Tariffs for various categories of consumers are given in tariff schedule annexed.

# 7. Directives

## Commission’s Observation

While examining the information and data contained in the proposed ARR and Tariff Petition for the FY 2012-13, it has been observed that the compilation and computation of data have been done based on certain assumptions in respect of certain vital information. Most of the areas of the operational and financial performance of DPN require substantial improvement.

Compliance of the directives issued in 2011-12 Tariff Order by the DPN is not satisfactory. Hence the same are reiterated here under.

Directive 1:	Maintenance of Asset Registers and Audited Annual Accounts

The DPN has stated that the complete data of fixed assets is not available.

Unless the function wise, asset wise data is up-dated, correct asset value and depreciation thereon cannot be ascertained. The DPN is directed to get the asset registers built up, and submit updated assets & depreciation registers.

Accounts are to be maintained for construction and operation activities of the Power Department. Audited Annual Accounts should be submitted. In the event of delay in getting Accounts audited by the Accountant General, the DPN can get the same audited by CAG empanelled auditors and submit the same with the future filing.

The DPN in compliance has submitted it shall start the process of tabulating the function wise, asset wise data and preparation of asset register and requested for extension of time to comply with this directive.

The DPN is directed to start the process immediately and report compliance by 30th June 2012.

Directive 2:  Management Information System (MIS)

The DPN has not maintained proper data in respect of sales (slab and sub slab wise), revenue and revenue expenses as also the category wise / slab wise number of consumers, connected load / demand etc. for proper analysis of the past data based on actuals and estimation of proper projections for consideration in the ARR and Tariff Petition.

The DPN is directed to take steps to build credible and accurate data base and management information system (MIS) to meet the requirements for filing ARR & Tariff Petition as per regulatory requirement and also to suit the Multi Year Tariff principles which the Commission may consider at an appropriate time under Regulation 20 of NERC (Terms and Conditions for Determination of Tariff) Regulations, 2010. The formats, software and hardware may be synchronized with the Regulatory Information and Management System (RIMS) circulated by Central Electricity Regulatory Commission (CERC).

The DPN in compliance of the above directive has submitted that it has taken steps to build up a system for maintaining credible and accurate data. The progress on obtaining credible data may be reported every month, indicating level of progress achieved.

Directive 3:  Pilferage of Energy

The DPN has furnished the T&D losses at 36.46% during 2009-10 and projected the losses at 30.77% for 2010-11 and 28.07% 2011-12.The Department has not segregated the losses into technical losses, commercial losses and voltage wise losses are not available. It is possible that the losses projected may include commercial losses on account of pilferage and malpractices.

Pilferage of energy may be by illegal tapings from electrical lines, tampering of meters etc. The Commission feels that there is need to launch an extensive drive to remove illegal connections, if any, check meter tampering, replace the defective meters, maintain proper account of un-metered services and keep constant vigil so that corrective measures could be taken to reduce the AT & C losses. Requisite action may be taken as per the provisions under sections 135 and 138 of Electricity Act, 2003.

The DPN is directed to chalk out an action plan in a month time and submit to the Commission.

The DPN in compliance to the above directive has submitted that steps have been taken to bring down technical and commercial losses. Details of steps taken by DPN and achievements made so far may be reported.

Directive 4:  Replacement of Non-Functional / Defective Meters

It is reported that about 50% of total connections are with defective meters. Information of non-functional meters may be obtained from the field officers and ensure that data is maintained correctly. It should not take much time to get the information from the field. This information shall be made available in a month time. Replacement is to be planned and perused. Progress may be reported to the Commission once in a quarter.

Replacement of meters shall be planned on priority wise i.e., meters of Bulk supply, commercial, industrial and high value domestic categories to be replaced first. In respect of defective meters billing may be done by adopting standard method.

### Directive 5:  Consumer’s contribution for Capital Investment

The fact of consumer contribution for capital investment is not brought out in the ARR and Tariff Petition.

The DPN is directed to furnish the details of contributions being collected from consumers for capital works. The amounts collected from the consumers towards capital investment shall be brought out in the accounts. The depreciation and Return on Equity / Capital Base should not be claimed on the amount contributed by the consumers towards capital investment.

The DPN, in compliance to the above directive submitted that it shall be complied with.

Month wise consumer contribution being collected should be sorted out to arrive at amount collected annually right from the beginning. This should be reflected in the next filing.

Directive 6:  Energy Audit

The DPN has projected the transmission and distribution loss at 30.77% for the year 2010-11 & 28.07 % for FY 2011-12.

The DPN is directed to chalk out a programme to provide meters on all the feeders (132 kV, 33 kV and 11 kV) and at distribution transformers to identify the high loss areas and take appropriate measures to reduce both technical and commercial losses to the level fixed by the Commission. The DPN shall also comply with loss reduction trajectory for T&D losses for the next three years.

The investment required to reduce the losses shall be included in the investment plan for augmentation of T&D system to be submitted to the Commission. Effective technical and administrative measures shall be taken to reduce the commercial losses.  The action taken for energy audit and loss reduction measures shall be furnished to the Commission by 30-9-2012.

The DPN has not submitted compliance to this directive.

Directive 7:  Approval of Commission for Investment Plan

Annual Investment Plan shall be submitted to the Commission and approval of Commission should be obtained for all major capital works costing Rs. 5.00 crore and above before execution of the works.

The DPN in compliance to this directive has submitted that it had noted and shall be complied with.

In this directive it is specifically mentioned to obtain the approval of the Commission for execution of all major works costing Rs.5 crore and above. During the year 2011-12, Rs. 89 crore worth works was contemplated while in 2012-13, it was Rs.136 crore. So far no DPR was submitted to Commission for approval.

Directives 8:  Interest on Security Deposit

DPN did not indicate the amount of security deposit collected from the consumers. DPN is directed to maintain consumer-wise security deposit collected. Such data shall be furnished with the next filing.

Directives 9:  Revenue Realisation

As verified from the Annual Plan the percentage of collection of Revenue is 73% during 2009-10, which is increased to 78% during 2010-11. Thus an increase of 5% is achieved during 2010-11 over 2009-10. But during 2011-12 the percentage of collection is estimated at 76%, which is 2% less than the previous year collections. DPN is directed to sort out an action plan to improve collections by conducting special drive and disconnecting supply to all defaulting consumers effectively. The revenue collections during 2012-13 should reach 90%.

# Commission’ s Order

Having considered the Petition No.01/2012 of DPN for approval of Aggregate Revenue Requirement (ARR) and determination of retail tariff for supply of energy, in exercise of power conferred by Section 62 of the Electricity Act, 2003; the Commission approves the aggregate revenue requirement (ARR) as detailed below:

(Rs. crore)

| Sl.No. | Details | Amount |
| --- | --- | --- |
|  | Fuel cost | 0.08 |
|  | Power purchase cost | 158.97 |
|  | Employee cost | 61.78 |
|  | R&M expenses | 17.85 |
|  | Administration and expenses | 2.18 |
|  | Depreciation | 0.79 |
|  | Interest and finance charges | - |
|  | Interest on working capital | 2.61 |
|  | Return on equity | - |
|  | Provision for bad debts | 1.05 |
|  | Total requirement | 245.31 |
|  | Less: Non tariff income | 5.63 |
|  | Net revenue requirement | 239.68 |
|  | Total revenue from revised tariff | 170.29 |
|  | Gap | 69.39 |

- The gap is to be met through support from the State Government.

- The approved retail tariff for supply of energy shall be in accordance with the tariff schedule annexed.

- This order shall come into effect from 01-04-2012 and shall be in force till revised.

Er. S.I. Longkumer

Chairman-cum-Member

Kohima

Date: 29th March, 2012.

Appendix

Tariff Schedule

| Sl. No. | Category |  | Rs./kwh |
| --- | --- | --- | --- |
| 1 | 2 |  | 3 |
| A. | 1 | CATEGORY ‘A’ DOMESTIC |  |
|  |  | (a) 0 to 30 kwh | 2.90 |
|  |  | (b) 31 to 100 kwh | 3.95 |
|  |  | (c) 101 to 250 kwh | 4.55 |
|  |  | (d) > 250 kwh | 5.20 |
|  | 2 | CATEGORY ‘B’ INDUSTRIAL |  |
|  |  | (a) < 500 kwh | 3.60 |
|  |  | (b) 501 to 5000 kwh | 4.15 |
|  |  | (c) > 5000 kwh | 4.70 |
|  | 3 | CATEGORY ‘C’ BULK | 4.45 |
|  | 4 | CATEGORY ‘D’ COMMERCIAL |  |
|  |  | (a) < 60 kwh | 4.75 |
|  |  | (b) 61 to 240 kwh | 5.70 |
|  |  | (c) > 240 kwh | 6.50 |
|  | 5 | CATEGORY ‘E’ P.W.W. | 4.20 |
|  | 6 | CATEGORY ‘F’ Public Light | To be recovered from consumers * |
|  | 7 | CATEGORY ‘G’ AGRICULTURE | 2.40 |
|  | 8 | CATEGORY ‘H’ TEMPORARY CONNECTION | DLF 7.00 Others 9.50 |
|  | 9 | Kutir Jyoti(point) | Same as DLF |
|  | 10 | SINGLE POINT METERED RURAL | 2.80 |
|  | 11 | SINGLE POINT METERED URBAN | 3.10 |

* Charges for public lighting have to be recovered from the Consumes of Domestic, Commercial, Industrial and Bulk categories at the rates shown below.

Domestic	Rs. 10 per connection / month

Commercial	Rs. 15 per connection / month

Industrial	Rs. 20 per connection / month

Bulk Supply	Rs. 25 per connection / month

| B. | OTHER CHARGES: |  |  |
| --- | --- | --- | --- |
|  | (a) | Disconnection Charges | Rs. |
|  |  | i. Single phase L.T. | 150.00/each |
|  |  | ii. Three phase L.T. | 250.00/each |
|  |  | iii. H.T. consumers (11 KV above) | 1500.00/each |
|  | (b) | Reconnection Charges |  |
|  |  | i. Single phase L.T. | 150.00/each |
|  |  | ii. Three phase L.T. | 250.00/each |
|  |  | iii. H.T. consumers (11 KV above) | 1500.00/each |
| C. | METER RENT |  | Rs. per month |
|  | i. | Single phase L.T. | 20.00 |
|  | ii. | Three phase L.T.(whole current) | 50.00 |
|  | iii. | Three phase L.T.(CT operated) | 100.00 |
|  | iv. | 11 kv H.T. | 500.00 |
|  | v. | 33 kv H.T. | 750.00 |
|  | vi. | 66 kv EHV | 900.00 |
|  | vii. | 132 kv EHV | 1000.00 |
| D. | METER TESTING CHARGES |  | Rupees |
|  | i. | Single phase L.T. | 100.00 each |
|  | ii. | Three phase L.T. | 300.00 each |
|  | iii. | H.T. consumers (11 KV above) | 1000.00 each |
| E. | SECURITY DEPOSIT |  | Rs. per connection |
|  | i. | Single phase L.T. | 250 |
|  | ii. | Three phase L.T. | 750 |
|  | iii. | H.T. consumers (11 KV above) | 3000 |
| F. | MONTHLY MINIMUM CHARGES |  | Rupees |
|  | i. | Domestic | 100.00 pm/kw of contract demand or part thereof |
|  | ii. | Commercial | 150.00 pm/kw of contract demand or part thereof |
|  | iii. | Industrial | 150.00 pm/kva of contract demand or part thereof |
|  | iv. | Bulk | 150.00 pm/kva of contract demand or part thereof |
|  | v. | Agriculture | 50.00 pm/HP or part thereof |
|  | vi. | Public Water Works | 75.00 pm/kva or part thereof |

| G. | SURCHARGES (DELAYED PAYMENT) |  | Rs. 0.10/kwh pm or part thereof |
| --- | --- | --- | --- |
| H. | BILLING PERIODICITY |  | Monthly |
| I. | CHARGES OF POLES USAGE FOR ADVERTISEMENT |  | Rupees |
|  | 1 | Charges for application and agreement forms | 100.00 |
|  | 2 | Charges towards dismantling of hoardings/banners | 300.00 |
|  | 3 | The pole rental charges for advertisements: - | Rs./month |
|  |  | a. Category I-Commercial area (Max size 3'X2') | 100.00 |
|  |  | b. Category II - Residential area (Max size 3'X2') | 60.00 |
|  |  | c. Category III-National Highway (Max size 3'X2') (outside the city/town limit) | 40.00 |