NAGALAND ELECTRICITY REGULATORY COMMISSION

TARIFF ORDER

FY 2014-15

ORDER

Dated : 31.03.2014

Old MLA Hostel Complex, Nagaland : Kohima-797001

Phone: (0370) 2292101(O)/2241592 (R)/ Fax: 2292104(O)

e-mail: nerc_kohima@yahoo.com/ website: www.nerc.org.in

9th March 2011

Before the Nagaland Electricity Regulatory Commission

for the State of Nagaland Kohima

Present

Er. Donray A. Shishak, Chairman-cum-Member

Case No.  01/2014-15

In the matter of

Aggregate Revenue Requirement (ARR) and Retail Tariff for the Department of Power, Nagaland (DPN) for the FY 2014-15

ORDER

Date: 31/03/2014

Contents

1.	Introduction	9

1.2	Department of Power, Nagaland – ARR and Tariff Petition	9

1.3	Admission of Petition	10

1.4	Public Notice of the DPN	10

1.5	Notice for Public Hearing	10

1.6	Public Hearing	11

1.7	Meeting of State advisory Committee	11

2.  Summary of Petition of Power Department Nagaland for Aggregate Revenue Requirement	17

2.1	Aggregate Revenue Requirement (ARR)	17

2.2	Tariffs	17

2.3	Approach of DPN in formulation of ARR & Tariff Petition for FY 2014-15	19

2.4	Prayer	19

3.  Power Sector in Nagaland – An Overview	21

3.1	Introduction	21

3.2	Power Supply	21

3.3	Transmission and Distribution Network	23

3.4	Transmission and Distribution (T&D) Losses	24

3.5	Consumer Profile and Energy Sales	25

4.  Brief Summary of Objections raised, Response from Department and Commission’s comments	26

4.1	 Public response to the Petition.	26

4.2	 Queries/Suggestions and response from DPN:	27

5. Review of Tariff Order for FY 2012-13	30

5.1	Background	30

5.2	Energy Demand (Sales)	30

5.3	Transmission and Distribution Losses (T&D Losses)	31

5.4	Energy requirement	32

5.5	Own generation	33

5.6	Power Purchase	33

5.7	Energy Balance	34

5.8	Power Purchase Cost	34

5.9	Employee cost	35

5.10	Administrative & General expenses	36

5.11	Repairs and Maintenance expenses	36

5.12	Capital Investment	36

5.13	Depreciation	38

5.14	Interest and Finance Charges	38

5.15	Interest on Working capital	39

5.16	Provision for bad & doubtful debts	40

5.17	Non-Tariff Income	40

5.18	Revenue from revised tariff	40

5.19	Aggregate Revenue Requirement for FY 2012-13	41

6. Aggregate Revenue Requirement for FY 2014-15 - Commission’s Analysis & Decisions	43

6.1	Introduction	43

6.2	Consumer Categories	43

6.2.1	Projected Consumer Growth and connected load	44

6.3	Energy Sales	45

6.3.1	Analysis of energy sales projected and Commission’s view	46

6.3.2	Category-wise Energy Sales	50

6.4	Transmission and Distribution (T&D) losses	50

6.5	Energy Requirement & Availability	52

6.6	Source of Power	53

6.6.1	Own Generation	53

6.6.2	Power Purchase from Central Generating Stations	53

6.7	Energy Balance	56

6.8	Revenue Requirement for FY 2014-15	58

6.8.1	Fuel Cost	59

6.8.2	Power Purchase cost	59

6.8.3	Operation and Maintenance Expenses	61

6.8.3.1	Employee Cost	62

6.8.3.2	Repairs and Maintenance Expenses	63

6.8.3.3	Administration and General Expenses	64

6.8.4	Capital Investment	65

6.8.5	Gross fixed Assets	66

6.8.6	Depreciation	67

6.8.7	Interest and Finance Charges	68

6.8.8	Interest on Working Capital	69

6.9	Return on equity	71

6.10	Provision for Bad and doubtful debts	73

6.11	Non Tariff Income	73

6.12	Aggregate Revenue Requirement	74

6.13	Expected revenue from existing tariff	75

6.14	Revenue gap for FY 2014-15	77

6.15	Revenue from revised tariff	77

6.16	Revised gap for FY 2014-15	78

6.17	Regulatory Asset / Government subsidy	78

7. Tariff Principles and Design	80

7.1	Background	80

7.2	Tariffs proposed by DPN and approved by the Commission	83

8. Directives	86

8.1       Commission’s Observation	86

8.2	Status and Compliance of directives issued in Tariff Order for FY 2011-12, FY 2012-13 and FY 2013-14.	Error! Bookmark not defined.

LIST OF TABLES

9

Table 2.1: Aggregate Revenue Requirement and Revenue Gap projected by DPN for FY 2014-15	17

Table-2.2: Category Wise Tariffs existing and proposed by DPN for FY 2013-14	18

Table 3.1: Power allocation from CGS:	22

Table 3.2: Power Purchase from Central Generating Stations and other Sources for	22

FY 2012-13	22

Table 3.3:  Transmission and Distribution Network of DPN as on 31.03.2013	23

Table 3.4: Consumer Profile and Energy Sales for FY 2012-13	25

Table 5.2: T&D loss calculation furnished by DPN for FY 2012-13	31

Table 5.3: T&D loss calculation worked out by the Commission	32

for FY 2012-13	32

Table-5.4: Energy Requirement for FY 2012-13	32

Table-5.5: Power Purchase approved by the Commission for FY 2012-13	33

Table-5.6: Energy Balance for FY 2012-13	34

Table-5.11: Depreciation for FY 2012-13 approved by the Commission	38

Table-5.12: Interest on working capital for FY 2012-13 approved by the Commission	39

Table-5.13: Energy Sales for FY 2012-13	40

Table-5.14: Aggregate Revenue Requirement for FY 2012-13 approved by the Commission	41

Table 6.1:  Category-wise Consumers	44

Table 6.2: Consumers and connected load	44

Table 6.3: Energy Sales	45

Table 6.5: Specific consumption per consumer	47

Table 6.6: Category wise energy sales for FY 2014-15	50

Table 6.7: Energy Requirement – FY 2014-15	52

Table-6.8: Energy Requirement approved by Commission for FY 2013-14	53

Table 6.9: Power allocation	54

Table 6.10: Source wise Power Procurement projected by DPN for FY 2014-15	54

Table-6.11: Power Purchase from CGS approved by Commission for FY 2014-15	56

Table 6.13: Energy Balance approved by the Commission for FY 2014-15	57

Table-6.14: Expenses projected by DPN for 2014-15	58

Table-6.15: Power Purchase cost projected by DPN for FY 2014-15	59

Table 6.16: Power Purchase cost of DPN approved by the Commission for                     FY 2014-15	60

Table 6.17: Operation & Maintenance Expenses for FY 2014-15	61

Table-6.18: Employee cost	62

Table-6.19: Repair & Maintenance Expenses for FY 2014-15	63

Table-6.20: Administrative & General Expenses projected by DPN for	64

FY 2014-15	64

Table-6.21: Investment Plan (Scheme wise)	65

Table 6.22: Capital Expenditure & Capitalization FY 2013-14	66

Table 6.23: Gross Fixed Assets	66

Table-6.24: Depreciation projected by DPN for FY 2014-15	67

Table-6.25: Depreciation approved by the Commission for FY 2014-15	68

Table 6.26: Interest and Finance Charges for FY 2014-15	69

Table-6.27: Interest on Working Capital projected by DPN for FY 2014-15	69

Table-6.28: Interest on working capital	70

Table-6.29: Return on Equity projected by DPN for FY 2014-15	71

Table-6.31: Aggregate Revenue Requirement for FY 2014-15	74

Table-6.32: Revenue from existing tariff projected by DPN for FY 2014-15	75

Table-6.34: Net revenue requirement and gap with revenue at existing tariff	77

Table-6.35: Revenue from revised tariff approved by the Commission for FY 2014-15	77

Table-7.2: Category Wise Tariffs existing and proposed by DPN	83

for FY 2014-15	83

Table-7.3: Category of Consumer wise tariffs approved by the Commission	84

| LIST OF ABBREVIATIONS |  |
| --- | --- |
| ABT | Availability Based Tariff |
| A&G | Administration & General |
| ARR | Aggregate Revenue Requirement |
| ATPEL | Appellate Tribunal For Electricity |
| CAGR | Compound Annual Growth Rate |
| CD | Contract Demand |
| CERC | Central Electricity Regulatory Commission |
| CGS | Central Generating Stations |
| CoS | Cost of Supply |
| CPSU | Central Power Sector Undertakings |
| Cr | Crore |
| CWIP | Capital Work In Progress |
| DE | Debt Equity |
| DPN | Department of Power, Govt. of Nagaland |
| EHT | Extra High Tension |
| NER | North Eastern Region |
| FAC | Fuel Adjustment Costs |
| FDR | Fixed Deposits Receipts |
| FY | Financial Year |
| GFA | Gross Fixed Assets |
| HP | Horse Power |
| HT | High Tension |
| KV | Kilo Volt |
| KVA | Kilo Volt Amps |
| KW | Kilo Watt |
| kWh | kilo Watt hour |
| LNG | Liquefied Natural Gas |
| LT | Low Tension |
| MVA | Million Volt Amps |
| MW | Mega Watt |
| NERC | Nagaland Electricity Regulatory Commission |
| PLR | Prime Lending Rate |
| RIMS | Regulatory Information and Management System |
| YoY | Year on Year |

# Introduction

1.1	In exercise of the powers conferred by the Electricity Act, 2003, the State Government of Nagaland constituted an Electricity Regulatory Commission to be known as “Nagaland Electricity Regulatory Commission” for the State of Nagaland, as notified on 21st February 2008.

The Commission is a One-Member Body designated to function as an autonomous authority responsible for regulation of the power sector in the State of Nagaland. The powers and the functions of the Commission are as prescribed in the Electricity Act, 2003. The head office of the Commission is presently located at Kohima, capital city of the Nagaland State.

The Nagaland Electricity Regulatory Commission for the State of Nagaland started to function with effect from 4th March, 2008 with the objectives and purposes for which the Commission has been established.

The Department of Power, Nagaland herein called DPN, a deemed licensee under section 14 of the Electricity Act, 2003, is carrying on the business of distribution and retail supply of electricity in the State of Nagaland

## Department of Power, Nagaland – ARR and Tariff Petition

DPN had filed its petition for approval of Aggregate Revenue Requirement (ARR) and determination of retail supply tariff for FY 2014-15 according to the Conduct of Business Regulations and Determination of Tariff Regulations of NERC. In the petition DPN has estimated ARR of Rs. 420.10 crore and worked out a revenue gap of Rs. 217.19 crore.

## Admission of Petition

DPN has filed ARR and Tariff Petition on 28/11/2013 for the FY 2014-15. On preliminary analysis of the petition it was observed that certain data / information was lacking in the petition. The Commission, in its letter dated 11/12/2013 and 16/12/2013 directed DPN to furnish the data/additional data.

In response to the Commission’s communication, the petitioner has submitted the additional data/information on 19/12/2013. The petition was admitted on 29/11/2013 and marked as Case No. 01/2014-15.

## Public Notice of the DPN

The Commission directed the DPN to publish the summary of the ARR and Tariff proposal in the abridged form and manner as approved by the Commission in accordance with section 64 of the Electricity Act, 2003 to ensure public participation.

The public notice was published by the DPN in the following newspapers:

| SI. No. | ###### Name of the newspaper | Language | Date of publication |
| --- | --- | --- | --- |
| 1 | Nagaland Post, Dimapur | English | 04.02.2014 & 05.02.2014 |
| 2 | The Morung Express | English | 04.02.2014 & 05.02.2014 |
| 3 | Eastern Mirror | English | 04.02.2014 & 05.02.2014 |

Through the public notice issued in the news papers as above the public were invited to forward their objections / suggestions on the petition on or before 20.02.2014.

No objections/suggestions were received from consumers/consumer associations at both DPN’s or Commission’s end.

## Notice for Public Hearing

The Commission fixed the date for Public hearing to be held on 14.03.2014 and a public notice was published by the Commission in the following leading newspapers in 3 (three) issues giving due intimation to general public, interested parties, objectors and the consumers about the public hearing to be held by the Commission on 14.03.2014 on the petition filed by DPN.

| SI. No. | Name of the newspaper | Language | Date of publication |
| --- | --- | --- | --- |
| 1 | Nagaland Post, Dimapur | English | 24th & 25th Feb, 2014 |
| 2 | The Morung Express | English | 24th & 25th Feb, 2014 |
| 3 | Eastern Mirror | English | 24th & 25th Feb, 2014 |

## Public Hearing

Public hearing was held as scheduled on 14.03.2014 at Commission’s office from 10:00 hrs onwards as under:

| Date | Venue for Public Hearing | Time and Category |
| --- | --- | --- |
| 14.03.2014 | Office premises of the Chairman-cum-Member, NERC, Kohima. | 10.00 AM to 1.00 PM -For all consumers – focus on domestic, commercial, agricultural consumers. 2.00 PM to 4.00 PM -For all consumers – focus on Industrial consumers. |

During the public hearing each participant was provided a time slot for presenting views on the petition of DPN before the Commission. The main issues raised by the objectors in the public hearing along with the response of DPN are briefly described in the Chapter-4.

## Meeting of State advisory Committee

The State Advisory Committee met on 18.03.2014 and discussed the ARR & Tariff proposal for the FY 2014-15 of DPN. All the members were also requested to participate in the public hearing and express their views and suggestions on the proposal. Minutes of the State Advisory Committee meeting is given in Annexure-1.

Annexure-1

MINUTES OF THE 8TH MEETING OF THE SAC HELD AT NERC’s COURTROOM, KOHIMA ON 18th March, 2014.

The State Advisory Committee Meeting of the NERC was held at NERC Office Complex on 18th March, 2014. The Meeting was chaired by Er. D. A. Shishak, Chairman-cum-Member (NERC), Kohima. At the very outset, the Chairman welcomed all the SAC Members of the NERC and all those representing Department  such as Er. Imli Ao, Addl. Chief Engineer (D&R), Department of Power, Nagaland and Er. Imliakum Imchen, J.E (Elect) Department of N&RE, Nagaland in the 8th SAC Meeting of the NERC, Kohima.

The SAC Members conveyed congratulations to Er. D.A. Shishak on his appointment to the post of Chairman-cum-Member, NERC, Kohima.

The following Members and Ex-officio Members attended the meeting:-

- Mr. C.R.Lotha, Member.

- Mr. Bendangnukshi Longkumer, Member.

- Mr. T.Meren Paul, Member.

- Capt. Hekiye Sema, Member.

- Mr. Medoselhou Keretsu, Member.

- Mr. Kitoho S. Rotokha, Member.

- Mr. Khosapa Venuh, Member.

- Mr. Bishnu Bhattacharjee, Member.

- Mr. S. Manlip Konyak, Member.

- Mr. Keyileuhingbe Elu, Member.

- Mr. Abhinandan Goswami, Member

- Er. Imli Ao, Addl. Chief Engineer (D&R), Department of Power, Nagaland

- Er. Imliakum Imchen, Junior Engineer (Elect), Department of New & Renewable Energy, Nagaland.

- Er. Donray Shishak, Chairman and Ex-officio Chairman, SAC.

Items discussed during the Meeting were as follows:

- Implementation of Sop, CGRF & Ombudsman and Open Access Regulations by the Department of Power, Nagaland.

- Bifurcation (Power Department) and Unbundling of Power Sector in Nagaland.

- Awareness Creation Efforts of the NERC – THE WAY FORWARD, suggestions of SAC Members.

- ARR & Tariff Petition for FY 2014-15 filed by the Department of Power, Nagaland (DPN). The petition is in advanced stage of processing and Tariff Order targeted to be passed by the end of March, 2014.

The 8th SAC Meeting was chaired by Er. D. A. Shishak, Chairman, NERC

The issues listed in agenda were discussed and the Members present resolved as follows:

  - The members present discussed and resolved that though the “Power Sector Reform and Restructuring in Nagaland” prepared and submitted by the International Management Institute (IMI), New Delhi has been partially accepted and implemented by the State government, It was once again emphasised that once the Corporatization in Power Sector is done in a true spirit and sense, then, and then only there can be proper growth in the Power Sector in the State of Nagaland.

  - The Members felt and were convinced that the topmost priority on Power Development is to be given on “Generation of Electricity”. Unless the State Government has her own generation worth mentioning, all the other awareness programmes will be something like cries in the wilderness in this power starved State, Nagaland.

Members present advised the Commission to continue the awareness creation activities through Public Awareness Creation Efforts (PACE) Programs, print and electronic media including publication of pamphlets, booklets etc for both the Government and general consumer within the State depending on the necessity – priority and financial position.

  - Members present resolved to advise for Political will among the policy makers and those who are in Authority in respect of 180 MW Dikhu Hydro Electric Project; Also entrusted Mr. Nuklu Phom, SAC Member and Mr.Manlip Konyak, SAC Member to pursue for Land Negotiation Problem among the villagers. The Members also wanted to know the latest position of the 150 MW Tizu-Zungki Hydro Electric Project. The concerned Department must do the needful without delay and if need arises the SAC Members may be immediately made known for further action.

  - Members present resolved to approach the State Govt. for implementation of Standards of Performance Regulations, 2012 and Consumer Grievances Redressal Forum & Ombudsman Regulations, 2012 by the Department of Power, Nagaland (DPN). Further, resolved to approach the State Government for additional Man Power, enough spare Transformers to be kept in stock, Vehicles and maintenance fund for field staff, O&M for Power Projects etc for the DPN. The CGRF & Ombudsman Regulations are to be implemented because based on sub-section (5) of Section 42 of EA, 2003, the central Govt has also made Rule as mentioned in Rule 7 of the Electricity Rules 2005 for the Distribution Licensee.

  - The Members present perused the copy of the ARR & Tariff Petition for FY 2014-15 filed by the DPN and the following issues were raised:-

- Increasing of Power Tariff every year, why?

Reply by DPN

Since 90% of Power is purchased from outside the State and Power Purchase cost is increasing every year, the Department is bound to hike by some nominal percentage every year.

- How much revenue is likely to be received? Whether the Deptt. has acted upon reducing T&D losses?

Reply by DPN

Technical losses are inherent but Commercial losses are due to power theft, hooking, meter tempering etc. With prepaid metering and with the help of the Anti Power Theft Mobile Squad (APTMS), the Department is expecting around 80 crs as revenue for FY 2013-14 (excluding Power trading). Department is taking measures for reducing losses. After the R-APDRP Scheme is implemented properly, there will be reduction in losses and thereby it is expected to improve the revenue collection.

- The consumers do not receive electricity bill on time and meter readers do not go to spot for reading. Bill payment Booth is limited, why? The Street Light should be replaced by Renewable Energy based Street Light.

Reply by DPN

The Department will look into the above mentioned issues and will do necessary and corrective measures. For the Street Light, in some selected towns/places, the department will also consult and discuss with the Directorate of New & Renewable Energy.

COMMON UNDERSTANDING

There were other important points and issues raised and shared among the Members present which are not reflected here. It was agreed that the relevant and related topics concerning certain policy matters of the State Government, to improve in quality of Power supply by the Licensee, protection and fulfillment of the consumer interest, genuine practical difficulties faced by the Department and also sometime the casual attitude of the Departmental Officers & Staff lacking seriousness at the appropriate time etc will be our continued concern which will be discussed further in the next SAC Meeting. On “Safety” measures, the Licensee and the Electrical Inspectorate must perform their duties as directed in the Regulation of the NERC.

As mentioned above, after thorough and elaborate discussions, the members present agreed upon and resolved to advise the Commission to finalise the Petition filed by the DPN for approval of ARR & Revision of Tariff for FY 2014-’15 by prudent scrutiny so as not to tax the honest paying consumers to make up the deficiency in the management of the Power Sector such as, the DPN having large nos. of non-functional meters, short coming in billing process including having large nos. of unauthorized connection by ‘hooking’ etc. In fact, it is the honest and regularly paying consumers who are affected with tariff hike every year.

The 8th SAC Meeting was declared closed by the Chairman-cum-Member, NERC after adopting the aforesaid resolutions.

# 2.  Summary of Petition of Power Department Nagaland for Aggregate Revenue Requirement

## Aggregate Revenue Requirement (ARR)

The DPN in its ARR and Tariff Petition for FY 2014-15 has projected the Aggregate Revenue Requirement (ARR) for the FY 2014-15 for meeting its expenses and the estimated Revenue with the existing tariffs and the revenue gap as shown in Table 2.1 below:

Table 2.1: Aggregate Revenue Requirement and Revenue Gap projected by DPN for FY 2014-15

(Rs. crore)

| SI. No. | Particulars | FY 2014-15 (Projected) |
| --- | --- | --- |
|  | Cost of Fuel | 0.08 |
|  | Cost of power purchase | 214.86 |
|  | Employee costs | 76.35 |
|  | R&M expenses | 14.57 |
|  | Administrative and general expenses | 2.68 |
|  | Depreciation | 17.18 |
|  | Interest charges (including interest on working capital) | 44.95 |
|  | Return on equity | 53.38 |
|  | Provision for bad debts | 1.82 |
|  | Total revenue requirement | 425.88 |
|  | Less non-tariff income | 5.78 |
|  | Net revenue requirement (10-11) | 420.10 |
|  | Revenue from existing tariff | 183.33 |
|  | Revenue from sale of surplus power | 20.58 |
|  | Gap (12-13-14) | 217.19 |

Source: - Table 3.18 of ARR

The petitioner has shown a revenue gap of Rs. 217.19 crore for the FY 2014-15.

## Tariffs

The DPN in its ARR and Tariff Petition for FY 2014-15 has proposed revision of tariffs as indicated in table 2.2 below.

Table-2.2: Category Wise Tariffs existing and proposed by DPN for FY 2014-15

| SI. No. | ##### CATEGORY |  | Existing Rate Rs./kWh | Proposed Rate Rs./kWh |
| --- | --- | --- | --- | --- |
| 1 | 2 |  | 3 | 4 |
| A | 1 | CATEGORY 'A' DOMESTIC |  |  |
|  |  | (a) 0 to 30 kWh | 3.10 | 3.25 |
|  |  | (b) 31 to 100 kWh | 4.15 | 4.55 |
|  |  | (c) 101 to 250 kWh | 4.75 | 5.30 |
|  |  | (d) > 250 kWh | 5.50 | 6.20 |
|  | 2 | CATEGORY 'B' INDUSTRIAL |  |  |
|  |  | (a) < 500 kWh | 3.90 | 4.25 |
|  |  | (b) 501 to 5000 kWh | 4.60 | 5.10 |
|  |  | (c) > 5000 kWh | 5.20 | 5.80 |
|  | 3 | CATEGORY 'C' BULK | 4.90 | 5.40 |
|  | 4 | CATEGORY 'D' COMMERCIAL |  |  |
|  |  | (a) < 60 kWh | 5.20 | 5.70 |
|  |  | (b) 61 to 240 kWh | 6.20 | 6.80 |
|  |  | (c) > 240 kWh | 7.20 | 7.90 |
|  | 5 | CATEGORY 'E' P.W.W. | 5.00 | 5.25 |
|  | 6 | CATEGORY 'F' Public Light | To be recovered from consumers * | To be recovered from consumers * |
|  | 7 | CATEGORY 'G' INTERSTATE | 4.9 | 5.50 |
|  | 8 | CATEGORY 'H' AGRICULTURE | 2.50 | 2.80 |
|  | 9 | CATEGORY 'I' TEMPORARY CONNECTION | DLF Rs. 7.50 Others Rs. 10.00 | DLF Rs. 8.00 Others Rs. 11.00 |
|  | 10 | Kutir Jyoti (point) | Same as DLF | Same as DLF |
|  | 11 | SINGLE POINT METERED RURAL | 3.10 | 3.25 |
|  | 12 | SINGLE POINT METERED URBAN | 3.40 | 3.60 |
|  | * | Charges for public lighting have to be recovered from the Consumers of Domestic, Commercial, Industrial and Bulk categories at the rates shown below: |  |  |
|  |  | Domestic | Rs. 10 per connection / month | Rs. 10 per connection / month |
|  |  | Commercial | Rs. 15 per connection / month | Rs. 15 per connection / month |
|  |  | Industrial | Rs. 20 per connection / month | Rs. 20 per connection / month |
|  |  | Bulk Supply | Rs. 25 per connection / month | Rs. 25 per connection / month |

Source:- Table 4.1 of ARR

## Approach of DPN in formulation of ARR & Tariff Petition for FY 2014-15

- The petition provides, inter-alia, DPN’s approach for formulating the present petition, the broad basis for projections used, summary of the proposals being made to the Hon’ble Commission, performance of DPN in the recent past, and certain issues impacting the performance of DPN in the Licensed Area.

- Broadly, in formulating the ARR and Tariff Petition for the FY 2014-15, the principles specified by the Nagaland Electricity Regulatory Commission in the notified  (Terms and Conditions for determination of Tariff) Regulations, 2010 have been considered as the basis.

- In order to align the thoughts and principles behind the ARR and Tariff Petition, DPN respectfully seeks an opportunity to present their case prior to the finalization of the Tariff Order.  DPN believes that such an approach would go a long way towards providing a fair treatment to all the stakeholders and may eliminate the need for a review or clarification.

## Prayer

The DPN has requested the Commission to

- Accept the Annual Revenue Requirement and Tariff petition for the FY 2014-15.

- Approve the total recovery of ARR of FY 2014-15.

- Approve the category-wise tariff including fixed / demand charges submitted by DPN to meet revenue requirement for FY 2014-15.

- Approve the tariff philosophy suggestions requested by DPN;

- Condone any inadvertent delay/omissions/errors/rounding off differences/ shortcoming and DPN may please be permitted to add/change/modify/alter the petition;

- Permit DPN to file additional data/information as may be necessary;

# 3.  Power Sector in Nagaland – An Overview

## Introduction

The DPN is responsible for generation, transmission and distribution and supply of electricity in the State of Nagaland.

The DPN is a deemed licensee under the provisions of Electricity Act, 2003 for distribution of electricity in the state, which has an area of 16527 sq.km.  The total population of the State is around 19.81 Lakhs as per 2011 census. DPN serves about 2.03 lakh consumers as on 31.03.2013 with per capita consumption of 192 kWh.

## Power Supply

3.2.1   Actual energy requirement during 2012-13 is as follows:

| 1 | Energy Sales within the State (MU) | 352.48 |
| --- | --- | --- |
|  | Energy Sales outside the State (MU) | 28.57 |
| 2 | T & D Losses (%) | 33.67% |
| 3 | T & D Losses (MU) | 178.89 |
| 4 | Total energy requirement in the state (MU) (1+3) | 531.37 |

3.2.2   Own Generation:

DPN has its own hydel generation capacity of 24 MW at Likhimro Hydro Power Project and other MHEPs. Apart from this the power supply requirements of the DPN are met from its share from Central Generating Stations which is wheeled through the PGCIL network of NER and power purchases from electricity traders / other sources.

    - Power Purchase:

Total firm and infirm share from Central Generating Stations is about 104 MW as detailed in table 3.1 below:

The present power allocation of DPN is as follows

Table 3.1: Power allocation from CGS:

| SI. No. | #### Source | Capacity | Allocation |  |
| --- | --- | --- | --- | --- |
|  |  | MW | % | MW |
|  | Central Sector |  |  |  |
| 1 | Loktak, NHPC | 105 | 6.44 | 6.76 |
| 2 | Khandong, NEEPCO | 50 | 6.65 | 3.33 |
| 3 | Kopili-I, NEEPCO | 200 | 6.15 | 12.30 |
| 4 | Kopili-II, NEEPCO | 25 | 5.74 | 1.44 |
| 5 | Ranganadi, NEEPCO | 405 | 5.34 | 21.63 |
| 6 | Doyang, NEEPCO | 75 | 17.97 | 13.48 |
| 7 | AGTPP (Tripura) | 84 | 5.38 | 4.52 |
| 8 | AGBPP | 291 | 5.81 | 16.91 |
| 9 | Farakka,NTPC | 1600 | 0.70 | 11.16 |
| 10 | Kahalgaon,NTPC | 840 | 0.69 | 5.81 |
| 11 | Talcher,NTPC | 1000 | 0.70 | 6.98 |
|  | TOTAL | 4675 |  | 104.30 |

Source: Table 3.6 of ARR

The actual energy drawls from various central-generating stations during 2012-13 are furnished in table below:

Table 3.2: Power Purchase from Central Generating Stations and other Sources for

FY 2012-13

| SI. No. | ##### Source | Power Purchase (MU) |
| --- | --- | --- |
|  | Central Sector |  |
| 1. | Loktak, NHPC | 35.88 |
| 2. | Khandong NEEPCO | 56.32 |
| 3 | Kopili – I, NEEPCO |  |
| 4 | Kopili – II, NEEPCO |  |
| 5 | Ranganadi, NEEPCO | 65.46 |
| 6 | Doyang, NEEPCO | 35.33 |
| 7 | AGTPP (Tripura) | 27.54 |
| 8 | AGBPP | 90.31 |
| 9 | NTPC | 102.37 |
| 10 | Free Power from Doyang | 23.52 |
| 14 | UI | 42.65 |
| 15 | Total | 479.38 |

Source: - Extracted from Format 7 of ARR

## Transmission and Distribution Network

DPN owns and operates the transmission and distribution network as given in table below:

Table 3.3:  Transmission and Distribution Network of DPN as on 31.03.2013

| SI. No. | Voltage |  | Transmission lines (ck. km.) |  |  |  | Transformer Capacity (MVA) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| (A) | Lines |  |  |  |  |  |  |
| 1 | 132 KV |  | 260 |  |  |  |  |
| 2 | 66 KV |  | 410 |  |  |  |  |
| 3 | 33 KV |  | 1932.15 |  |  |  |  |
| 4 | 11 KV |  | 6739.38 |  |  |  |  |
| 5 | LT |  | 11252.10 |  |  |  |  |
| 6 | Total |  | 20593.63 |  |  |  |  |
| (B) | Voltage Wise Sub-station |  |  |  |  |  |  |
| 1 | 132/66 KV |  | 6 |  |  |  |  |
| 2 | 66/33 KV |  | 9 |  |  |  |  |
| 3 | 66/11 KV |  | 2 |  |  |  |  |
| 4 | 33/11 KV |  | 74 |  |  |  |  |
| 5 | Total |  | 91 |  |  |  |  |
| (C) | Capacity Wise Power Transformers |  | No’s |  | Capacity (MVA) |  | Total Capacity (MVA) |
| 1 | 132/66 KV |  | 2 |  | 25.00 |  | 50.00 |
| 2 | 132/66 KV |  | 3 |  | 20.00 |  | 60.00 |
| 3 | 132/66 KV |  | 2 |  | 12.50 |  | 25.00 |
| 4 | 132/66 KV |  | 4 |  | 10 |  | 40.00 |
| 5 | 132/66 KV |  | 3 |  | 6.50 |  | 19.50 |
| 6 | 132/33 KV |  | 3 |  | 8.00 |  | 24.00 |
| 7 | 132/33 KV |  | 1 |  | 5.00 |  | 5.00 |
| 8 | 66/33 KV |  | 3 |  | 20.00 |  | 60.00 |
| 9 | 66/33 KV |  | 2 |  | 7.50 |  | 15.00 |
| 10 | 66/33 KV |  | 6 |  | 5.00 |  | 30.00 |
| 11 | 33/11 KV |  | 5 |  | 10.00 |  | 50.00 |
| 12 | 33/11 KV |  | 7 |  | 5.00 |  | 35.00 |
| 13 | 33/11 KV |  | 4 |  | 2.50 |  | 10.00 |
| 14 | 33/11 KV |  | 22 |  | 1.60 |  | 35.22 |
| 15 | 33/11 KV |  | 2 |  | 1.00 |  | 2.00 |
| 16 | 33/11 KV |  | 26 |  | 0.50 |  | 13.00 |
| 17 | 33/11 KV |  | 8 |  | 0.25 |  | 2.00 |
|  | Total |  | 103 |  |  |  | 475.72 |
| (C) | Capacity of Distribution Transformers |  |  |  |  |  |  |
|  | Transf. Capacity |  | Nos. | Capacity (MVA) |  | Total Capacity (MVA) |  |
| 1 | 5 MVA, 33/0.4 KV |  | 2 | 5 |  | 10 |  |
| 2 | 800 kVA, 33/0.4 kV |  | 1 | 0.80 |  | 0.8 |  |
| 3 | 500 kVA, 33/0.4 kV |  | 8 | 0.50 |  | 4 |  |
| 4 | 250 kVA, 33/0.4 kV |  | 13 | 0.25 |  | 3.25 |  |
| 5 | 100 kVA, 33/0.4 kV |  | 20 | 0.10 |  | 2.00 |  |
| 6 | 63 kVA, 33/0.4 kV |  | 35 | 0.063 |  | 2.205 |  |
| 7 | 50 kVA, 33/0.4 kV |  | 11 | 0.05 |  | 0.55 |  |
| 8 | 25 kVA, 33/0.4 kV |  | 78 | 0.025 |  | 1.95 |  |
| 9 | 16 kVA, 33/0.4 kV |  | 3 | 0.016 |  | 0.048 |  |
| 10 | 1 MVA 11/0.4 kV |  | 1 | 5.00 |  | 5.00 |  |
| 11 | 800 kVA 11/0.4 kV |  | 4 | 0.80 |  | 3.2 |  |
| 12 | 750 kVA, 11/0.4 kV |  | 21 | 0.75 |  | 15.75 |  |
| 13 | 500 kVA, 11/0.4 kV |  | 105 | 0.50 |  | 52.5 |  |
| 14 | 400 kVA 11/0.4 KV |  | 71 | 0.40 |  | 28.40 |  |
| 15 | 315 kVA, 11/0.4 kV |  | 3 | 0.315 |  | 0.945 |  |
| 16 | 250 kVA, 11/0.4 kV |  | 300 | 0.25 |  | 75 |  |
| 17 | 200 kVA, 11/0.4 KV |  | 5 | 0.20 |  | 1 |  |
| 18 | 100 kVA, 11/0.4 kV |  | 418 | 0.10 |  | 41.80 |  |
| 19 | 75 kVA, 11/0.4 KV |  | 1 | 0.075 |  | 0.075 |  |
| 20 | 63 kVA, 11/0.4 kV |  | 513 | 0.063 |  | 32.319 |  |
| 21 | 50 kVA, 11/0.4 kV |  | 27 | 0.005 |  | 1.35 |  |
| 22 | 25 kVA, 11/0.4 kV |  | 1519 | 0.025 |  | 37.975 |  |
| 23 | 16 kVA, 11/0.4 kV |  | 106 | 0.016 |  | 1.696 |  |
| 24 | 25 kVA, 11/0.2 KV |  | 20 | 0.025 |  | 0.50 |  |
| 25 | 16 kVA, 11/0.2 KV |  | 31 | 0.016 |  | 0.496 |  |
| 26 | 10 kVA, 11/0.2 KV |  | 11 | 0.01 |  | 0.11 |  |
| 27 | Total |  | 3327 |  |  | 322.92 |  |
| ###### Year wise distribution transformer failures |  |  |  |  |  |  |  |
| ##### Year |  | Total DT's Existing | No. of failed DT's |  |  | % Failure |  |
| 2009-10 |  | 753 | 39 |  |  | 5.18% |  |
| 2010-11 |  | 886 | 199 |  |  | 22.46% |  |
| 2011-12 |  | 1800 | 208 |  |  | 11.56% |  |
| 2012-13 |  | 3327 | 338 |  |  | 10.16% |  |

## Transmission and Distribution (T&D) Losses

The transmission and distribution (T&D) losses of DPN during 2012-13 after considering pool loss of 3.48% is 33.67%.  The technical and commercial losses of the system have not been segregated.

## Consumer Profile and Energy Sales

DPN serves about 2.03 Lakh consumers as on 31.3.2013 with an annual consumption of about 381.05 MU. The category-wise number of consumers and the energy sales during FY 2012-13 are given in table below:

Table 3.4: Consumer Profile and Energy Sales for FY 2012-13

| SI. No. | Consumer Category | Number of Consumers | % | Energy Sales (MU) | % |
| --- | --- | --- | --- | --- | --- |
| 1 | Domestic | 180000 | 88.87 | 232.53 | 67 |
| 2 | Commercial | 18800 | 9.28 | 39.87 | 11 |
| 3 | Industrial | 2400 | 1.18 | 17.82 | 4 |
| 4 | Public Lighting | 600 | 0.03 | 5.27 | 2 |
| 5 | Public Water Works | 30 | 0.02 | 3.07 | 1 |
| 6 | Agriculture | 2 |  | 0.04 |  |
| 7 | Bulk Supply | 700 | 0.35 | 51.48 | 15 |
| 8 | Total | 202532 |  | 350.08 |  |
| 9 | Out side state | 1 |  | 2.40 |  |
| 10 | Total Sales | 202533 |  | 352.48 |  |
| 11 | Sales to Traders |  |  | 28.57 |  |
| 12 | Grand Total |  |  | 381.05 |  |

Source: - Format-1

# 4.  Brief Summary of Objections raised, Response from Department and Commission’s comments

# 4.1		Public response to the Petition.

After admitting the ARR & Tariff Petition for the FY 2014-15, the Commission directed the Department of Power, Nagaland (DPN) to publish the Petition in newspapers in an abridged form duly inviting Comments/Objections from public / stake holders.

In order to ensure transparency in the process of determination of tariffs as envisaged in the Electricity Act 2003, the DPN arranged publication of petition in abridged form in 3 leading Local Newspapers calling for objections / comments on 04.02.2014 & 05.02.2014 for two consecutive days. The DPN or the Commission did not receive any objection / comments from the public.

The Commission arranged issuing of notice by publishing in 3 leading Local Newspapers on 24th & 25th Feb., 2014 calling for public hearing to be conducted on 14th March, 2014. Accordingly, the Public Hearing was conducted on 14th March 2014.

The list of persons/consumers who attended the Public Hearing are as follows:

- Er. Unoto Kinimi, Kohima.

The officers of the DPN who attended the Public Hearing are also listed herein below:

- Er. Keviletuo Yiese, Superintendent Engineer (T&G).

- Er. Wabangmeren Jamir, Executive Engineer (Revenue).

- Er. P.T. Philip, Sub-Divisional Officer (Elect).

# 4.2		Queries/Suggestions and response from DPN:

# 4.2.1		NERC Proceedings of Public Hearing on 14th March, 2014.

PUBLIC HEARING:

That, in order to ensure transparency and to give opportunity to the general public & different business organizations (from all Domestic, Commercial, Agriculture and Industrial Consumers) and also to express their views/ comments/ suggestions / objections in the process of Determination of Tariff as envisaged in the Electricity Act, 2003, Public Hearing was held at NERC Office, Kohima on 14th March, 2014 as scheduled and conducted by the Chairman, NERC

The DPN had published a Public Notice on 4th & 5th Feb, 2014 respectively, inviting for written suggestions/objections, if any, on the ARR and Tariff Petition filed by the Power Department before the office of the Chairman-cum-Member, NERC Kohima on or before 20th Feb, 2014. No written suggestions/objections were received till the given scheduled period. The officers of the DPN, who were present during the Public Hearing, responded to the objections/queries raised by the person present.

4.2.2	Queries raised by Er. Unoto Kinimi – Public/Consumer:

- Current Tariff and Proposed Tariff – What measures are being taken to check the hike of Tariff?

Reply by DPN

The Department could not revise the tariff since 2006. It is only after the functioning of the NERC, the Department could revise the tariff for the last 3 consecutive years. Therefore, in order to recover the huge revenue gap, the department is bound to revise the tariff every year at a nominal percentage till the revenue losses are stabilized.

- Any measures taken by Department to facilitate the Consumer Grievances?

Reply by DPN

At present the Department has Internal Grievance Cell (IGC) for redressal of any grievances received from the Consumer in the office of the Chief Engineer. However, as the NERC (Consumer Grievances Redressal Forum & Ombudsman) Regulations, 2012 came into being, the department will facilitate the consumers as per the provision of the said Regulations after the establishment of the CGRF.

- How many District/Sub-division are being Communitised at present?

Reply by DPN

So far, 90% of the Rural Areas have been Communitised, The department is targeting 100% communitisation of the Rural areas within 1-2 years.

- The department is charging Rs. 10 per consumer every month for Public light/Street light as per the Tariff Petition, where as the department failed to provide the said facility except in some part of urban areas only.

Reply by DPN

The department could install around 1500 to 2000 nos. Street Lights only in the Urban Areas during the last 2 years, due to financial constraint. Therefore, the department has asked for additional fund from the state government so as to enable the department to cover as much as possible in a phased manner.

In respect of rural areas, where villages are communitised and the billings are being done through single meter for the entire village, the department is not charging the amount of Rs. 10 for every month from the consumer.

Why the Department has no Website? To display the basic structure and functions of the Department and its achievements. Or even to the extent of transparency.

Reply by DPN

Due to shortage of Fund and manpower in the Department for launching the website, the department is not in the position to launch its own website at present.

# 5. Review of Tariff Order for FY 2012-13

## Background

    - The Tariff Order of the Commission for FY 2012-13 contained its approvals of costs and revenue to be earned during the year. The DPN in its ARR & Tariff petition for FY 2014-15 has furnished actuals for FY 2012-13.

    - There are differences in certain items of costs as well as revenue between the approvals granted by the Commission and the actuals now furnished by the DPN. Since DPN has not submitted audited accounts for FY 2012-13 true up of tariff order for FY 2012-13 is not done. However the Commission considers it appropriate and fair to revisit and review the approvals granted by it in the tariff order of FY 2012-13 with reference to the actuals now made available by the DPN but without altering the principles and norms adopted earlier. These are discussed in the succeeding paragraphs.

## Energy Demand (Sales)

    - The energy sales projected by DPN in ARR for FY 2012-13, approved by the Commission in the Tariff Order and actual sales during the year are given in the table-5.1 below:

| ##### Table-5.1: Energy Sales for FY 2012-13 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl. No. | Category | Energy sales projected by DPN | Approved by Commission in the T.O | Actuals for FY 2012-13 | Now approved by Commission |
| 1 | Domestic | 268.13 | 228 | 232.53 | 232.53 |
| 2 | Commercial | 47.32 | 39 | 39.87 | 39.87 |
| 3 | Industries | 20.28 | 13 | 17.82 | 17.82 |
| 4 | Public Lighting | 5.97 | 5 | 5.27 | 5.27 |
| 5 | Irrigation & Agriculture | 0.04 | 0.04 | 0.04 | 0.04 |
| 6 | Public Water Works | 3.38 | 3.00 | 3.07 | 3.07 |
| 7 | Bulk Supply | 73.23 | 62 | 51.48 | 51.48 |
| 8 | Inter State * | 40.00 | - | 2.40 | 2.40 |
| 9 | Total | 458.35 | 350.04 | 352.48 | 352.48 |

* - Sales to DPN consumers in the neighboring state

The Commission approves energy sales within the State at 352.48 MU for the FY 2012-13 as per actuals.

## Transmission and Distribution Losses (T&D Losses)

    - The Commission in its order for FY 2012-13 has fixed the T&D losses within the State at 28% as projected by DPN. The DPN has now furnished the actual T&D loss during the FY 2012-13 as 33.75% as detailed in table below:

Table 5.2: T&D loss calculation furnished by DPN for FY 2012-13

| SI. No. | Particulars | 2012-13 |
| --- | --- | --- |
| A | Energy Availability |  |
| 1 | Own generation | 95.76 |
| 2 | Power Purchase from CGS | 413.21 |
| 3 | Free power from Doyang | 23.52 |
| 4 | Less: Inter State pool loss on (2+3) | - |
| 5 | UI purchases | 42.65 |
| 6 | Energy available at state periphery | 575.14 |
| 7 | Sales to traders | 28.57 |
| 8 | Sales within the state | 352.48 |
| 9 | Total sales | 381.05 |
| 10 | T&D loss (MU) | 194.09 |
| 11 | T&D loss (%) | 33.75% |

Commission’s Analysis:

The loss calculated by the DPN is not correct for the reason that it had not considered external losses, which are around 3.48% as per weekly transmission loss in NER for the period from 02.04.2012 to 31.03.2013 as reported in Retrospect and Annual Report for FY 2012-13 of NERLDC Shillong. Further the DPN has calculated T&D losses on sales to Traders which is also not correct for the reason that the sales to traders will be affected at State periphery and hence will not attract T&D losses within the state. As such considering the above factors the actual T&D losses within the state works out to 33.67% detailed in table below:

Table 5.3: T&D loss calculation worked out by the Commission

for FY 2012-13

| SI. No. | Particulars | As per Commission calculation |
| --- | --- | --- |
| A | Energy Availability |  |
| 1 | Own generation (MU) | 95.76 |
| 2 | Add: Power Purchase from CGS | 413.21 |
| 3 | Free power from Doyang | 23.52 |
| 4 | Less: Inter State pool loss @ 3.48% on (2+3) | 15.20 |
| 5 | Add: UI purchases | 42.65 |
| 6 | Less: Sales to traders | 28.57 |
| 7 | Power available at state periphery (1+2+3-4+5-6) | 531.37 |
| 8 | Sales within the state | 352.48 |
| 9 | T&D loss (MU) (7-8) | 178.89 |
| 10 | T&D loss (%) | 33.67% |

The Commission does not see any reason for such a high T&D loss during FY 2012-13. As such the Commission retains its already approved T&D loss of 28% for the FY 2012-13. The DPN should analyse the reasons for such a high T&D loss.

The Commission accordingly approves T&D loss within the state at 28% for FY 2012-13.

## Energy requirement

Energy requirement projected by DPN in tariff petition for FY 2012-13 and approved by the Commission and actuals furnished by the DPN and now approved by the Commission are furnished in table below:

Table-5.4: Energy Requirement for FY 2012-13

| SI. No. | Station | Projected by DPN | Approved by Commission in the T.O. for FY 2012-13 | Actuals furnished by DPN | Now approved by the Commission |
| --- | --- | --- | --- | --- | --- |
|  | Energy Requirement |  |  |  |  |
| 1 | Energy sales within the state | 418.34 | 350.04 | 350.08 | 352.48 |
| 2 | T&D loss (MU) | 178.05 | 135.96 | 194.09 | 137.08 |
| 3 | T&D loss (%) | 28% | 28% | 33.75% | 28% |
| 4 | Energy Requirement | 636.59 | 486 | 525.14 | 489.56 |
| 5 | Sales to traders |  | 92.24 | - | 28.57 |
| 6 | Total requirement | 636.59 | 578.24 | 575.14 | 518.13 |

## Own generation

The DPN is having its own hydel generation with capacity 27.5 MW at Likhimro Hydro power project and other MHEPs. The DPN projected generation of 92.56 MU during the year 2012-13 which was approved by the commission. Now in the petition for FY 2014-15 DPN furnished actual generation during 2012-13 as 95.76 MU.

The Commission therefore approves own generation at 95.76 MU during FY 2012-13 as per actuals.

## Power Purchase

The DPN in its tariff petition for FY 2014-15 has furnished that 479.35 MU was actually procured during the FY 2012-13 including free power of 23.52 MU.

Based on the requirement of power approved by the Commission vide para 5.4 supra, the quantity of power purchase is worked out as detailed in table below:

Table-5.5: Power Purchase approved by the Commission for FY 2012-13

| SI. No | Particulars | MU |
| --- | --- | --- |
| 1 | Energy Requirement | 518.13 |
| 2 | Less: Own generation | 95.76 |
| 3 | Balance requirement | 422.37 |
| 4 | Less: UI purchases | 42.65 |
| 5 | Balance | 379.72 |
| 6 | Add: 3.48% pool losses | 13.69 |
| 7 | Power Purchase | 393.41 |
| 8 | Less: Free power | 23.52 |
| 9 | Net Power purchase | 369.89 |
| 10 | Total Power Purchase (4+9) | 412.54 |

The Commission therefore approves power purchase of 436.06 MU including free power of 23.52 MU from Doyang HEP for the FY 2012-13 and UI purchases of 42.65 MU.

## Energy Balance

The details of energy requirement and availability projected by DPN and approved by the Commission for FY 2012-13 and actuals now furnished by DPN and now approved by the Commission are furnished in table 5.6 below:

| Table-5.6: Energy Balance for FY 2012-13 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SI. No. | Station | Projected by DPN | Approved by Commission | Actuals furnished by DPN | Now approved by Commission |
| A | Energy Requirement |  |  |  |  |
| 1 | Energy Sales (MU) | 418.34 | 350.04 | 350.08 | 350.08 |
| 2 | Sales outside state |  |  |  | 2.40 |
| 3 | Sales to traders | 40.00 | - | 30.97 | - |
|  | T&D loss (%) | 28% | 28% | 33.75% | 28% |
| 4 | T&D loss (MU) | 178.25 | 135.96 | 194.09 | 137.08 |
| 5 | Energy Requirement (MU) | 636.59 | 486 | 575.14 | 489.56 |
| B | Energy Availability |  |  |  |  |
| 6 | Own generation | 92.54 | 92.56 | 95.76 | 95.76 |
| 7 | Power purchase | 477.03 | 477.03 | 413.21 | 369.89 |
| 8 | Free Power | 27.00 | 27.00 | 23.52 | 23.52 |
| 9 | External loss (%) | - | 3.64% | - | 3.48% |
| 10 | External loss on (7) (MU) | - | 18.35 | - | 13.69 |
| 11 | UI purchase (MU) | 40.00 | - | 42.65 | 42.65 |
| 12 | Total energy available at station periphery (6+7-9+10) | 636.59 | 578.24 | 575.14 | 518.13 |
| 13 | Sales to traders |  | 92.24 |  | 28.57 |
| 14 | Balance energy available from sale within the state (11-12) | 636.59 | 486.00 | 575.14 | 489.56 |

## Power Purchase Cost

    - The Commission in its tariff order for FY 2012-13 had approved power purchase cost of Rs. 158.97 crore for purchase of 477.03 MU from CGS.

    - The DPN in its tariff petition for FY 2014-15 has furnished actual power purchase cost during FY 2012-13 as follows:

Table 5.7: Power Purchase Cost furnished by DPN for FY 2012-13

| Source | Quantity (MU) | Amount (Rs/crore) | Avg. cost (Rs./kWh) |
| --- | --- | --- | --- |
| CGS | 413.21 | 132.02 | 3.19 |
| UI | 42.65 | 20.81 | 4.88 |
| Total | 455.86 | 152.80 | 3.35 |
| Arrear Bills Paid |  | 31.26 |  |
| Free power | 23.52 | - |  |
| Total power drawn | 479.38 | 184.09 |  |

Source: Extract Format 7 of ARR

    - In view of retaining T&D loss at 28% for the FY 2012-13 the power purchase cost arrived at by the Commission are as follows:

Table 5.8: Power Purchase Cost approved by Commission for FY 2012-13

| Source | Quantity (MU) | Avg. cost (Rs./kWh) | Total cost (Rs/crore) |
| --- | --- | --- | --- |
| CGS | 369.89 | 3.95 | 146.11 |
| UI | 42.65 | 4.88 | 20.81 |
| Free power | 23.52 | - | - |
| Total power drawn | 436.06 |  | 166.92 |

The Commission accordingly approves power purchase cost at Rs. 166.92 crore for purchase of 436.06 MU including free power of 23.52 MU for the FY 2012-13.

## Employee cost

The Commission in its Tariff Order for FY 2012-13 had approved employee cost at Rs. 61.78 crore as projected by DPN. DPN in its ARR & Tariff petition for                   FY 2014-15 has now furnished actual employee cost for FY 2012-13 at                        Rs. 69.45 crore.

The Commission accordingly approves employee cost at Rs. 69.45 crore for the FY 2012-13 as per actuals.

## Administrative & General expenses

The Commission in its tariff order for FY 2012-13 had approved administrative and general expenses at Rs. 2.18 crore as against DPN projection of Rs. 2.78 crore. DPN in its ARR & Tariff petition for FY 2014-15 has now furnished actual expenditure of Rs. 2.49 crore towards Administrative & General expenses for FY 2012-13.

The Commission accordingly approves Rs. 2.49 crore towards administrative and general expenses for the FY 2012-13 as per actuals.

## Repairs and Maintenance expenses

The Commission in its tariff order for FY 2012-13 had approved Rs. 17.85 crore towards repairs and maintenance expenses as projected by DPN.

DPN in its ARR & Tariff petition for FY 2014-15 has now furnished actual expenditure at Rs. 14.79 crore towards repairs and maintenance expenses for the FY 2012-13.

The Commission approves Rs. 14.79 crore towards repairs and maintenance expenses for the FY 2012-13 as per actuals.

## Capital Investment

In the tariff order dated 29.03.2013 for FY 2012-13. Capital Investment of Rs. 136 crore and capitalization of Rs. 29 crore were approved as projected by the DPN. Now the DPN in its ARR and Tariff Petition for FY 2014-15 has furnished actual expenditure to a time of Rs. 163.92 crore and capitalization of Rs. 40 crore as detailed in table 5.9 and 5.10 below.

Table 5.9: Scheme Wise Capital Investment plan for FY 2012-13.

(Rs. crore)

| SI. No. | Particulars | Projected by DPN |  |  | Actual Expenditures |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Proposed Capital Outlay | Proposed Expenses |  | Now furnished by DPN |  |  |
|  |  |  | Plan | Non-Plan | Capital Outlay | Plan | Non-Plan |
| 1 | Generation Schemes | 8.30 | 8.30 |  | 1.50 | 1.50 |  |
| 2 | Transmission and Distribution Scheme | 34.50 | 34.50 | 35.00 | 60.55 | 60.55 | 55.92 |
| 3 | Renovation and Modernisation | 11.40 | 11.40 | 39.90 | 24.70 | 24.70 | 8.00 |
| 4 | Rural Electrification | 3.40 | 3.40 |  | 8.00 | 8.00 |  |
| 5 | Miscellaneous Expenditure | 3.50 | 3.50 |  | 5.25 | 5.25 |  |
| 6 | Total | 61.10 | 61.10 | 74.90 | 100.00 | 100.00 | 63.92 |

Table 5.10: Capital Expenditure and Capitalization during FY 2012-13

| SI. No. | Particulars | ##### Projected by DPN | Actuals Now furnished |
| --- | --- | --- | --- |
| 1 | Opening Balance | 631.27 | 631.27 |
| 2 | Add: New Investment | 136.00 | 163.92 |
| 3 | Total | 767.27 | 795.19 |
| 4 | Less: Investment Capitalized | 30.00 | 40.00 |
| 5 | Closing Balance | 737.27 | 755.19 |

Commission’s Analysis

As verified from the above as against CWIP of Rs. 795.19 crore to end of 31.03.2013 only Rs. 40 crore are capitalized which is about 5% of the total investment. It is reiterated that the progress on completion of works should be geared up to bring the assets into optimum use to achieve the expected objectives.

In the Tariff Order dated 29.03.2013 for FY 2012-13, the DPN was directed to submit scheme wise, work wise progress with dates of commencement of work and targeted dates of completion of works by 30.06.2012. But no such report was received. The DPN is directed to submit the report with above details by 30.06.2014.

With the above observation the capital expenditure of Rs. 163.92 crore and capitalization of Rs. 40 crore during the year 2012-13 is approved.

## Depreciation

The DPN has not maintained asset/depreciation registers. Audited proforma accounts are also not furnished. As such the value of opening GFA is not considered to allow depreciation. However the DPN has furnished that capital investment during the FY 2012-13 to a tune of Rs. 40 crore is capitalized on which depreciation is allowed on average rate of depreciation of 5.28% as detailed in table-5.11 below:

Table-5.11: Depreciation for FY 2012-13 approved by the Commission

| SI. No. | Particulars | Amount (Rs. crore) |
| --- | --- | --- |
| 1 | GFA as on 01.04.2012 | - |
| 2 | Additions during 2012-13 | 40 |
| 3 | GFA at the end of 2012-13 | 40 |
| 4 | Average GFA | 20 |
| 5 | Depreciation rate | 5.28% |
| 6 | Depreciation for the year | 1.06 |

The Commission approves depreciation amount of Rs. 1.06 crore for the FY 2012-13.

## Interest and Finance Charges

DPN has claimed normative interest and finance charges at 44.32 crore during FY 2012-13. The DPN has stated that the entire capital employed has been funded through infusion of funds by Government of Nagaland through budgetary support without any external borrowings.

In view of the above the Commission has not considered any interest and finance charges for FY 2012-13.

## Interest on Working capital

As per Regulation 98(b) of NERC (Terms and Conditions for determination of Tariff) Regulations, 2010, the working capital for an integrated utility shall be the sum of one-month requirement of

- Fuel Cost

- Power purchase cost

- Employee cost

- Administrative & General Expenses

- R&M expenses

The rate of interest on working capital shall be equal to the short term prime lending rate of SBI on 1st April of the relevant year. The interest on working capital shall be payable on normative basis not withstanding that the distribution licensee has not taken working capital loan from any outside agency or has exceeded the working capital amount worked out on the normative figures. SBI PLR as on 01.04.2012 is 14.75%. Accordingly interest on working capital works out to Rs. 3.12 crore as detailed in table 5.12 below:

| Table-5.12: Interest on working capital for FY 2012-13 approved by the Commission |  |  |  |
| --- | --- | --- | --- |
| (Rs. crore) |  |  |  |
| SI. No. | Particulars | Amount | One Month value |
| 1 | Fuel Cost |  |  |
| 2 | Power Purchase cost | 166.92 | 13.91 |
| 3 | Employee cost | 69.45 | 5.79 |
| 4 | Administrative & General Expenses | 2.49 | 0.21 |
| 5 | Repairs & Maintenance expenses | 14.79 | 1.23 |
| 6 | Total |  | 21.14 |
| 7 | SBI PLR as on 01.04.2012 |  | 14.75% |
| 8 | Interest on Working Capital |  | 3.12 |

The Commission accordingly approves interest on working capital at Rs. 3.12 crore for the FY 2012-13.

## Provision for bad & doubtful debts

The Commission in its tariff order for FY 2011-12 had allowed a provision of Rs. 1.05 crore towards bad and doubtful debts. The DPN has not furnished the details of amounts written off or withdrawn during FY 2012-13. As such no amount is allowed under this head.

## Non-Tariff Income

The Commission in its Tariff Order for FY 2012-13 had approved non-tariff income at Rs. 5.63 crore for the FY 2012-13. The DPN in its ARR and tariff petition for FY 2014-15 has now furnished actual non-Tariff income during FY 2012-13 at Rs. 5.78 crore.

The Commission approves non-tariff income at Rs. 5.78 crore for the FY 2012-13 as per actuals.

## Revenue from revised tariff

The DPN has furnished revenue with revised tariffs at Rs. 154.40 crore for the FY 2012-13 including sales outside the State to traders as detailed in table 5.7 below:

| Table-5.13: Energy Sales for FY 2012-13 |  |  |  |  |
| --- | --- | --- | --- | --- |
| SI. No. | Category | Sales (MU) | Average Rate | Amount (Rs. crore) |
| 1 | Domestic | 232.53 | 3.64 | 84.68 |
| 2 | Commercial | 39.87 | 4.69 | 18.69 |
| 3 | Public Lighting | 5.27 | To be recovered from consumers | 1.59 |
| 4 | Industrial | 17.82 | 3.59 | 6.40 |
| 5 | Public Water Works | 3.07 | 3.97 | 1.22 |
| 6 | Irrigation & Agriculture | 0.04 | 2.50 | 0.01 |
| 7 | Bulk Supply | 51.48 | 4.61 | 23.75 |
| 8 | Inter State | 2.40 | 4.61 | 1.15 |
| 9 | Total | 352.48 |  | 137.48 |
| 10 | Sale to Traders | 28.57 | 5.92 | 16.92 |
| 11 | Grand Total | 381.05 |  | 154.40 |

Commission’s analysis

As seen from the above, the actual revenue from public lighting is furnished as Rs. 1.59 crore. As per tariffs, revenue from Public Lighting has to be recovered from consumers at Rs. 10/- each from domestic consumers and Rs. 15/- each from commercial consumers and Rs. 20/- each from Industrial consumers and Rs. 25/- each from Bulk supply consumers which works out to Rs. 2.45 crore as detailed below:

|  | Domestic | 180000 x 10 x 12 |  | 2.16 |
| --- | --- | --- | --- | --- |
|  | Commercial | 18800 x 15 x 12 |  | 0.33 |
|  | Industries | 2400 x 20 x 12 |  | 0.06 |
|  | Bulk Supply | 700 x 25 x 12 |  | 0.02 |
|  | Total |  |  | 2.57 |

The reasons for assessing such low revenue of Rs. 1.59 crore for Street Lighting as against Rs. 2.57 crore is not furnished by the licensee.

With the above observation the revenue from Public Lighting is considered at Rs. 1.59 crores as furnished by DPN.

Thus, the Commission approves Rs. 154.40 crore towards revenue from revised tariff for the year 2012-13 as per actuals.

## Aggregate Revenue Requirement for FY 2012-13

In view of the above review, the aggregate revised revenue requirement for FY 2012-13 is as detailed in table-5.14 below:

| Table-5.14: Aggregate Revenue Requirement for FY 2012-13 approved by the Commission |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SI. No. | Particulars | Projected by DPN | Approved by the Commission | Actuals furnished by DPN | Now approved by the Commission |
| 1 | Fuel Cost | 0.08 | 0.08 | - | - |
| 2 | Power Purchase Cost | 181.97 | 158.97 | 184.09 | 166.92 |
| 3 | Employee Cost | 61.78 | 61.78 | 69.45 | 69.45 |
| 4 | Repairs & Maintenance cost | 17.85 | 17.85 | 14.79 | 14.79 |
| 5 | Adm. & General Expenses | 2.78 | 2.18 | 2.49 | 2.49 |
| 6 | Depreciation | 15.48 | 0.79 | 15.48 | 1.06 |
| 7 | Int. & Finance charges | 31.67 | - | 44.32 | - |
| 8 | Int. on Working Capital |  | 2.61 | - | 3.12 |
| 9 | Provision for bad debts | 1.51 | 1.05 | - | - |
| 10 | Return on Equity | 48.61 | - | 50.26 | - |
| 11 | Total Expenditure | 361.73 | 245.31 | 380.88 | 257.83 |
| 12 | Less: Non-Tariff Income | 5.63 | 5.63 | 5.78 | 5.78 |
| 13 | Aggregate Revenue Requirement | 356.10 | 239.68 | 375.10 | 252.05 |
| 14 | Revenue from Revised Tariff | 163.44 | 156.44 | 154.40 | 154.40 |
| 15 | Net Revenue Gap | 192.66 | 83.24 | 220.70 | 97.65 |

As the utility is a Government Department and the expenditure is already met the gap of Rs. 97.65 crore is considered fully covered under the budgetary support of the State Government and as such no pass through of the gap (loss) in the next tariff order is allowed.

# 6. Aggregate Revenue Requirement for FY 2014-15 - Commission’s Analysis & Decisions

## Introduction

The ARR and Tariff petition filed by the DPN for FY 2014-15 on 28/11/2013 was incomplete as some of the information / data required under NERC (Terms and Conditions for Determination of Tariff) Regulations, 2010 was not furnished. The Commission directed the DPN through letter dated 11th & 16th Dec., 2013 to furnish additional information / data. The Department has submitted the additional information vide their letter dated 19th Dec., 2013.

The additional information / data submitted by the DPN is taken into consideration while analyzing the ARR & Tariff Petition in the order.

## Consumer Categories

DPN serves about 202533 consumers as on 31st March 2013 in its area of operation and the consumers are broadly categorized as under:

- Domestic including BPL

- Commercial

- Industrial

- Public Lighting

- Public Water Works & Sewage Pumping

- Irrigation and Agriculture

- Bulk Supply

- Outside the state

The DPN serves the consumers at different voltages at which the consumers avail supply.

### Projected Consumer Growth and connected load

The DPN has furnished the details of category-wise consumers (actuals), over the last five years FY (2008-09 to 2012-13), estimated for FY 2013-14 and projected for FY 2014-15.

Table 6.1:  Category-wise Consumers

(Nos.)

| Sl. No. | Category | FY 2008-09 (Actual) | FY 2009-10 (Actual) | FY 2010-11 (Actual) | FY 2011-12 (Actual) | FY 2012-13 (Actual) | FY 2013-14 (Estimated) | FY 2014-15 (Projected) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Domestic | 163975 | 164515 | 170679 | 172846 | 180000 | 184000 | 186000 |
| 2. | Commercial | 16928 | 17273 | 17050 | 17612 | 18800 | 19000 | 19500 |
| 3. | Industrial | 2021 | 2095 | 2040 | 2050 | 2400 | 2500 | 2600 |
| 4. | Public Lighting | 759 | 581 | 780 | 592 | 600 | 600 | 600 |
| 5. | Agriculture | 4 | 2 | 2 | 2 | 2 | 2 | 2 |
| 6. | Public Water works | 21 | 27 | 28 | 38 | 30 | 45 | 50 |
| 7. | Bulk supply | 173 | 556 | 585 | 600 | 700 | 700 | 730 |
| 8. | Inter State |  |  | 1 | 1 | 1 | 1 | 1 |
|  | Total | 183881 | 185049 | 191165 | 193741 | 202533 | 206848 | 209483 |

Source: - Table 3.1 of ARR

Category wise-consumers and connected load at actuals for FY 2012-13, estimated for FY 2013-14 and projected for FY 2014-15 by DPN are indicated in table below:

Table 6.2: Consumers and connected load

| SI. No | Consumer Category | 2012-13 (Actual) |  | 2013-14 (Estimated) |  | 2014-15 (Projected) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | No of Consumers | Connected Load KW | No of Consumers | Connected Load KW | No of Consumers | Connected Load KW |
| 1 | Domestic including BPL | 180000 | 85000 | 184000 | 87000 | 186000 | 90000 |
| 2 | Commercial | 18800 | 12500 | 19000 | 12600 | 19500 | 15000 |
| 3 | Industrial Consumers | 2400 | 8200 | 2500 | 8225 | 2600 | 9000 |
| 4 | Public Lighting | 600 | 8000 | 600 | 8000 | 600 | 8000 |
| 5 | Public Water works & Sewage | 30 | 710 | 45 | 750 | 50 | 900 |
| 6 | Irrigation & Agriculture | 2 | 20 | 2 | 20 | 2 | 20 |
| 7 | Bulk supply | 700 | 22000 | 700 | 22000 | 730 | 22300 |
| 8 | Outside state | 1 | 500 | 1 | 500 | 1 | 500 |
|  | Total | 202533 | 136930 | 206848 | 139095 | 209483 | 145720 |

Source: - Extract of Format 1 of ARR

## Energy Sales

The DPN has furnished energy sales from FY 2008-09 to FY 2012-13 (actuals) and estimated for FY 2013-14 and projected for FY 2014-15 as indicated in table below:

Table 6.3: Energy Sales

| SI. No. | Category | 2008-09 (Actuals) | 2009-10 (Actuals) | 2010-11 (Actuals) | 2011-12 (Actuals) | 2012-13 (Actuals) | 2013-14 (Estimated) | 2014-15 (Projected) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Domestic | 145.00 | 175.84 | 188.22 | 212.36 | 232.53 | 264.60 | 265.36 |
| 2 | Commercial | 8.95 | 22.71 | 32.26 | 34.72 | 39.87 | 48 | 51.36 |
| 3 | Industrial | 13.90 | 11.86 | 11.02 | 14.48 | 17.82 | 24 | 25.60 |
| 4 | Public Lighting | 4.86 | 1.83 | 4.80 | 4.96 | 5.27 | 6.00 | 6.42 |
| 5 | Irrigation & Agriculture | 0.04 | 0.04 | 0.04 | 0.03 | 0.04 | 0.05 | 0.05 |
| 6 | Public Water Works & Sewage | 2.02 | 1.27 | 1.70 | 2.44 | 3.07 | 3.45 | 3.70 |
| 7 | Bulk supply | 18.20 | 36.33 | 46.89 | 48.46 | 51.48 | 65 | 69.55 |
| 8 | Outside State |  |  | 0.60 | 0.70 | 2.40 | 2.40 | 2.40 |
|  | Total | 192.97 | 249.88 | 285.53 | 318.15 | 352.48 | 396.90 | 424.52 |
| 9 | Sales to Traders | 170.00 | 75.67 | 91.83 | 62.99 | 28.57 | 30 | 39.60 |
|  | Grand Total | 362.97 | 325.55 | 377.36 | 381.14 | 381.05 | 426.90 | 464.12 |

Source: - Table 3.1 of ARR & Format 1

The DPN has submitted that it has projected the category wise energy sales for FY 2014-15 based on the past sales over the five years period (FY 2008-09 to FY 2012-13), new developments on account of Government policies, socio economic changes, Industrial growth etc. that would affect consumption across various categories of consumers, have been taken as guiding factors in estimating the sales. DPN has further stated that the CAGR as the basis for sales projections is a tried and tested method and is used extensively across the States and accepted by the regulators. However, considering the CAGR the sales for the last five years presented an abnormal trend and hence normalization has been undertaken for such categories for forecasting the sales for FY 2014-15.

### Analysis of energy sales projected and Commission’s view

Reasonable projection of category wise sales is essential to determine the energy required to be purchased and the likely revenue by sale of electricity.

DPN has projected the category wise energy sales for FY 2014-15 based on past trends over a period of five years (FY 2008-09 to FY 2012-13). These sales with CAGR for 4 years, 3 years, 2 years and year on year are shown in table below:

Table 6.4: Projected Energy Sales for FY 2014-15

| SI. No. | Category | FY 2008-09 (Actuals) | FY 2009-10 (Actuals) | FY 2010-11 (Actuals) | FY 2011-12 (Actuals) | FY 2012-13 (Actuals) | CAGR for 4 years 2008-09 to 2012-13 % | CAGR for 3 years 2009-10 to 2012-13 % | CAGR for 2 Years FY 2010-11 to 2012-13 % | CAGR for 2011-12 to 2012-13 % |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Domestic Including BPL | 145.00 | 175.84 | 188.22 | 212.36 | 232.53 | 12.53 | 9.76 | 11.15 | 9.50 |
| 2 | Commercial | 8.95 | 22.71 | 32.26 | 34.72 | 39.87 | 45.28 | 20.64 | 11.17 | 14.83 |
| 3 | Industrial Consumers | 13.90 | 11.86 | 11.02 | 14.48 | 17.82 | 6.41 | 14.54 | 27.16 | 23.07 |
| 4 | Public Lighting | 4.86 | 1.83 | 4.80 | 4.96 | 5.27 | 2.05 | 42.27 | 4.78 | 6.25 |
| 5 | Public Water Works & Sewage | 2.02 | 1.27 | 1.70 | 2.44 | 3.07 | 11.03 | 34.21 | 34.38 | 25.82 |
| 6 | Irrigation and Agriculture | 0.04 | 0.04 | 0.04 | 0.03 | 0.04 | 0.00 | 0.00 | 0.00 | 33.33 |
| 7 | Bulk Supply | 18.20 | 36.33 | 46.89 | 48.46 | 51.48 | 29.69 | 12.32 | 4.78 | 6.23 |
|  | Total | 192.97 | 249.88 | 284.93 | 317.45 | 350.08 |  |  |  |  |

Specific consumption based on number of consumers and total consumption is worked out and shown in table below:

Table 6.5: Specific consumption per consumer

| Consumer Category | 2008-09 (kWh/ month) | 2009-10 (kWh/ month) | 2010-11 (kWh/ month) | 2011-12 (kWh/ month) | 2012-13 (kWh/ month) |
| --- | --- | --- | --- | --- | --- |
| Domestic | 74 | 89 | 92 | 102 | 108 |
| Commercial | 44 | 110 | 158 | 164 | 178 |
| Industrial | 573 | 472 | 450 | 589 | 619 |
| Public Lighting | 534 | 262 | 513 | 698 | 732 |
| Irrigation and Agriculture | 833 | 1667 | 1667 | 1250 | 1667 |
| Public Water Works and Sewage | 8016 | 3920 | 5060 | 5351 | 8528 |
| Bulk supply | 8767 | 5445 | 6079 | 6731 | 6129 |

The consumption of each category of consumers is discussed below to arrive at reasonable estimation of energy sales for FY 2014-15.

- Domestic

The DPN has projected the energy sales of 265.36 MU to this category for FY 2014-15. Actuals during FY 2012-13 are 232.53 MU. 4 years CAGR (FY 09 to FY 13) is 12.53% and 3 years CAGR (FY 10 to FY 13) is 9.76% and 2 years CAGR (FY 11 to FY 13) is 11.15%, while YoY growth of FY 2012-13 over FY 2011-12 is about 9.5%. It is observed that the growth of domestic sale is steadily increasing for the last three years. As such 3 years CAGR of 9.76% and YoY growth of 9.5% P.A are found reasonable. Considering growth of 9.5% over actual sales during FY 2012-13 the sales would be 279 MU.

The Commission approves the energy sales at 279 MU for FY 2014-15 as against 265.36 proposed by DPN

- Commercial

DPN has projected the energy sales of 51.36 MU for FY 2014-15. Actuals during FY 2012-13 are 39.87 MU. 4 year CAGR is 45.28%, 3 years CAGR (FY 10 to FY 13) is 20.64% and 2 years (FY 11 to FY 13) CAGR is 11.17%, while YoY growth (FY 12 to FY 13) is 14.83%. There is sudden increase in FY 2009-10 and FY 2010-11 over earlier years and the sales are steadily increasing since FY 2011-12.  As such YOY growth of 14.83% P.A over actual sales during FY 2012-13 is considered reasonable and the sale for FY 2014-15 works out to 53 MU.

The Commission approves the energy sales of 53 MU for commercial category for FY 2014-15 as against 51.36 MU proposed by DPN.

- Industrial

DPN projected the energy sales of 25.68 MU to this category for the FY 2014-15. Actuals during FY 2012-13 are 17.82 MU. 4 years CAGR (FY 09 to FY 13) is 6.41%, 3 years CAGR (FY 10 to FY 13) is 14.54% and 2 years (FY 11 to FY 13) CAGR is 27.16%, while YoY growth rate (FY 12 to FY 13) shows 23.07%. 3 year CAGR of 14.54 is considered reasonable with the growth at 14.54 over the actual sales during FY 2012-13, the consumption for                     FY 2014-15 works out to 23.38 MU.

The Commission approves the energy sales of 23.38 MU for industrial power supply for FY 2014-15 as against 25.68 MU proposed by DPN.

- Public Lighting

The DPN has projected the energy sales for this category at 6.42 MU for FY 2014-15. Actuals during FY 2012-13 are 5.27 MU. The consumption during FY 2009-10 is erratic. The 4 years CAGR (FY 09 to FY 13) is 2.05%, 3 years CAGR (FY 10 to FY 13) is 42.27% and 2 years CAGR (FY 11 to FY 13) is 4.78%, while YoY growth (FY 12 to FY 13) is 6.25%. The growth of YoY at 6.25% P.A over actual sales during FY 2012-13 is considered reasonable and with this growth the consumption for FY 2014-15 would be 6 MU.

The Commission accordingly approves energy sales for public lighting at 6 MU for FY 2014-15 as against 6.42 MU projected by the DPN.

- Irrigation and Agriculture

The DPN has projected energy sales of 0.05 MU for FY 2014-15. The sales to this category during FY 2011-12 are at negative growth over the last three years. The Commission accepts the projection of DPN for agriculture at 0.05 MU for FY 2014-15.

The Commission accordingly approves energy sales for agricultural category at 0.05 MU for FY 2014-15 as projected by DPN.

- Public Water Supply and Sewage System

The DPN has projected the energy sales for this category at 3.70 MU for the FY 2014-15. The actual sales during FY 2012-13 are 3.07 MU. Sales during            FY 2009-10 and FY 2010-11 are shown a negative growth over FY 2008-09. The 4-year CAGR (FY 09 to FY 13) is 11.03%, 3 years CAGR (FY 10 to FY 13) is 34.21%, 2 years CAGR (FY 11 to FY 13) is 34.38%, while YoY growth (FY 12 to FY 13) is 25.82%. The sales during FY 2009-10 and FY 2010-11 are erratic 4 year CAGR of 11.03% is considered reasonable. With the growth of 11.03% the consumption for FY 2014-15 would be 3.78 MU. This is in line with the recommended of DPN.

The Commission approves energy sales for Public water supply and sewage system at 3.70 MU for FY 2014-15 as projected by DPN.

- Bulk Supply

DPN has projected the energy sales to this category at 69.55 MU for FY 2014-15. The actual sales during the FY 2012-13 are 51.48 MU. There is a sudden jump in sales during FY 2009-10 over previous year and since then the sales are steadily increasing.  The 4 years CAGR (FY 09 to FY 13) is 29.69%, 3 year CAGR (FY 10 to FY 13) is 12.32%, 2 year CAGR (FY 11 to FY 13) is 4.78%, while YoY growth (FY 12 to FY 13) is 6.23%. During the year 2009-10 there is sudden increase in consumption, which is not explained by DPN. 3 years CAGR of 12.32% P.A over the actual sales during FY 2012-13 is considered reasonable and with this growth rate consumption for FY 2014-15 would be 65 MU.

The Commission accordingly approves energy sales for bulk supply at 65 MU for FY 2014-15 as against 69.55 MU projected by DPN.

- Inter State

DPN has projected the energy sales to this category at 2.40 MU for FY 2014-15 at the same quantum of sales during FY 2012-13.

The Commission accordingly approves 2.40 MU for this category for FY 2014-15 as projected by DPN.

### Category-wise Energy Sales

The category-wise energy sales for FY 2014-15 projected by DPN and approved by the Commission are given in table below:

Table 6.6: Category wise energy sales for FY 2014-15

(MU)

| SI. No. | ##### Consumer Category | Energy sales projected by DPN | Energy sales approved by the Commission |
| --- | --- | --- | --- |
|  | Domestic | 265.36 | 279.00 |
|  | Commercial | 51.36 | 53.00 |
|  | Industrial | 25.68 | 23.38 |
|  | Public Lighting | 6.42 | 6.00 |
|  | Agriculture | 0.05 | 0.05 |
|  | PWS | 3.70 | 3.70 |
|  | Bulk supply | 69.55 | 65.00 |
|  | Inter state | 2.40 | 2.40 |
|  | Total | 424.52 | 432.53 |

## Transmission and Distribution (T&D) losses

It is submitted by DPN that it has achieved significant reduction in transmission and distribution losses during the recent years as a result of execution of system improvement works under the plan schemes. It is submitted by DPN that their efforts will be continued to reduce the losses further.

The T&D loss (Actuals) of DPN during FY 2012-13 are given as 33.75%.

The DPN has projected the T&D loss for FY 2013-14 and FY 2014-15 as under:

| FY 2013-14(Estimated) | 28% |
| --- | --- |
| FY 2014-15 (Projected) | 27% |

DPN has thus shown a reduction of 1% in T&D Loss during FY 2014-15 over FY 2013-14.

Commission’s Analysis

The T&D loss furnished by DPN are inclusive of interstate transmission loss. The details of regional network losses have been obtained from NERLDC for the period from 02.04.2012 to 31.03.2013. The average loss is about 3.48%.

The same regional pool loss of 3.48% is considered by the Commission during FY 2014-15 also.

In the tariff order for the FY 2013-14, T & D loss of 27% was approved by the Commission, and in loss reduction trajectory T&D Loss target of 26.5% is fixed for FY 2014-15.

The Commission accordingly approves the T & D loss at 26.5% for the  FY 2014-15 as indicated in the Tariff Order.

The technical and commercial losses are not segregated. DPN should analyze the reasons for high T & D loss and effective measures be taken to reduce the losses by proper accounting of energy sales, conducting voltage wise energy audit by providing meters on feeders and arresting pilferage of energy and replacement of all defective meters and installation of meters to all unmetered connections.

With the above directions the Commission sets the trajectory loss reduction for the year FY 2015-16 to FY 2017-18 as follows

| 2015-16 | 26.00% |
| --- | --- |
| 2016-17 | 25.50% |
| 2017-18 | 25.00% |

DPN shall make all efforts for reduction of losses in the system as above.

## Energy Requirement & Availability

The DPN has projected energy requirement as per sales and T&D losses as detailed in table below:

Table 6.7: Energy Requirement – FY 2014-15

| Energy Balance | FY 2012-13 (Actual) MU's | FY 2013-14 (Estimated) MU's | FY 2014-15 (Projected) MU’s |
| --- | --- | --- | --- |
| ENERGY REQUIREMENT |  |  |  |
| Energy Sales within State | 350.08 | 394.50 | 422.12 |
| Sales to other distribution licensees | 30.97 | 32.40 | 42.00 |
| Total Energy Sales | 381.05 | 426.90 | 464.12 |
| Overall T & D Losses % | 33.75 | 28.00 | 27.00 |
| Overall T & D Losses (MUs) | 194.09 | 166.02 | 171.57 |
| Total Energy Requirement | 575.14 | 592.92 | 635.69 |
| Energy Availability |  |  |  |
| Power Purchase from CGS/UI | 455.86 | 458.92 | 493.69 |
| Free Power from DHEP | 23.52 | 27.00 | 27.00 |
| Generation | 95.76 | 107.00 | 115.00 |
| Total Energy Availability | 575.14 | 592.92 | 635.69 |
| Energy Surplus/ (Gap) | 0.00 | 0.00 | 0.00 |

Source: - Extract from Table 3.3 of ARR

Commission’s Analysis:

The DPN has shown the sales to other distribution licensees (through traders) under energy requirement and calculated T&D losses on this sale, which is not correct as the sales to traders will be effected at the State periphery which have no bearing on T&D losses within the state. Further, sales to traders will arise only if there is surplus power after meeting the requirement within the State. The DPN has also not considered regional pool losses, which are about 3.48% as discussed in para 6.4.

As such the Commission after considering T&D losses at 26.5% has computed energy requirement based on energy sales approved for FY 2014-15 as given in table below:

Table-6.8: Energy Requirement approved by Commission for FY 2014-15

| SI. No. | Particulars | Approved by the Commission |
| --- | --- | --- |
| 1 | Energy sales (MU) | 432.53 |
| 2 | Distribution losses (%) | 26.5% |
| 3 | Distribution losses (MU) | 155.95 |
| 4 | Energy requirement at State periphery (MU) | 588.48 |

The Commission approves the energy requirement at 588.48 MU.

## Source of Power

### Own Generation

DPN has its own generating station (Likhimro Hydro Electric Project) with installed capacity of 24 MW (3x8MW) together with other MHEPs, the State’s total installed Hydel Power Capacity is 27.5 MW and the net generation during FY 2014-15 is projected at 115 MU.

The Commission approves the own generation at 115 MU for the FY 2014-15 as projected by DPN.

### Power Purchase from Central Generating Stations

The balance energy requirement of DPN is mainly met from allocation of power from Central Generation Stations of NEEPCO, NHPC and NTPC as per allocation from time to time as detailed in table below. However, for meeting requirement at peak demand period it has to purchase power from other sources / open market / power exchange etc.

Table 6.9: Power allocation

| SI. No. | Source | Capacity (MW) | Allocation |  |
| --- | --- | --- | --- | --- |
|  |  |  | (%) | (MW) |
|  | Central Sector |  |  |  |
| 1 | Loktak, NHPC | 105 | 6.44 | 6.76 |
| 2 | Khandong, NEEPCO | 50 | 6.65 | 3.33 |
| 3 | Kopili – I, NEEPCO | 200 | 6.15 | 12.30 |
| 4 | Kopili – II, NEEPCO | 25 | 5.74 | 1.44 |
| 5 | Ranganadi , NEEPCO | 405 | 5.34 | 21.63 |
| 6 | Doyang, NEEPCO | 75 | 17.97 | 13.48 |
| 7 | AGTPP (Tripura) | 84 | 5.38 | 4.52 |
| 8 | AGBPP | 291 | 5.81 | 16.91 |
| 9 | Farakka, NTPC | 1600 | 0.43 | 6.88 |
| 10 | Kahelgaon , NTPC | 840 | 0.42 | 3.53 |
| 11 | Talcher, NTPC | 1000 | 0.42 | 4.20 |
|  | TOTAL | 4675 |  | 94.98 |

Source: - Table 3.6 of ARR

Power procurement during FY 2012-13 (Actuals) and estimated for FY 2013-14 and projected for FY 2014-15 furnished by DPN are given in table below:

Table 6.10: Source wise Power Procurement projected by DPN for FY 2014-15

(MU)

| SI. No. | ##### Source | Previous Year (Actual) FY 2012-13 | Current Year (Estimated) FY 2013-14 | Ensuring year (projected) FY 2014-15 |
| --- | --- | --- | --- | --- |
|  | Central Sector |  |  |  |
| 1 | Loktak, NHPC | 35.88 | 32.00 | 32.00 |
| 2 | Khandong, NEEPCO | 56.32 | 54.03 | 54.03 |
| 3 | Kopili – I, NEEPCO |  |  |  |
| 4 | Kopili – II, NEEPCO |  |  |  |
| 5 | Ranganadi , NEEPCO | 65.46 | 70.00 | 78.00 |
| 6 | Doyang, NEEPCO | 58.85 | 44.89 | 44.66 |
| 7 | AGTPP (Tripura) | 27.54 | 30.00 | 37.00 |
| 8 | AGBPP | 90.31 | 95.00 | 95.00 |
| 9 | NTPC | 102.37 | 120.00 | 140.00 |
| 10 | UI / overdrawn (net) | 42.65 | 40.00 | 40.00 |
|  | TOTAL | 479.38 | 485.92 | 520.69 |

Source:- Table 3.4 of ARR

Commission’s Analysis

DPN has stated that the quantum of power proposed to be purchased is based on declared allocation of power to DPN from CGS. As per Annual Load Generation Balance Report for FY 2013-14 fo CEA, the actual peak load demand met by DPN during FY 2012-13 was 109 MW and it is estimated at 114 MW during FY 2013-14. The quantum of power proposed to be purchased from Khandong, Koppili-I and Koppili – II HEP are projected at 54.03 MU for FY 2014-15. Similarly, Power procurement from NTPC stations is projected at 140 MU. The station wise details are not furnished by the DPN. But as per ABT based Regional Energy Accounting (REA) of NERPC for November, 2013, actual power allocation to DPN from the above stations and other stations form 01/04/2013 to 30/11/2013 and estimated for FY 2013-14 are as follows.

(MU)

| SI. No. | Station | Scheduled energy from 04.01.2013 to 30/11/2013 | Estimated for FY 2013-14 |
| --- | --- | --- | --- |
| 1 | Khandong | 10.79 | 18.49 |
| 2 | Kopili-I | 36.83 | 63.14 |
| 3 | Kopili-II | 4.16 | 7.13 |
|  | Total | 51.78 | 77 |
| 4 | Ranganadi | 44.47 | 76.23 |
| 5 | Doyang (including free power) | 38.05 | 65.23 |
| 6 | AGBPP | 65.79 | 112.78 |
| 7 | AGTPP | 22.97 | 39.38 |
| 8 | Loktak | 29.61 | 50.76 |
| 9 | Farakka | 30.35 | 52.03 |
| 10 | Kahlgaon | 15.59 | 26.73 |
| 11 | Talcher | 16.84 | 28.86 |

The same allocation is adopted for the year FY 2014-15 also.

The DPN shall draw the entire share from various central generating stations and sell the surplus power to traders to generate additional revenue after totally meeting the demand of the consumers within the State without any restrictions. With the above observations the power purchase has been approved by the Commission for FY 2014-15 as detailed in table below:

| Table-6.11: Power Purchase from CGS approved by Commission for FY 2014-15 |  |  |  |
| --- | --- | --- | --- |
| SI. No. | Station | Projected by DPN | Approved by Commission |
| I | NEEPCO |  |  |
| 1 | Khandong - HEP | 54.03 | 18 |
| 2 | Kopili-I - HEP |  | 63 |
| 3 | Kopili-II - HEP |  | 7 |
| 4 | Ranganad - HEP | 78 | 76 |
| 5 | AGTPP, Tripura | 37 | 39 |
| 6 | AGBPP | 95 | 113 |
| 7 | Doyang, Nagaland | 17.66 | 38 |
| II | NHPC |  |  |
| 8 | Loktak | 32 | 51 |
| III | NTPC |  |  |
| 9 | Farakka | 140 | 52 |
| 10 | Kahalgaon |  | 27 |
| 11 | Talcher |  | 29 |
| 12 | Free Power from Doyang | 27 | 27 |
| 13 | UI | 40 | - |
|  | Total | 520.69 | 540 |

Since DPN is having surplus energy during FY 2014-15, UI purchases are not considered. If any contingency arises the same will be considered at the time of true up.

The Commission approves power purchase at 540 MU including free power of 27 MU for the FY 2014-15 as against 520.69 MU projected by DPN.

## Energy Balance

The energy balance projected by DPN is furnished in table below:

Table 6.12: Energy Requirement projected by DPN for FY 2014-15

| Energy Balance | FY 2012-13 (Actual) MU's | FY 2013-14 (Estimated) MU's | FY 2014-15 (Projected) MU’s |
| --- | --- | --- | --- |
| ENERGY REQUIREMENT |  |  |  |
| Energy Sales within State | 350.08 | 394.50 | 422.12 |
| Sales to other distribution licensees | 30.97 | 32.40 | 42.00 |
| Total Energy Sales | 381.05 | 426.90 | 464.12 |
| Overall T & D Losses % | 33.75 | 28.00 | 27.00 |
| Overall T & D Losses (MUs) | 194.09 | 166.02 | 171.57 |
| Total Energy Requirement | 575.14 | 592.92 | 635.69 |
| Energy Availability |  |  |  |
| Power Purchase from CGS/UI | 455.86 | 458.92 | 493.69 |
| Free Power from DHEP | 23.52 | 27.00 | 27.00 |
| Generation | 95.76 | 107.00 | 115.00 |
| Total Energy Availability | 575.14 | 592.92 | 635.69 |
| Energy Surplus/ (Gap) | 0.00 | 0.00 | 0.00 |

Source: - Table 3.3 of ARR

Commission’s Analysis:

Considering approved energy sales and T&D loss and regional pool loss the summary of energy balance projected by DPN and approved by the Commission is furnished in table below:

Table 6.13: Energy Balance approved by the Commission for FY 2014-15

(MU)

| SI. No. |  | As projected by DPN | As approved by the Commission |
| --- | --- | --- | --- |
| A | Energy Requirement |  |  |
| 1 | Energy Sales within the State (MU) | 422.12 | 432.53 |
| 2 | Energy Sales outside state | 42.00 | - |
| 3 | Total sales (1+2) | 464.12 | 432.53 |
| 4 | T & D Loss (%) | 27% | 26.5% |
| 5 | T & D Loss | 171.57 | 155.95 |
| 6 | Energy requirement (3+5) | 635.69 | 588.48 |
| B | Energy Availability |  |  |
| 7 | Own Generation | 115.00 | 115 |
| 8 | Power purchase | 453.69 | 513 |
| 9 | Free Power | 27.00 | 27 |
| 10 | Regional Transmission Loss (%) | - | 3.48% |
| 11 | Regional Transmission Loss on (8+9) | - | 19 |
| 12 | UI purchases | 40.00 | - |
| 13 | Total Energy available (7+8+9-11) | 635.69 | 636 |
| 14 | Less Energy Requirement (6) | - | 588.48 |
| 15 | Surplus (13-14) | - | 47.52 |

## Revenue Requirement for FY 2014-15

DPN has projected a total ARR of Rs. 420.10 crore for the FY 2014-15 as given in table below:

Table-6.14: Expenses projected by DPN for 2014-15

|  |  | (Rs. crore) |
| --- | --- | --- |
| SI. No. | Item of expenses | Ensuing Year 2014-15 (Projected) |
| 1 | 2 | 3 |
| 1 | Cost of Fuel | 0.08 |
| 2 | Cost of power Purchase | 214.86 |
| 3 | Employee costs | 76.35 |
| 4 | O & M expenses | 14.57 |
| 5 | Administration and general expenses | 2.68 |
| 6 | Depreciation | 17.18 |
| 7 | Interest charges (including interest on working capital) | 44.95 |
| 8 | Return on NFA / Equity | 53.38 |
| 9 | Provision for Bad debt | 1.82 |
| 10 | Total revenue Requirement | 425.88 |
| 11 | Less: non tariff income | 5.78 |
| 12 | Net revenue requirement (10 – 11) | 420.10 |
| 13 | Revenue from tariff | 182.33 |
| 14 | Revenue from surplus sale of Power | 20.58 |
| 15 | Gap (12 – 13 – 14) | 217.19 |
| 16 | Gap for | 0.00 |
| 17 | Total gap (15 + 16) | 217.19 |
| 18 | Revenue surplus carried over | 0.00 |
| 19 | Additional revenue from proposed tariff | 16.89 |
| 20 | Regulatory asset | 200.31 |
| 21 | Energy Sales (MU) | 464.12 |

Source: - Extract from Table 3.18 of ARR

Commission’s Analysis

The expenses projected by DPN under each head and the Commission’s analysis are discussed below:

## Fuel Cost

DPN has projected fuel cost of Rs. 0.08 crore for FY 2014-15.

The Commission approves the fuel cost of Rs. 0.08 crore for the FY 2014-15 as projected by DPN.

## Power Purchase cost

The DPN has stated that the fixed and energy charges and other charges for CGS have been considered with an escalation of 10% over the previous year levels power purchase from other sources is considered at Rs. 4.88/kWh for FY 2014-15 on current market rates.

The power purchase cost projected by DPN for the FY 2014-15 is given in table below:

Table-6.15: Power Purchase cost projected by DPN for FY 2014-15

| SI. No. | Source | 2012-13 (Actual) |  |  | 2013-14 (Estimated) |  |  | 2014-15 (Projected) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Purchase (MU) | Rate (Rs./ KWh) | Total Cost Rs. Crore | Purchase (MU) | Rate (Rs./ KWh) | Total Cost Rs. Crore | Purchase (MU) | Rate (Rs./ KWh) | Total Cost Rs. Crore |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| I | NEEPCO |  |  |  |  |  |  |  |  |  |
| 1 | Khandong, | 56.32 | 1.41 | 7.97 | 54.03 | 1.56 | 8.41 | 54.03 | 1.71 | 9.25 |
| 2 | Kopili-I&II, |  |  |  |  |  |  |  |  |  |
| 3 | Ranganadi, | 65.46 | 2.74 | 17.93 | 70.00 | 3.01 | 21.09 | 78.00 | 3.31 | 25.85 |
| 4 | AGTPP, Tripura | 27.54 | 4.16 | 11.45 | 30.00 | 4.57 | 13.72 | 37.00 | 5.03 | 18.62 |
| 5 | AGBPP, Kathalguri | 90.31 | 3.36 | 30.34 | 95.00 | 3.70 | 35.10 | 95.00 | 4.06 | 38.61 |
| 6 | Doyang, Nagaland | 35.33 | 1.11 | 3.91 | 17.89 | 1.22 | 2.18 | 17.66 | 1.34 | 2.36 |
| II | NHPC |  |  |  |  |  |  |  |  |  |
| 1 | Loktak, Manipur | 35.88 | 2.37 | 8.50 | 32.00 | 2.66 | 8.51 | 32.00 | 2.93 | 9.36 |
| III | NTPC | 102.37 | 3.13 | 32.09 | 120.00 | 3.45 | 41.37 | 140.00 | 3.79 | 53.10 |
| IV | UI /over drawn (net) | 42.65 | 4.88 | 20.81 | 40.00 | 4.88 | 19.52 | 40.00 | 4.88 | 19.52 |
| V | PGCIL (Trans. Charges) | 455.86 | 0.42 | 19.25 | 458.92 | 0.46 | 21.32 | 493.69 | 0.51 | 25.23 |
| VI | NERLDC/NERPC Charges |  |  | 0.59 |  |  | 1.00 |  |  | 1.10 |
| VII | Total Energy Purchase | 455.86 | 3.35 | 152.83 | 458.92 | 3.75 | 172.23 | 493.69 | 4.11 | 203.00 |
| VIII | Free Power from Doyang | 23.52 | 0.00 | 0.00 | 27.00 |  |  | 27.00 |  |  |
| IX | (Total energy available) | 479.38 | 3.19 | 152.83 | 485.92 | 3.54 | 172.23 | 520.69 | 3.90 | 203.00 |
| X | Arrear energy bill/IT paid |  |  | 31.26 |  |  | 26.48 |  |  | 11.86 |
| XI | Total of the year | 479.38 |  | 184.09 | 485.92 |  | 198.71 | 520.69 |  | 214.86 |

Source: - Format 7 of ARR

Commission’s Analysis:

The above rates adopted by DPN to assess the power purchase cost during FY 2014-15 are considered reasonable. The arrears of Rs. 11.86 crore claimed by the DPN are not considered as they are projected on assumption basis. However the same will be considered while truing up. Accordingly the power purchase cost works out to Rs. 196.30 crore as detailed in table below:

Table 6.16: Power Purchase cost of DPN approved by the Commission for FY 2014-15

| SI. No. | Station | Power Purchase (MU) | AFC (Rs. Cr) | Nagaland Share % | Variable Charges (Rs./kWh) | Fixed Charges (Rs. Cr) | Variable Charges (Rs. Cr) | Total (Rs. Cr) | Average Cost (Rs./kWh) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7=(4*5)/ 100 | 8=(6*3)/ 10 | 9= 7+8 | 10= (9/3) *10 |
| I | NEEPCO |  |  |  |  |  |  |  |  |
| 1 | Khandang | 18 | 50.51 | 6.65 | 1.00 | 3.36 | 1.80 | 5.16 | 2.87 |
| 2 | Koppili - I | 63 | 88.46 | 6.15 | 0.46 | 5.44 | 2.90 | 8.34 | 1.32 |
| 3 | Koppili - II | 7 | 13.23 | 5.74 | 0.94 | 0.76 | 0.66 | 1.42 | 2.02 |
| 4 | Ranganadi | 76 | 295.4 | 5.34 | 1.22 | 15.77 | 9.27 | 25.04 | 3.30 |
| 5 | Doyang | 38 | 80.41 | 17.97 | 2.08 | 14.45 | 7.90 | 22.35 | 5.88 |
| 6 | Free Power | 27 |  |  |  |  |  |  |  |
| II | NEEPCO - Gas Based |  |  |  |  |  |  |  |  |
| 7 | AGBPP | 113 | 244.6 | 5.38 | 2.65 | 13.16 | 29.95 | 43.10 | 3.81 |
| 8 | AGTPP | 39 | 71.76 | 5.81 | 2.27 | 4.17 | 8.85 | 13.02 | 3.34 |
| III | NHPC |  |  |  |  |  |  |  |  |
| 9 | Loktak | 51 | 107.2 | 6.44 | 1.41 | 6.90 | 7.19 | 14.09 | 2.76 |
| IV | NTPC |  |  |  |  |  |  |  |  |
| 10 | Farakka | 52 | 880.5 | 0.43 | 3.16 | 3.79 | 16.43 | 20.22 | 3.89 |
| 11 | Kahalgaon | 27 | 558.2 | 0.42 | 2.83 | 2.34 | 7.64 | 9.99 | 3.70 |
| 12 | Talcher | 29 | 583.6 | 0.42 | 1.65 | 2.45 | 4.79 | 7.24 | 2.50 |
| 13 | UI Purchases | - |  |  | 4.88 |  |  |  |  |
| 13 | Total | 540 |  |  |  | 72.59 | 97.38 | 169.97 | 3.15 |
| 14 | PGCIL- Transmission Charges |  |  |  |  |  |  | 25.23 |  |
| 15 | NERLDC Charges |  |  |  |  |  |  | 1.10 |  |
| 16 | Grand Total | 540 |  |  |  |  |  | 196.30 | 3.64 |

The Commission accordingly approves Rs. 196.30 crore towards power purchase cost for purchase of 540 MU including free power of 27 MU from Doyang for the FY 2014-15 as against Rs. 214.86 crore projected by DPN.

## Operation and Maintenance Expenses

The O&M expenses comprises of employee expenses, Repairs and Maintenance expenses and administration and general expenses

The DPN has furnished the details of O&M expenses as shown below:

Table 6.17: Operation & Maintenance Expenses for FY 2014-15

(Rs. crore)

| SI. No. | ##### Particulars | FY 2012-13 (Actual) | FY 2013-14 (Estimated) | FY 2014-15 (Projected) |
| --- | --- | --- | --- | --- |
| 1 | Employee Cost | 69.45 | 73.56 | 76.35 |
| 2 | Repair & Maintenance Expenses | 14.79 | 14.31 | 14.57 |
| 3 | Administration & General Expenses | 2.49 | 2.57 | 2.68 |
| 4 | Total Operation & Maintenance Expenses | 86.73 | 90.43 | 93.60 |

Source:- Table 3.8 of ARR

### Employee Cost

DPN has projected the employee cost at Rs. 76.35 crore for the FY 2014-15. The employee cost includes salaries, allowances, bonus, LTC and Honorarium, leave salary etc. The component wise details of employee cost (actuals) period from the  FY 2010-11 to FY 2012-13, estimated for FY 2013-14 and projected for FY 2014-15  are shown in table below:

Table-6.18: Employee cost projected by DPN for FY 2014-15

(Rs. lakh)

| SI. No. | ##### Particulars | 2010-11 (Actual) | 2011-12 (Actual) | 2012-13 (Actual) | 2013-14 (Estimated) | 2014-15 (Projected) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 5 | 6 |
|  | SALARIES & ALLOWANCES |  |  |  |  |  |
| 1 | Basic Pay | 3137.32 | 3373.42 | 3675.69 | 3727.52 | 3740.00 |
| 2 | Dearness Pay | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 3 | Dearness Allowance | 1694.12 | 1897.55 | 2582.17 | 2944.74 | 3216.40 |
| 4 | House rent Allowance | 306.26 | 337.34 | 367.57 | 372.75 | 374.00 |
| 5 | Fixed medical allowance | 102.78 | 210.24 | 129.65 | 120.96 | 114.62 |
| 6 | Medical reimbursement charges | 25.95 | 55.40 | 54.25 | 55.00 | 55.00 |
| 7 | Over time payment | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 8 | Other allowances | 26.00 | 29.27 | 31.26 | 32.00 | 32.00 |
| 9 | Generation incentive | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 10 | Bonus | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 11 | Total | 5292.43 | 5903.22 | 6840.59 | 7252.97 | 7532.02 |
| 12 | Leave encashment | 95.00 | 103.34 | 104.36 | 102.65 | 102.98 |
| 13 | Gratuity | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 14 | Commutation of Pension | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 15 | Workman compensation | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 16 | Ex- gratia | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 17 | Total | 95.00 | 103.34 | 104.36 | 102.65 | 102.98 |
|  | Pension Payment |  |  |  |  |  |
| 18 | Basic Pension | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 19 | Dearness Pension | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 20 | Dearness allowance | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 21 | Any other expenses | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 22 | Total | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 23 | Total (11+17+22) | 5387.43 | 6006.56 | 6944.95 | 7355.62 | 7635.00 |
| 24 | Amount capitalised | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 25 | Net amount | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 26 | Add prior period expenses | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 27 | Grand Total | 5387.43 | 6006.56 | 6944.95 | 7355.62 | 7635.00 |

Source: - Table 3.9 of ARR

The DPN has not considered pension and terminal benefits of the employees in the petition.		.

Commission’s Analysis

The DPN has furnished actual employee cost for FY 2012-13 at Rs. 69.45 crore and projected the expenses at Rs. 76.35 crore which gives an increase of 5.62% P.A over actual expenditure for FY 2012-13. This is considered as reasonable.

The Commission accordingly approves Rs. 76.35 crore towards employee costs for FY 2014-15 as projected by DPN.

### Repairs and Maintenance Expenses

DPN has projected Rs. 14.57 crore towards R&M expenses for the FY 2014-15. The R & M expenses include expenses on R&M of electrical equipment, transmission and distribution system, vehicles, furniture and fixtures, office equipment and buildings etc.

The DPN has estimated the expenses for FY 2013-14 at Rs. 14.31 crore as against actual expenditure incurred during FY 2012-13 at Rs. 14.79 crore and projected Rs. 14.57 crore for the FY 2014-15 as detailed in table below: -

Table-6.19: Repair & Maintenance Expenses projected by DPN for FY 2014-15

(Rs. lakh)

| SI. No. | Particulars | FY 2012-13 (Actual) | FY 2013-14 (Estimated) | FY 2014-15 (Projected) |
| --- | --- | --- | --- | --- |
| 1 | Plant and Machinery | 4.75 | 5.20 | 5.50 |
| 2 | Buildings | 10.36 | 11.80 | 12.50 |
| 3 | Hydraulic works & civil works | 86.00 | 38.98 | 40.00 |
| 4 | Line cable & network | 285.74 | 281.12 | 300.00 |
| 5 | Vehicles | 18.46 | 20.00 | 25.00 |
| 6 | Furniture & fixtures | 2.54 | 2.75 | 3.00 |
| 7 | Operating expenses | 1071.00 | 1071.00 | 1071.00 |
| 8 | Total Repair & Maintenance Expenses | 1478.85 | 1430.85 | 1457.00 |

Source: - Copy 3.11 of ARR

The DPN requested the Commission to allow the R & M expenditure as proposed in full to ensure better and timely maintenance of distribution network and better consumer services and higher consumer satisfaction.

The Commission approves Rs. 14.57 crore towards R&M for FY 2014-15 as projected by DPN.

### Administration and General Expenses

The DPN has projected Administration and General Expenses at Rs. 2.68 crore for the FY 2014-15. Administration and General Expenses comprise payment of rent, rates and taxes, telephone, postage expenses, conveyance and travel expenses, technical and consultancy fee etc. The actual expenditure during FY 2012-13 and estimation for FY 2013-14 and projection for FY 2014-15 as proposed by DPN are furnished in table below:

Table-6.20: Administrative & General Expenses projected by DPN for

FY 2014-15

(Rs. lakh)

| SI. No. | Particulars | FY 2012-13 (Actual) | FY 2013-14 (Estimated) | FY 2014-15 (Projected) |
| --- | --- | --- | --- | --- |
| 1 | Rent, rates & taxes | 34.80 | 32.51 | 35.00 |
| 2 | Telephone, postage & Telegram | 32.85 | 35.00 | 38.00 |
| 3 | Consultancy fees | 14.65 | 16.00 | 20.00 |
| 4 | Technical fees | 26.40 | 28.00 | 30.00 |
| 5 | Other professional charges | 20.00 | 20.00 | 20.00 |
| 6 | Conveyance & travel expenses | 120.37 | 125.00 | 125.00 |
| 7 | Others | 0.00 | 0.00 | 0.00 |
| 8 | Total Administration & General Expenses | 249.07 | 256.51 | 268.00 |

Source: - Table 3.10 of ARR

Commission’s Analysis

Actual expenditure during FY 2012-13 is Rs 2.49 crore. The proposed expenses of Rs. 2.68 crore works out to about 3.8% over actuals for FY 2012-13 and is considered reasonable.

The Commission accordingly approves Rs. 2.68 crore towards Administration  & General expenses for the FY 2014-15 as projected by DPN.

## Capital Investment

The DPN has projected capital expenditure of Rs. 200 crore during FY 2014-15. Scheme wise details during FY 2012-13 (Actuals) and FY 2013-14 (estimated) and FY 2014-15 (projected) are furnished in Tables below:

Table-6.21: Investment Plan (Scheme wise)

| (Rs. in Crores) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SI. No. | Particulars | Twelfth Plan |  | Previous |  |  | Current |  |  | Ensuing |  |  | Progressive Expenditure upto Ensuing Year |  |
|  |  |  |  | year |  |  | Year (Estimated) FY 2013-14 |  |  | year |  |  |  |  |
|  |  |  |  | (Actual) FY 2012-13 |  |  |  |  |  | (Projected) FY 2014-15 |  |  |  |  |
|  |  | Plan | Outside Plan | Approved outlay | Actual Expenditure |  | Approved outlay (proposed) | Anticipated Expenditure |  | Approved outlay (proposed) | Anticipated Expenditure |  |  |  |
|  |  |  |  |  | Plan | Outside Plan |  | Plan | Outside Plan |  | Plan | Outside Plan | Plan | Outside Plan |
| 1 | Generation Schemes | 100 |  | 1.50 | 1.50 |  | 5.00 | 5.00 |  | 5.00 | 5.00 |  | 11.50 |  |
| 2 | Transmission & Distribution Schemes | 225 | 100 | 60.55 | 60.55 | 55.92 | 70.00 | 70.00 | 60.00 | 70.00 | 70.00 | 60.00 | 200.56 | 175.92 |
| 3 | Renovation & Modernization | 80 | 200 | 24.70 | 24.70 | 8.00 | 30.00 | 30.00 | 15.00 | 30.00 | 30.00 | 15.00 | 84.70 | 38.00 |
| 4 | Rural Electrification | 90 |  | 8.00 | 8.00 |  | 10.00 | 10.00 |  | 10.00 | 10.00 |  | 28.00 |  |
| 5 | Miscellaneous Expenditure | 64.4 |  | 5.25 | 5.25 |  | 10.00 | 10.00 |  | 10.00 | 10.00 |  | 25.25 |  |
| 6 | Total | 559.4 |  | 100.00 | 100.00 | 63.92 | 125.00 | 125.00 | 75.00 | 125.00 | 125.00 | 75.00 | 350.00 | 213.92 |

Source :- Format 21 of ARR

The DPN has submitted that the proposed capital expenditure of Rs 200 crore during FY 2014-15 is to upgrade and strengthen the distribution network to meet the desirable standards of performance and to provide better network reliability and sustainable performance to the consumers and to reduce system losses.

The DPN proposed to capitalize Rs.30 crore during FY 2014-15 as detailed in the table below:

Table 6.22: Capital Expenditure & Capitalization FY 2014-15

(Rs. crore)

| SI. No. | #### Particulars | Previous year 2012-13 (Actual) | Current year 2013-14 (Estimated) | Ensuing year 2014-15 (Projected) |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
| 1 | Opening balance | 631.27 | 755.19 | 825.19 |
| 2 | Add: New investments | 163.92 | 200.00 | 200.00 |
| 3 | Total | 795.19 | 955.19 | 1025.19 |
| 4 | Less investment capitalized | 40.00 | 30.00 | 30.00 |
| 5 | Closing balance | 755.19 | 925.19 | 1055.19 |

Source:- Table 3.5 of ARR

Commission Analysis

As verified from the CWIP and capitalization furnished by DPN, Rs. 1055.19 crore proposed to be invested to end of 31/03/2015 out of which only Rs. 30 crore are proposed for capitalization during FY 2014-15 which is about 2.67% of the total CWIP. The progress on completion of works should be geared up to bring the assets into optimum use to achieve the expected objectives. The DPN should submit scheme wise, work wise progress with dates of commencement of works and targeted dates of completion of works by 30/06/2014.

With the above observation, the capital investment of Rs. 200 crore and capitalization of Rs. 30 crore during the FY 2014-15 as projected by DPN are approved.

## Gross fixed Assets

The DPN has projected GFA at 616.28 crore as on 01.04.2012 based on available information in the absence of fixed asset registers, additions during the year have been considered to the extent of works capitalized. The DPN has furnished year wise GFA as detailed in table below:

Table 6.23: Gross Fixed Assets

(Rs. crore)

| SI. No. | Financial Year | Opening Balance | Addition during the year | Closing Balance |
| --- | --- | --- | --- | --- |
| 1 | FY 2012-13 | 616.28 | 40.00 | 656.28 |
| 2 | FY 2013-14 | 656.28 | 30.00 | 686.28 |
| 3 | FY 2014-15 | 686.28 | 30.00 | 716.28 |

Source: - Table 3.12 of ARR

Commission’s Analysis

The DPN being a Government department it has to maintain proforma accounts such as balance sheet, profit and loss account with relevant statements and schedules and get them audited. DPN has also not maintained the asset registers. In view of this, Commission cannot accept the GFA furnished by DPN for purpose of depreciation and return on equity / capital base.

## Depreciation

The DPN has projected depreciation of Rs. 17.18 crore for the FY 2014-15. DPN has applied average rate of depreciation as 2.45 % for the FY 2014-15. The details as projected by DPN are furnished in table below:

Table-6.24: Depreciation projected by DPN for FY 2014-15

(Rs. Cr)

| SI. No. | ##### Particulars | FY 2013-14 (Projected) |
| --- | --- | --- |
| 1 | Gross Block in Beginning of the year | 686.28 |
| 2 | Additions during the year | 30.00 |
| 3 | Cumulative Depreciation at the Beginning of the year | 180.31 |
| 4 | Average Rate of Depreciation | 2.45% |
| 5 | Depreciation for the year | 17.18 |
| 6 | Cumulative Depreciation at the END of the year | 197.49 |
| 7 | Net Block in the Beginning of the Year | 505.97 |
| 8 | Net Block in the End of the year | 518.79 |

Source : - Table 3.13 of ARR

Commission’s Analysis

DPN has not maintained asset / depreciation registers. Audited proforma accounts are also not furnished. This subject is discussed in Para 5.13 and DPN is directed to verify the assets and update the assets / depreciation registers and produce in the next filing along with audited proforma accounts. As such depreciation is not allowed on the opening GFA.

However, the DPN has projected capital expenditure of Rs. 200 crore during the FY 2014-15 vide para 6.9 supra. Out of the proposed capital expenditure, the DPN has proposed capitalization of Rs.30 crores during FY 2014-15. The capitalization of Rs. 30 crore is approved as it relates to ongoing normal development schemes. Thus the new addition of assets during the FY 2014-15 is to an extent of Rs. 30 crore for which depreciation has to be provided. During FY 2012-13 capitalization is done for Rs. 40 crore and during 2013-14 capitalization is reported at Rs. 30 crore.

“Regulation 26 of NERC (Terms and conditions for determination of tariff) Regulations, 2010 specifies that depreciation for the assets shall be calculated annually at the rates specified by CERC from time to time. The effective rate of depreciation for distribution assets is 5.28% vide Appendix III (Depreciation Schedule) of CERC (Terms and conditions of Tariff) Regulations, 2009”.

The depreciation for the FY 2014-15 is detailed in table below:

Table-6.25: Depreciation approved by the Commission for FY 2014-15

| SI. No. | ##### Particulars | Rs. crore |
| --- | --- | --- |
| 1 | Gross fixed assets as on 01/04/2014 | 70 |
| 2 | Additions during FY 2014-15 | 30 |
| 3 | Gross fixed assets at the end of the FY 2014-15 | 100 |
| 4 | Average GFA | 85 |
| 5 | Depreciation rate | 5.28% |
| 6 | Depreciation for the FY 2014-15 | 4.49 |

The Commission approves depreciation amount of Rs. 4.49 crore for                         FY 2014-15.

## Interest and Finance Charges

DPN has projected interest & finance charges at Rs. 41.23 crore for FY 2014-15. The DPN has treated 50% of GFA as on 31.03.2010 as notional debt. Thus the balance 50% of Gross Fixed Assets as on 01.04.2010 (i.e., 50% of 572.08 crore) has been taken as opening loan for FY 2010-11 and 70% of capital additions during FY 2010-11, FY 2011-12, FY 2012-13, FY 2013-14 and FY 2014-15 have been considered to be funded through normative loan. Further it is assumed that these normative loans will be repaid in next 10 years. The rate of interest is assumed at 14.5%. The interest on loan computed on the above methodology is detailed in table below.

Table 6.26: Interest and Finance Charges for FY 2014-15

(Rs. crore)

| SI. No. | ##### Particulars | FY 2012-13 (Actual) | FY 2013-14 (Estimated) | FY 2014-15 (Projected) |
| --- | --- | --- | --- | --- |
| 1 | Opening Loan | 308.14 | 305.33 | 292.71 |
| 2 | Loan Additions (70% Capex for the FY) | 28.00 | 21.00 | 21.00 |
| 3 | Repayment | 30.81 | 33.61 | 35.71 |
| 4 | Closing Loan | 305.33 | 292.71 | 278.00 |
| 5 | Average Loan | 306.73 | 299.02 | 285.36 |
| 6 | Wt Avg Interest on Loan | 14.45% | 14.45% | 14.45% |
| 7 | Interest on Loan | 44.32 | 43.21 | 41.23 |
| 8 | Total Interest and Finance Charges | 44.32 | 43.21 | 41.23 |

Source:- Table 3.16 of ARR

Commission’s Analysis

The normative interest claimed by DPN is Rs. 41.23 crore. The DPN has stated that the entire capital expenditure has been funded by the State Government through 100 % state funding as a budgetary support and does not involve any external borrowings.

The Commission has not considered any interest charges for the FY 2014-15 as the funding is by budgetary support from the State Government.

## Interest on Working Capital

The DPN has projected interest on working capital for FY 2014-15 at Rs. 3.72 crore on normative basis as detailed in the table below:

Table-6.27: Interest on Working Capital projected by DPN for FY 2014-15

(Rs. in crore)

| SI. No. | Particulars | Current Year 2013-14 (Estimated) | Ensuing year 2014-15 (projected) |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |
| 1 | Fuel Cost | 0.01 | 0.01 |
| 2 | Power Purchase Cost | 16.56 | 17.91 |
| 3 | One month’s employee costs | 6.13 | 6.36 |
| 4 | One month's administration & general expenses | 0.21 | 0.22 |
| 5 | One month’s R&M Cost | 1.19 | 1.21 |
| 6 | Total | 24.10 | 25.72 |
| 7 | Interest on working capital | 3.48 | 3.72 |

Source: Table 3.17 of ARR

Commission’s Analysis

As per Regulation 98 (6) (b) of NERC (Terms and Conditions for determination of Tariff) Regulations, 2010, working capital shall be the sum of one-month requirement of the following

- Fuel Cost

- Power Purchase Cost

- Employee Cost

- Administration & General Expenses

- R & M Expenses

and the rate of interest on working capital shall be equal to the short-term prime lending rate of SBI on 1st April of the relevant year.

The rate of Interest claimed by the DPN is 14.45 % being the SBI prime-lending rate as on 1st April 2013. The details of interest on working capital with approved costs are furnished in table below:

Table-6.28: Interest on working capital

| SI. No. | ##### Particulars | Amount (Rs in crore) |  |
| --- | --- | --- | --- |
|  |  | Total cost | One month cost |
| 1 | 2 | 3 | 4 |
| 1 | Fuel Cost | 0.08 | 0.01 |
| 2 | Power Purchase Cost | 196.30 | 16.35 |
| 3 | One months employee costs | 76.35 | 6.36 |
| 4 | Administration &General expenses | 2.68 | 0.22 |
| 5 | One month R & M Cost | 14.57 | 1.21 |
| 6 | Total | 289.98 | 24.15 |
| 7 | SBI PLR as on the date |  | 14.45% |
| 8 | Interest on working capital @ 14.45% |  | 3.48 |

The Commission approves interest on working capital at Rs. 3.48 crore for FY 2014-15.

## Return on equity

The DPN has projected return on equity at Rs. 53.38 crore at 16 % as detailed in table below:

Table-6.29: Return on Equity projected by DPN for FY 2014-15

(Rs. crore)

| SI. No. | Particulars | FY 2012-13 (Actual) | FY 2013-14 (Estimated) | FY 2014-15 (Projected) |
| --- | --- | --- | --- | --- |
| 1 | Opening Equity | 308.14 | 320.14 | 329.14 |
| 2 | Equity Addition (30% Capex for the FY) | 12.00 | 9.00 | 9.00 |
| 3 | Closing Equity | 320.14 | 329.14 | 338.14 |
| 4 | Average Equity | 314.14 | 324.64 | 333.64 |
| 5 | Rate of Return on Equity | 16% | 16% | 16% |
| 6 | Return on Equity | 50.26 | 51.94 | 53.38 |

Source: - Table 3.15 of ARR

The DPN has submitted that the distribution business has always been perceived to be a business having a greater inherent risk than the generation and transmission business due to various factors among which the direct interface with the retail consumers is the biggest risk. The same has been recognized by many Commissions across the country and they have proposed a higher rate of return on the equity invested in distribution business as compared to generation and transmission business. This has been demonstrated by various Commissions by offering rate of return at 16% for distribution as compared to 14% to other business areas. It may also be noted that CERC in its recent tariff regulations of 2009 for generation and transmission has fixed pre tax return on equity at 15.5% with an additional return of 0.5% for projects completing within specified time limits.

The DPN being a Government Department, the entire capital employed has been funded through equity infusion by government of Nagaland through budgetary support without any external borrowings. The DPN is now migrating to regulatory control pf the Hon’ble Commission under Electricity Act, 2003. The DPN has therefore taken 01.04.2010 as the base date for the above change. In a similar case where the funding has been through budgetary support of the Government (Damodar Valley Corporation VSCERC) before Hon’ble Appellate Tribunal, Damodar Valley Corporation has allowed normative debt: equity of 50:50 for the purpose of tariff determination. The relevant portion of said order is reproduced below:

“A-5. Further the tariff regulations provided that in case of generating stations or transmission projects where tariff for the period ending March 31, 2004 has not been determined by the Central Commission, debt: Equity ratio shall be as may be decided by the Commission (Para 52 of the impugned order). In the past, the Commission has also dealt with determination of applicable debt: equity ratio in the case of Central Power Sector undertaking (CPSVS) such as NTPC, NHPC, PGCIL etc where the actual equity deployed in the assets created prior to formation of Tariff Regulations was much higher than the equity calculated considering a normative DE ratio of 70:30. These CPUs were allowed a normative DE ratio of 50:50 for the purpose of determination of tariff, in respect of their old assets.”

Similar approach has been adopted in the case of number of Central Government Companies such as NTPC, PGCIL etc.

Accordingly, the entire capital expenditure till 31/03/2010 has been considered as funded by equity and based on above precedence, the DPN has considered a normative debt : equity ratio of 50:50 for the FY 2009-10. Hence Opening equity for FY 2010-11 is taken as Rs 286.04 crore (i.e. 50 % of GFA as on 01/04/2010 amounting to Rs 572.08 crore). The Capital additions in FY 2010-11, FY 2011-12, FY 2012-13, FY 2013-14 and FY 2014-15 have been assumed to be funded through debt: equity ratio of 70:30 which is in line with tariff regulations issued by various State Commissions across the country.

Commission’s Analysis

The basic requirement either for return on capital base or return on equity is the audited accounts. DPN has not furnished the Audited Accounts viz., Profit and Loss Account, Balance Sheet etc.

In the absence of audited accounts, the Commission cannot allow any return on equity or capital base till such time-audited accounts are submitted.

## Provision for Bad and doubtful debts

DPN has projected provision for bad debts at Rs. 1.82 crore for the FY 2014-15. DPN has considered the provision for bad debts at 1% of revenue from sale of power to consumers.

Commission’s Analysis:

As per Regulations 98(5) of NERC (Terms and conditions for determination of Tariff) Regulations, 2010, the Commission may, after distribution licensee gets the receivables audited, allow a provision for bad debts upto 1% of receivables of the distribution licensee. Here receivables mean arrears of current consumption charges due from the consumers, but not revenue from sale of power. The DPN failed to furnish arrears due from consumers.

However, Commission allows a token amount of Rs. 0.15 crore towards provision for bad debts for FY 2014-15 as was done for FY 2013-14.

## Non Tariff Income

The DPN has projected non-tariff income at Rs. 5.78 crore for the FY 2014-15. Non-Tariff income is in the form of meter rent, late payment charges, interest on staff loans, miscellaneous charges from consumers etc.

The details of non-tariff income are furnished by the DPN are detailed in table below:

Table 6.30: Non-Tariff Income projected by DPN for FY 2014-15

|  |  |  | (Rs. crore) |  |
| --- | --- | --- | --- | --- |
| SI. No. | Source of Income | Previous year (Actuals) FY 2012-13 | Current Year (Estimated) FY 2013-14 | Ensuing Year (Projection) FY 2014-15 |
| 1 | 2 | 3 | 4 | 5 |
| 1 | Meter / Service rent | 3.92 | 4.50 | 5.10 |
| 2 | Late payment surcharge | 0.00 | 0.00 | 0.00 |
| 3 | Theft / pilferage of energy | 0.00 | 0.00 | 0.00 |
| 4 | Misc. receipts | 0.56 | 0.62 | 0.68 |
| 5 | Misc. charges (except PLEC) | 0.00 | 0.00 | 0.00 |
| 6 | Wheeling charges | 0.00 | 0.00 | 0.00 |
| 7 | Interest on staff loans & advance | 0.00 | 0.00 | 0.00 |
| 8 | Income from trading | 0.00 | 0.00 | 0.00 |
| 9 | Income from welfare activities | 0.00 | 0.00 | 0.00 |
| 10 | Excess on verification | 0.00 | 0.00 | 0.00 |
| 11 | Investments & bank balances | 0.00 | 0.00 | 0.00 |
| 12 | Total Income | 4.48 | 5.12 | 5.78 |
| 13 | Add Prior period income | 0.00 | 0.00 | 0.00 |
| 14 | Total Non tariff income | 4.48 | 5.12 | 5.78 |

Source: - Format 20 of ARR

The Commission accepts non-tariff income at Rs 5.78 crore for the FY 2014-15 as projected by DPN.

## Aggregate Revenue Requirement

Having analyzed the aggregate revenue requirement projected by DPN for the FY 2014-15 as enumerated in preceding paragraphs the Commission approves the ARR for FY 2014-15 as indicated in table below:

Table-6.31: Aggregate Revenue Requirement approved by the Commission for             FY 2014-15

(Rs. crore)

| SI. No. | ##### Particulars | Projected by DPN | Approved by Commission |
| --- | --- | --- | --- |
| 1 | Fuel cost | 0.08 | 0.08 |
| 2 | Power Purchase cost | 214.86 | 196.30 |
| 3 | O&M Expenses |  |  |
| 3.1 | Employee cost | 76.35 | 76.35 |
| 3.2 | Repairs & Maintenance expenses | 14.57 | 14.57 |
| 3.3 | Administration and General Expenses | 2.68 | 2.68 |
| 4 | Depreciation | 17.18 | 4.49 |
| 5 | Interest & Finance charges | 41.23 | - |
| 6 | Interest on working capital | 3.72 | 3.48 |
| 7 | Provision for bad debts | 1.82 | 0.15 |
| 8 | Return on equity | 53.38 | - |
| 9 | Total expenditure | 425.88 | 298.10 |
| 10 | Less Non tariff income | 5.78 | 5.78 |
| 11 | Aggregate Requirement | 420.10 | 292.32 |

Source: For column 3 from table 3.18 of ARR

## Expected revenue from existing tariff

The DPN has furnished the revenue from existing tariff at Rs. 182.33 crore for FY 2014-15 as detailed in the table below:

Table-6.32: Revenue from existing tariff projected by DPN for FY 2014-15

(Rs. crore)

| SI. No. | Particulars | Previous year (Actual) FY 2012-13 | Current Year (Estimated) FY 2013-14 | Ensuing year (Projected) FY 2014-15 |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
| 1 | Domestic including BPL | 84.68 | 96.73 | 105.80 |
| 2 | Commercial | 18.69 | 22.39 | 27.64 |
| 3 | Industrial Consumers | 6.40 | 8.22 | 11.36 |
| 4 | Public Lighting | 1.59 | 1.59 | 1.59 |
| 5 | PWW & Sewage | 1.22 | 1.60 | 1.85 |
| 6 | Irrigation and Agriculture | 0.01 | 0.01 | 0.01 |
| 7 | Bulk Supply | 23.75 | 27.54 | 34.08 |
| 8 | TOTAL | 136.33 | 158.09 | 182.33 |

Source: Table 3.19 of ARR

##### Commission’s Analysis

The DPN has not considered revenue from inter-state sales and sale of surplus power in the total revenue. As the sale of surplus power is also revenue, the same is to be included. The average revenue realization from sale of surplus power is projected by DPN at Rs. 4.90/kWh and the same is accepted. Revenue from public lighting is furnished at Rs. 1.59 crore at the same amount stated to be realized during FY 2012-13. But as per existing tariff for public lighting, revenue has to be realized from the consumers of Domestic, Commercial Industrial and Bulk category at the rates shown below.

Domestic Rs. 10 per connection per month

Commercial Rs. 15 Per Connection per month

Industrial Rs. 20 per Connection per month

Bulk Supply Rs. 25 per connection per month

Accordingly the revenue from public lighting shall work out to Rs. 2.64 crore as shown below.

| SI. No. | Category | Average No. of consumers | Rate Rs./month | Amount |
| --- | --- | --- | --- | --- |
| 1 | Domestic | 185000 | 10 | 2.22 |
| 2 | Commercial | 19250 | 15 | 0.34 |
| 3 | Industrial | 2500 | 20 | 0.06 |
| 4 | Bulk Supply | 715 | 25 | 0.05 |
|  | Total |  |  | 2.64 |

With the above observations and with the category wise sales approved in paragraph 6.3.2, the revenue from existing tariff is assessed and furnished in the table below:

Table-6.33: Revenue from existing tariff approved by the Commission for

FY 2014-15

| SI. No. | ##### Category | Energy Sales | Average rate (Rs./kWh) | Revenue (Rs/crore) |
| --- | --- | --- | --- | --- |
| 1 | Domestic including BPL | 279.00 | 3.85 | 107.55 |
| 2 | Commercial | 53.00 | 5.23 | 27.72 |
| 3 | Industrial Consumers | 23.38 | 3.95 | 9.22 |
| 4 | Public lighting | 6.00 | 4.40 | 2.64 |
| 5 | Public water works & sewage | 3.70 | 5.00 | 1.85 |
| 6 | Irrigation & Agriculture | 0.05 | 2.50 | 0.01 |
| 7 | Bulk supply | 65.00 | 4.90 | 31.85 |
| 8 | Intra State | 2.40 | 4.90 | 1.18 |
| 9 | Total | 432.53 |  | 182.01 |
| 10 | Sale of surplus power | 47.52 | 4.90 | 23.28 |
| 11 | Grand Total | 480.05 |  | 205.29 |

The Commission accordingly approves the revenue from existing tariff at Rs. 205.29 crore for sale of energy of 480.05 MU for FY 2014-15 including the surplus power of 47.52 MU.

## Revenue gap for FY 2014-15

Table-6.34: Net revenue requirement and gap with revenue at existing tariff

(Rs. crore)

| Sl. No. | Particulars | Projected by DPN | Approved by the Commission |
| --- | --- | --- | --- |
| 1 | Net Revenue Requirement | 420.10 | 292.32 |
| 2 | Revenue from sale of power | 202.91 | 205.29 |
| 3 | Government subsidy proposed | - | - |
| 4 | Gap | 217.19 | 87.03 |
| 5 | Energy Sales (MU) Including Inter State sales and sale of surplus power | 422.12 | 480.05 |
| 6 | Average cost (Rs/kWh) | 9.05 | 6.09 |

Source: for column 3 extract from Table 3.2 of ARR

## Revenue from revised tariff

As seen from the above table there is a gap of Rs. 87.03 crore between aggregate revenue requirement and revenue from sale of power at existing tariff which works out to 30% of ARR.  To meet the gap the Commission has considered revision of Tariff keeping in view the paying capacity of consumers in Nagaland, concerns of State Government to improve revenue mobilization efforts and approved the revised tariff for different categories of consumers with an average increase of 5% only. Tariff designing and fixation of tariffs are discussed in Chapter-7 of this order. Revenue with the revised tariff rates is shown in table below:

Table-6.35: Revenue from revised tariff approved by the Commission for FY 2014-15

| SI. No. | ##### Category | Sales (MU) | Revenue from revised tariff |  |
| --- | --- | --- | --- | --- |
|  |  |  | Average Revised Tariff (Rs./kWh) | Revenue (Rs/crore) |
| 1 | Domestic | 279.00 | 4.04 | 112.87 |
| 2 | Commercial | 53.00 | 5.73 | 30.38 |
| 3 | Industrial | 23.28 | 4.55 | 10.64 |
| 4 | Public lighting* | 6.00 | 4.40 | 2.64 |
| 5 | Public water works & sewage | 3.70 | 5.30 | 1.96 |
| 6 | Irrigation & Agriculture | 0.05 | 2.70 | 0.01 |
| 7 | Bulk supply | 65.00 | 5.40 | 35.10 |
| 8 | Intra State | 2.40 | 5.40 | 1.30 |
| 9 | Total | 432.53 | 4.50 | 194.90 |
| 10 | Sale of Surplus Power | 47.52 | 4.90 | 23.28 |
| 11 | Grand Total | 480.05 | 4.54 | 218.18 |

* Charges for public lighting have to be recovered from the consumers of domestic, commercial, industrial and bulk categories at the rates shown below:

*Domestic	Rs. 10 per connection / month

*Commercial Rs. 15 per connection / month

*Industrial	Rs. 20 per connection / month

*Bulk Supply	Rs. 25 per connection / month

The Commission accordingly approves revenue from revised tariffs at Rs. 218.18 crore with the sale of 480.06 MU. This compares with the revenue of Rs. 205.29 crore at the existing tariff rates, the increase works out to Rs. 12.89 crore.

## Revised gap for FY 2014-15

Taking into consideration of revised tariff, expected revenue from sale of power during FY 2014-15 has arrived at Rs. 218.18 crore inclusive of revenue from sale of surplus power. So the revised gap shall be Rs. 74.14 crore (87.03 – 12.89) which is about 25% of ARR.

## Regulatory Asset / Government subsidy

Out of the revised revenue gap of Rs. 74.14 crore, the DPN shall recover an additional of 4.14 crore by improving its performance such as reduction of T&D losses and improving revenue sales.

Therefore, the Commission has decided to retain the net revenue gap of Rs. 70 crore for the FY 2014-15 to avoid sudden tariff shock. The State Government, Nagaland has to mobilize financial resources to maintain its cash flow to provide more financial support for which DPN shall propose immediately.

# 7. Tariff Principles and Design

## Background

7.1.1	The Commission in determining the revenue requirement of DPN for the FY 2014-15 and the retail supply tariff has been guided by the provisions of the Electricity Act, 2003, the National Tariff Policy (NTP), Regulations on Terms and Conditions of Tariff issued by the Central Electricity Regulatory Commission (CERC) and Regulations on Terms and Conditions of Tariff notified by the NERC. Section 61 of the Act lays down the broad principles, which shall guide determination of retail tariff.  As per these principles the tariff should “Progressively reflect cost of supply” and also reduce cross subsidies “in the manner specified by the Commission”. The Act lays special emphasis on safeguarding consumer interests and also requires that the costs should be recovered in a reasonable manner. The Act mandates that the tariff determination shall be guided by the factors, which encourage competition, efficiency, economical use of resources, good performance and optimum investment.

The NTP notified by Government of India in January, 2006 provides comprehensive guidelines for determination of tariff and also in working out the revenue requirement of power utilities. The Commission has endeavored to follow these guidelines as far as possible.

7.1.2	NTP mandates that the Multi-Year-Tariff (MYT) framework be adopted for determination of tariff from 1st April 2006. However, the Commission is not in a position to introduce MYT Regime in the State mainly because of lack of requisite and reliable data. The present MIS and regulatory reporting system of the DPN is very inadequate for any such exercise at this stage. There has been no study to assess voltage wise losses in the absence of metering of all feeders, and distribution transformers. Technical and commercial losses are yet to be segregated and quantified voltage wise. The Commission has issued a directive to the DPN in the Tariff Order for FY 2013-14 to chalk out an action plan for reduction of T&D losses.

    - The mandate of the NTP is that tariff should be within plus / minus 20% of the average cost of supply by FY 2014-15. It is not possible for the Commission to lay down the road map for reduction of cross subsidy, mainly because of lack of data regarding cost of supply at various voltage levels. In view of the prevailing situation the Commission has gone on the basis of average cost of supply for working out consumer category-wise cost of supply. However in this tariff order an element of performance target has been indicated by setting target for T&D loss reduction for the FY 2015-16 to FY 2017-18. This better performance by reduction of loss level will result in substantial reduction in average cost of supply.

    - Section 8.3 of National Tariff Policy lays down the following principles for tariff design:

  - In accordance with the National Electricity Policy, consumers below poverty line who consume below a specified level, say 30 units per month, may receive a special support through cross subsidy. Tariffs for such designated group of consumers will be at least 50% of the average cost of supply. This provision will be re-examined later.

  - For achieving the objective that the tariff progressively reflects the cost of supply of electricity, the SERC would notify the roadmap, within six months with a target that latest by the end of the FY 2014-15 tariffs are within ± 20% of the average cost of supply. The road map would have intermediate milestones, based on the approach of a gradual reduction in cross subsidy.

For example, if the average cost of supply is Rs.3 per unit, at the end of FY 2011-12 the tariff for the cross subsidized categories excluding those referred to in para-1 above should not be lower than Rs 2.40 per unit and that for any of the cross subsidizing categories should not go beyond Rs 3.60 per unit.

  - While fixing tariff for agricultural use, the imperatives of the need of using ground water resources in a sustainable manner would also need to be kept in mind in addition to the average cost of supply. The tariff for agricultural use may be set at different levels for different parts of the State depending on the condition of the ground water table to prevent excessive depletion of ground water.

    - The provisions of the Electricity Act, 2003, National Tariff Policy and the NERC Tariff Regulations require that there should be a gradual movement towards reduction of cross subsidy. The Tariff aims at bringing down cross subsidy to + 20% of the average cost of supply by the FY 2014-15.

Regulation 16 of NERC (Terms and Conditions for Determination of Tariff) Regulations, 2010 specifies –

Cross subsidy as:

“(1) Cross subsidy for a consumer category in the first phase (as defined in sub regulation 2 below) means the difference between the average realization per unit from that category and the combined average cost of supply per unit expressed in percentage terms as a proportion of the combined average cost of supply. In the second phase (as defined in sub-regulation 2 below) means the difference between the average realization per unit from that category and the combined per unit cost of supply for that category expressed in percentage terms as a proportion of the combined cost of supply of that category.

(2) The Commission shall determine the tariff to progressively reflect the cost of supply of electricity and also reduce cross subsidies within a reasonable period. For this purpose, in the first phase the Commission shall determine tariff so that it progressively reflects combined average unit cost of supply in accordance with National Tariff Policy. In the second phase, the Commission shall consider moving towards the category-wise cost of supply as a basis for determination of tariff.”

## Tariffs proposed by DPN and approved by the Commission

    - The DPN in its tariff petition for FY 2014-15 has proposed revision of existing retail tariffs to various categories of consumers to earn additional revenue to meet the expenses to some extent.

    - The category wise tariffs proposed by the DPN are indicated in table below:

Table-7.2: Category Wise Tariffs existing and proposed by DPN

for FY 2014-15

| SI. No. | ##### CATEGORY |  | Existing Rate Rs./kWh | Proposed Rate Rs./kWh |
| --- | --- | --- | --- | --- |
| 1 | 2 |  | 3 | 4 |
| A | 1 | CATEGORY 'A' DOMESTIC |  |  |
|  |  | (a) 0 to 30 kWh | 3.10 | 3.25 |
|  |  | (b) 31 to 100 kWh | 4.15 | 4.55 |
|  |  | (c) 101 to 250 kWh | 4.75 | 5.30 |
|  |  | (d) > 250 kWh | 5.50 | 6.20 |
|  | 2 | CATEGORY 'B' INDUSTRIAL |  |  |
|  |  | (a) upto 500 kWh | 3.90 | 4.25 |
|  |  | (b) 501 to 5000 kWh | 4.60 | 5.10 |
|  |  | (c) > 5000 kWh | 5.20 | 5.80 |
|  | 3 | CATEGORY 'C' BULK | 4.90 | 5.40 |
|  | 4 | CATEGORY 'D' COMMERCIAL |  |  |
|  |  | (a) < 60 kWh | 5.20 | 5.70 |
|  |  | (b) 61 to 240 kWh | 6.20 | 6.80 |
|  |  | (c) > 240 kWh | 7.20 | 7.90 |
|  | 5 | CATEGORY 'E' P.W.W. | 5.00 | 5.25 |
|  | 6 | CATEGORY 'F' Public Light | To be recovered from consumers * | To be recovered from consumers * |
|  | 7 | CATEGORY 'G' INTERSTATE | 4.9 | 5.50 |
|  | 8 | CATEGORY 'H' AGRICULTURE | 2.50 | 2.80 |
|  | 9 | CATEGORY 'I' TEMPORARY CONNECTION | DLF Rs.7.50 Others Rs. 10.00 | DLF Rs.8.00 Others Rs. 11.00 |
|  | 10 | Kutir Jyoti (point) | Same as DLF | Same as DLF |
|  | 11 | SINGLE POINT METERED RURAL | 3.10 | 3.25 |
|  | 12 | SINGLE POINT METERED URBAN | 3.40 | 3.60 |
|  | * | Charges for public lighting have to be recovered from the Consumers of Domestic, Commercial, Industrial and Bulk categories at the rates shown below: |  |  |
|  |  | Domestic | Rs. 10 per connection / month | Rs. 10 per connection / month |
|  |  | Commercial | Rs. 15 per connection / month | Rs. 15 per connection / month |
|  |  | Industrial | Rs. 20 per connection / month | Rs. 20 per connection / month |
|  |  | Bulk Supply | Rs. 25 per connection / month | Rs. 25 per connection / month |

Source:- Table 4.1 of ARR

    - Based on the approved Aggregate Revenue Requirement (ARR) the approved Tariffs for supply of Energy in respect of different categories of consumers for FY 2014-15 are as per Table below:

Table-7.3: Category of Consumer wise tariffs approved by the Commission

| SI. No. | ##### Category | Approved Rate Rs./ kWh |
| --- | --- | --- |
| 1 | CATEGORY ‘A’ DOMESTIC |  |
|  | (a) upto 30 kWh | 3.25 |
|  | (b) 31 to 100 kWh | 4.35 |
|  | (c) 101 to 250 kWh | 5.00 |
|  | (d) > 250 kWh | 5.80 |
| 2 | CATEGORY ‘B’ INDUSTRIAL |  |
|  | (a) upto 500 kWh | 4.50 |
|  | (b) 501 to 5000 kWh | 5.30 |
|  | (c) > 5000 kWh | 6.00 |
| 3 | CATEGORY ‘C’ BULK | 5.40 |
| 4 | CATEGORY ‘D’ COMMERCIAL |  |
|  | (a) upto 60 kWh | 5.70 |
|  | (b) 61 to 240 kWh | 6.80 |
|  | (c) > 240 kWh | 7.90 |
| 5 | CATEGORY ‘E’ P.W.W. | 5.30 |
| 6 | CATEGORY ‘F’ Public Light | *To be recovered from the consumers |
| 7 | CATEGORY ‘G’ AGRICULTURE | 2.70 |
| 8 | CATEGORY ‘H’ TEMPORARY CONNECTION | DLF – Rs. 8.00 Others – Rs. 11.00 |
| 9 | Category ‘I’ INTER-STATE | 5.40 |
| 10 | Kutir Jyoti(point) | Same as DLF |
| 11 | SINGLE POINT METERED RURAL | 3.25 |
| 12 | SINGLE POINT METERED URBAN | 4.00 |

* Charges for public lighting have to be recovered from the Consumes of Domestic, Commercial, Industrial and Bulk categories at the rates shown below.

Domestic	Rs. 10 per connection / month

Commercial	Rs. 15 per connection / month

Industrial	Rs. 20 per connection / month

Bulk Supply	Rs. 25 per connection / month

    - Tariffs for various categories of consumers are given in tariff schedule annexed.

# 8. Directives

## 8.1       Commission’s Observation

While examining the information and data contained in the proposed ARR and Tariff Petition for the FY 2014-15, it has been observed that the compilation and computation of data have been done based on certain assumptions in respect of certain vital information; and as a result there has been difficulties in finalization of ARR and determination of Tariffs also. Most of the areas of the operational and financial performance of DPN require substantial improvement.

Similar situation was noticed in the previous ARR and tariff petition. The Commission had observed that while there was ample scope for reducing costs and increasing efficiency in the operation of the department, serious efforts appear to be lacking. It is in the above context that 12 directives were issued in the tariff order for FY 2011-12. The Commission expected that DPN would take prompt action on the directives and monitor their implementation. Unfortunately action is yet to be taken on most of the important directives, which would make significant difference to operational efficiency and costs. In some cases action has no doubt been initiated but overall the seriousness with which the directives were issued by the Commission does not appear to have been realized by the DPN.

In the above background the Commission is constrained to reiterate most of the directives which were issued in the earlier tariff orders and which have not been fully complied with and also hereby issue specific new directives.

Directive 1:	Maintenance of Asset Registers and Audited Annual Accounts

The DPN has stated that the complete data of fixed assets is not available. Unless the function wise, asset wise data is up-dated, correct asset value and depreciation thereon cannot be ascertained. The DPN is directed to get the asset registers built up, and submit updated assets & depreciation registers.

Accounts are to be maintained for construction and operation activities of the Power Department. Audited Annual Accounts should be submitted. In the event of delay in getting Accounts audited by the Accountant General, the DPN can get the same audited by CAG empanelled auditors and submit the same with the future filing.

The DPN is directed to start the process immediately and complete before submission of next Tariff Petition and report compliance by 30th June 2013.

Compliance Status:

The DPN in compliance has submitted that the department is in the process of appointing a consultant for compilation of function wise, asset data and preparation of asset register and getting the accounts audited by CAG empanelled auditors. Hence requested to extend time for complying with this directive.

Comments of the Commission:

The DPN is directed to submit definite time schedule for preparation of Asset Register by June, 2014.

Directive 2: Management Information System (MIS)

The DPN has not maintained proper data in respect of sales (slab and sub slab wise), revenue and revenue expenses as also the category wise / slab wise number of consumers, connected load / demand etc. for proper analysis of the past data based on actuals and estimation of proper projections in consideration of the ARR and Tariff Petition.

The DPN is directed to take steps to build credible and accurate data base and management information system (MIS) to meet the requirements for filing ARR & Tariff Petition as per regulatory requirement and also to suit the Multi Year Tariff principles which the Commission may consider at an appropriate time under Regulation 20 of NERC (Terms and Conditions for Determination of Tariff) Regulations, 2010. The formats, software and hardware may be synchronized with the Regulatory Information and Management System (RIMS) circulated by Central Electricity Regulatory Commission (CERC).

Compliance Status:

The DPN in compliance of the above directive has submitted that it has taken steps to build up a system for maintaining credible and accurate data.

Comments of the Commission:

The progress on obtaining credible data may be reported every month, indicating level of progress achieved.

Directive 3:  Pilferage of Energy

The DPN has furnished the T&D losses at 36.45% during FY 2011-12 and projected the losses at 32% for FY 2012-13 and 28% for FY 2013-14.The Department has not segregated the losses into technical losses, commercial losses. Voltage wise losses are not available. It is possible that the losses projected may include commercial losses on account of pilferage and malpractices.

Pilferage of energy may be by illegal tapings/hooking from electrical lines, tampering of meters etc. The Commission feels that there is need to launch an extensive drive to remove illegal connections, if any, check meter tampering, replace the defective meters, maintain proper account of un-metered services and keep constant vigil so that corrective measures could be taken to reduce the AT & C losses. Requisite action may be taken as per the provisions under sections 135 and 138 of Electricity Act, 2003.

The DPN is directed to chalk out an action plan in a month’s time and submit to the Commission.

Compliance Status:

The DPN has submitted that the department taken steps in regard to launching of an extensive drive to remove illegal connections checking meter tempering, replacement of the defective meters, maintenance of proper account of unmetered services report on the progress in this regard is being prepared and will be submitted subsequently.

Comments of the Commission:

Details of steps taken by DPN and achievements made so far may be reported by June 30, 2014.

Directive 4:  Replacement of Non-Functional / Defective Meters

It is reported that about 50% of total connections are with defective meters. Information on non-functional meters may be obtained from field officers and ensure that data is maintained correctly. Replacement is to be planned and pursued. Progress may be reported to the Commission once in a quarter.

Compliance status:

The DPN submitted that the percentage of defective meters is slightly reduced and at present 43% of connections are with defective meters. Quarterly report on status of defective meters is being complied and shall be submitted soon.

| SI. No. | #### Category | Total Connections | With defective meters | % |
| --- | --- | --- | --- | --- |
| 1 | Domestic | 172846 | 77781 | 45 |
| 2 | Commercial | 17612 | 4403 | 25 |
| 3 | Industrial | 2050 | 410 | 20 |
| 4 | Public lighting | 592 | 178 | 30 |
| 5 | Public Water Supply | 38 | 16 | 42 |
| 6 | Bulk supply | 600 | 120 | 20 |
| 7 | Total | 193738 | 82908 | 43 |

Source: - Additional information of DPN

Comments of the Commission:

As seen from the above 43% of connections are with defective meters. This is the status as on 31.03.2012 and existing as on the date also. This indicates that there is no progress in replacement of defective meters during 2012-13 and 2013-14 (To date) even in spite of clear directive given to plan the replacement of defective meters and report.

Replacement of defective meters shall be planned on priority wise i.e., meters of Bulk supply, commercial, industrial and high value domestic categories to be replaced first. In respect of defective meters billing may be done by adopting standard method as envisaged in Supply Code. Quarterly report on replacement of defective meters may be submitted to Commission starting from 01.07.2014.

Directive 5:  Consumers’ contribution for Capital Investment

The fact of consumer contribution for capital investment is not brought out in the ARR and Tariff Petition.

The DPN is directed to furnish the details of contributions being collected from consumers for capital works. The amounts collected from the consumers towards capital investment shall be brought out in the accounts. The depreciation and Return on Equity / Capital Base should not be claimed on the amount contributed by the consumers towards capital investment.

Compliance status:

The DPN has submitted that at present no consumer contribution for capital investment is being collected. However details of collection of consumer contribution for capital works in future if any will be submitted to the Hon’ble Commission.

Comments of the Commission:

Quarterly progress report may be submitted to the Commission.

Directive 6:  Energy Audit

In the tariff order for FY 2011-12, the T&D loss was fixed at 31.56% and for FY 2012-13 at 28%.

The DPN is directed to chalk out a programme to provide meters on all the feeders (132 kV, 66 kV, 33 kV and 11 kV) and distribution transformers to identify the high loss areas and take appropriate measures to reduce both technical and commercial losses to the level fixed by the Commission. The DPN shall also comply with loss reduction trajectory for T&D losses for the next three years.

The investment required to reduce the losses shall be included in the investment plan for augmentation of T&D system to be submitted to the Commission. Effective technical and administrative measures shall be taken to reduce the commercial losses.

Compliance status:

The DPN has submitted that the department has initiated action to identify the losses (Technical and Commercial) but it will take further time to arrive at a comprehensive actionable status. Hence requested the Commission to extend time for submission of progress report.

Comments of the Commission:

The actual T&D loss during FY 2011-12 works out to 36.45% as against 31.56% fixed by the Commission. This clearly indicates the inaction of the DPN in reducing the losses. To begin with, all defective meters be replaced with sound meters and unmetered connections be provided with meters and feeder wise energy audit be conducted and identify technical and commercial losses separately. Quarterly progress report be submitted to Commission starting from 01.07.2014.

Directive 7:  Approval of Commission for Investment Plan

Annual Investment Plan shall be submitted to the Commission and approval of Commission for all major capital works costing Rs. 5.00 crore and above before execution of the works.

Compliance status:

The DPN in compliance to this directive has submitted that it had noted and shall be complied with.

Comments of the Commission:

In this directive it is specifically mentioned to obtain the approval of the Commission for execution of all major works costing Rs.5 crore and above. During the year FY 2012-13, DPN has spent capital investment to the tune of Rs. 163.92 crore as against approved amount of Rs.136 crore and during the year 2013-14 Rs. 200 crore contemplated as against approved amount of Rs. 136 crore. So far no DPR was submitted to Commission for approval. Even the proposal for approval of deviation is not submitted.

Directives 8:  Interest on Security Deposit

DPN did not indicate the amount of security deposit collected from the consumers. DPN is directed to maintain consumer-wise security deposit collected. Such data shall be furnished with the next filing.

Compliance status:

The DPN has submitted that the department has taken steps for compilation of records regarding security deposite collected. It is submitted to kindly extend time for complying with the directive.

The DPN reported that the consumer wise record of security deposit is presently not available and requested to allow time to submit the same along with next tariff filing.

Comments of the Commission:

As per regulation 6.10(8) of NERC (Electricity Supply Code) Regulations, 2012 read with Section 47 (4) of Electricity Act, 2003 the distribution licensee shall pay interest on security deposit to the consumers every year by crediting the amount in CC bills. Details of SD collected and interest paid to the consumers on such deposits shall be reported by 30th September, 2014.

Directives 9:  Revenue Realization

As verified from the Annual Plan the percentage of collection of Revenue is 73% during FY 2009-10, which is increased to 78% during FY 2010-11. Thus an increase of 5% is achieved during FY 2010-11 over FY 2009-10. But during FY 2011-12 the percentage of collection is estimated at 76%, which is 2% less than the previous year collections. DPN is directed to sort out an action plan to improve collections by conducting special drive and disconnecting supply to all defaulting consumers effectively.

The DPN has neither submitted progress on collection of arrears due from consumers nor the arrears as on 31.03.2012.

Compliance Status

The DPN has submitted that the department has under taken action plan to improve collections by conducting special drive and disconnecting supply to all defaulting consumers effectively. The progress on collection of arrears due from consumers shall be submitted subsequently.

Comments of the Commission

Revenue realization is foremost task of the DPN to sustain financially. Top priority may be given to realize the dues. Quarterly progress report on realization of dues may be submitted to the Commission.

Directives 10:  Transformer failures

It is reported that the percentage of transformer failures which was at 5.18% during FY 2009-10 has been increased to 22.46% during FY 2010-11 and reduced to 11.56% during FY 2011-12. Even the 11.56% is also on high side. It should be brought down to below 5%.

To minimize transformer failures, the LT network and DTR structures shall be maintained properly by rectification of defects. Field officers in charged of O&M of distribution shall be pulled up and Progress is to be watched. Field units where DTR failures are more, shall pay more attention.

A detailed plan of action should be submitted to the Commission by 30.06.2013.

Compliance Status

The Department has initiated action for compliance of above directive. Hon’ble Commission may kindly extend further time for submission of the report on the same.

Comments of the Commission

Detailed action plan due on 30.06.2013 is yet to be received. Unless a target is fixed expected progress cannot be achieved in time. The DPN is directed to submit action plan by 30.06.2014 positively.

Directives 11:  Review petition

The Commission has to undertake review, true up of earlier orders. True-up activity cannot be done in absence of audited accounts. DPN is directed to submit review/true-up petitions along with the audited accounts.

Compliance Status

It is submitted that the accounts of the department have not been audited till date. Department shall get the accounts audited and file the true-up petitions.

Comments of the Commission

The DPN has not understood the difference between “Review and True Up” which are separate functions. As per Regulation 21 of NERC (Terms and Conditions for determination of Tariff) Regulations 2010, the Commission shall consider variations between approvals and revised estimates/pre-actuals of sale of electricity, income and expenditure for the relevant year and permit necessary adjustment/ charges in case of such variations are for adequate and justifiable such an exercise shall be called “Review.”

21 (2) After audited accounts of the year are made available, the Commission shall undertake a similar exercise as above based on final actual figures a per the audited accounts, which shall be called “True up.” Review petition can be filed based on revised estimates even without audited accounts, such reviews may be included in the next tariff petitions.

Fresh Directives

Directives 12: Progress on Completion of Capital Works

As verified from the capital investment and capitalization Rs. 163.92 crore invested during FY 2012-13, bringing CWIP as on 31.03.2013 at Rs. 795.19 crore out of which only Rs. 40 crore are capitalized, which is about 5% of total CWIP as on 31.03.2013. Execution/completion of distribution works shall be completed in the same year. When works are completed and the asset is taken for operation, related costs can be capitalized. Based on capitalization, depreciation can be claimed by DPN.

The DPN is directed to list out all the completed works giving scheme-wise, work wise dates of commencement and completion duly capitalizing the related expenditure. Progress on this may be reported by 30th June 2014.

Directives 13: Specific Tariff to Public Lighting.

Hitter to charges towards Public Lighting are being collected from other categories of consumers. Now, the Commission is of the view to fix a specific tariff to public lighting as in the case of other categories to be paid by the concerned local bodies being custodians of public lighting. As such the DPN is directed to provide meters to all public lighting connections and take inventory of the connected load and measure the monthly consumption of each public lighting connection and propose specific tariff to public lighting as is prevailing in other electricity utilities in the country from the next tariff filing invariably.

Directive 14: Details of Single Points Consumers

Number of Single Point Connections released (Urban & Rural separately) and actual consumption and amount billed during the previous year and estimated for current year and projected for ensuring year shall be filed along with next tariff filing.

Further, point wise number of consumer existing as on the date should also be furnished as an annexure invariably without which the petition will not be admitted.

Directive 15: Details of own Generation

Details of own generating stations such as nature of generating stations, installing capacity, energy generated (gross), auxiliary consumption and station wise fuel cost incurred during the previous year and estimated year and projected for ensuring year shall be provided in the prescribe format from the next tariff  petition onwards.

Suggestion: Physical verification of Consumer connections.

Physical verification of all consumer connections be done to verify the number of no meter connections, defective meters, wrong classification of categories, unauthorized connections, unauthorized additional load, tempered seal of the meter etc.

For this purposed an action plan should be chalked out making each sub-division as a unit and deploying all staff in the sub-division for one day in a week to check all connections in a nominated section on that day. Thus, in a month, four sections will be covered.

To execute this operation, the staff should be divided into batches making Junior Engineer as team leader who will record consumer wise data of all connections checked. This will hardly take two to three months to complete 100% physical verification of connections.

A brief outcome of the operation may also be reported to the Commission along with action proposed on the reports.

Commission’s Order

Having considered the Petition No. 01/2014-15 of DPN for approval of Aggregate Revenue Requirement (ARR) and determination of retail tariff for supply of energy for FY 2014-15, in exercise of power conferred by Section 62 of the Electricity Act, 2003; the Commission approves the aggregate revenue requirement (ARR) as detailed below:

(Rs. crore)

| SI. No. | Details | Amount |
| --- | --- | --- |
|  | Fuel cost | 0.08 |
|  | Power purchase cost | 196.30 |
|  | Employee cost | 76.35 |
|  | R&M expenses | 14.57 |
|  | Administration and General expenses | 2.68 |
|  | Depreciation | 4.49 |
|  | Interest and finance charges | - |
|  | Interest on working capital | 3.48 |
|  | Return on equity | - |
|  | Provision for bad debts | 0.15 |
|  | Total requirement | 298.10 |
|  | Less: Non tariff income | 5.78 |
|  | Net revenue requirement | 292.32 |
|  | Revenue from revised tariff plus internal efficiency of DPN | 222.32 |
|  | Net Revenue Gap | 70 |

- The gap is to be met through support from the State Government.

- The approved retail tariff for supply of energy shall be in accordance with the tariff schedule annexed.

- This order shall come into effect from 01-04-2014 and shall be in force till revised.

Kohima						         Er. Donray A. Shishak

Date: 31.03.2014    				                   Chairman-cum-Member

NERC, Kohima

ANNEXURE – II

ACTUAL METERED TRANSMISSION LOSS IN NER

| Week No. | Week |  | % loss |
| --- | --- | --- | --- |
|  | From | To |  |
| 1 | 02-04-2012 | 08-04-2012 | 3.40 |
| 2 | 09-04-2012 | 15-04-2012 | 3.00 |
| 3 | 16-04-2012 | 22-04-2012 | 2.90 |
| 4 | 23-04-2012 | 29-04-2012 | 3.10 |
| 5 | 30-04-2012 | 06-05-2012 | 3.70 |
| 6 | 07-05-2012 | 13-05-2012 | 3.00 |
| 7 | 14-05-2012 | 20-05-2012 | 3.10 |
| 8 | 21-05-2012 | 27-05-2012 | 3.20 |
| 9 | 28-05-2012 | 03-06-2012 | 3.20 |
| 10 | 04-06-2012 | 10-06-2012 | 4.00 |
| 11 | 11-06-2012 | 17-06-2012 | 4.00 |
| 12 | 18-06-2012 | 24-06-2012 | 3.60 |
| 13 | 25-06-2012 | 01-07-2012 | 4.70 |
| 14 | 02-07-2012 | 08-07-2012 | 3.70 |
| 15 | 09-07-2012 | 15-07-2012 | 3.60 |
| 16 | 16-07-2012 | 22-07-2012 | 3.50 |
| 17 | 23-07-2012 | 29-07-2012 | 3.50 |
| 18 | 30-07-2012 | 05-08-2012 | 2.80 |
| 19 | 06-08-2012 | 12-08-2012 | 2.60 |
| 20 | 13-08-2012 | 19-08-2012 | 2.10 |
| 21 | 20-08-2012 | 26-08-2012 | 2.90 |
| 22 | 27-08-2012 | 02-09-2012 | 2.50 |
| 23 | 03-09-2012 | 09-09-2012 | 2.40 |
| 24 | 10-09-2012 | 16-09-2012 | 3.00 |
| 25 | 17-09-2012 | 23-09-2012 | 3.50 |
| 26 | 24-09-2012 | 30-09-2012 | 2.90 |
| 27 | 01-10-2012 | 07-10-2012 | 3.20 |
| 28 | 08-10-2012 | 14-10-2012 | 3.10 |
| 29 | 15-10-2012 | 21-10-2012 | 2.50 |
| 30 | 22-10-2012 | 28-10-2012 | 2.70 |
| 31 | 29-10-2012 | 04-11-2012 | 2.20 |
| 32 | 05-11-2012 | 11-11-2012 | 2.60 |
| 33 | 12-11-2012 | 18-11-2012 | 2.80 |
| 34 | 19-11-2012 | 25-11-2012 | 3.30 |
| 35 | 26-11-2012 | 02-12-2012 | 3.60 |
| 36 | 03-12-2012 | 09-12-2012 | 4.00 |
| 37 | 10-12-2012 | 16-12-2012 | 3.20 |
| 38 | 17-12-2012 | 23-12-2012 | 3.70 |
| 39 | 24-12-2012 | 30-12-2012 | 3.50 |
| 40 | 31-12-2012 | 06-01-2013 | 5.50 |
| 41 | 07-01-2013 | 13-01-2013 | 5.70 |
| 42 | 14-01-2013 | 20-01-2013 | 3.50 |
| 43 | 21-01-2013 | 27-01-2013 | 3.60 |
| 44 | 28-01-2013 | 03-02-2013 | 5.60 |
| 45 | 04-02-2013 | 10-02-2013 | 5.60 |
| 46 | 11-02-2013 | 17-02-2013 | 4.10 |
| 47 | 18-02-2013 | 24-02-2013 | 3.70 |
| 48 | 25-02-2013 | 03-03-2013 | 4.00 |
| 49 | 04-03-2013 | 10-03-2013 | 4.50 |
| 50 | 11-03-2013 | 17-03-2013 | 3.90 |
| 51 | 18-03-2013 | 24-03-2013 | 3.70 |
| 52 | 25-03-2013 | 31-03-2013 | 3.40 |

52 Week average Loss					    3.48%

Total ISGS Generation:					5275 MU

Total Loss:							  253 MU

# Annexure-III

| Nagaland-Revenue with Existing Tariff for FY 2012-13 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SI. No. | Category | Energy (MU) | Existing |  |  |
|  |  |  | Energy Charges (Rs./kWh) | Energy Charges Revenue (Rs. crore) | Average Revenue (Rs./kWh) |
| 1 | 2 | 3 | 4 | 5=(3*4)/10 | 6=(5/3)*10 |
| 1 | Domestic |  |  |  |  |
| I | 0-30 | 98.00 | 2.90 | 28.42 | 2.90 |
| ii | 31-100 | 94.00 | 3.95 | 37.13 | 3.95 |
| iii | 101-250 | 30.00 | 4.55 | 13.65 | 4.55 |
| iv | >250 | 10.53 | 5.20 | 5.48 | 5.20 |
|  | Total Domestic | 232.53 |  | 84.68 | 3.64 |
| 2 | Commercial |  |  |  |  |
| I | 0-60 | 39.77 | 4.75 | 18.89 | 4.75 |
| ii | 61-240 | 0.05 | 5.70 | 0.03 | 5.70 |
| iii | >240 | 0.05 | 6.50 | 0.03 | 6.50 |
|  | Total Commercial | 39.87 |  | 18.95 | 4.75 |
| 3 | Industrial |  |  |  |  |
| I | 0-500 | 17.77 | 3.60 | 6.40 | 3.60 |
| ii | 501-5000 | 0.01 | 4.15 | 0.00 | 4.15 |
| iii | >5000 | 0.04 | 4.70 | 0.02 | 4.70 |
|  | Total LT Industrial | 17.82 |  | 6.42 | 3.60 |
| 4 | Public Lighting | 5.27 |  | 1.59 | 3.02 |
| 5 | PWW | 3.07 | 4.20 | 1.29 | 4.20 |
| 6 | Agricultural | 0.04 | 2.40 | 0.01 | 2.40 |
| 7 | Bulk Supply | 51.48 | 4.45 | 23.75 | 4.61 |
| 8 | Inter State | 2.40 | 4.80 | 1.15 | 4.80 |
| 9 | Total Within the State | 352.48 |  | 137.84 | 3.91 |
| 10 | Outside Sales | 28.57 | 5.92 | 16.91 | 5.92 |
| 11 | Grand Total | 381.05 |  | 154.75 | 4.06 |

Annexure-IV

| Nagaland-Revenue with Existing Tariff for FY 2014-15 |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SI. No. | Category | Energy (MU) |  | Existing |  |  |  |  |  |  |
|  |  |  |  | Energy Charges (Rs./kWh) |  | Energy Charges Revenue (Rs. crore) |  | Average Revenue (Rs./kWh) |  |  |
| 1 | 2 | 3 |  | 4 |  | 5=(3*4)/10 |  | 6=(5/3)*10 |  |  |
| 1 | Domestic |  |  |  |  |  |  |  |  |  |
| I | 0-30 | 117.00 |  | 3.10 |  | 36.27 |  | 3.10 |  |  |
| ii | 31-100 | 112.00 |  | 4.15 |  | 46.48 |  | 4.15 |  |  |
| iii | 101-250 | 36.00 |  | 4.75 |  | 17.10 |  | 4.75 |  |  |
| iv | >250 | 14.00 |  | 5.50 |  | 7.70 |  | 5.50 |  |  |
|  | Total Domestic | 279.00 |  |  |  | 107.55 |  | 3.85 |  |  |
| 2 | Commercial |  |  |  |  |  |  |  |  |  |
| I | 0-60 | 52.00 |  | 5.20 |  | 27.04 |  | 5.20 |  |  |
| ii | 61-240 | 0.50 |  | 6.20 |  | 0.31 |  | 6.20 |  |  |
| iii | >240 | 0.50 |  | 7.20 |  | 0.36 |  | 7.20 |  |  |
|  | Total Commercial | 53.00 |  |  |  | 27.71 |  | 5.23 |  |  |
| 3 | Industrial |  |  |  |  |  |  |  |  |  |
| I | 0-500 | 22.38 |  | 3.90 |  | 8.73 |  | 3.90 |  |  |
| ii | 501-5000 | 0.40 |  | 4.60 |  | 0.18 |  | 4.60 |  |  |
| iii | >5000 | 0.60 |  | 5.20 |  | 0.31 |  | 5.20 |  |  |
|  | Total LT Industrial | 23.38 |  |  |  | 9.22 |  | 3.95 |  |  |
| 4 | Public Lighting | 6.00 |  |  |  | 2.64 |  | 4.40 |  |  |
| 5 | PWW | 3.70 |  | 5.00 |  | 1.85 |  | 5.00 |  |  |
| 6 | Agricultural | 0.05 |  | 2.50 |  | 0.01 |  | 2.50 |  |  |
| 7 | Bulk Supply | 65.00 |  | 4.90 |  | 31.85 |  | 4.90 |  |  |
| 8 | Inter State | 2.40 |  | 4.90 |  | 1.18 |  | 4.90 |  |  |
| 9 | Total Within the State | 432.53 |  |  |  | 182.01 |  | 4.21 |  |  |
| 10 | Outside Sales | 47.52 |  | 4.90 |  | 23.28 |  |  |  |  |
| 11 | Grand Total | 480.05 |  |  |  | 205.29 |  | 4.21 |  |  |
|  |  |  |  |  |  |  |  | Annexure-V |  |  |
| Nagaland-Revenue with Existing Tariff for FY 2014-15 |  |  |  |  |  |  |  |  |  |  |
| SI. No. | Category | Energy (MU) | Exsitng |  |  |  |  |  |  |  |
|  |  |  | Energy Charges (Rs./kWh) |  | Energy Charges Revenue (Rs. crore) |  | Average Revenue (Rs./kWh) |  |  |  |
| 1 | 2 | 3 | 4 |  | 5=(3*4)/10 |  | 6=(5/3)*10 |  |  |  |
| 1 | Domestic |  |  |  |  |  |  |  |  |  |
| I | 0-30 | 117.00 | 3.25 |  | 38.03 |  | 3.25 |  |  |  |
| ii | 31-100 | 112.00 | 4.35 |  | 48.72 |  | 4.35 |  |  |  |
| iii | 101-250 | 36.00 | 5.00 |  | 18.00 |  | 5.00 |  |  |  |
| iv | >250 | 14.00 | 5.80 |  | 8.12 |  | 5.80 |  |  |  |
|  | Total Domestic | 279.00 |  |  | 112.87 |  | 4.05 |  |  |  |
| 2 | Commercial |  |  |  |  |  |  |  |  |  |
| I | 0-60 | 52.00 | 5.70 |  | 29.64 |  | 5.70 |  |  |  |
| ii | 61-240 | 0.50 | 6.80 |  | 0.34 |  | 6.80 |  |  |  |
| iii | >240 | 0.50 | 7.90 |  | 0.40 |  | 7.90 |  |  |  |
|  | Total Commercial | 53.00 |  |  | 30.38 |  | 5.73 |  |  |  |
| 3 | Industrial |  |  |  |  |  |  |  |  |  |
| I | 0-500 | 22.38 | 4.50 |  | 10.07 |  | 4.50 |  |  |  |
| ii | 501-5000 | 0.40 | 5.30 |  | 0.21 |  | 5.30 |  |  |  |
| iii | >5000 | 0.60 | 6.00 |  | 0.36 |  | 6.00 |  |  |  |
|  | Total LT Industrial | 23.38 |  |  | 10.64 |  | 4.55 |  |  |  |
| 4 | Public Lighting | 6.00 | to be recovered from the consumers |  | 2.64 |  | 4.40 |  |  |  |
| 5 | PWW | 3.70 | 5.30 |  | 1.96 |  | 5.30 |  |  |  |
| 6 | Agricultural | 0.05 | 2.70 |  | 0.01 |  | 2.70 |  |  |  |
| 7 | Bulk Supply | 65.00 | 5.40 |  | 35.10 |  | 5.40 |  |  |  |
| 8 | Inter State | 2.40 | 5.40 |  | 1.30 |  | 5.40 |  |  |  |
| 9 | Total Within the State | 432.53 |  |  | 194.90 |  | 4.51 |  |  |  |
| 10 | Outside Sales | 47.52 | 4.90 |  | 23.28 |  |  |  |  |  |
| 11 | Grand Total | 480.05 |  |  | 218.18 |  | 4.54 |  |  |  |
|  | Domestic | 185000*10*12 | 2.22 |  |  |  |  |  |  |  |
|  | Commercial | 19250*15*12 | 0.34 |  |  |  |  |  |  |  |
|  | Industrial | 2550*20*12 | 0.06 |  |  |  |  |  |  |  |
|  | Bulk | 715*25*12 | 0.02 |  |  |  |  |  |  |  |

# Appendix

Tariff Schedule

| Sl. No. | Category |  | Rs./kwh |
| --- | --- | --- | --- |
| 1 | 2 |  | 3 |
| A. | 1 | CATEGORY ‘A’ DOMESTIC |  |
|  |  | (a) upto 30 kwh | 3.25 |
|  |  | (b) 31 to 100 kwh | 4.35 |
|  |  | (c) 101 to 250 kwh | 5.00 |
|  |  | (d) > 250 kwh | 5.80 |
|  |  | Monthly minimum charges | 100.00 pm/kw of contract demand or part thereof |
|  | 2 | CATEGORY ‘B’ INDUSTRIAL |  |
|  |  | (a) upto 500 kwh | 4.50 |
|  |  | (b) 501 to 5000 kwh | 5.30 |
|  |  | (c) > 5000 kwh | 6.00 |
|  |  | Monthly minimum charges | 150.00 pm/kv of contract demand or part thereof |
|  | 3 | CATEGORY ‘C’ BULK | 5.40 |
|  |  | Monthly minimum charges | 150.00 pm/kva of contract demand or part thereof |
|  | 4 | CATEGORY ‘D’ COMMERCIAL |  |
|  |  | (a) upto 60 kwh | 5.70 |
|  |  | (b) 61 to 240 kwh | 6.80 |
|  |  | (c) > 240 kwh | 7.90 |
|  |  | Monthly minimum charges | 150.00 pm/kw of contract demand or part thereof |
|  | 5 | CATEGORY ‘E’ P.W.W. | 5.30 |
|  |  | Monthly minimum charges | 75.00 pm/kva or part thereof |
|  | 6 | CATEGORY ‘F’ Public Light | To be recovered from consumers * |
|  | 7 | CATEGORY ‘G’ INTER-STATE | 5.40 |
|  | 8 | CATEGORY ‘H’ AGRICULTURE | 2.70 |
|  |  | Monthly minimum charges | 50.00 pm/HP or part thereof |
|  | 9 | CATEGORY ‘I’ TEMPORARY CONNECTION | DLF – 8.00 Others – 11.00 |
|  | 10 | Kutir Jyoti(point) | Same as DLF |
|  | 11 | SINGLE POINT METERED RURAL | 3.25 |
|  | 12 | SINGLE POINT METERED URBAN | 4.00 |

* Charges for public lighting have to be recovered from the Consumes of Domestic, Commercial, Industrial and Bulk categories at the rates shown below.

Domestic	Rs. 10 per connection / month

Commercial	Rs. 15 per connection / month

Industrial	Rs. 20 per connection / month

Bulk Supply	Rs. 25 per connection / month

| B. | OTHER CHARGES: |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | (a) |  | Disconnection Charges | Rs. |  |
|  |  |  | i. Single phase L.T. | 150.00/connection |  |
|  |  |  | ii. Three phase L.T. | 250.00/ connection |  |
|  |  |  | iii. H.T. consumers (11 KV above) | 1500.00/ connection |  |
|  | (b) |  | Reconnection Charges |  |  |
|  |  |  | i. Single phase L.T. | 150.00/ connection |  |
|  |  |  | ii. Three phase L.T. | 250.00/ connection |  |
|  |  |  | iii. H.T. consumers (11 KV above) | 1500.00/ connection |  |
| C. | METER RENT |  |  | Rs. per meter/month |  |
|  | i. |  | Single phase L.T. | 20.00 |  |
|  | ii. |  | Three phase L.T.(whole current) | 50.00 |  |
|  | iii. |  | Three phase L.T.(CT operated) | 100.00 |  |
|  | iv. |  | 11 kv H.T. | 500.00 |  |
|  | v. |  | 33 kv H.T. | 750.00 |  |
|  | vi. |  | 66 kv EHV | 900.00 |  |
|  | vii. |  | 132 kv EHV | 1000.00 |  |
| D. | METER TESTING CHARGES |  |  | Rupees per meter per test |  |
|  | i. |  | Single phase L.T. | 100.00 |  |
|  | ii. |  | Three phase L.T. | 300.00 |  |
|  | iii. |  | H.T. consumers (11 KV above) | 1000.00 |  |
| E. | SECURITY DEPOSIT |  |  | Rs. per connection |  |
|  | i. |  | Single phase L.T. | 250 |  |
|  | ii. |  | Three phase L.T. | 750 |  |
|  | iii. |  | H.T. consumers (11 KV above) | 3000 |  |
| F. | SURCHARGES (DELAYED PAYMENT) |  |  |  | Rs. 0.10/kwh pm or part thereof |
| G. | BILLING PERIODICITY |  |  |  | Monthly |
| H. | CHARGES OF POLES USAGE FOR ADVERTISEMENT |  |  |  | Rupees |
|  | 1 | Charges for application and agreement forms |  |  | 100.00 |
|  | 2 | Charges towards dismantling of hoardings/banners |  |  | 300.00 |
|  | 3 | The pole rental charges for advertisements: - |  |  | Rs./month |
|  |  | a. Category I-Commercial area (Max size 3'X2') |  |  | 100.00 |
|  |  | b. Category II - Residential area (Max size 3'X2') |  |  | 60.00 |
|  |  | c. Category III-National Highway (Max size 3'X2') (outside the city/town limit) |  |  | 40.00 |